TO:		Justin Adkins, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		May 10, 2021

RE:	Docket No. 51998 – Application of the City of Burleson to Amend its Certificate of Convenience and Necessity in Johnson County

On April 8, 2021, the City of Burleson (Burleson) filed with the Public Utility Commission of Texas (Commission) an application to decertify a portion of its sewer CCN No. 20358 in Johnson County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Based on the mapping review by Tracy Montes, Infrastructure Division, and my technical and managerial review of the information filed by Burleson, I recommend that the application be deemed administratively incomplete and not accepted for filing.

Mapping Content:

Staff has determined that the digital mapping data, general location and detailed maps submitted with the application on April 8, 2021 are deficient. The requested area provided in a shapefile format overlaps the existing certificated service areas for the City of Burleson (CCN No. 20358) and Undine Texas Environmental LLC (CCN No. 21019).

The detailed map must clearly show the outer boundary of the requested area in reference to the roads and highways located in close proximity to both the inside and outside of this large requested area. The general location map must show the requested area in reference to major highways and roads. The labeling of roads and highways on both maps, should not cover any portion of the outer boundary of the requested area.

Staff recommends that Burleson submit the following items to resolve the mapping deficiencies:

- A revised general location map identifying only the requested area, in reference to the nearest county boundary, city, or town.

- A revised detailed map identifying only the requested area, in reference to verifiable man-made and natural landmarks, such as roads, rivers, and railroads.

- Revied digital mapping data for the requested area, as a single polygon record, in shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet).

Staff further recommends that Burleson obtain additional mapping guidance from the

Commission’s mapping staff, Ms. Tracy Montes by email at tracy.montes@puc.texas.gov

to resolve the mapping deficiencies.