TO:		Merritt Lander, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		May 10, 2021

RE:	Docket No. 51999 – Application of T&W Water Service Company and Belle Oaks Water and Sewer Co., Inc. for Sale, Transfer, or Merger of Facilities and Certificate Rights in Jefferson County

T&W Water Service Company (T&W Water) and Belle Oaks Water and Sewer Co., Inc. (Belle Oaks) (collectively, Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Jefferson County, Texas under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, T&W Water, certificate of convenience and necessity (CCN) No. 12892, seeks approval to acquire facilities and to transfer all of the water service area from Belle Oaks under water CCN No. 13067 and to acquire facilities and to transfer all of the sewer service area under sewer CCN No. 20965.  T&W Water is requesting a new sewer CCN number. Belle Oaks’ water and sewer CCNs will be cancelled as a result of the transaction.

The requested water service area includes approximately 450 acres, comprised of 450 acres of transferred area from CCN No. 13067.

The requested sewer service area includes approximately 445 acres, comprised of 445 acres of transferred area from CCN No. 20965.

Based on the mapping review by Gary Horton, Infrastructure Division, the financial and managerial review by Fred Bednarski, III, Rate Regulation Division, and my technical and managerial review of the information filed by the Applicants, I recommend that the application be deemed administratively incomplete and not accepted for filing due to the deficiencies detailed below:

Application Content:

The following deficiencies must be remedied:

- Provide a copy of the “Certification of Account Status” for T&W Water.

- Provide a copy of T&W Water’s organization chart.

- Provide a copy of the last Texas Commission on Environmental Quality (TCEQ) inspections done at Belle Oaks’ water and sewer systems.

- Provide proof that a transfer request for the wastewater permit has been submitted to the TCEQ.