TO:		Phillip Lehmann, Attorney

Legal Division

FROM:	James Harville, Infrastructure Analyst

Infrastructure Division

DATE:	April 25, 2022

RE:	Docket No. 52002 – Application of CPR Water Supply Company, LLC for a Water Certificate of Convenience and Necessity in Smith County

- Application

On April 9, 2021, CPR Water Supply Company, LLC (CPR) filed with the Public Utility Commission of Texas (Commission) an application to obtain a water certificate of convenience and necessity (CCN) in Smith County, Texas under Texas Water Code (TWC) §§ 13.242 through 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237.

CPR is seeking to obtain a water CCN for the service area containing 0 current customers and approximately 151 acres.

- Notice

The deadline to intervene was August 23, 2021; there were no motions to intervene, protests, or opt-out requests received.

- Factors Considered

Under TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227, the Commission must consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

There are no customers in the requested area.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

There is a need for service as CPR is developing a mixed-use development including commercial development and a recreational vehicle park in the requested area.  The requested area was released via a streamlined expedited release request in Docket No. 50581.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

CPR will be the certificated entity for the requested area and will be required to provide adequate and continuous service to the requested area.

The landowners in the area will have a water provider available when they need to request water service.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the CCN amendment requested in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

CPR has a Texas Commission on Environmental Quality (TCEQ) approved proposed water system registered as CPR Development, PWS ID No. 2120112.  The water system will be activated when CPR notifies TCEQ or when an investigation by the TCEQ determines the water system is providing service to at least 15 service connections or 25 individuals.

TCEQ has approved plans for CPR to construct facilities in the requested area to serve future customers.  CPR is expected to have 150 connections when the area is fully developed.  The proposed design capacity of the water system will be sufficient for the expected 150 connections.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The requested area was released from Southern Utility Company via a streamlined expedited release request in Docket No. 50581 and Southern Utility Company was compensated in that docket.  TCEQ has approved plans for CPR to build facilities in the requested area to serve future customers and will have sufficient capacity to serve the area.  Additionally, CPR provided copies of the requests for service sent to neighboring utilities.  One utility provided a response stating only one utility provided a response stating they had capacity to provide service to eight lots.  CPR is expected to have 150 connections when the area is fully developed.  Therefore, concerns of regionalization or consolidation do not apply.

3.6.	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

Additionally, CPR provided copies of the requests for service sent to neighboring utilities.  Only one utility provided a response stating they had capacity to provide service to eight lots.  CPR is expected to have 150 connections when the area is fully developed.  CPR is developing the requested area.  TCEQ has approved plans for CPR to build facilities in the requested area to serve future customers and will have sufficient capacity to serve the area.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC § 24.227(e)(7) and (9)).

The environmental integrity of the land will be minimally affected as facilities are constructed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

Future residents of the planned development will have water service.

During the Commission’s January 27, 2022, open meeting, the tap fee for Docket No. 50944 was discussed.  The resulting ruling was to not use the standard residential tap fees agreed to in the settlement and instead include a provision in the tariff to charge for the actual cost of each individual tap.  Docket No. 50944 is for the Monarch I LP (Monarch) multi-county rate case. Monarch is a Class A utility with more than 30,000 customers. Currently there are only five Class A utilities regulated in Texas.  There are many more Class D utilities such as CPR, that are not as large and do not cover more than one county.  Therefore, there is usually little difference between residential tap installations as the type of ground formations in their service areas and the parts, labor, and equipment rental costs do not vary significantly. In the case of CPR, water service will be provided to approximately 150 customers in Smith County.  The proposed tap fee for CPR’s customers is based on the average cost of similar investor-owned utilities.  As a reference, CPR has proposed a $650.00 tap fee, which is the current approved fee for nearby Lakeshore Utility Company, Inc.  I recommend that the proposed tap fee is reasonable with respect to the average tap fee for the requested area and CPR's responses to various requests for information.  In order to true-up the proposed tap fees and rates, I recommend that CPR file a rate application with actual financial information with the Commission within 18 months from the date service begins per 16 TAC § 24.25(b)(1)(C).

The Rate Regulation Division will be addressing the cost to customers in a separate memo.

- Recommendation

Based on the above information, I recommend that CPR meets all the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations and is capable of providing continuous and adequate service. I also recommend that approving this application to obtain water CCN No. 13298 is necessary for the service, accommodation, convenience and safety of the public.

CPR consented to the attached map, tariff, and certificate on February 7, 2022.

Applicant’s Response to Commission Staff’s Fifth Request for Information to CPR Water Supply Company, LLC (April 11, 2022).

Id.

Road bores are an exception to a standard tap fee. This additional construction is addressed in a utility’s tariff, such as the one included in the settlement in this docket, by a provision that allows the actual cost of the road bore and the tap fee. If the utility’s main water line is across a public road, it is likely that a road bore is necessary to install a tap for a new customer.