TO:		Phillip Lehmann, Attorney

Legal Division

FROM:	Heidi Graham, Lead Engineering Specialist

Infrastructure Division

DATE:		July 6, 2021

RE:	Docket No. 52002 – Application of CPR Water Supply Company, LLC to Obtain a Water Certificate of Convenience and Necessity in Smith County

On April 9, 2021, CPR Water Supply Company, LLC (CPR) filed with the Public Utility Commission of Texas (Commission) an application to obtain a water certificate of convenience and necessity (CCN) in Smith County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

The application indicates that the total acreage being requested is approximately 151 acres.  Based on the mapping review by Gary Horton, Infrastructure Division, it was determined the requested area is approximately 151 acres. According to the information in the application, the number of proposed connections is 150.

Based on the mapping review by Gary Horton, Infrastructure Division, maps submitted with the application on April 9, 2021, are sufficient.  Based on the financial review by Fred Bednarski, Rate Regulation Division, recommending sufficiency of the financial portion of the application,  and my technical and managerial review of the application and the additional information filed by CPR on June 8, 2021, I recommend that the application be deemed administratively complete.  I further recommend that CPR be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- Aqua Texas Inc (CCN No. 13201)

- Emerald Bay MUD (CCN No. 13047)

- Liberty Utilities (Silverleaf Water) LLC (CCN No. 13131)

- Monarch Utilities I LP (CCN No. 12983)

- Southern Utilities Company (CCN No. 10762)

  - The county judge of each county that is wholly or partially included in the requested area:

- Smith County Judge

  - Each landowner of a tract of land that is at least 25 acres and is wholly or partly located in the requested area.  Notice must be mailed to the owner of the tract of land according to the most current tax appraisal rolls of the applicable central appraisal district at the time the application was filed.

  - Any affected parties, other than affected customers in the requested area.

Addresses can be obtained by CPR from the Water Utility Database at http://www.puc.texas.gov/watersearch.

- Publish notice once each week for two consecutive weeks in a newspaper having general circulation in the county where the requested area is located.  Proof in the form of a publisher’s affidavit must be filed within 30 days of the publication date.  The affidavit must state with specificity each county in which the newspaper is of general circulation.  Within 30 days of the date the notice was mailed, CPR must file an affidavit specifying the notice that was provided to every person and entity to whom notice was provided and the date the notice was mailed.

- Provide notice using the attached notice forms.

- Provide a copy of the map(s) deemed sufficient during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties, and landowners.

- File in the docket a copy of notice and the map(s) deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided, the date that the notice was provided, and the publisher’s affidavit and tear sheets for proof of newspaper publication.

- Supplement the application with a copy of the approval letter for construction of the public water system facilities from TCEQ once it is received. CPR must file the approval letter prior to Staff making a final recommendation on the application.

Staff may determine that additional information is needed to make a final recommendation in this docket.  If additional information is needed, Staff may send requests for information (RFI) to CPR. CPR will have 20 days from the receipt of the RFI to respond.