TO:		Daniel Moore, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		June 3, 2021

RE:	Docket No. 52012 – Application of Brazos Valley Septic & Water, Inc. and CSWR-Texas Utility Operating Company, LLC for Sale, Transfer or Merger of Facilities and Certificate Rights in Robertson County

CSWR-Texas Utility Operating Company, LLC (CSWR-Texas) and Brazos Valley Septic & Water, Inc. (Brazos Valley) (collectively, Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Robertson County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239. The application also seeks dual certification with a portion of Wellborn Special Utility District (Wellborn SUD).

Specifically, CSWR-Texas, certificate of convenience and necessity (CCN) No. 13290, seeks approval to acquire facilities and to transfer all of the water service area from Brazos Valley under water CCN No. 13094 and dual certification with a portion of Wellborn SUD’s water CCN No. 11340.

Based on the mapping review by Tracy Montes, Infrastructure Division, the financial and managerial review by Fred Bednarski III, Rate Regulation Division, and my technical and managerial review of the additional information filed by the Applicants on May 4, 2021, I recommend that the application be deemed administratively incomplete and not accepted for filing due to the deficiencies detailed below:

Application Content:

Under 16 Texas Administrative Code § 24.233(a)(12), an agreement for dual certification or, if such agreement is not practicable, a statement of why dual certification is in the public interest, must be provided with the application.  As CSWR-Texas is seeking dual certification of a portion of Wellborn SUD’s water CCN No. 11340, which requires an agreement during administrative review.  CSWR-Texas must provide an agreement for dual certification with a portion of Wellborn SUD’s water CCN service area or the reasons why it is not practicable to get an agreement signed by Wellborn SUD.  If an agreement is submitted it should indicate the total acreage of dual certification with Wellborn SUD’s CCN.

Mapping Content:

CSWR-Texas submitted a revised STM application on May 4, 2021. The revised digital mapping data submitted is deficient. The shapefile provided does not accurately align with the existing boundary for Brazos Valley’s CCN No. 13094.

CSWR-Texas must submit the following items to resolve the mapping deficiencies:

- Digital mapping data for each portion of the requested area (transfer area and dual area), as a single polygon record, in shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet).

- State the approximate acreage for each portion of the requested area:

  - Transfer area from Brazos Valley (CCN No. 13094) to CSWR (CCN No. 13290)

  - Portion of dual certification between Wellborn SUD (CCN No. 11340) and CSWR (CCN No. 13290)

Staff recommends CSWR-Texas obtain additional mapping guidance from the PUC’s mapping staff, Ms. Tracy Montes by email at tracy.montes@puc.texas.gov to resolve the mapping deficiencies.