TO:		Phillip Lehmann, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		November 22, 2021

RE:	Docket No. 52035 – Application of Monarch Utilities I, L.P. to Amend its Certificates of Convenience and Necessity in Parker County

- Application

On April 16, 2021, Monarch Utilities I, L.P. (Monarch) filed with the Public Utility Commission of Texas (Commission) an application to amend its water certificate of convenience and necessity (CCN) No. 12983 and sewer CCN No. 20899 in Parker County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.  On May 7, 2021, Monarch submitted a revised application page two to indicate that the application is for an amendment of the water CCN only.

The requested area includes 170 customers and approximately 617 acres, comprised of:

- acres of uncertificated area; and

58 acres of decertified area from CCN No. 12983.

The application proposes the addition of approximately 501 acres to CCN No. 12983.

- Notice

The deadline to intervene was July 14, 2021; there were no motions to intervene, protests, or opt-out requests received.  A customer filed a copy of the notice provided to them by Monarch, but they did not provide clarification of the filing by July 14, 2021 as requested by the Administrative Law Judge on June 30, 2021.

- Factors Considered

Under TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227, the Commission must consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered.

  - Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

Monarch’s Texas Commission on Environmental Quality (TCEQ) approved public water systems (PWS) Western Lake Estates registered under PWS ID: 1840014 is currently providing service to approximately 170 customer connections and will provide service to new customers in the requested area.  Western Lake Estates does have a violation listed in the TCEQ database for failure to maintain an iron and manganese level below the secondary contaminant level.  Monarch submitted plans approved by the TCEQ for a new water plant and the distribution system to serve the requested area.  The Commission’s complaint records, which go back to 2014, show 459 complaints against Monarch.

  - Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

There is a need for service as there are currently 170 existing customer connections in the requested area and a developer is building a subdivision which will bring new customers to the requested area.

  - Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

Monarch will be the certificated entity for the requested area and will be required to provide adequate and continuous service to the requested area.

The landowners in the area will have a reliable water provider available when they need to request water service.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the CCN amendment requested in this application and did not request to intervene.

  - Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

Monarch has several TCEQ approved public water systems.  Monarch will provide service to the requested area through the Western Lake Estates public water system.  The Western Lake Estates public water system does have a violation listed in the TCEQ database for failure to maintain an iron and manganese level below the secondary contaminant level.  Monarch submitted plans approved by the TCEQ for a new water plant and the distribution system to serve the requested area.  The Commission’s complaint records, which go back to 2014, show 459 complaints against Monarch.

  - The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

There are no other utilities within one half mile from the outer boundary of the requested CCN area.  Therefore, concerns of regionalization or consolidation do not apply.

  - Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

Monarch is currently serving customers in the requested area, has facilities in the requested area to serve any future customers, has sufficient capacity, and has plans approved by the TCEQ for the water plant and distribution system that will provide additional service to the requested area.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

  - Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

  - Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

  - Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC § 24.227(e)(7) and (9)).

Proper construction protocols will be followed to ensure that the environmental integrity of the land will not be disrupted or negatively affected.

  - Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

Monarch will continue to provide water service to the existing customers in the area with no change to the cost to customers and will provide service to new customers in the requested area.

- Recommendation

Based on the mapping review by Gary Horton, Infrastructure Division, and my technical and managerial review, I recommend that Monarch meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations, and that Monarch is capable of providing continuous and adequate service.  I further recommend that approving this application to amend water CCN No. 12983 is necessary for the service, accommodation, convenience and safety of the public.

Monarch consented to the attached map, tariff, and certificate on November 22, 2021.