TO:		Phillip Lehmann, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		May 11, 2021

RE:	Docket No. 52035 – Application of Monarch Utilities I, L.P. to Amend its Certificates of Convenience and Necessity in Parker County

On April 16, 2021, Monarch Utilities I, L.P. (Monarch) filed with the Public Utility Commission of Texas (Commission) an application to amend its water certificate of convenience and necessity (CCN) No. 12983 and sewer CCN No. 20899 in Parker County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.  On May 7, 2021, Monarch submitted a revised application page 2 to indicate that the application is for an amendment of the water CCN only.

The requested area includes approximately 617 acres, comprised of:

559 acres of uncertificated area; and

58 acres of decertified area from CCN No. 12983.

The result of the application will be the addition of approximately 501 acres to CCN No. 12983.

Based on the mapping review by Gary Horton, Infrastructure Division, maps submitted with Item No. 1 on April 16, 2021 are sufficient.  Based on my technical and managerial review of the original application and the additional information filed by Monarch on May 7, 2021, I recommend that the application be deemed administratively complete.  I further recommend that Monarch be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- Horseshoe Bend Water Company LLC (CCN No. 10263)

- Lake Granbury Water Improvement District

- Parker County SUD (CCN No. 12313)

- Rio Brazos WSC (CCN No. 11827)

  - The county judge of each county that is wholly or partially included in the requested area:

- Parker County Judge

  - Each groundwater conservation district that is wholly or partially included in the requested area:

- Upper Trinity Groundwater Conservation District

  - Each landowner of a tract of land that is at least 25 acres and is wholly or partly located in the requested area.  Notice must be mailed to the owner of the tract of land according to the most current tax appraisal rolls of the applicable central appraisal district at the time the application was filed.

  - Any affected customers, and other affected parties in the requested area.

Addresses can be obtained by Monarch from the Water Utility Database at http://www.puc.texas.gov/watersearch.  District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) web site located at http://www14.tceq.texas.gov/iwud/.

- Publish notice once each week for two consecutive weeks in a newspaper having general circulation in the county where the requested area is located.  Proof in the form of a publisher’s affidavit must be filed within 30 days of the publication date.  The affidavit must state with specificity each county in which the newspaper is of general circulation.  Within 30 days of the date the notice was mailed, Monarch must file an affidavit specifying the notice that was provided to every person and entity to whom notice was provided and the date the notice was mailed.

- Provide notice using the attached notice forms.

- Provide a copy of the map(s) deemed sufficient during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties, landowners and customers.

- File in the docket a copy of notice and the map(s) deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided, the date that the notice was provided, and the publisher’s affidavit and tear sheets for proof of newspaper publication.

- Supplement the application with a copy of the approval letter for the plans and specifications from TCEQ once it is received.  Monarch must file the approval letter prior to Staff making a final recommendation on the application.

- Provide documentation that the minor violation listed in the TCEQ database has been returned to compliance or the plan to resolve the violation for “Failure to maintain an iron and manganese level below the SCL level” for the Western Lake Estates public water system no. 1840014.

Staff may determine that additional information is needed to make a final recommendation in this docket.  If additional information is needed, Staff may send requests for information (RFI) to Monarch.  Monarch will have 20 days from the receipt of the RFI to respond.