## Reference All Incentives (hidden)
| AEP Central - TCC |  |  |  |  | AEP North - TNC |  |  |  |  | AEP SWEPCO | [5 empty] | CenterPoint |  | Entergy |  |  | Sharyland |  | TNMP |  |  |  | Xcel |  |  |  | Selected Incentive Rates
2013 | RES | RES UC | HTR SF & MH | HTR MF | HTR UC | RES | RES UC | HTR SF & MH | HTR MF | HTR UC | RES SF & MH | RES MF | RES UC | HTR SF & MH | HTR MF | HTR UC | RES | HTR | RES | HTR | AC/HP | RES | HTR | RES | RES UC | HTR | HVAC | RES | RES SP | HTR | HTR SP
| 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32
Central AC kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 350 | 350 | 400 | 400 | 440 | 477 | 519 | 0 | 0 | 477 | 278 | 477 | 260 | 301 | 455 | 450 | 358 | 358 | 420 | 420 | 260
Central AC kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.11 | 0.11 | 0.13 | 0.13 | 0.15 | 0.16 | 0.35 | 0 | 0 | 0.16 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0.15 | 0.115 | 0.115 | 0.135 | 0.135 | 0.08
Central HP kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 350 | 350 | 400 | 400 | 440 | 477 | 519 | 0 | 0 | 477 | 278 | 477 | 260 | 301 | 455 | 450 | 358 | 358 | 420 | 420 | 260
Central HP kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.11 | 0.11 | 0.13 | 0.13 | 0.15 | 0.16 | 0.35 | 0 | 0 | 0.16 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0.15 | 0.115 | 0.115 | 0.135 | 0.135 | 0.08
Package AC kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 350 | 350 | 400 | 400 | 440 | 477 | 519 | 0 | 0 | 477 | 278 | 477 | 260 | 301 | 455 | 450 | 358 | 358 | 420 | 420 | 260
Package AC kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.11 | 0.11 | 0.13 | 0.13 | 0.15 | 0.16 | 0.35 | 0 | 0 | 0.16 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0.15 | 0.115 | 0.115 | 0.135 | 0.135 | 0.08
Package HP kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 350 | 350 | 400 | 400 | 440 | 477 | 519 | 0 | 0 | 477 | 278 | 477 | 260 | 301 | 455 | 450 | 358 | 358 | 420 | 420 | 260
Package HP kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.11 | 0.11 | 0.13 | 0.13 | 0.15 | 0.16 | 0.35 | 0 | 0 | 0.16 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0.15 | 0.115 | 0.115 | 0.135 | 0.135 | 0.08
GSHP kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 350 | 350 | 400 | 400 | 440 | 477 | 519 | 0 | 0 | 477 | 278 | 477 | 260 | 301 | 455 | 450 | 358 | 358 | 420 | 420 | 260
GSHP kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.11 | 0.11 | 0.13 | 0.13 | 0.15 | 0.16 | 0.35 | 0 | 0 | 0.16 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0.15 | 0.115 | 0.115 | 0.135 | 0.135 | 0.08
Window AC kW | 0 | 0 | 400 | 400 | 440 | 0 | 0 | 400 | 400 | 440 | 0 | 0 | 0 | 400 | 400 | 440 | 400 | 519 | 260 | 440 | 0 | 278 | 477 | 0 | 0 | 0 | 450 | 0 | 358 | 0 | 420 | 0
Window AC kWh | 0 | 0 | 0.13 | 0.13 | 0.15 | 0 | 0 | 0.13 | 0.13 | 0.15 | 0 | 0 | 0 | 0.13 | 0.13 | 0.15 | 0.25 | 0.35 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0 | 0 | 0 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0
Ceiling Insulation kW | 242 | 296 | 360 | 325 | 440 | 242 | 296 | 360 | 325 | 440 | 300 | 245 | 350 | 360 | 325 | 440 | 465 | 500 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Ceiling Insulation kWh | 0.08 | 0.1 | 0.11 | 0.1 | 0.15 | 0.08 | 0.1 | 0.11 | 0.1 | 0.15 | 0.1 | 0.08 | 0.11 | 0.11 | 0.1 | 0.15 | 0.18 | 0.2 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Wall Insulation kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 300 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Wall Insulation kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.1 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Floor Insulation kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 300 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Floor Insulation kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.1 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Infiltration kW | 242 | 296 | 360 | 325 | 440 | 242 | 296 | 360 | 325 | 440 | 245 | 245 | 350 | 360 | 325 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Infiltration kWh | 0.08 | 0.1 | 0.11 | 0.1 | 0.15 | 0.08 | 0.1 | 0.11 | 0.1 | 0.15 | 0.08 | 0.08 | 0.11 | 0.11 | 0.1 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Energy Star Windows kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Energy Star Windows kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
CFLs kW | 0 | 0 | 270 | 243.75 | 330 | 0 | 0 | 270 | 243.75 | 330 | 0 | 0 | 0 | 0 | 0 | 0 | 101.25 | 180 | 260 | 440 | 0 | 0 | 477 | 0 | 0 | 341.25 | 0 | 0 | 0 | 0 | 0 | 0
CFLs kWh | 0 | 0 | 0.0825 | 0.075 | 0.1125 | 0 | 0 | 0.0825 | 0.075 | 0.1125 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0375 | 0.06 | 0.083 | 0.16 | 0 | 0 | 0.16 | 0 | 0 | 0.11 | 0 | 0 | 0 | 0 | 0 | 0
Solar Screens kW | 0 | 0 | 400 | 400 | 440 | 0 | 0 | 400 | 400 | 440 | 0 | 0 | 0 | 400 | 400 | 440 | 0 | 0 | 0 | 440 | 0 | 278 | 477 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar Screens kWh | 0 | 0 | 0.13 | 0.13 | 0.15 | 0 | 0 | 0.13 | 0.13 | 0.15 | 0 | 0 | 0 | 0.13 | 0.13 | 0.15 | 0 | 0 | 0 | 0.16 | 0 | 0.1 | 0.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Heater Jackets kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 245 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 280 | 477 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Water Heater Jackets kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.1 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Water Heater Pipe Insulation kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 245 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 280 | 477 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Water Heater Pipe Insulation kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.1 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Water Heater Replacement kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 245 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Water Heater Replacement kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Energy Star Ceiling Fans kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energy Star Ceiling Fans kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energy Star Refrigerators kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 270 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Energy Star Refrigerators kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.09 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Energy Star Dishwashers kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 270 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Energy Star Dishwashers kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.09 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Energy Star Clothes Washers kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 270 | 245 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Energy Star Clothes Washers kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.09 | 0.08 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Solar Water Heater Replacement kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 350 | 350 | 350 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Solar Water Heater Replacement kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.11 | 0.11 | 0.11 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
Photovoltaics kW | 242 | 296 | 400 | 400 | 440 | 242 | 296 | 400 | 400 | 440 | 0 | 0 | 0 | 400 | 400 | 440 | 265 | 477 | 260 | 440 | 0 | 278 | 477 | 260 | 301 | 455 | 0 | 358 | 0 | 420 | 0 | 260
Photovoltaics kWh | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0.08 | 0.1 | 0.13 | 0.13 | 0.15 | 0 | 0 | 0 | 0.13 | 0.13 | 0.15 | 0.091 | 0.16 | 0.083 | 0.16 | 0 | 0.1 | 0.16 | 0.08 | 0.1 | 0.15 | 0 | 0.115 | 0 | 0.135 | 0 | 0.08
25

## Planning Calculator (hidden)
Instructions |  | Select from drop-down | Incentive Levels |  | Manually Enter Data (It's ok to cut and paste) |  |  |  |  | Automatic Or Manual | Automatic Calculations for Cost-effectiveness and Bonus | [8 empty] | Additional Analysis
| Program | Measure (Select from Drop Down Menu or Type In) | Incentive $/kW | Incentive $/kWh | # Installations | kW | kWh | Incentives | Total Admin | Estimated Useful Life | Total Program Cost | PV (Avoided Capacity Cost) | PV (Avoided Energy Cost) | PV Avd Capacity Cost * kW | PV Avoided Energy Cost * kWh | Total Avoided Cost | Net Benefits | Ben-Cost Ratio | Estimated Max Bonus (10% NB) | Load Factor | Total $/Installation | Total Annual $/kW | Total Annual $/kWh | Total Avoided Cost/kW | Total Avoided Cost/kWh | Total Incentive Paid as % of Total Avoided Cost | % of Total Avoided Costs from kW | % of Total Avoided Costs from kWh
WHITE CELLS: Enter Data | Residential SOP | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
GREY CELLS: Sub-Totals or Blanks | Select Measure in column "C" | [6 empty] | 0 |  |  | 0
BLUE CELLS: Automatic Calculations | Measure 2 | [6 empty] | 0 |  |  | 0
Max of 15 programs | etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Hide any unused rows if needed | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Hard-to-Reach SOP | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
Unhide cells for more programs | [7 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Program Name | N/A |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Select Measure in column "C" | [6 empty] | 0 |  |  | 0
| Measure 2 | [6 empty] | 0 |  |  | 0
| etc. up to 21 measures | [6 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
| Portfolio Total |  |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0!
| Fixed Inputs per PUC Rule |  |  |  | 2013 | 2014
| Avoided Cost per kW | 80 |  |  | 80 | 80
| Avoided Cost per kWh | 0.104 |  |  | 0.104 | 0.04619
| Inflation Rate | 2%
| Maximum % Net Benefits for Bonus | 10%
Utility Specific Inputs
| Discount Rate | 8.2%

## Step 1 Fixed Inputs
Insert or Verify Data in Blue Cells | Fixed Inputs per PUC Rule | Avoided Cost Reference | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Avoided Cost per kW | 84 |  | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80
Avoided Cost per kWh | 0.04731 |  | 0.104 | 0.04619 | 0.05321 | 0.05088 | 0.03989 | 0.03757 | 0.05084 | 0.11366
Utility Specific Discount Rate (WACC) | 7.725%
Inflation Rate | 2%
Maximum % Net Benefits for Bonus | 10%
PUC Goals | kW | kWh
2018 Goals | 15500 | 27156000
Cost-effectiveness Input
Bonus Collected in 2020 = Bonus Earned in 2018 | 1673207
Please Note: The bonus included in the cost-effectiveness analysis is the bonus collected for the program year, not the bonus earned. For example, for PY2020 cost-effectiveness, the bonus collected (= 2018 bonus earned) should be included in cell B14 of this tab. As a result, this bonus will not match the bonus calculated in the Step 4 Bonus Calculator Tab which is the bonus earned for PY2020. Due to the rule change, a bonus must also be included as a program cost for the purposes of calculating the new bonus. We are using the same bonus that is used for cost-effectiveness. | bar: 2013

## Step 2 Results Calculator
Instructions | Last Updated: 5/12/2020 | Select from drop-down |  |  | Paid Savings |  |  |  | Total Incentive |  |  | Automatic Or Manual | Total Program Costs for Program Year 2019 |  |  |  | Cost Effectiveness Test Part 1 |  | Cost Effectiveness Test Part 2 |  | Cost Effectiveness Test Part 3 |  | Cost Effectiveness Test Part 4
| Program (list custom measure here if necessary) | Measure (Select from Drop Down Menu) | Incentive $/kW | Incentive $/kWh | Installation | kW Actual Savings | kWh Actual Savings | CASH Incentives Actual | Incentive Allocation Based on kW | NON CASH Incentive | Total Incentive | Estimated Useful Life | Total Admin Spent (Excluding Bonus; including cost paid for EECRF) | Total Program Cost Spent (Excluding Bonus; including cost paid for EECRF) | Total Admin For Bonus (Including Bonus & EECRF) | Total Program Cost For Bonus (Including Bonus & EECRF) | Total Admin for Cost Eff. (Including Bonus; excluding cost paid for EECRF) | Total Program Cost for Cost Eff. (Including Bonus; excluding cost paid for EECRF) | PV (Avoided Capacity Cost) | PV (Avoided Energy Cost) | PV Avd Capacity Cost * kW | PV Avoided Energy Cost * kWh | Total Avoided Cost (PV kW + PV kWh) | Net Benefits (Avoided Cost - Program Cost) | Ben-Cost Ratio | Estimated Max Bonus (10% NB)
WHITE CELLS: Enter Data | Commercial Solutions |  |  |  | 867 | 6196.2842 | 31760191.6269 | 1266294.46 | 100% | 1302886.97 | 2569181.43 | NA | 308760.3604 | 2877941.7904 | 1024029.7878 | 3593211.2178 | 1019960.0763 | 3589141.5063 |  |  | 4387736.0898 | 11902851.146 | 16290587.2357 | 12701445.7295 | 4.5389 | 1270144.5729
GREY CELLS: Sub-Totals or Blanks |  | Commercial Solutions
BLUE CELLS: Optional Data Entry |  | Comm ECM Evaporator Fan Motor | 275 | 0.02 | 10 | 26.494 | 232102 | 11927.93 | 0.4276% | 5570.869 | 17498.799 | 15 | 2102.9793 | 19601.7783 | 6974.7084 | 24473.5074 | 6946.9895 | 24445.7884 | 836.8597 | 0.47133 | 22171.7599 | 109396.9414 | 131568.7013 | 107122.9129 | 5.3821 | 10712.2913
GREEN CELLS: Automatic Calculations |  | Comm ENERGY STAR Combination Ovens | 165 | 0.02 | 1 | 5.384 | 25472 | 1397.8 | 0.08689% | 1132.0887 | 2529.8887 | 12 | 304.0382 | 2833.9269 | 1008.3684 | 3538.2571 | 1004.3609 | 3534.2497 | 719.4273 | 0.40519 | 3873.3967 | 10321.044 | 14194.4407 | 10660.191 | 4.0163 | 1066.0191
Max of 16 programs |  | Comm ENERGY STAR Commercial Dishwashers | 165 | 0.02 | 1 | 1.36 | 9212 | 408.64 | 0.02195% | 285.9659 | 694.6059 | 11 | 83.4767 | 778.0826 | 276.8575 | 971.4635 | 275.7572 | 970.3632 | 675.8089 | 0.38063 | 919.1001 | 3506.3196 | 4425.4198 | 3455.0566 | 4.5606 | 345.5057
|  | Comm ENERGY STAR Roofs | 250 | 0.02 | 7 | 62.929 | 199810 | 19728.45 | 1.016% | 13232.0264 | 32960.4764 | 15 | 3961.1405 | 36921.6169 | 13137.4567 | 46097.9331 | 13085.2456 | 46045.722 | 836.8597 | 0.47133 | 52662.7559 | 94176.7105 | 146839.4665 | 100793.7444 | 3.189 | 10079.3744
Measure Search: |  | Comm HVAC Chillers: Screw / Scroll / Reciprocating Chillers | 250 | 0.02 | 8 | 124.71 | 645401 | 44085.52 | 2.013% | 26222.6568 | 70308.1768 | 20 | 8449.5309 | 78757.7078 | 28023.5823 | 98331.7592 | 27912.2107 | 98220.3875 | 994.4862 | 0.56011 | 124022.378 | 361494.8137 | 485517.1917 | 387296.8042 | 4.9431 | 38729.6804
|  | Comm HVAC VFD (AHU) | 250 | 0.02 | 1 | 5.948 | 166920 | 4825.4 | 0.09599% | 1250.6805 | 6076.0805 | 15 | 730.2142 | 6806.2947 | 2421.8171 | 8497.8975 | 2412.1922 | 8488.2727 | 836.8597 | 0.47133 | 4977.6413 | 78674.6235 | 83652.2648 | 75163.992 | 9.855 | 7516.3992
*Filter measure list for cells in column C here; see comment in C1 for instructions.* |  | Comm Lamps and Fixtures: Integral LED Lamps | 165 | 0.01 | 50 | 237.3979 | 1250844.396 | 50989.76 | 3.831% | 49917.4357 | 100907.1957 | 9 | 12126.875 | 113034.0707 | 40219.8042 | 141126.9999 | 40059.9622 | 140967.1579 | 581.0898 | 0.32728 | 137949.4809 | 409373.9135 | 547323.3944 | 406356.2365 | 3.8826 | 40635.6236
|  | Comm Lamps and Fixtures: LED Fixtures | 165 | 0.01 | 188 | 3171.2417 | 15628427.0169 | 674517.7599 | 51.18% | 666814.0668 | 1341331.8267 | 15 | 161199.2417 | 1502531.0684 | 534630.8866 | 1875962.7134 | 532506.1501 | 1873837.9769 | 836.8597 | 0.47133 | 2653884.2445 | 7366167.0925 | 10020051.337 | 8146213.3601 | 5.3473 | 814621.336
|  | Comm Lighting Controls: Occupancy Sensor | 165 | 0.01 | 13 | 200.56 | 736111.994 | 44428.5701 | 3.237% | 42171.5675 | 86600.1376 | 10 | 10407.4743 | 97007.6118 | 34517.2666 | 121117.4042 | 34380.0877 | 120980.2253 | 629.7422 | 0.35468 | 126301.0983 | 261084.0564 | 387385.1547 | 266404.9294 | 3.2021 | 26640.4929
|  | Comm Split System/Single Packaged Air Conditioners & Heat Pumps | 250 | 0.02 | 40 | 268.603 | 636400 | 79878.75 | 4.335% | 56478.9054 | 136357.6554 | 15 | 16387.2579 | 152744.9133 | 54349.7237 | 190707.3791 | 54133.7264 | 190491.3817 | 836.8597 | 0.47133 | 224783.016 | 299955.2503 | 524738.2663 | 334246.8846 | 2.7547 | 33424.6885
|  | M&V Project - 10 EUL | 165 | 0.02 | 1 | 35.86 | 738479 | 23734.58 | 0.5787% | 7540.2492 | 31274.8292 | 10 | 3758.5619 | 35033.3911 | 12465.5878 | 43740.417 | 12416.0469 | 43690.8761 | 629.7422 | 0.35468 | 22582.5552 | 261923.5856 | 284506.1408 | 240815.2647 | 6.5118 | 24081.5265
measure max = 40 |  | M&V Variable Refrigerant Flow Systems | 165 | 0.02 | 5 | 13.32 | 59690 | 4523.8 | 0.215% | 2800.7841 | 7324.5841 | 15 | 880.2575 | 8204.8416 | 2919.4483 | 10244.0324 | 2907.8458 | 10232.4299 | 836.8597 | 0.47133 | 11146.9707 | 28133.7663 | 39280.737 | 29048.3071 | 3.8388 | 2904.8307
Midstream
|  | Comm Lamps and Fixtures: Integral LED Lamps |  |  | 234 | 627.6113 | 2723239.12 | 119537 | 10.13% | 131967.2547 | 251504.2547 | 9 | 30225.4031 | 281729.6578 | 100245.0997 | 351749.3544 | 99846.7044 | 351350.9591 | 581.0898 | 0.32728 | 364698.5074 | 891256.386 | 1255954.8934 | 904603.9343 | 3.5746 | 90460.3934
|  | Comm Lamps and Fixtures: LED Fixtures |  |  | 107 | 251.7166 | 1059525.49 | 50095.5 | 4.062% | 52928.2079 | 103023.7079 | 15 | 12381.2343 | 115404.9422 | 41063.4082 | 144087.1161 | 40900.2135 | 143923.9214 | 836.8597 | 0.47133 | 210651.4306 | 499387.5449 | 710038.9755 | 566115.0541 | 4.9334 | 56611.5054
|  | Comm Lamps and Fixtures: Integral LED Lamps |  |  | 85 | 231.7097 | 1006357.15 | 52090 | 3.739% | 48721.3752 | 100811.3752 | 9 | 12115.3595 | 112926.7346 | 40181.6119 | 140992.987 | 40021.9216 | 140833.2968 | 581.0898 | 0.32728 | 134644.1042 | 329358.6046 | 464002.7088 | 323169.412 | 3.2947 | 32316.9412
|  | Comm Lamps and Fixtures: LED Fixtures |  |  | 112 | 288.3641 | 1409258.46 | 84125 | 4.654% | 60634.0484 | 144759.0484 | 15 | 17396.9247 | 162155.9732 | 57698.3688 | 202457.4172 | 57469.0632 | 202228.1117 | 836.8597 | 0.47133 | 241320.2628 | 664227.6463 | 905547.9091 | 703319.7974 | 4.4779 | 70331.9797
Continuous Energy Improvement
|  | M&V Comm Behavioral | 0 | 0 | 4 | 643.075 | 5232942 | 0 | 10.38% | 135218.7878 | 135218.7878 | 1 | 16250.3906 | 151469.1784 | 53895.7915 | 189114.5793 | 53681.5982 | 188900.386 | 79.5356 | 0.044796 | 51147.3871 | 234412.847 | 285560.2341 | 96659.8481 | 1.5117 | 9665.9848
measure max = 103 | Load Management |  |  |  | 8 | 6223 | 6223 | 151872.5 | 0% |  | 151872.5 | NA | 41307.7487 | 193180.2487 | 89319.8128 | 241192.3128 | 89079.2392 | 240951.7392 |  |  | 494950.3403 | 278.7631 | 495229.1034 | 254277.3642 | 2.0553 | 25427.7364
|  | M&V Comm Load Curtailment | 32.5 | 0 | 8 | 6223 | 6223 | 151872.5 |  |  | 151872.5 | 1 | 41307.7487 | 193180.2487 | 89319.8128 | 241192.3128 | 89079.2392 | 240951.7392 | 79.5356 | 0.044796 | 494950.3403 | 278.7631 | 495229.1034 | 254277.3642 | 2.0553 | 25427.7364
Unhide cells for more programs
measure max = 40 | Residential SOP |  |  |  | 6344 | 3814.117 | 5774166.2851 | 1556895.6 | 100% |  | 1556895.6 | NA | 200653.4697 | 1757549.0697 | 637466.0282 | 2194361.6282 | 634999.8279 | 2191895.4279 |  |  | 3173195.7199 | 2708944.0164 | 5882139.7362 | 3690244.3083 | 2.6836 | 369024.4308
Residential Standard Offer Program
|  | Res Air Infiltration | 305 | 0.08 | 1623 | 1819.826 | 1808201.72 | 672522.12 | 47.71% |  | 672522.12 | 11 | 86674.9812 | 759197.1012 | 275362.0761 | 947884.1961 | 274296.7675 | 946818.8875 | 675.8089 | 0.38063 | 1229854.6274 | 688247.2012 | 1918101.8287 | 971282.9411 | 2.0258 | 97128.2941
|  | Res Ceiling Insulation | 305 | 0.08 | 809 | 1106.143 | 1793279.01 | 457372.41 | 29% |  | 457372.41 | 25 | 58946.3809 | 516318.7909 | 187269.7011 | 644642.1111 | 186545.2004 | 643917.6104 | 1114.4478 | 0.62767 | 1232738.6298 | 1125592.6728 | 2358331.3026 | 1714413.6923 | 3.6625 | 171441.3692
|  | Res Duct Efficiency Improvement | 305 | 0.08 | 1639 | 511.2 | 965313.77 | 220932.23 | 13.4% |  | 220932.23 | 18 | 28473.8543 | 249406.0843 | 90460.0098 | 311392.2398 | 90110.0421 | 311042.2721 | 936.5459 | 0.52748 | 478762.2831 | 509179.8954 | 987942.1785 | 676899.9064 | 3.1762 | 67689.9906
|  | Res ENERGY STAR Omni-Directional LED Lamps (Standard Baseline) | 5 | 500 | 1486 | 92.569 | 589013.19 | 117620 | 2.427% |  | 117620 | 8 | 15158.9234 | 132778.9234 | 48159.1407 | 165779.1407 | 47972.8247 | 165592.8247 | 529.7064 | 0.29834 | 49034.3947 | 175725.1526 | 224759.5473 | 59166.7226 | 1.3573 | 5916.6723
|  | Res Low-Flow Showerheads | 35 | 500 | 627 | 91.009 | 245653.08 | 23670 | 2.386% |  | 23670 | 10 | 3050.6012 | 26720.6012 | 9691.6074 | 33361.6074 | 9654.1129 | 33324.1129 | 629.7422 | 0.35468 | 57312.2077 | 87128.1858 | 144440.3935 | 111116.2806 | 4.3344 | 11111.6281
|  | Res Wall Insulation | 305 | 0.08 | 2 | 5.182 | 9105.26 | 2308.94 | 0.1359% |  | 2308.94 | 25 | 297.5773 | 2606.5173 | 945.3883 | 3254.3283 | 941.7308 | 3250.6708 | 1114.4478 | 0.62767 | 5775.0685 | 5715.1251 | 11490.1936 | 8239.5228 | 3.5347 | 823.9523
CoolSaver Program
|  | Res Air Conditioner or Heat Pump Tune-Up | 100 | 0.05 | 116 | 78.805 | 199274 | 19890 | 2.066% |  | 19890 | 5 | 2563.433 | 22453.433 | 8143.8982 | 28033.8982 | 8112.3915 | 28002.3915 | 357.5949 | 0.2014 | 28180.2664 | 40134.2933 | 68314.5597 | 40312.1682 | 2.4396 | 4031.2168
Multifamily HVAC Program
|  | Res Central Heat Pump |  |  | 34 | 109.383 | 161783.7551 | 42579.9 | 2.868% |  | 42579.9 | 15 | 5487.7184 | 48067.6184 | 17434.2067 | 60014.1067 | 17366.758 | 59946.658 | 836.8597 | 0.47133 | 91538.2423 | 76253.7504 | 167791.9927 | 107845.3346 | 2.799 | 10784.5335
|  | Res ENERGY STAR Connected Thermostats |  |  | 8 | 0 | 2542.5 | 0 | 0% |  | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 675.8089 | 0.38063 | 0 | 967.7397 | 967.7397 | 967.7397 | #DIV/0! | 96.774
measure max = 40 | Residential Solutions |  | Dollars | Homes | 2059 | 2006.258 | 4651821 | 572915 | 100% | 174159.69 | 747074.69 | NA | 119892.0902 | 866966.7802 | 335363.7285 | 1082438.4185 | 334180.325 | 1081255.015 |  |  | 2058453.0279 | 2624334.7894 | 4682787.8174 | 3601532.8024 | 4.3309 | 360153.2802
High Performance Homes Program
|  | M&V New Homes | 350 | 800 | 1570 | 1560.72 | 3340965 | 369850 | 77.79% | 135483.3284 | 505333.3284 | 23 | 81096.9369 | 586430.2653 | 226845.4164 | 732178.7448 | 226044.9432 | 731378.2716 | 1070.3524 | 0.60284 | 1670520.3753 | 2014059.8379 | 3684580.2131 | 2953201.9415 | 5.0379 | 295320.1942
Distributed Products Program
|  | Res Central Air Conditioners |  |  | 313 | 271.9 | 711527 | 121585 | 13.55% | 23603.1556 | 145188.1556 | 18 | 23300.0953 | 168488.2508 | 65175.3323 | 210363.4879 | 64945.347 | 210133.5026 | 936.5459 | 0.52748 | 254646.8403 | 375313.4522 | 629960.2925 | 419826.7899 | 2.9979 | 41982.679
|  | Res Central Heat Pump |  |  | 33 | 110.65 | 184752 | 24540 | 5.515% | 9605.3298 | 34145.3298 | 15 | 5479.7131 | 39625.0429 | 15327.9254 | 49473.2552 | 15273.8375 | 49419.1673 | 836.8597 | 0.47133 | 92598.5217 | 87079.4035 | 179677.9252 | 130258.758 | 3.6358 | 13025.8758
|  | Res ENERGY STAR Pool Pumps |  |  | 141 | 58.058 | 407376 | 56100 | 2.894% | 5039.9118 | 61139.9118 | 10 | 9811.8594 | 70951.7712 | 27445.8619 | 88585.7737 | 27349.0132 | 88488.925 | 629.7422 | 0.35468 | 36561.5725 | 144488.0391 | 181049.6116 | 92560.6866 | 2.046 | 9256.0687
|  | Res Mini-Split Heat Pump |  |  | 2 | 4.93 | 7201 | 840 | 0.2457% | 427.9645 | 1267.9645 | 15 | 203.4856 | 1471.4501 | 569.1925 | 1837.157 | 567.184 | 1835.1485 | 836.8597 | 0.47133 | 4125.7181 | 3394.0568 | 7519.775 | 5684.6264 | 4.0976 | 568.4626
measure max = 40 | Hard-To-Reach SOP |  | Dollars | Units | 2956 | 1767.89 | 2692903.8849 | 883880.69 | 100% |  | 883880.69 | NA | 152759.0281 | 1036639.7181 | 410400.3397 | 1294281.0297 | 409000.2286 | 1292880.9186 |  |  | 1465520.4906 | 1253031.7876 | 2718552.2782 | 1425671.3596 | 2.1027 | 142567.136
Hard-To-Reach Standard Offer Program
|  | Res Air Infiltration | 400 | 0.1 | 782 | 728.03 | 728709.43 | 349515.46 | 41.18% |  | 349515.46 | 11 | 60405.9378 | 409921.3978 | 162285.7758 | 511801.2358 | 161732.1259 | 511247.5859 | 675.8089 | 0.38063 | 492009.1615 | 277365.1967 | 769374.3582 | 258126.7723 | 1.5049 | 25812.6772
|  | Res Ceiling Insulation | 400 | 0.1 | 371 | 494.914 | 788117.68 | 271714.9 | 27.99% |  | 271714.9 | 25 | 46959.8493 | 318674.7493 | 126161.6964 | 397876.5964 | 125731.2864 | 397446.1864 | 1114.4478 | 0.62767 | 551555.8172 | 494680.1256 | 1046235.9428 | 648789.7563 | 2.6324 | 64878.9756
|  | Res Duct Efficiency Improvement | 400 | 0.1 | 707 | 211.189 | 379390.7 | 122415.23 | 11.95% |  | 122415.23 | 18 | 21156.7373 | 143571.9673 | 56839.4044 | 179254.6344 | 56645.4926 | 179060.7226 | 936.5459 | 0.52748 | 197788.1999 | 200119.5082 | 397907.7082 | 218846.9856 | 2.2222 | 21884.6986
|  | Res ENERGY STAR Omni-Directional LED Lamps (Low Income Baseline) | 5 | 500 | 635 | 32.661 | 209943.41 | 42495 | 1.847% |  | 42495 | 10 | 7344.3113 | 49839.3113 | 19731.1273 | 62226.1273 | 19663.8131 | 62158.8131 | 629.7422 | 0.35468 | 20568.0099 | 74462.6871 | 95030.697 | 32871.8839 | 1.5288 | 3287.1884
|  | Res Low-Flow Showerheads | 40 | 500 | 305 | 51.214 | 138236.69 | 17680 | 2.897% |  | 17680 | 10 | 3055.593 | 20735.593 | 8209.1147 | 25889.1147 | 8181.1087 | 25861.1087 | 629.7422 | 0.35468 | 32251.6169 | 49029.7619 | 81281.3788 | 55420.27 | 3.143 | 5542.027
CoolSaver Program
|  | Res Air Conditioner or Heat Pump Tune-Up | 400 | 0.1 | 116 | 78.805 | 199274 | 19890 | 4.458% |  | 19890 | 5 | 3437.5421 | 23327.5421 | 9235.2541 | 29125.2541 | 9203.7473 | 29093.7473 | 357.5949 | 0.2014 | 28180.2664 | 40134.2933 | 68314.5597 | 39220.8124 | 2.3481 | 3922.0812
Multifamily HVAC Program
|  | Res Central Heat Pump |  |  | 33 | 171.077 | 246689.4749 | 60170.1 | 9.677% |  | 60170.1 | 15 | 10399.0574 | 70569.1574 | 27937.9669 | 88108.0669 | 27842.6545 | 88012.7545 | 836.8597 | 0.47133 | 143167.4188 | 116272.4751 | 259439.8939 | 171427.1394 | 2.9478 | 17142.7139
|  | Res ENERGY STAR Connected Thermostats |  |  | 7 | 0 | 2542.5 | 0 | 0% |  | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 675.8089 | 0.38063 | 0 | 967.7397 | 967.7397 | 967.7397 | #DIV/0! | 96.774
measure max = 40 |  | N/A | [6 empty] | 0% |  | 0 | NA |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
measure max = 40 |  | N/A | [8 empty] | 0 | NA |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
measure max = 40 |  | N/A | [8 empty] | 0 | NA |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
measure max = 40 |  | N/A | [8 empty] | 0 | NA |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
measure max = 40 |  | N/A | [8 empty] | 0 | NA |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
measure max = 40 |  | N/A | [8 empty] | 0 | NA |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
measure max = 119 |  | N/A | [8 empty] | 0 | NA |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
measure max = 148 |  | N/A | [8 empty] | 0 | NA |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
measure max = 40 |  | N/A | [8 empty] | 0 | NA |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
Select Measure in column "C"
measure max = 40 |  | N/A | [8 empty] | 0 | NA |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
Select Measure in column "C"
measure max = 40 |  | N/A | [8 empty] | 0 | NA |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
| Portfolio Total |  |  |  | 12234 | 20007.5492 | 44885305.7969 | 4431858.25 |  | 1477046.66 | 5908904.91 | NA | 823372.697 | 6732277.607 | 2496579.697 | 8405484.607 | 2487219.697 | 8396124.607 |  |  | 11579855.6685 | 18489440.5025 | 30069296.171 | 21673171.564 | 3.5813 | 2167317.1564

## Step 3 Admin Allocation
| Program Incentives (These columns will auto-populate) |  |  | Program Specific Admin: Enter Manually |  |  | Total Admin Calculation (Excluding Bonus) Allocated based on Total Incentives: Enter Values in cells C22, C23, C25 and results will auto-populate |  |  |  |  | Total Admin Cost Effectiveness Calculation (Including Bonus) Allocated based on Program Costs:
| Program | Incentives | Incentive as % of Total Incentives (R&D/Other Admin Allocator) | Program Specific Admin (Do not include the costs paid by a utility for an EECRF proceeding here; these values are exempt from the CE test) | Program Specific R&D | Program Specific EM&V Admin (TetraTech Allocation not actual expenditures) | R&D/Other Admin Portion | EM&V Costs | Costs Paid by a Utility for an EECRF Proceeding (to be included in Total Admin for Bonus Calculation) | Total Admin for Bonus Calculation (Excluding Bonus) | Total Program Costs (EEPR) | Program Costs as % of Total Spending (Bonus Allocator) | Bonus Portion (Enter value in C24) | Total Admin for Cost-effectiveness Calculation (Including Bonus) | Total Program Costs (Cost Effectiveness) | Program
1 | Commercial Solutions | 2569181.43 | 43.48% | 239123.7021 | 25762.5342 | 39804.4126 | 0 | 0 | 4069.7115 | 308760.3604 | 2877941.7904 | 42.75% | 715269.4274 | 1019960.0763 | 3589141.5063 | 1
2 | Load Management | 151872.5 | 2.57% | 30097.2133 | 1522.9055 | 9447.0562 | 0 | 0 | 240.5736 | 41307.7487 | 193180.2487 | 2.869% | 48012.0642 | 89079.2392 | 240951.7392 | 2
3 | Residential SOP | 1556895.6 | 26.35% | 161797.1778 | 15611.8119 | 20778.2796 | 0 | 0 | 2466.2003 | 200653.4697 | 1757549.0697 | 26.11% | 436812.5585 | 634999.8279 | 2191895.4279 | 3
4 | Residential Solutions | 747074.69 | 12.64% | 91254.6789 | 7491.3113 | 19962.6965 | 0 | 0 | 1183.4036 | 119892.0902 | 866966.7802 | 12.88% | 215471.6383 | 334180.325 | 1081255.015 | 4
5 | Hard-To-Reach SOP | 883880.69 | 14.96% | 126307.8579 | 8863.1371 | 16187.922 | 0 | 0 | 1400.1111 | 152759.0281 | 1036639.7181 | 15.4% | 257641.3116 | 409000.2286 | 1292880.9186 | 5
6 | 0 | 0 | 0% | [12 empty] | 6
7 | 0 | 0 | 0% | [12 empty] | 7
8 | 0 | 0 | 0% | [12 empty] | 8
9 | 0 | 0 | 0% | [12 empty] | 9
10 | 0 | 0 | 0% | [12 empty] | 10
11 | 0 | 0 | 0% | [12 empty] | 11
12 | 0 | 0 | 0% | [12 empty] | 12
13 | 0 | 0 | 0% | [12 empty] | 13
14 | 0 | 0 | 0% | [12 empty] | 14
15 | 0 | 0 | 0% | [12 empty] | 15
16 | 0 | 0 | 0% | [12 empty] | 16
| Portfolio Total | 5908904.91 | 100% | 648580.63 | 59251.7 | 106180.367 | 0 | 0 | 9360 | 823372.697 | 6732277.607 | 100% | 1673207 | 2487219.697 | 8396124.607
[11 empty] | 0 |  |  |  | 0
| Other Costs to Be Allocated Among All Programs Enter Blue Cells Manually; Green Will Autocalculate if Step 1 completed: |  | PUC Rule: How to allocate non-program specific expenses | [7 empty] | -1675026.367
| R&D and Non-program specifc Admin to be Allocated (Rate Case Expenses Details: Include any costs incurred by the utility for an EECRF filing here unless they have already been included in the program specifc admin in column F. Do not include the costs paid by a utility for an EECRF proceeding here; these values are exempt from the CE test. Enter those costs separately in cell C25 below.) |  | (i): Any portion of these costs which are not directly assignable to a specific program shall be allocated among the programs in proportion to the program incentive costs. Any bonus awarded by the commission shall not be included in program costs for the purpose of applying these limits.
| Third party EM&V Costs (Ex: Frontier EM&V; counted as admin) |  | (i): Any portion of these costs which are not directly assignable to a specific program shall be allocated among the programs in proportion to the program incentive costs. Any bonus awarded by the commission shall not be included in program costs for the purpose of applying these limits.
| Bonus for Cost-effectiveness (bonus collected during the PY) | 1673207 | (h)(6): The bonus shall be allocated in proportion to the program costs associated with meeting the demand and energy goals and allocated to eligible customers on a rate class basis.
| Costs Paid by a Utility for an EECRF Proceeding (To be included as admin in the "total program cost" input for the bonus calculation in Step 4) | 9360 | These are costs to be included as admin in the "total program costs" for the bonus calculation (per the preamble pg 150). Please note these values are excluded from the cost-effectiveness test (per the preamble and email from Katie Rich). This is why they are not included in either the program-specific admin values or the non-program specific admin in other cells on this tab.

## Step 4 Bonus Calculator
Program Year 2020
Energy Efficiency Performance Bonus Calculator
| kW | kWh | Directions: Fill in blue cell and performance bonus will calculate. All green cells will auto-populate All inputs must be accounted for the in the "Fixed Inputs," "Admin Allocation," and "Results Calculator" tabs in order to correctly calculate bonus.
Demand and Energy Goals | 15500 | 27156000
Actual Demand and Energy Savings | 20007.5492 | 44885305.7969
Reported/Verified Hard-to-Reach | 1767.89
Program Costs (excluding bonus) | 6732277.607
Program Costs (including bonus) | 8405484.607
Performance Bonus | 2166381.1564
11.41% | Hard-to-Reach Goal Met?
Bonus Calculation Details
129.1% | Percentage of Demand Reduction Goal Met (Reported kW/Goal kW)
165.3% | Percentage of Energy Reduction Goal Met (Reported kWh/Goal kWh)
TRUE | Met Requirements for Performance Bonus?
30069296.171 | Total Avoided Costs
8405484.607 | Total Program Costs (including bonus)
21663811.564 | Net Benefits
3150022.4665 | Calculated Bonus (((Achieved Demand Reduction/Demand Goal - 100%) / 2) * Net Benefits)
2166381.1564 | Maximum Bonus Allowed (10% of Net Benefits)

## Reference 7.0 EULs
Residential & Commercial EULs
Sector | TRM Measure | DO NOT DELETE; FOR SEARCH Step 2 tab | Energy Efficiency Measure | EUL (years) | TRM Version
Custom | NA | 1 | Custom | NA | NA | Custom
Residential | 2.1.1 | 2 | Res Standard Compact Fluorescent Lamps (Standard Baseline) | 8 | 7 | Res Standard Compact Fluorescent Lamps (Standard Baseline)
Residential | 2.1.1 | 3 | Res Standard Compact Fluorescent Lamps (Low Income Baseline) | 10 | 7 | Res Standard Compact Fluorescent Lamps (Low Income Baseline)
Residential | 2.1.2 | 4 | Res Specialty Compact Fluorescent Lamps (Standard Baseline) | 8 | 7 | Res Specialty Compact Fluorescent Lamps (Standard Baseline)
Residential | 2.1.2 | 5 | Res Specialty Compact Fluorescent Lamps (Low Income Baseline) | 10 | 7 | Res Specialty Compact Fluorescent Lamps (Low Income Baseline)
Residential | 2.1.3 | 6 | Res ENERGY STAR Omni-Directional LED Lamps (Standard Baseline) | 8 | 7 | Res ENERGY STAR Omni-Directional LED Lamps (Standard Baseline)
Residential | 2.1.3 | 7 | Res ENERGY STAR Omni-Directional LED Lamps (Low Income Baseline) | 10 | 7 | Res ENERGY STAR Omni-Directional LED Lamps (Low Income Baseline)
Residential | 2.1.4 | 8 | Res ENERGY STAR Specialty and Directional LED Lamps (Standard Baseline) | 8 | 7 | Res ENERGY STAR Specialty and Directional LED Lamps (Standard Baseline)
Residential | 2.1.4 | 9 | Res ENERGY STAR Specialty and Directional LED Lamps (Low Income Baseline) | 10 | 7 | Res ENERGY STAR Specialty and Directional LED Lamps (Low Income Baseline)
Residential | 2.2.1 | 10 | Res Air Conditioner or Heat Pump Tune-Up | 5 | 7 | Res Air Conditioner or Heat Pump Tune-Up
Residential | 2.2.2 | 11 | Res Duct Efficiency Improvement | 18 | 7 | Res Duct Efficiency Improvement
Residential | 2.2.3 | 12 | Res Ground Source Heat Pump | 20 | 7 | Res Ground Source Heat Pump
Residential | 2.2.4 | 13 | Res Central Air Conditioners | 18 | 7 | Res Central Air Conditioners
Residential | 2.2.4 | 14 | Res Central Heat Pump | 15 | 7 | Res Central Heat Pump
Residential | 2.2.5 | 15 | Res Mini-Split Air Conditioners | 18 | 7 | Res Mini-Split Air Conditioners
Residential | 2.2.5 | 16 | Res Mini-Split Heat Pump | 15 | 7 | Res Mini-Split Heat Pump
Residential | 2.2.6 | 17 | Res Large Capacity Split System & Single-Package Air Conditioners | 18 | 7 | Res Large Capacity Split System & Single-Package Air Conditioners
Residential | 2.2.6 | 18 | Res Large Capacity Split System & Single-Package Heat Pumps | 15 | 7 | Res Large Capacity Split System & Single-Package Heat Pumps
Residential | 2.2.6 | 19 | Res Large Capacity Split System & Single-Package Ground Source Heat Pumps | 20 | 7 | Res Large Capacity Split System & Single-Package Ground Source Heat Pumps
Residential | 2.2.7 | 20 | Res Packaged Terminal Heat Pumps (PTHP) | 15 | 7 | Res Packaged Terminal Heat Pumps (PTHP)
Residential | 2.2.8 | 21 | Res Room Air Conditioner (Window) | 8 | 7 | Res Room Air Conditioner (Window)
Residential | 2.2.9 | 22 | Res ENERGY STAR Connected Thermostats | 11 | 7 | Res ENERGY STAR Connected Thermostats
Residential | 2.2.10 | 23 | Res Smart Thermostat Demand Response | 1 | 7 | Res Smart Thermostat Demand Response
Residential | 2.2.11 | 24 | Res Evaporative Cooling | 15 | 7 | Res Evaporative Cooling
Residential | 2.3.1 | 25 | Res Air Infiltration | 11 | 7 | Res Air Infiltration
Residential | 2.3.2 | 26 | Res Ceiling Insulation | 25 | 7 | Res Ceiling Insulation
Residential | 2.3.3 | 27 | Res Attic Encapsulation | 25 | 7 | Res Attic Encapsulation
Residential | 2.3.4 | 28 | Res Wall Insulation | 25 | 6 | Res Wall Insulation
Residential | 2.3.5 | 29 | Res Floor Insulation | 25 | 7 | Res Floor Insulation
Residential | 2.3.6 | 30 | Res ENERGY STAR Windows | 25 | 7 | Res ENERGY STAR Windows
Residential | 2.3.7 | 31 | Res Solar Screens | 10 | 7 | Res Solar Screens
Residential | 2.3.8 | 32 | Res Cool Roofs | 15 | 7 | Res Cool Roofs
Residential | 2.4.1 | 33 | Res Faucet Aerators | 10 | 7 | Res Faucet Aerators
Residential | 2.4.2 | 34 | Res Low-Flow Showerheads | 10 | 7 | Res Low-Flow Showerheads
Residential | 2.4.3 | 35 | Res Water Heater Pipe Insulation | 13 | 7 | Res Water Heater Pipe Insulation
Residential | 2.4.4 | 36 | Res Water Heater Tank Insulation | 7 | 7 | Res Water Heater Tank Insulation
Residential | 2.4.5 | 37 | Res Water Heater Installation - Tankless | 20 | 7 | Res Water Heater Installation - Tankless
Residential | 2.4.5 | 38 | Res Water Heater Installation - Fuel Substitution | 11 | 7 | Res Water Heater Installation - Fuel Substitution
Residential | 2.4.6 | 39 | Res Heat Pump Water Heater | 13 | 7 | Res Heat Pump Water Heater
Residential | 2.4.7 | 40 | Res Solar Water Heater | 15 | 7 | Res Solar Water Heater
Residential | 2.4.8 | 41 | Res Showerhead Temperature Sensitive Restrictor Valves | 10 | 7 | Res Showerhead Temperature Sensitive Restrictor Valves
Residential | 2.4.9 | 42 | Res Tub Spout & Showerhead Temperature Sensitive Restrictor Valves | 10 | 7 | Res Tub Spout & Showerhead Temperature Sensitive Restrictor Valves
Residential | 2.5.1 | 43 | Res ENERGY STAR Ceiling Fans | 10 | 7 | Res ENERGY STAR Ceiling Fans
Residential | 2.5.2 | 44 | Res ENERGY STAR Clothes Washer | 11 | 7 | Res ENERGY STAR Clothes Washer
Residential | 2.5.3 | 45 | Res ENERGY STAR Clothes Dryers | 16 | 7 | Res ENERGY STAR Clothes Dryers
Residential | 2.5.4 | 46 | Res ENERGY STAR Dishwashers | 15 | 7 | Res ENERGY STAR Dishwashers
Residential | 2.5.5 | 47 | Res ENERGY STAR Refrigerators | 16 | 7 | Res ENERGY STAR Refrigerators
Residential | 2.5.6 | 48 | Res ENERGY STAR Freezers | 22 | 7 | Res ENERGY STAR Freezers
Residential | 2.5.7 | 49 | Res ENERGY STAR Pool Pumps | 10 | 7 | Res ENERGY STAR Pool Pumps
Residential | 2.5.8 | 50 | Res ENERGY STAR Air Purifiers | 9 | 7 | Res ENERGY STAR Air Purifiers
Residential | 2.5.9 | 51 | Res Advanced Power Strips | 10 | 7 | Res Advanced Power Strips
Residential | 2.5.10 | 52 | Res ENERGY STAR Electric Vehicle Supply Equipment (EVSE) | 10 | 7 | Res ENERGY STAR Electric Vehicle Supply Equipment (EVSE)
Residential | 2.5.11 | 53 | Res Solar Attic Fans | 15 | 7 | Res Solar Attic Fans
Residential | 2.6.1 | 54 | Res Refrigerator/Freezer Recycling | 8 | 7 | Res Refrigerator/Freezer Recycling
Commercial | 2.1.1 | 55 | Comm Lamps and Fixtures: Halogen Lamps | 1.5 | 7 | Comm Lamps and Fixtures: Halogen Lamps
Commercial | 2.1.1 | 56 | Comm Lamps and Fixtures: High Intensity Discharge Lamps | 15.5 | 7 | Comm Lamps and Fixtures: High Intensity Discharge Lamps
Commercial | 2.1.1 | 57 | Comm Lamps and Fixtures: Integrated-ballast CCFL Lamps | 4.5 | 7 | Comm Lamps and Fixtures: Integrated-ballast CCFL Lamps
Commercial | 2.1.1 | 58 | Comm Lamps and Fixtures: Integrated-ballast CFL Lamps | 2.5 | 7 | Comm Lamps and Fixtures: Integrated-ballast CFL Lamps
Commercial | 2.1.1 | 59 | Comm Lamps and Fixtures: Integral LED Lamps | 9 | 7 | Comm Lamps and Fixtures: Integral LED Lamps
Commercial | 2.1.1 | 60 | Comm Lamps and Fixtures: LED Fixtures | 15 | 7 | Comm Lamps and Fixtures: LED Fixtures
Commercial | 2.1.1 | 61 | Comm Lamps and Fixtures: LED Corn Cob | 15 | 7 | Comm Lamps and Fixtures: LED Corn Cob
Commercial | 2.1.1 | 62 | Comm Lamps and Fixtures: LED Tubes | 15 | 7 | Comm Lamps and Fixtures: LED Tubes
Commercial | 2.1.1 | 63 | Comm Lamps and Fixtures: Modular CFL and CCFL Fixtures | 16 | 7 | Comm Lamps and Fixtures: Modular CFL and CCFL Fixtures
Commercial | 2.1.1 | 64 | Comm Lamps and Fixtures: T8 and T5 Linear Fluorescents | 15.5 | 7 | Comm Lamps and Fixtures: T8 and T5 Linear Fluorescents
Commercial | 2.1.2 | 65 | Comm Lighting Controls: Occupancy Sensor | 10 | 7 | Comm Lighting Controls: Occupancy Sensor
Commercial | 2.1.2 | 66 | Comm Lighting Controls: Photocell (Daylighting Control) | 10 | 7 | Comm Lighting Controls: Photocell (Daylighting Control)
Commercial | 2.1.2 | 67 | Comm Lighting Controls: Timeclock | 10 | 7 | Comm Lighting Controls: Timeclock
Commercial | 2.1.2 | 68 | Comm Lighting Controls: Tuning Control | 10 | 7 | Comm Lighting Controls: Tuning Control
Commercial | 2.1.3 | 69 | Comm LED Traffic Signals (8'' & 12'' Red, Green, & Yellow) | 6 | 7 | Comm LED Traffic Signals (8'' & 12'' Red, Green, & Yellow)
Commercial | 2.1.3 | 70 | Comm LED Traffic Signals (Large Pedestrian Signal) | 5 | 7 | Comm LED Traffic Signals (Large Pedestrian Signal)
Commercial | 2.1.3 | 71 | Comm LED Traffic Signals (Small Pedestrian Signal) | 5 | 7 | Comm LED Traffic Signals (Small Pedestrian Signal)
Commercial | 2.2.1 | 72 | Comm Air Conditioner or Heat Pump Tune-Up | 5 | 7 | Comm Air Conditioner or Heat Pump Tune-Up
Commercial | 2.2.2 | 73 | Comm Split System/Single Packaged Air Conditioners & Heat Pumps | 15 | 7 | Comm Split System/Single Packaged Air Conditioners & Heat Pumps
Commercial | 2.2.3 | 74 | Comm HVAC Chillers: Screw / Scroll / Reciprocating Chillers | 20 | 7 | Comm HVAC Chillers: Screw / Scroll / Reciprocating Chillers
Commercial | 2.2.3 | 75 | Comm HVAC Chillers: Centrifugal Chillers | 25 | 7 | Comm HVAC Chillers: Centrifugal Chillers
Commercial | 2.2.4 | 76 | Comm Packaged Terminal Air Conditioners & Heat Pumps | 15 | 7 | Comm Packaged Terminal Air Conditioners & Heat Pumps
Commercial | 2.2.4 | 77 | Comm Packaged Terminal Room Air Conditioners | 11 | 7 | Comm Packaged Terminal Room Air Conditioners
Commercial | 2.2.5 | 78 | Comm HVAC VFD (AHU) | 15 | 7 | Comm HVAC VFD (AHU)
Commercial | 2.2.5 | 79 | Comm HVAC VFD (Hot Water Pumps) | 15 | 7 | Comm HVAC VFD (Hot Water Pumps)
Commercial | 2.2.5 | 80 | Comm HVAC VFD (Chilled Water Pumps) | 15 | 7 | Comm HVAC VFD (Chilled Water Pumps)
Commercial | 2.2.6 | 81 | Comm Condenser Air Evaporative Pre-Cooling | 15 | 7 | Comm Condenser Air Evaporative Pre-Cooling
Commercial | 2.2.7 | 82 | Comm Computer Room Air Conditioners | 15 | 7 | Comm Computer Room Air Conditioners
Commercial | 2.2.8 | 83 | Comm High-Volume Low-Speed (HVLS) Fans | 9 | 7 | Comm High-Volume Low-Speed (HVLS) Fans
Commercial | 2.3.1 | 84 | Comm ENERGY STAR Roofs | 15 | 7 | Comm ENERGY STAR Roofs
Commercial | 2.3.2 | 85 | Comm Window Treatments (Film) | 10 | 7 | Comm Window Treatments (Film)
Commercial | 2.3.3 | 86 | Comm Entrance & Exit Door Air Infiltration | 11 | 7 | Comm Entrance & Exit Door Air Infiltration
Commercial | 2.4.1 | 87 | Comm ENERGY STAR Combination Ovens | 12 | 7 | Comm ENERGY STAR Combination Ovens
Commercial | 2.4.2 | 88 | Comm ENERGY STAR Electric Convention Ovens | 12 | 7 | Comm ENERGY STAR Electric Convention Ovens
Commercial | 2.4.3 | 89 | Comm ENERGY STAR Commercial Dishwashers | 11 | 7 | Comm ENERGY STAR Commercial Dishwashers
Commercial | 2.4.4 | 90 | Comm ENERGY STAR Hot Food Holding Cabinets | 12 | 7 | Comm ENERGY STAR Hot Food Holding Cabinets
Commercial | 2.4.5 | 91 | Comm ENERGY STAR Electric Fryers | 12 | 7 | Comm ENERGY STAR Electric Fryers
Commercial | 2.4.6 | 92 | Comm Pre-Rinse Spray Valves | 5 | 7 | Comm Pre-Rinse Spray Valves
Commercial | 2.4.7 | 93 | Comm ENERGY STAR Electric Steam Cookers | 12 | 7 | Comm ENERGY STAR Electric Steam Cookers
Commercial | 2.4.8 | 94 | Comm Demand Controlled Kitchen Ventilation | 15 | 7 | Comm Demand Controlled Kitchen Ventilation
Commercial | 2.4.9 | 95 | Comm Commercial Ice Maker | 8.5 | 7 | Comm Commercial Ice Maker
Commercial | 2.5.1 | 96 | Comm Door Heater Controls | 12 | 7 | Comm Door Heater Controls
Commercial | 2.5.2 | 97 | Comm ECM Evaporator Fan Motor | 15 | 7 | Comm ECM Evaporator Fan Motor
Commercial | 2.5.3 | 98 | Comm Electronic Defrost Controls | 10 | 7 | Comm Electronic Defrost Controls
Commercial | 2.5.4 | 99 | Comm Evaporator Fan Controls | 16 | 7 | Comm Evaporator Fan Controls
Commercial | 2.5.5 | 100 | Comm Night Covers for Open Refrigerated Display Cases | 5 | 7 | Comm Night Covers for Open Refrigerated Display Cases
Commercial | 2.5.6 | 101 | Comm Solid and Glass Door Reach-Ins | 12 | 7 | Comm Solid and Glass Door Reach-Ins
Commercial | 2.5.7 | 102 | Comm Strip Curtains for Walk-In Refrigerated Storage | 4 | 7 | Comm Strip Curtains for Walk-In Refrigerated Storage
Commercial | 2.5.8 | 103 | Comm Zero Energy Doors for Refrigerated Cases | 12 | 7 | Comm Zero Energy Doors for Refrigerated Cases
Commercial | 2.5.9 | 104 | Comm Door Gaskets for Walk-in & Reach-in Coolers & Freezers | 4 | 7 | Comm Door Gaskets for Walk-in & Reach-in Coolers & Freezers
Commercial | 2.6.1 | 105 | Comm Vending Machine Controls | 5 | 7 | Comm Vending Machine Controls
Commercial | 2.6.2 | 106 | Comm Lodging Guest Room Occupancy Sensor Controls | 10 | 7 | Comm Lodging Guest Room Occupancy Sensor Controls
Commercial | 2.6.3 | 107 | Comm Pump-Off Controller | 15 | 7 | Comm Pump-Off Controller
Commercial | 2.6.4 | 108 | Comm ENERGY STAR Pool Pumps | 10 | 7 | Comm ENERGY STAR Pool Pumps
Commercial | 2.6.5 | 109 | Comm Computer Power Management | 3 | 7 | Comm Computer Power Management
Commercial | 2.6.6 | 110 | Comm Premium Efficiency Motors | 15 | 7 | Comm Premium Efficiency Motors
Commercial | 2.6.7 | 111 | Comm Central Domestic Hot Water (DHW) Controls | 15 | 7 | Comm Central Domestic Hot Water (DHW) Controls
M&V | 2.1.1 | 112 | M&V Air Conditioning Tune-Up | 5 | 7 | M&V Air Conditioning Tune-Up
M&V | 2.1.2 | 113 | M&V Ground Source Heat Pump | 15 | 7 | M&V Ground Source Heat Pump
M&V | 2.1.3 | 114 | M&V Variable Refrigerant Flow Systems | 15 | 7 | M&V Variable Refrigerant Flow Systems
M&V | 2.2.1 | 115 | M&V New Homes | 23 | 7 | M&V New Homes
M&V | 2.3.1 | 116 | M&V Comm Solar Photovoltaic (PV) | 30 | 7 | M&V Comm Solar Photovoltaic (PV)
M&V | 2.3.2 | 117 | M&V Res Solar Photovoltaci (PV) | 30 | 7 | M&V Res Solar Photovoltaci (PV)
M&V | 2.3.3 | 118 | M&V Solar Shingles | 30 | 7 | M&V Solar Shingles
M&V | 2.4.1 | 119 | M&V Comm Behavioral | 1 | 7 | M&V Comm Behavioral
M&V | 2.4.2 | 120 | M&V Air Compressors < 75 hp | 10 | 7 | M&V Air Compressors < 75 hp
M&V | 2.4.3 | 121 | M&V Comm Retro-Commissioning | 5 | 7 | M&V Comm Retro-Commissioning
M&V | 2.4.4 | 122 | M&V Thermal Energy Storage | 15 | 7 | M&V Thermal Energy Storage
M&V | 2.5.1 | 123 | M&V Res Load Curtailment | 1 | 7 | M&V Res Load Curtailment
M&V | 2.5.2 | 124 | M&V Comm Load Curtailment | 1 | 7 | M&V Comm Load Curtailment
M&V | X | 125 | M&V Project - 15 EUL | 15 |  | M&V Project - 15 EUL
M&V | X | 126 | M&V Project - 2.9 EUL | 2.9 |  | M&V Project - 2.9 EUL
M&V | X | 127 | Old Measure - 8.5 EUL | 8.5 |  | Old Measure - 8.5 EUL
M&V | X | 128 | M&V Project - 10 EUL | 10 |  | M&V Project - 10 EUL

## non-cash allocation (hidden)
Commercial Solutions |  |  |  | provided by CR (pasted)
| Measure | kW | kWh | Cash Incentive | Non-Cash Allocator | Non-cash Incentives | Total Incentives for Bonus Calc
| Commercial Solutions | #REF! | #REF! | 2667.62 | 0.3239% | 3047.5538 | 5715.1738
| Comm ECM Evaporator Fan Motor | #REF! | #REF! | 1013.14 | 0.123% | 1157.4357 | 2170.5757
| Comm ENERGY STAR Combination Ovens | #REF! | #REF! | 2257.08 | 0.274% | 2578.5429 | 4835.6229
| Comm ENERGY STAR Commercial Dishwashers | #REF! | #REF! | 69326.5 | 8.417% | 79200.2746 | 148526.7746
| Comm ENERGY STAR Roofs | #REF! | #REF! | 31266 | 3.796% | 35719.0365 | 66985.0365
| Comm HVAC Chillers: Screw / Scroll / Reciprocating Chillers | #REF! | #REF! | 441 | 0.05354% | 503.8091 | 944.8091
| Comm HVAC VFD (AHU) | #REF! | #REF! | 177484.64 | 21.55% | 202762.7563 | 380247.3963
| Comm Lamps and Fixtures: Integral LED Lamps | #REF! | #REF! | 39801.3 | 4.832% | 45469.9702 | 85271.2702
| Comm Lamps and Fixtures: LED Fixtures | #REF! | #REF! | 6008.73 | 0.7295% | 6864.5188 | 12873.2488
| Comm Lighting Controls: Occupancy Sensor | #REF! | #REF! | 2357.34 | 0.2862% | 2693.0824 | 5050.4224
| Comm Split System/Single Packaged Air Conditioners & Heat Pumps | #REF! | #REF! | 36085.18 | 4.381% | 41224.5846 | 77309.7646
| M&V Project - 10 EUL | #REF! | #REF! | 604.46 | 0.07339% | 690.5498 | 1295.0098
| M&V Variable Refrigerant Flow Systems | #REF! | #REF! | 24347.18 | 2.956% | 27814.8088 | 52161.9888
| 0 | #REF! | #REF! | 91257.2 | 11.08% | 104254.438 | 195511.638
| 0 | #REF! | #REF! | 32630.62 | 3.962% | 37278.0115 | 69908.6315
| Midstream | #REF! | #REF! | 26.64 | 0.003234% | 30.4342 | 57.0742
| Comm Lamps and Fixtures: Integral LED Lamps | #REF! | #REF! | 225.98 | 0.02744% | 258.165 | 484.145
| Comm Lamps and Fixtures: LED Fixtures | #REF! | #REF! | 7224.27 | 0.8771% | 8253.1812 | 15477.4512
| Comm Lamps and Fixtures: Integral LED Lamps | #REF! | #REF! | 11726.81 | 1.424% | 13396.9921 | 25123.8021
| Comm Lamps and Fixtures: LED Fixtures | #REF! | #REF! | 259453.58 | 31.5% | 296406.0609 | 555859.6409
| 0 | #REF! | #REF! | 26303.37 | 3.194% | 30049.6077 | 56352.9777
| Continuous Energy Improvement | #REF! | #REF! | 1115.16 | 0.1354% | 1273.9858 | 2389.1458
| M&V Comm Behavioral | #REF! | #REF! | 0 | 0% | 0 | 0
| 0 | #REF! | #REF! |  | 0% | 0 | 0
| 0 | #REF! | #REF! |  | 0% | 0 | 0
| 0 | #REF! | #REF! |  | 0% | 0 | 0
| 0 | #REF! | #REF! |  | 0% | 0 | 0
| 0 | #REF! | #REF! |  | 0% | 0 | 0
| 0 | #REF! | #REF! |  | 0% | 0 | 0
| 0 | #REF! | #REF! |  | 0% | 0 | 0
| TOTAL | #REF! | #REF! | 823623.8 | 100% | 940927.8 | 1764551.6
940927.8
provided by MD - EE 2018 file
0
High Perf Homes
| Measure | kW | kWh | Cash Incentive | Non-Cash Allocator | Non-cash Incentives | Total Incentives for Bonus Calc
| Homes Total | #REF! | #REF! | 152875 | 100% | 108757.49 | 261632.49
108757.49
provided by MD - EE 2017 file
-108757.49
AC Distributor
| Measure | kW | kWh | Cash Incentive | Non-Cash Allocator | Non-cash Incentives | Total Incentives for Bonus Calc
| Res Central AC | #REF! | #REF! | 91551 | 100% | 90270.01 | 181821.01
| Res Central Heat Pump | #REF! | #REF! | 0 | 0% | 0 | 0
| Total | #REF! | #REF! | 91551 |  | 90270.01 | 181821.01
90270.01
provided by MD - EE 2017 file
0
total non-cash
[6 empty] | 1139955.3 | matches Mark

## Reference 4.0 EULs (2) (hidden)
Residential & Commercial EULs
Sector | TRM Measure | DO NOT DELETE; FOR SEARCH Step 2 tab | Energy Efficiency Measure | EUL (years) | TRM Version
Custom | NA | 1 | Custom | NA | NA | Custom
Residential | 2.1.1 | 2 | Res Standard Compact Fluorescent Lamps (10,000 to 11,000 hour Rated Measure Life) | 11 | 4 | Res Standard Compact Fluorescent Lamps (10,000 to 11,000 hour Rated Measure Life)
Residential | 2.1.1 | 3 | Res Standard Compact Fluorescent Lamps (11,001 to 13,500 hour Rated Measure Life) | 13 | 4 | Res Standard Compact Fluorescent Lamps (11,001 to 13,500 hour Rated Measure Life)
Residential | 2.1.1 | 4 | Res Standard Compact Fluorescent Lamps (13,501 to 17,500 hour Rated Measure Life) | 16 | 4 | Res Standard Compact Fluorescent Lamps (13,501 to 17,500 hour Rated Measure Life)
Residential | 2.1.1 | 5 | Res Standard Compact Fluorescent Lamps (≥ 17,501 hour Rated Measure Life) | 20 | 4 | Res Standard Compact Fluorescent Lamps (≥ 17,501 hour Rated Measure Life)
Residential | 2.1.2 | 6 | Res Specialty Compact Fluorescent Lamps (10,000 to 11,000 hour Rated Measure Life) | 11 | 4 | Res Specialty Compact Fluorescent Lamps (10,000 to 11,000 hour Rated Measure Life)
Residential | 2.1.2 | 7 | Res Specialty Compact Fluorescent Lamps (11,001 to 13,500 hour Rated Measure Life) | 13 | 4 | Res Specialty Compact Fluorescent Lamps (11,001 to 13,500 hour Rated Measure Life)
Residential | 2.1.2 | 8 | Res Specialty Compact Fluorescent Lamps (13,501 to 17,500 hour Rated Measure Life) | 16 | 4 | Res Specialty Compact Fluorescent Lamps (13,501 to 17,500 hour Rated Measure Life)
Residential | 2.1.2 | 9 | Res Specialty Compact Fluorescent Lamps (≥ 17,501 hour Rated Measure Life) | 20 | 4 | Res Specialty Compact Fluorescent Lamps (≥ 17,501 hour Rated Measure Life)
Residential | 2.1.3 | 10 | Res Energy Star Omni-Directional LED Lamps | 20 | 4 | Res Energy Star Omni-Directional LED Lamps
Residential | 2.1.4 | 11 | Res Energy Star Specialty and Directional LED Lamps | 20 | 4 | Res Energy Star Specialty and Directional LED Lamps
Residential | 2.2.1 | 12 | Res AC or HP Tune-Up | 5 | 4 | Res AC or HP Tune-Up
Residential | 2.2.1 | 13 | New Homes | 23 | 4 | New Homes
Residential | 2.2.2 | 14 | Res Duct Efficiency Improvement | 18 | 4 | Res Duct Efficiency Improvement
Residential | 2.2.3 | 15 | Res Central AC | 18 | 4 | Res Central AC
Residential | 2.2.4 | 16 | Res Ground Source Heat Pump | 20 | 4 | Res Ground Source Heat Pump
Residential | 2.2.5 | 17 | Res Central Heat Pump | 15 | 4 | Res Central Heat Pump
Residential | 2.2.6 | 18 | Res Room (Window) Air Conditioner | 8 | 4 | Res Room (Window) Air Conditioner
Residential | 2.3.1 | 19 | Res Air Infiltration | 11 | 4 | Res Air Infiltration
Residential | 2.3.2 | 20 | Res Ceiling Insulation | 25 | 4 | Res Ceiling Insulation
Residential | 2.3.2 | 21 | Res Solar PV | 30 | 4 | Res Solar PV
Residential | 2.3.3 | 22 | Res Attic Encapsulation | 25 | 4 | Res Attic Encapsulation
Residential | 2.3.4 | 23 | Res Wall Insulation | 25 | 4 | Res Wall Insulation
Residential | 2.3.5 | 24 | Res Floor Insulation | 25 | 4 | Res Floor Insulation
Residential | 2.3.6 | 25 | Res Energy Star Windows | 25 | 4 | Res Energy Star Windows
Residential | 2.3.7 | 26 | Res Solar Screens | 10 | 4 | Res Solar Screens
Residential | 2.4.1 | 27 | Res Faucet Aerators | 10 | 4 | Res Faucet Aerators
Residential | 2.4.2 | 28 | Res Low-Flow Showerheads | 10 | 4 | Res Low-Flow Showerheads
Residential | 2.4.3 | 29 | Res Water Heater Pipe Insulation | 13 | 4 | Res Water Heater Pipe Insulation
Residential | 2.4.4 | 30 | Res Water Heater Tank Insulation | 7 | 4 | Res Water Heater Tank Insulation
Residential | 2.4.5 | 31 | Res Water Heater Installation - Tankless | 20 | 4 | Res Water Heater Installation - Tankless
Residential | 2.4.5 | 32 | Res Water Heater Installation - Fuel Substitution | 11 | 4 | Res Water Heater Installation - Fuel Substitution
Residential | 2.4.6 | 33 | Res Heat Pump Water Heater | 13 | 4 | Res Heat Pump Water Heater
Residential | 2.4.7 | 34 | Res Water Heater Replacement-Solar Water Heating | 15 | 4 | Res Water Heater Replacement-Solar Water Heating
Residential | 2.5.1 | 35 | Res Energy Star Ceiling Fans | 10 | 4 | Res Energy Star Ceiling Fans
Residential | 2.5.2 | 36 | Res Energy Star Clothes Washer | 11 | 4 | Res Energy Star Clothes Washer
Residential | 2.5.3 | 37 | Res Energy Star Dishwashers | 15 | 4 | Res Energy Star Dishwashers
Residential | 2.5.4 | 38 | Res Energy Star Refrigerators | 16 | 4 | Res Energy Star Refrigerators
Residential | 2.7.1 | 39 | Res Direct Load Control of Outdoor Compressor Units | 1 | 4 | Res Direct Load Control of Outdoor Compressor Units
Residential | 2.7.2 | 40 | Res Direct Load Control of Swimming Pool Pump Motors | 1 | 4 | Res Direct Load Control of Swimming Pool Pump Motors
Residential | 2.8.1 | 41 | Res Refrigerator/Freezer Recycling | 8 | 4 | Res Refrigerator/Freezer Recycling
Residential | New Measure | 42 | Showerhead Thermostiatic Restrictor Valve | 10 | 4 | Showerhead Thermostiatic Restrictor Valve
Residential | New Measure | 43 | Tub Spout and Showerhead Restrictor valve | 10 | 4 | Tub Spout and Showerhead Restrictor valve
Residential | New Measure | 44 | ENERGY STAR Pool Pumps | 10 | 4 | ENERGY STAR Pool Pumps
Commercial | 2.1.1 | 45 | Comm Lamps and Fixtures: Halogen Lamps | 1.5 | 4 | Comm Lamps and Fixtures: Halogen Lamps
Commercial | 2.1.1 | 46 | Comm Lamps and Fixtures: High Intensity Discharge Lamps | 15.5 | 4 | Comm Lamps and Fixtures: High Intensity Discharge Lamps
Commercial | 2.1.1 | 47 | Comm Lamps and Fixtures: Integrated-ballast CCFL Lamps | 4.5 | 4 | Comm Lamps and Fixtures: Integrated-ballast CCFL Lamps
Commercial | 2.1.1 | 48 | Comm Lamps and Fixtures: Integrated-ballast CFL Lamps | 2.5 | 4 | Comm Lamps and Fixtures: Integrated-ballast CFL Lamps
Commercial | 2.1.1 | 49 | Comm Lamps and Fixtures: Integral LED Lamps | 9 | 4 | Comm Lamps and Fixtures: Integral LED Lamps
Commercial | 2.1.1 | 50 | Comm Lamps and Fixtures: Light Emitting Diode | 15 | 4 | Comm Lamps and Fixtures: Light Emitting Diode
Commercial | 2.1.1 | 51 | Comm Lamps and Fixtures: Modular CFL and CCFL Fixtures | 16 | 4 | Comm Lamps and Fixtures: Modular CFL and CCFL Fixtures
Commercial | 2.1.1 | 52 | Comm Lamps and Fixtures: T8 and T5 Linear Fluorescents | 15.5 | 4 | Comm Lamps and Fixtures: T8 and T5 Linear Fluorescents
Commercial | 2.1.2 | 53 | Comm Lighting Controls: Occupancy Sensor | 10 | 4 | Comm Lighting Controls: Occupancy Sensor
Commercial | 2.1.2 | 54 | Comm Lighting Controls: Photocell (Daylighting Control) | 10 | 4 | Comm Lighting Controls: Photocell (Daylighting Control)
Commercial | 2.1.2 | 55 | Comm Lighting Controls: Timeclock | 10 | 4 | Comm Lighting Controls: Timeclock
Commercial | 2.1.2 | 56 | Comm Lighting Controls: Tuning Control | 10 | 4 | Comm Lighting Controls: Tuning Control
Commercial | 2.2.1 | 57 | Comm AC or HP Tune-Up | 5 | 4 | Comm AC or HP Tune-Up
Commercial | 2.2.2 | 58 | Comm Split System/Single Packaged Heat Pumps and Air Conditioners | 15 | 4 | Comm Split System/Single Packaged Heat Pumps and Air Conditioners
Commercial | 2.2.3 | 59 | Comm HVAC Chillers: Screw / Scroll / Reciprocating Chillers | 20 | 4 | Comm HVAC Chillers: Screw / Scroll / Reciprocating Chillers
Commercial | 2.2.3 | 60 | Comm HVAC Chillers: Centrifugal Chillers | 25 | 4 | Comm HVAC Chillers: Centrifugal Chillers
Commercial | 2.2.4 | 61 | Comm Packaged Terminal Air Conditioners, Heat Pumps | 15 | 4 | Comm Packaged Terminal Air Conditioners, Heat Pumps
Commercial | 2.2.4 | 62 | Comm Room Air Conditioners | 11 | 4 | Comm Room Air Conditioners
Commercial | 2.2.5 | 63 | Comm HVAC VFD on AHU Supply Fans | 15 | 4 | Comm HVAC VFD on AHU Supply Fans
Commercial | 2.3.1 | 64 | Comm Energy Star Roofs | 15 | 4 | Comm Energy Star Roofs
Commercial | 2.3.2 | 65 | Comm Window Film | 10 | 4 | Comm Window Film
Commercial | 2.4.1 | 66 | Comm High Efficiency Combination Ovens | 12 | 4 | Comm High Efficiency Combination Ovens
Commercial | 2.4.2 | 67 | Comm High Efficiency Electric Convention Ovens | 12 | 4 | Comm High Efficiency Electric Convention Ovens
Commercial | 2.4.3 | 68 | Comm Energy Star Commercial Dishwashers | 11 | 4 | Comm Energy Star Commercial Dishwashers
Commercial | 2.4.4 | 69 | Comm Hot Food Holding Cabinets | 12 | 4 | Comm Hot Food Holding Cabinets
Commercial | 2.4.5 | 70 | Comm Energy Star Electric Fryers | 12 | 4 | Comm Energy Star Electric Fryers
Commercial | 2.4.6 | 71 | Comm Pre-Rinse Spray Valves | 5 | 4 | Comm Pre-Rinse Spray Valves
Commercial | 2.4.7 | 72 | Comm Energy Star Electric Steam Cookers | 12 | 4 | Comm Energy Star Electric Steam Cookers
Commercial | 2.5.1 | 73 | Comm Door Heater Controls | 12 | 4 | Comm Door Heater Controls
Commercial | 2.5.2 | 74 | Comm ECM Evaporator Fan Motor | 15 | 4 | Comm ECM Evaporator Fan Motor
Commercial | 2.5.3 | 75 | Comm Electronic Defrost Controls | 10 | 4 | Comm Electronic Defrost Controls
Commercial | 2.5.4 | 76 | Comm Evaporator Fan Controls | 16 | 4 | Comm Evaporator Fan Controls
Commercial | 2.5.5 | 77 | Comm Night Covers for Open Refrigerated Display Cases | 5 | 4 | Comm Night Covers for Open Refrigerated Display Cases
Commercial | 2.5.6 | 78 | Comm Solid and Glass Door Reach-Ins | 12 | 4 | Comm Solid and Glass Door Reach-Ins
Commercial | 2.5.7 | 79 | Comm Strip Curtains for Walk-In Refrigerated Storage | 4 | 4 | Comm Strip Curtains for Walk-In Refrigerated Storage
Commercial | 2.5.8 | 80 | Comm Zero Energy Doors for Refrigerated Cases | 12 | 4 | Comm Zero Energy Doors for Refrigerated Cases
Commercial | 2.6.1 | 81 | Comm Vending Machine Controls | 5 | 4 | Comm Vending Machine Controls
Commercial | 2.6.2 | 82 | Comm Lodging Guest Room Occupancy Sensor Controls | 10 | 4 | Comm Lodging Guest Room Occupancy Sensor Controls
Commercial | 2.6.3 | 83 | Comm Pump-Off Controller | 15 | 4 | Comm Pump-Off Controller
Commercial | 2.1.1 | 84 | M&V AC Tune-Up | 5 | 4 | M&V AC Tune-Up
Commercial | 2.1.2 | 85 | M&V Ground Source HP | 15 | 4 | M&V Ground Source HP
Commercial | 2.3.1 | 86 | Comm Solar Photovoltaic (PV) | 30 | 4 | Comm Solar Photovoltaic (PV)
Commercial | 2.4.1 | 87 | Comm Load Curtailment | 1 | 4 | Comm Load Curtailment
Commercial | New Measure | 88 | Evaporative Pre-cooling | 15 | 4 | Evaporative Pre-cooling
Commercial | New Measure | 89 | ENERGY STAR Pool Pumps | 10 | 4 | ENERGY STAR Pool Pumps