TO:		Forrest Smith, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		June 7, 2021

RE:	Docket No. 52089 – Application of Alpha Utility of Camp County, LLC and CSWR-Texas Operating Utility Company, LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Camp County

CSWR-Texas Operating Utility Company (CSWR) and Alpha Utility of Camp County, LLC (Alpha Utility) (collectively, Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Camp County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, CSWR, certificate of convenience and necessity (CCN) No. 13290, seeks approval to acquire facilities and to transfer all of the water service area from Alpha Utility under water CCN No. 12696.

Based on the mapping review by Tracy Montes, Infrastructure Division, the financial and managerial review by Fred Bednarski, Rate Regulation Division, and my technical and managerial review of the information filed by the Applicants, I recommend that the application be deemed administratively incomplete and not accepted for filing due to the deficiencies detailed below:

Application Content:

The following deficiencies must be remedied:

Question 24.B. Provide details on each required major capital improvement necessary to correct deficiencies to meet the Texas Commission on Environmental Quality (TCEQ) or Commission standards (attach any engineering reports or TCEQ approval letters):

Please submit a copy of the TCEQ submittal letter for the construction of water facilities necessary to serve the requested area or the TCEQ letter(s) approving the same.

Note: Any confidential items should be submitted as confidential filings with the PUC.  The instructions for filing confidential documents can be found on our website at: (http://www.puc.texas.gov/industry/filings/FilingProceed.aspx).