TO:		Phillip Lehmann, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		July 28, 2021

RE:	Docket No. 52090 – Petition of Redbird Development, LLC to Amend Dobbin Plantersville Water Supply Corporation’s Water Certificate of Convenience and Necessity in Montgomery County by Expedited Release

On May 6, 2021, Redbird Development, LLC (Redbird) filed a petition for streamlined expedited release from Dobbin Plantersville Water Supply Corporation's (Dobbin) water certificate of convenience and necessity (CCN) No. 11052 in Montgomery County, under Texas Water Code (TWC) § 13.2541(b) and 16 Texas Administrative Code (TAC) § 24.245(h).  Redbird asserts that the land is at least 25 contiguous acres, is not receiving water service, and is located in Montgomery County, which is a qualifying county.

Gary Horton, of the Infrastructure Division, determined that the map and digital data are sufficient for determining the location of the tract of land considered for streamlined expedited release and that the tract is located within Dobbin’s water CCN.  Furthermore, Redbird provided a warranty deed confirming ownership of the tract of land within Dobbin’s certificated service area.  In addition, Redbird submitted a sworn affidavit attesting that the property was not receiving water service from the CCN holder.

Based on the mapping review by Mr. Horton, it was determined that the total property is approximately 388.5 acres.  The requested area to be released from Dobbin Plantersville WSC, CCN No. 11052, is approximately 372.2 acres.

Dobbin requested to intervene.  Intervention was granted by the Commission on June 9, 2021.  Dobbin’s response to Staff’s 1st RFI indicated there are facilities near the tract of land that are committed to providing service to the CCN area.  The response to the RFI confirmed there are no facilities located within the requested property.

In accordance with TWC § 13.2541 and 16 TAC § 24.245(h), Redbird has met the Commission’s requirements to allow for the release of the tract of land from Dobbin’s CCN No. 11052.  Therefore, I recommend approval of the petition.  Enclosed is a final map and certificate for Commission approval.

Additionally, I recommend that a final map and certificate be provided to the CCN holder.