TO:		Courtney Dean, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		July 15, 2021

RE:	Docket No. 52101 – Petition of CCD-North Sky, LLC to Amend Marilee Special Utility District’s Water Certificate of Convenience and Necessity in Collin County by Expedited Release

On May 10, 2021, CCD-North Sky, LLC (North Sky) filed a petition for streamlined expedited release from Marilee Special Utility District's (Marilee SUD) water certificate of convenience and necessity (CCN) No. 10150 in Collin County, under Texas Water Code (TWC) § 13.2541(b) and 16 Texas Administrative Code (TAC) § 24.245(h). North Sky asserts that the land is at least 25 contiguous acres, is not receiving water service, and is located in Collin County, which is a qualifying county.

In response to Order No. 5, Staff is currently unable to evaluate whether the requested area is receiving water service from Marilee SUD due to discrepancies in the mapping attached to Marilee SUD’s motion to dismiss. Specifically, Marilee SUD’s maps do not include scaling information that would allow Staff to accurately determine the exact location of the meters in relation to the portion of the property receiving service. In order to make this determination, Staff requests that Marilee SUD resubmit the revised maps and include a scale bar.

Mapping Content:

Based on the mapping review by Tracy Montes, the maps filed by Marilee SUD on June 16, 2021 do not include a scale bar identifying the units of measure used to create the maps. A scale bar is required to determine the measured distances between meters and other landmarks shown on their maps. Until a scale bar is submitted with the revised maps, Staff will not be able to determine if the meters found on Marilee SUD’s maps were accurately removed from the petitioner’s revised maps filed on July 6, 2021. Staff is unable to determine if the revised mapping documents provided by the petitioner have accurately removed the meters from the tract of land they are seeking to be released from Marilee SUD’s CCN service area.

Staff requests that Marilee SUD provide revised detailed maps to replace those filed on June 16, 2021, including a scale bar indicating the units of measure and identifying the same meters of interest shown in reference to verifiable man-made and natural landmarks.