TO:		Mildred Anaele, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		October 21, 2021

RE:	Docket No. 52101 – Petition of CCD-North Sky, LLC to Amend Marilee Special Utility District’s Water Certificate of Convenience and Necessity in Collin County by Expedited Release

On May 10, 2021, CCD-North Sky, LLC (North Sky) filed a petition for streamlined expedited release from Marilee Special Utility District's (Marilee SUD) water certificate of convenience and necessity (CCN) No. 10150 in Collin County, under Texas Water Code (TWC) § 13.2541(b) and 16 Texas Administrative Code (TAC) § 24.245(h). North Sky asserts that the land is at least 25 contiguous acres, is not receiving water service, and is located in Collin County, which is a qualifying county.

Tracy Montes, Infrastructure Division, determined the map and digital data are sufficient for determining the location of the tract of land considered for streamlined expedited release is located within Marilee SUD’s water CCN.  Furthermore, North Sky provided a warranty deed confirming ownership of the tract of land within Marilee SUD’s certificated service area.  In addition, North Sky submitted a sworn affidavit attesting that the property was not receiving water service from the CCN holder.

The entire tract of land is approximately 220.4 acres.  The portion of the tract considered for release from Marilee SUD (CCN No. 10150) is approximately 219.67 acres.

Marilee SUD requested to intervene.  Marilee SUD provided documentation demonstrating that it is currently providing service to the tract of land.

(1) Marilee SUD has an active two-inch waterline located within the property served off the 6” waterline at the corner of CR #99 and Louisiana through Meter #241 (the "meter");

(2) The meter is located within the property and actively supplies water to a billed

residential connection located at 3170 North Louisiana Drive, Celina, Texas 75009,

and remains on today;

(3) The meter has been providing water service to the residence there since December 5, 1981;

(4) Through the meter and the 2" waterline connected to it, Marilee SUD provides actual water service on the property; and

(5) Though Marilee SUD has not received a request for water service to the requested area specifically from petitioner CCD-North Sky, LLC, if petitioner did request service from Marilee SUD, all facilities are in place to deliver water to the requested area

However, based on my review of the petition, I have determined that the portion of the tract of land considered for streamlined expedited release is not currently receiving service from Marilee SUD.

In accordance with TWC § 13.2541 and 16 TAC § 24.245(h), North Sky have met the Commission’s requirements to allow for the release of the tract of land from Marilee SUD’s CCN No. 10150. Therefore, I recommend approval of the petition.  Enclosed is a final map and certificate for Commission approval.

Additionally, I recommend that a final map and certificate be provided to the CCN holder.