TO:		Phillip Lehmann, Attorney

Legal Division

FROM:	Heidi Graham, Lead Engineering Specialist

Infrastructure Division

DATE:		October 29, 2021

RE:	Docket No. 52127 – Application of Undine Development LLC to Amend Its Sewer Certificate of Convenience and Necessity in Travis County

- Application

On May 13, 2021, Undine Development, LLC (Undine) filed with the Public Utility Commission of Texas (Commission) an application to amend its sewer CCN No. 20948 in Travis County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

The requested area includes 0 current customers and approximately 17 acres of uncertificated area. The requested area includes approximately 17 acres of uncertificated area. The result of the application will be the addition of approximately 17 acres to CCN No. 20948.

- Notice

The deadline to intervene was August 26, 2021; there were no motions to intervene, protests, or opt-out requests received.

- Factors Considered

Under TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227, the Commission must consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

There are no customers in the requested area.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

There is a need for service as there will be approximately 46 future customers in the requested area.

Undine received a request from VCT Addie, LLC, for wastewater service to serve The Addie Development in the requested area. The Addie Development will consist of 46 single family residences.  Service was requested from neighboring utilities and none of them were able to provide the requested service.

  - Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

Undine will be the certificated entity for the requested area and will be required to provide adequate and continuous service to the requested area.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the CCN amendment requested in this application and did not request to intervene.

  - Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

Undine has a Texas Commission on Environmental Quality (TCEQ) approved wastewater treatment plant, registered as Addie Wastewater Treatment Facility, Wastewater Discharge Permit No. WQ0015473001.  Undine does not have any violations listed in the TCEQ database.  Additional construction is necessary for Undine to serve the requested area. The developer will be constructing the necessary wastewater facilities. In addition, the Commission’s complaint records, which go back to 2014, show no complaints against Undine.

  - The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

Service was requested from neighboring utilities and none of them were able to provide service. Undine has approval from TCEQ to construct wastewater facilities in the requested area to serve future customers and will have sufficient capacity to serve the area.  Therefore, concerns of regionalization or consolidation do not apply.

  - Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

Undine has approval from TCEQ to construct wastewater facilities in the requested area to serve any future customers and has sufficient capacity. Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC § 24.227(e)(7) and (9)).

The environmental integrity of the land will not be minimally affected as additional construction is needed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

Future residents of the planned development will have sewer service.

- Recommendation

Based on the mapping review by Tracy Montes of the Infrastructure Division, the financial and managerial review by Fred Bednarski of the Rate Regulation Division, and my technical and managerial review, I recommend that Undine meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations is, therefore, capable of providing continuous and adequate service. I further recommend that approving this application to amend sewer CCN No. 20948 is necessary for the service, accommodation, convenience, and safety of the public.

Based on the above information, I recommend that Undine meets all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations and is capable of providing continuous and adequate service. I also recommend that approving this application to amend sewer CCN No. 20948 is necessary for the service, accommodation, convenience, and safety of the public.

Undine consented to the attached map, tariff, and certificate on September 30, 2021.