TO:		Merritt Lander, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		October 19, 2021

RE:	Docket No. 52172 – Application of Aqua Texas, Inc. to Amend Its Certificate of Convenience and Necessity in Collin County

- Application

On May 27, 2021, Aqua Texas, Inc. (Aqua Texas) filed with the Public Utility Commission of Texas (Commission) an application to amend its water certificate of convenience and necessity (CCN) No. 13201 in Collin County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

The requested area includes 0 current customers and approximately 138 acres, comprised of 138 acres of uncertificated area.

The result of the application will be the addition of approximately 138 acres to CCN No. 13201.

- Notice

The deadline to intervene was September 3, 2021; there were no motions to intervene, protests, or opt-out requests received.

- Factors Considered

Under TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227, the Commission must consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

There are no customers in the requested area.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

There is a need for service as there will be over 900 duplex units built in the area that will require water service.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

Aqua Texas will be the certificated entity for the requested area and will be required to provide adequate and continuous service to the requested area.

The landowners in the area will have a water provider available when they need to request water service.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the CCN amendment requested in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

Aqua Texas has approximately 86 Texas Commission on Environmental Quality (TCEQ) approved public water systems (PWS) serving over 10,000 customer connections.  The Commission’s complaint records, which go back to 2014, show 752 complaints against Aqua Texas.

3.5.	The applicant’s demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The neighboring utilities are the City of McKinney and the City of Prosper.  The requested area was released from the City of McKinney in Docket No. 48770 through a streamlined expedited release.  Neither the City of McKinney nor the City of Prosper have facilities near the requested area to provide the required water service.  TCEQ has approved plans for Aqua Texas to build facilities in the requested area to serve future customers and has verified that the water plant built to serve the area will have sufficient capacity.  Therefore, regionalization or consolidation is not feasible.

3.6.	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

Aqua Texas received a request for service for the requested area from a developer.  The neighboring utilities, the City of McKinney and the City of Prosper, do not have facilities near the requested area to provide the required water service.  TCEQ has approved plans for PWS ID: 0430077 registered as North Custer Road Plant to build facilities in the requested area to serve future customers and has verified that the water plant built to serve the area will have sufficient capacity.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC § 24.227(e)(7) and (9)).

The environmental integrity of the land will be minimally affected as the water treatment plant needed to provide service to the requested area is constructed.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

Future residents of the planned development will have water service available for use.

- Recommendation

Based on the mapping review by Gary Horton, Infrastructure Division, and my technical and managerial review, I recommend that Aqua Texas meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission’s Chapter 24 rules and regulations and is capable of providing continuous and adequate service.  I further recommend that approving this application to amend water CCN No. 13201 of Aqua Texas is necessary for the service, accommodation, convenience, and safety of the public.

Aqua Texas consented to the attached map, tariff, and certificate on October 13, 2021.