## Sheet1
(a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i)
Name of Resource | Location | Type of Resources | Commercial Operation Date | Expected Retirement Date | Rated Capacity | Net Dependable Capacity | Capacity Current Capacity Plan | Designation
Newman Unit 5 Steam Unit | Newman Power Station, Texas | Gas (Steam HRSG for Combined-Cycle) | April 2011 | December 2061 | 157.6 MVA | 132 MW | 132 MW | System (TX/NM)
Wrangler CPV | El Paso, Texas | Solar | October 2011 | December 2033 | 48 kWAC | 33.6 kWAC | (1) | Texas (2)
Stanton PV | El Paso, Texas | Solar | January 2012 | December 2034 | 31 kWAC | 21.7 kWAC | (1) | Texas (2)
EPCC PV | El Paso, Texas | Solar | January 2012 | December 2034 | 14 kWAC | 9.8 kWAC | (1) | Texas (2)
Rio Grande Unit 9 | Rio Grande Power Station, New Mexico | Gas CT | May 2013 | December 2058 | 155 MVA | 88 MW | 88 MW | System (TX/NM)
Van Horn PV | Van Horn, Texas | Solar | August 2013 | December 2035 | 15.4 kWAC | 10.8 kWAC | (1) | Texas (2)
MPS Unit 1 | Montana Power Station, Texas | Gas CT | March 2015 | December 2060 | 155 MVA | 88 MW | 88 MW | System (TX/NM)
MPS Unit 2 | Montana Power Station, Texas | Gas CT | March 2015 | December 2060 | 155 MVA | 88 MW | 88 MW | System (TX/NM)
MPS Unit 3 | Montana Power Station, Texas | Gas CT | May 2016 | December 2061 | 155 MVA | 88 MW | 88 MW | System (TX/NM)
MPS Unit 4 | Montana Power Station, Texas | Gas CT | September 2016 | December 2061 | 155 MVA |  | 88 MW | System (TX/NM)
Texas Community Solar 1 | Montana Power Station, Texas | Solar | May 2017 | December 2047 | 3 MWAC | 2.1 MWAC | 2.1 MWAC | Dedicated Community Solar (Texas) (3)
Holloman Solar Array | Holloman, New Mexico | Solar | October 2018 | December 2048 | 5 MWAC | 3.5 MWAC | 3.5 MWAC | Dedicated Customer (New Mexico)
(f) Rated capacity provided as nameplate rating.
(g) Net dependable generation per 2020 Loads and Resources planning document in effect. | [7 empty] | SOAH Docket No. 473-21-2606 PUC Docket No. 52195 OPUC's 5th, Q. No. OPUC 5-1 Page 1 of 1
(1) These solar facilities are less than 0.1 MW in aggregate and are not separately denoted in the Loads and Resources table.
(2) See Docket No. 39973, (FOF 25).
(3) Community solar facility part of Docket No. 44800.