## Exhibit GN-6
[12 empty] | SOAH Docket No. 473-21-2606 | [11 empty] | SOAH Docket No. 473-21-2606
[12 empty] | PUC Docket No. 52195 | [11 empty] | PUC Docket No. 52195
[12 empty] | FMI's 1st, Q. No. FMI 1-2 | [11 empty] | FMI's 1st, Q. No. FMI 1-2
[12 empty] | Attachment 1 | [11 empty] | Attachment 1
[12 empty] | Page 1 of 8 | [11 empty] | Page 2 of 8
ENERGY (GWH) | 2020 (1) | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 10-YR (7) | ENERGY (GWH) | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 20-YR (1)
Native System Forecast (NFL) (2) | [11 empty] | CAGR | Native System Forecast (NFL) | [10 empty] | CAGR
Upper Bound |  | 9126.788 | 9336.9987 | 9495.8537 | 9640.4865 | 9789.1248 | 9953.9885 | 10133.6392 | 10317.3497 | 10510.4165 | 10712.161 |  | Upper Bound | 10914.6664 | 11117.0346 | 11328.2892 | 11547.8842 | 11772.6854 | 12000.2418 | 12232.3417 | 12471.0732 | 12716.9859 | 12979.4189
Expected: | 8674.263 | 8847.64 | 9056.723 | 9210.2427 | 9347.8812 | 9488.7572 | 9645.217 | 9815.5796 | 9988.9883 | 10170.9353 | 10360.7639 | 1.8 | Expected: | 10550.598 | 10739.7632 | 10937.4754 | 11143.1402 | 11353.6003 | 11566.4532 | 11783.5729 | 12007.0819 | 12237.5197 | 12484.2092 | 1.8
Lower Bound |  | 8568.4919 | 8776.4473 | 8924.6318 | 9055.2758 | 9188.3896 | 9336.4455 | 9497.52 | 9660.6269 | 9831.4542 | 10009.3668 |  | Lower Bound | 10186.5296 | 10362.4917 | 10546.6616 | 10738.3961 | 10934.5153 | 11132.6645 | 11334.8042 | 11543.0906 | 11758.0535 | 11988.9994
Less: DG (3) |  | 36.7751 | 73.3663 | 103.7481 | 134.059 | 164.1329 | 194.053 | 223.8194 | 253.5149 | 282.9734 | 312.2782 |  | Less: DG | 341.4292 | 370.5093 | 399.3524 | 428.0417 | 456.5773 | 485.042 | 513.2697 | 541.3436 | 569.2638 | 597.1131
Less: EE (4) |  | 40.1191 | 80.6903 | 121.0354 | 161.3805 | 201.7256 | 242.0708 | 282.4159 | 322.761 | 363.1062 | 403.4513 |  | Less: EE | 443.7964 | 484.1415 | 524.4867 | 564.8318 | 605.1769 | 645.5221 | 685.8672 | 726.2123 | 766.5575 | 806.9026
Plus: EV (5) |  | 0.87005 | 2.0153 | 3.5228 | 5.5071 | 8.119 | 11.5571 | 16.0827 | 22.0397 | 29.8808 | 40.2022 |  | Plus: EE (5) | 53.7881 | 71.6713 | 95.2109 | 126.1961 | 166.9819 | 220.6682 | 291.3354 | 384.3546 | 506.7956 | 667.9646
Native System Energy | [12 empty] | Native System Energy:
Upper Bound |  | 9050.764 | 9182.6996 | 9268.0213 | 9338.4112 | 9412.8392 | 9503.8992 | 9610.5542 | 9722.4676 | 9845.7199 | 9980.2674 |  | Upper Bound | 10119.0921 | 10262.3782 | 10420.7912 | 10595.5851 | 10786.0916 | 10993.0158 | 11222.5584 | 11482.3015 | 11780.1267 | 12134.9407
Expected: | 8674.263 | 8771.6159 | 8904.6818 | 8988.9821 | 9057.9488 | 9131.0177 | 9220.6503 | 9325.4269 | 9434.752 | 9554.7366 | 9685.2366 | 1.1 | Expected: | 9819.1605 | 9956.7837 | 10108.8473 | 10276.4628 | 10458.828 | 10656.5573 | 10875.7714 | 11123.8805 | 11408.494 | 11748.1581 | 1.5
Lower Bound |  | 8492.4678 | 8626.6639 | 8709.9428 | 8777.4863 | 8849.1962 | 8937.4015 | 9040.2997 | 9147.0364 | 9263.7532 | 9390.2058 |  | Lower Bound | 9519.2289 | 9651.1891 | 9796.9033 | 9957.3405 | 10131.5644 | 10320.0988 | 10528.9845 | 10765.4596 | 11036.8613 | 11361.3756
Total System Net Energy (6) | [12 empty] | Total System Net Energy:
Upper Bound |  | 9013.6525 | 9144.5496 | 9228.9681 | 9298.6247 | 9372.4677 | 9463.0599 | 9569.3374 | 9680.9464 | 9803.9575 | 9938.3175 |  | Upper Bound | 10077.0013 | 10220.1874 | 10378.5356 | 10553.2951 | 10743.794 | 10950.7339 | 11180.3127 | 11440.1102 | 11738.0065 | 12092.9073
Expected: | 8506.854 | 8734.5044 | 8867.5703 | 8951.8706 | 9020.8373 | 9093.9062 | 9183.5388 | 9288.3154 | 9397.6405 | 9517.6251 | 9648.1251 | 1.3 | Expected: | 9782.049 | 9919.6722 | 10071.7358 | 10239.3513 | 10421.7165 | 10619.4458 | 10838.6599 | 11086.769 | 11371.3825 | 11711.0466 | 1.6
Lower Bound |  | 8455.3563 | 8590.591 | 8674.773 | 8743.0498 | 8815.3447 | 8904.0178 | 9007.2935 | 9114.3345 | 9231.2927 | 9357.9327 |  | Lower Bound | 9487.0967 | 9619.1569 | 9764.9359 | 9925.4075 | 10099.639 | 10288.1577 | 10497.0072 | 10733.4278 | 11004.7585 | 11329.1859
DEMAND (MW) | [12 empty] | DEMAND (MW)
Native System Forecast (NFL) | [12 empty] | Native System Forecast
Upper Bound |  | 2258.8938 | 2313.0324 | 2353.6824 | 2383.827 | 2426.4233 | 2466.4633 | 2509.6799 | 2546.975 | 2599.3327 | 2647.1772 |  | Upper Bound | 2695.0654 | 2735.7345 | 2792.5303 | 2844.3534 | 2897.4025 | 2943.4671 | 3005.7711 | 3062.1849 | 3120.3446 | 3174.2712
Expected: | 2173 | 2137.2142 | 2187.7198 | 2224.8037 | 2251.8817 | 2292.081 | 2329.875 | 2371.0274 | 2406.3229 | 2456.8662 | 2502.7208 | 1.4 | Expected: | 2548.5766 | 2587.1827 | 2642.0298 | 2691.7097 | 2742.5479 | 2786.3303 | 2846.411 | 2900.4013 | 2956.0653 | 3007.4155 | 1.6
Lower Bound |  | 2015.5347 | 2062.4073 | 2095.9249 | 2119.9365 | 2157.7387 | 2193.2867 | 2232.3748 | 2265.6708 | 2314.3998 | 2358.2643 |  | Lower Bound | 2402.0879 | 2438.6309 | 2491.5293 | 2539.0659 | 2587.6933 | 2629.1935 | 2687.0509 | 2738.6177 | 2791.786 | 2840.5598
Less: DG |  | 9.2741 | 18.5018 | 26.1644 | 33.7882 | 41.3732 | 48.9194 | 56.4269 | 63.8956 | 71.3255 | 78.7167 |  | Less: DG | 86.069 | 93.3826 | 100.6574 | 107.8934 | 115.0907 | 122.2492 | 129.3689 | 136.4498 | 143.492 | 150.4953
Less: EE |  | 7.688 | 15.3761 | 23.0641 | 30.7521 | 38.4402 | 46.1282 | 53.8162 | 61.5043 | 69.1923 | 76.8803 |  | Less: EE | 84.5684 | 92.2564 | 99.9444 | 107.6325 | 115.3205 | 123.0086 | 130.6966 | 138.3846 | 146.0727 | 153.7607
Plus: EV |  | 0.42338 | 0.98068 | 1.7142 | 2.6798 | 3.9509 | 5.6239 | 7.8261 | 10.7249 | 14.5405 | 19.5631 |  | Plus: EV | 26.1742 | 34.8765 | 46.3313 | 61.4092 | 81.2562 | 107.3809 | 141.7687 | 187.0334 | 246.6153 | 325.0429
Native System Demand: | [12 empty] | Native System Demand:
Upper Bound |  | 2242.3551 | 2279.5332 | 2304.5544 | 2319.1367 | 2346.4113 | 2371.4866 | 2400.2695 | 2423.8522 | 2463.4795 | 2499.8538 |  | Upper Bound | 2537.9534 | 2571.0452 | 2623.1764 | 2674.1275 | 2731.2969 | 2788.0366 | 2869.6268 | 2956.6427 | 3060.2837 | 3179.2636
Expected: | 2173 | 2120.6755 | 2154.8226 | 2177.2894 | 2190.0213 | 2216.2184 | 2240.4512 | 2268.6103 | 2291.6479 | 2330.8889 | 2366.6868 | 0.9 | Expected: | 2404.1134 | 2436.4202 | 2487.7592 | 2537.5929 | 2593.3929 | 2648.4535 | 2728.1143 | 2812.6003 | 2913.116 | 3028.2024 | 1.7
Lower Bound |  | 1998.9959 | 2030.112 | 2050.0245 | 2060.9058 | 2086.0256 | 2109.4159 | 2136.9511 | 2159.4436 | 2198.2983 | 2233.5198 |  | Lower Bound | 2270.2734 | 2301.7951 | 2352.3419 | 2401.0582 | 2455.4889 | 2508.8703 | 2586.6018 | 2668.5579 | 2765.9482 | 2877.1411
Total System Demand | [12 empty] | Total System Demand:
Upper Bound |  | 2232.1833 | 2269.2283 | 2294.1567 | 2308.6765 | 2335.9108 | 2360.9615 | 2389.7317 | 2413.3107 | 2452.9412 | 2489.3245 |  | Upper Bound | 2527.4375 | 2560.5463 | 2612.6972 | 2663.6709 | 2720.8652 | 2777.6318 | 2859.2506 | 2946.2978 | 3049.9723 | 3168.9883
Expected: | 2147 | 2111.7109 | 2145.8581 | 2168.3249 | 2181.0567 | 2207.2539 | 2231.4867 | 2259.6458 | 2282.6833 | 2321.9244 | 2357.7222 | 0.9 | Expected: | 2395.1489 | 2427.4556 | 2478.7946 | 2528.6283 | 2584.4283 | 2639.4889 | 2719.1497 | 2803.6357 | 2904.1514 | 3019.2378 | 1.7
Lower Bound |  | 1991.2386 | 2022.4878 | 2042.493 | 2053.4369 | 2078.5969 | 2102.0118 | 2129.5598 | 2152.0559 | 2190.9075 | 2226.12 |  | Lower Bound | 2262.8602 | 2294.3649 | 2344.892 | 2393.5858 | 2447.9915 | 2501.3459 | 2579.0488 | 2660.9737 | 2758.3306 | 2869.4873
Interruptible Load |  | 56.0875 | 56.0875 | 56.0875 | 56.0875 | 56.0875 | 56.0875 | 56.0875 | 56.0875 | 56.0875 | 56.0875 |  | Interruptible Load: | 56.0875 | 56.0875 | 56.0875 | 56.0875 | 56.0875 | 56.0875 | 56.0875 | 56.0875 | 56.0875 | 56.0875
Upper Bound |  | 2176.0957 | 2211.2431 | 2234.6973 | 2248.0905 | 2274.4723 | 2298.8548 | 2327.1039 | 2350.2752 | 2389.593 | 2425.7327 |  | Upper Bound | 2463.6628 | 2496.6398 | 2548.7024 | 2599.6241 | 2656.7987 | 2713.5745 | 2795.2271 | 2882.3352 | 2986.0954 | 3105.2228
Expected: | 2147 | 2055.6234 | 2089.7705 | 2112.2373 | 2124.9692 | 2151.1663 | 2175.3991 | 2203.5582 | 2226.5958 | 2265.8368 | 2301.6347 | 0.7 | Expected: | 2339.0613 | 2371.3681 | 2422.7071 | 2472.5408 | 2528.3408 | 2583.4014 | 2663.0622 | 2747.5482 | 2848.0639 | 2963.1503 | 1.6
Lower Bound |  | 1935.1511 | 1968.298 | 1989.7774 | 2001.8478 | 2027.8604 | 2051.9435 | 2080.0125 | 2102.9163 | 2142.0807 | 2177.5367 |  | Lower Bound | 2214.4598 | 2246.0964 | 2296.7117 | 2345.4575 | 2399.8829 | 2453.2283 | 2530.8972 | 2612.7613 | 2710.0324 | 2821.0778
Footnotes: | [12 empty] | Footnotes:
(1) 2020 are Actual data, Native System Peak occurred on July 13. | [12 empty] | (1) 20-Year Compounded Average Growth Rate.
(2) Net For Load is forecasted load before the removal of DG and EE.
(3) Impact from Distributed Generation.
(4) Impact from Energy Efficiency.
(5) Impact from Electric Vehicles.
(6) Total System includes transmission wheeling Losses To Others.
(7) 10-Year Compounded Average Growth Rate.

## Input
[11 empty] | SOAH Docket No. 473-21-2606 | [9 empty] | SOAH Docket No. 473-21-2606
[11 empty] | PUC Docket No. 52195 | [9 empty] | PUC Docket No. 52195
[11 empty] | FMI's 1st, Q. No. FMI 1-2 | [9 empty] | FMI's 1st, Q. No. FMI 1-2
[11 empty] | Attachment 1 | [9 empty] | Attachment 1
[11 empty] | Page 3 of 8 | [9 empty] | Page 4 of 8
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Sales Forecasts
TX Residential |  | 2548619.8505 | 2630734.833 | 2705390.6013 | 2769327.6442 | 2836687.0654 | 2911623.9606 | 2997171.4151 | 3086017.2107 | 3176625.9421 | 3273663.5147 | 3374050.3338 | 3470835.3142 | 3572612.7511 | 3679066.5271 | 3790288.7174 | 3904028.3133 | 4018420.7544 | 4136385.2872 | 4257208.2012 | 4384824.7573
TX Small C&I |  | 1863659.4436 | 1901285.772 | 1923505.2858 | 1942160.2523 | 1961062.3029 | 1982669.6261 | 2005126.8128 | 2027717.6418 | 2052315.7178 | 2078570.6237 | 2102977.92 | 2128721.4893 | 2155639.4623 | 2183264.4277 | 2211184.6774 | 2238617.9664 | 2266630.654 | 2294995.777 | 2325038.2656 | 2357848.363
TX Large C&I |  | 910470.7752 | 915709.5595 | 920270.7181 | 924241.9004 | 927699.4186 | 930709.7141 | 933330.6342 | 935612.5438 | 937599.2932 | 939329.0607 | 940835.0864 | 942146.3109 | 943287.9312 | 944281.8853 | 945147.2736 | 945900.7257 | 946556.7203 | 947127.8634 | 947625.1304 | 948058.0769
TX Street Lighting |  | 38842.5119 | 39341.8003 | 39762.6913 | 40188.3097 | 40617.7122 | 41047.5204 | 41462.4393 | 41859.9454 | 42265.9867 | 42692.3899 | 43155.143 | 43619.8675 | 44068.0036 | 44498.6931 | 44918.1317 | 45333.1884 | 45732.8384 | 46118.3265 | 46490.1777 | 46851.689
TX OPA |  | 1098802.0962 | 1116932.3704 | 1127163.4172 | 1137598.4738 | 1146861.1072 | 1155861.262 | 1163721.1463 | 1167952.6072 | 1174535.555 | 1181460.1707 | 1186862.52 | 1192404.9063 | 1198250.5791 | 1203751.5807 | 1208464.0432 | 1212809.1912 | 1218131.1832 | 1223484.2386 | 1229512.2028 | 1237871.2212
NM Residential |  | 807578.7559 | 839513.852 | 861530.1912 | 882967.7366 | 904633.7492 | 929084.3581 | 955151.2725 | 982672.9404 | 1011638.0802 | 1040411.3725 | 1067928.1902 | 1096653.5261 | 1126002.5423 | 1157159.7097 | 1189258.2827 | 1221538.0935 | 1254518.6046 | 1288939.6584 | 1324372.1534 | 1362948.1809
NM Small C&I |  | 500347.0857 | 513497.0058 | 521041.5035 | 528316.2298 | 537234.8995 | 547884.1633 | 559455.5012 | 572531.7105 | 585773.4645 | 597469.7213 | 611943.1937 | 626085.7316 | 641013.4212 | 656163.5465 | 670576.7825 | 685816.4229 | 702501.6291 | 719967.6939 | 737745.1428 | 754841.3161
NM Large C&I |  | 70922.5471 | 70565.2669 | 70420.9295 | 70362.6188 | 70339.0619 | 70329.5452 | 70325.7005 | 70324.1473 | 70323.5198 | 70323.2663 | 70323.1639 | 70323.1226 | 70323.1059 | 70323.0991 | 70323.0964 | 70323.0953 | 70323.0948 | 70323.0946 | 70323.0946 | 70323.0945
NM Street Lighting |  | 1852.9021 | 1889.5668 | 1919.1818 | 1948.6751 | 1979.9302 | 2011.4964 | 2043.3939 | 2075.1379 | 2107.197 | 2139.6701 | 2173.3382 | 2207.7155 | 2242.5242 | 2277.9813 | 2313.28 | 2348.8383 | 2384.2179 | 2419.1608 | 2453.5286 | 2487.6252
NM OPA |  | 357745.381 | 363637.343 | 364390.885 | 365714.3373 | 366169.2874 | 367098.0426 | 368570.8618 | 370483.1651 | 372936.2765 | 376306.9648 | 378367.5599 | 381241.3508 | 384416.0581 | 388124.1294 | 391977.1678 | 395512.5323 | 398795.9311 | 401977.3943 | 405193.7992 | 409332.1089
EE Energy Forecast
TX Residential |  | 5410.2332 | 10918.589 | 16377.8835 | 21837.178 | 27296.4725 | 32755.767 | 38215.0615 | 43674.356 | 49133.6505 | 54592.945 | 60052.2395 | 65511.534 | 70970.8285 | 76430.123 | 81889.4175 | 87348.712 | 92808.0065 | 98267.301 | 103726.5955 | 109185.89
TX Small C&I |  | 16694.3668 | 33691.511 | 50537.2665 | 67383.022 | 84228.7775 | 101074.533 | 117920.2885 | 134766.044 | 151611.7995 | 168457.555 | 185303.3105 | 202149.066 | 218994.8215 | 235840.577 | 252686.3325 | 269532.088 | 286377.8435 | 303223.599 | 320069.3545 | 336915.11
TX Large C&I |  | 1163.4 | 2347.9 | 3521.85 | 4695.8 | 5869.75 | 7043.7 | 8217.65 | 9391.6 | 10565.55 | 11739.5 | 12913.45 | 14087.4 | 15261.35 | 16435.3 | 17609.25 | 18783.2 | 19957.15 | 21131.1 | 22305.05 | 23479
NM Residential |  | 8685.1088 | 17370.7961 | 26056.1942 | 34741.5923 | 43426.9903 | 52112.3884 | 60797.7865 | 69483.1845 | 78168.5826 | 86853.9806 | 95539.3787 | 104224.7768 | 112910.1748 | 121595.5729 | 130280.971 | 138966.369 | 147651.7671 | 156337.1652 | 165022.5632 | 173707.9613
NM Small C&I |  | 5148.5705 | 10297.4839 | 15446.2258 | 20594.9677 | 25743.7097 | 30892.4516 | 36041.1935 | 41189.9355 | 46338.6774 | 51487.4194 | 56636.1613 | 61784.9032 | 66933.6452 | 72082.3871 | 77231.129 | 82379.871 | 87528.6129 | 92677.3548 | 97826.0968 | 102974.8387
NM Large C&I |  | 427.8457 | 855.72 | 1283.58 | 1711.44 | 2139.3 | 2567.16 | 2995.02 | 3422.88 | 3850.74 | 4278.6 | 4706.46 | 5134.32 | 5562.18 | 5990.04 | 6417.9 | 6845.76 | 7273.62 | 7701.48 | 8129.34 | 8557.2
EE Demand Forecast
TX Residential |  | 2.0552 | 4.1104 | 6.1656 | 8.2209 | 10.2761 | 12.3313 | 14.3865 | 16.4417 | 18.4969 | 20.5522 | 22.6074 | 24.6626 | 26.7178 | 28.773 | 30.8282 | 32.8834 | 34.9387 | 36.9939 | 39.0491 | 41.1043
TX Small C&I |  | 3.0073 | 6.0147 | 9.022 | 12.0293 | 15.0367 | 18.044 | 21.0513 | 24.0587 | 27.066 | 30.0733 | 33.0807 | 36.088 | 39.0954 | 42.1027 | 45.11 | 48.1174 | 51.1247 | 54.132 | 57.1394 | 60.1467
TX Large C&I |  | 0.26645 | 0.5329 | 0.79935 | 1.0658 | 1.3322 | 1.5987 | 1.8651 | 2.1316 | 2.398 | 2.6645 | 2.9309 | 3.1974 | 3.4638 | 3.7303 | 3.9967 | 4.2632 | 4.5296 | 4.7961 | 5.0625 | 5.329
NM Residential |  | 1.3807 | 2.7614 | 4.1422 | 5.5229 | 6.9036 | 8.2843 | 9.665 | 11.0457 | 12.4265 | 13.8072 | 15.1879 | 16.5686 | 17.9493 | 19.3301 | 20.7108 | 22.0915 | 23.4722 | 24.8529 | 26.2336 | 27.6144
NM Small C&I |  | 0.38468 | 0.76936 | 1.154 | 1.5387 | 1.9234 | 2.3081 | 2.6928 | 3.0775 | 3.4621 | 3.8468 | 4.2315 | 4.6162 | 5.0009 | 5.3855 | 5.7702 | 6.1549 | 6.5396 | 6.9243 | 7.309 | 7.6936
NM Large C&I |  | 0.0546 | 0.1092 | 0.1638 | 0.2184 | 0.273 | 0.3276 | 0.3822 | 0.4368 | 0.4914 | 0.546 | 0.6006 | 0.6552 | 0.7098 | 0.7644 | 0.819 | 0.8736 | 0.9282 | 0.9828 | 1.0374 | 1.092
[11 empty] | SOAH Docket No. 473-21-2606 | [9 empty] | SOAH Docket No. 473-21-2606
[11 empty] | PUC Docket No. 52195 | [9 empty] | PUC Docket No. 52195
[11 empty] | FMI's 1st, Q. No. FMI 1-2 | [9 empty] | FMI's 1st, Q. No. FMI 1-2
[11 empty] | Attachment 1 | [9 empty] | Attachment 1
[11 empty] | Page 5 of 8 | [9 empty] | Page 6 of 8
EV Demand Forecast |  | 0.3937 | 0.91192 | 1.5941 | 2.4919 | 3.6738 | 5.2296 | 7.2774 | 9.9729 | 13.521 | 18.1914 | 24.3391 | 32.4312 | 43.0828 | 57.1036 | 75.5591 | 99.852 | 131.8288 | 173.9199 | 229.3243 | 302.253
EV Energy Forecast |  | 0.81389 | 1.8852 | 3.2954 | 5.1516 | 7.595 | 10.8111 | 15.0446 | 20.6171 | 27.9521 | 37.6073 | 50.3163 | 67.0452 | 89.0654 | 118.0506 | 156.2038 | 206.4249 | 272.5308 | 359.5459 | 474.0838 | 624.85
Other Forecasts
RGEC MWH |  | 64792.5933 | 65997.7834 | 67202.9736 | 68408.1638 | 69613.3539 | 70818.5441 | 72023.7343 | 73228.9244 | 74434.1146 | 75639.3047 | 76844.4949 | 78049.6851 | 79254.8752 | 80460.0654 | 81665.2556 | 82870.4457 | 84075.6359 | 85280.8261 | 86486.0162 | 87691.2064
Company Use MWH |  | 12923.5444 | 13039.8563 | 13157.215 | 13275.63 | 13395.1106 | 13515.6666 | 13637.3076 | 13760.0434 | 13883.8838 | 14008.8388 | 14134.9183 | 14262.1326 | 14390.4918 | 14520.0062 | 14650.6862 | 14782.5424 | 14915.5853 | 15049.8256 | 15185.274 | 15321.9415
DG Energy (MWH) |  | 34401.3738 | 68630.7406 | 97051.5182 | 125405.9697 | 153538.7119 | 181527.6301 | 209372.7244 | 237151.4925 | 264708.5514 | 292121.7863 | 319391.1972 | 346594.282 | 373575.6576 | 400413.2092 | 427106.9368 | 453734.3383 | 480140.0306 | 506401.8988 | 532519.9432 | 558571.6613
DG Demand (MW) |  | 8.6239 | 17.2046 | 24.3299 | 31.4192 | 38.4724 | 45.4895 | 52.4706 | 59.4157 | 66.3246 | 73.1976 | 80.0344 | 86.8352 | 93.6 | 100.3287 | 107.0213 | 113.6779 | 120.2984 | 126.8828 | 133.4312 | 139.9436
Losses
Losses to Others MWH | -167409 | -37111.5 | -37111.5 | -37111.5 | -37111.5 | -37111.5 | -37111.5 | -37111.5 | -37111.5 | -37111.5 | -37111.5 | -37111.5 | -37111.5 | -37111.5 | -37111.5 | -37111.5 | -37111.5 | -37111.5 | -37111.5 | -37111.5 | -37111.5
Losses to Others MW | -26 | -8.9646 | -8.9646 | -8.9646 | -8.9646 | -8.9646 | -8.9646 | -8.9646 | -8.9646 | -8.9646 | -8.9646 | -8.9646 | -8.9646 | -8.9646 | -8.9646 | -8.9646 | -8.9646 | -8.9646 | -8.9646 | -8.9646 | -8.9646
System Loss Factor(Energy) |  | 0.069 | 0.069 | 0.069 | 0.069 | 0.069 | 0.069 | 0.069 | 0.069 | 0.069 | 0.069 | 0.069 | 0.069 | 0.069 | 0.069 | 0.069 | 0.069 | 0.069 | 0.069 | 0.069 | 0.069
System Loss Factor(Demand) |  | 0.0754 | 0.0754 | 0.0754 | 0.0754 | 0.0754 | 0.0754 | 0.0754 | 0.0754 | 0.0754 | 0.0754 | 0.0754 | 0.0754 | 0.0754 | 0.0754 | 0.0754 | 0.0754 | 0.0754 | 0.0754 | 0.0754 | 0.0754
Other Data
System Load Factor |  | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258
Interruptible Forecast |  | 52.155 | 52.155 | 52.155 | 52.155 | 52.155 | 52.155 | 52.155 | 52.155 | 52.155 | 52.155 | 52.155 | 52.155 | 52.155 | 52.155 | 52.155 | 52.155 | 52.155 | 52.155 | 52.155 | 52.155
Hours in a Year | 8760 | 8760 | 8760 | 8760 | 8784 | 8760 | 8760 | 8760 | 8784 | 8760 | 8760 | 8760 | 8784 | 8760 | 8760 | 8760 | 8784 | 8760 | 8760 | 8760 | 8784
Native System Energy | 8674263
Previous Year's Peak | 2173

## Demand Calculations
[10 empty] | SOAH Docket No. 473-21-2606 | [9 empty] | SOAH Docket No. 473-21-2606
[10 empty] | PUC Docket No. 52195 | [9 empty] | PUC Docket No. 52195
[10 empty] | FMI's 1st, Q. No. FMI 1-2 | [9 empty] | FMI's 1st, Q. No. FMI 1-2
[10 empty] | Attachment 1 | [9 empty] | Attachment 1
[10 empty] | Page 7 of 8 | [9 empty] | Page 8 of 8
Energy (MWH) | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Total Texas Forecasts | 6460394.6773 | 6604004.3351 | 6716092.7137 | 6813516.5805 | 6912927.6062 | 7021912.0832 | 7140812.4478 | 7259159.9488 | 7383342.4948 | 7515715.7598 | 7647881.0034 | 7777727.8882 | 7913858.7273 | 8054863.114 | 8200002.8432 | 8346689.385 | 8495472.1504 | 8648111.4928 | 8805873.9776 | 8975454.1075
Total New Mexico Forecasts | 1738446.6718 | 1789103.0345 | 1819302.691 | 1849309.5976 | 1880356.9283 | 1916407.6057 | 1955546.7299 | 1998087.1012 | 2042778.538 | 2086650.995 | 2130735.4459 | 2176511.4466 | 2223997.6516 | 2274048.4659 | 2324448.6094 | 2375538.9822 | 2428523.4776 | 2483627.002 | 2540087.7185 | 2599932.3256
RGEC Forecast | 64792.5933 | 65997.7834 | 67202.9736 | 68408.1638 | 69613.3539 | 70818.5441 | 72023.7343 | 73228.9244 | 74434.1146 | 75639.3047 | 76844.4949 | 78049.6851 | 79254.8752 | 80460.0654 | 81665.2556 | 82870.4457 | 84075.6359 | 85280.8261 | 86486.0162 | 87691.2064
Company Use | 12923.5444 | 13039.8563 | 13157.215 | 13275.63 | 13395.1106 | 13515.6666 | 13637.3076 | 13760.0434 | 13883.8838 | 14008.8388 | 14134.9183 | 14262.1326 | 14390.4918 | 14520.0062 | 14650.6862 | 14782.5424 | 14915.5853 | 15049.8256 | 15185.274 | 15321.9415
Basic Native System Losses | 571082.4666 | 584578.0056 | 594487.1359 | 603371.1881 | 612464.2169 | 622563.1191 | 633559.3952 | 644752.2852 | 656496.2931 | 668749.028 | 681002.1145 | 693212.0295 | 705973.6205 | 719248.524 | 732832.9502 | 746571.8135 | 760586.0926 | 775012.7711 | 789886.6761 | 805809.5711
Basic Native System NFL | 8847639.9534 | 9056723.015 | 9210242.7293 | 9347881.1599 | 9488757.216 | 9645217.0187 | 9815579.6147 | 9988988.3032 | 10170935.3243 | 10360763.9263 | 10550597.977 | 10739763.1819 | 10937475.3663 | 11143140.1755 | 11353600.3446 | 11566453.1689 | 11783572.9418 | 12007081.9176 | 12237519.6625 | 12484209.152
Native System Load Factor | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258 | 0.47258
Demand (MW)
Basic Native System | 2137.2142 | 2187.7198 | 2224.8037 | 2251.8817 | 2292.081 | 2329.875 | 2371.0274 | 2406.3229 | 2456.8662 | 2502.7208 | 2548.5766 | 2587.1827 | 2642.0298 | 2691.7097 | 2742.5479 | 2786.3303 | 2846.411 | 2900.4013 | 2956.0653 | 3007.4155