## Table
SOAH Docket No. 473-21-2606
PUC Docket No. 52195
FMI's 1st, Q. No. FMI 1-3
Attachment 2
Page 1 of 1
EL PASO ELECTRIC COMPANY
REMOTE PLANT UNIT CAPACITY PROJECTIONS
| MDC - Peak Period Capacity (1) |  |  |  | DER - Average Annual Capacity (1)
UNIT | Total | EPE % | EPE |  | Total | EPE % | EPE
| Unit | Share | Net MW |  | Unit | Share | Net MW
Palo Verde Unit 1 | 1311 | 15.8% | 207.138 |  | 1336 | 15.8% | 211.088
Palo Verde Unit 2 | 1314 | 15.8% | 207.612 |  | 1336 | 15.8% | 211.088
Palo Verde Unit 3 | 1312 | 15.8% | 207.296 |  | 1334 | 15.8% | 210.772
Palo Verde Total | 3937 | 15.8% | 622.046 |  | 4006 | 15.8% | 632.948
Effective Date: January 1, 2021
NOTES:
(1) Source: PVNGS Monthly Operating Worksheet(s). These values are not subject to change.
MDC: Maximum Dependable Capacity. The net electrical rating during the most |  |  |  | Reviewed:
restrictive seasonal conditions. (summer conditions) |  |  |  |  | Nadia Powell |  | Date
DER: Design Electrical Rating. The nominal net electrical output used for purposes
of plant design. (average yearly conditions)
A) Peak Period includes May thru September.
Ambient conditions impact unit output. |  |  |  | Reviewed:
Table data for peak period is based on |  |  |  |  | David Hawkins |  | Date
95-102 °F and relative humidity of 10-20%.
B) SS: Station Service has already been netted out of MDC and DER.