## RCD 10
RCD - 10
Project Number | Description | In Service Date | Total Company Amount
DT382 | RIPLEY T2 TRANSFORMER, SWITCHGEAR, AND VOLTAGE REGULATOR ADDITIONS - Maintain or improve system reliability and serve load growth. Upgrades and additions to Ripley substation equipment to serve growing load. | 2019-07-18 | 3897918
DT379 | PENDALE T2 TRANSFORMER, SWITCHGEAR, AND VOLTAGE REGULATOR ADDITIONS - Maintain or improve system reliability and serve load growth. Upgrades and additions to Pendale substation equipment to serve growing load. | 2019-12-06 | 3718450
DT389 | SUNSET NORTH AUTO TRANSFORMER REPLACEMENT - Maintain or improve system reliability and serve load growth. Replacement of Sunset North T1 and T3 transformers and related equipment that are at the end of their useful lives. This substation supports load for critical customers (hospitals). | Multi Year | 3656864
DT291 | GLOBAL REACH T2 AND SWITCHGEAR - Maintain or improve system reliability and serve load growth. Upgrades to Global Reach substation to serve growing load in the area. | 2018-08-02 | 3439982
DT194 | SUNSET 69KV-4KV TRANSFORMER, REGULATORS, AND FEEDER REPLACEMENTS - Maintain or improve system reliability. Replacement of 69kv-4kv Sunset substation switchgear and related equipment due to the breakdown of switchgear insulation resulting in gassing. | Multi Year | 3020849
DT383 | PELLICANO T2 TRANSFORMER ADDITION - Maintain or improve system reliability and serve load growth. Upgrades to Pellicano substation to serve growing load in the area. | 2018-03-09 | 2996995
DT184 | RIO BOSQUE CAPACITOR BANK ADDITION - Provide voltage support. Installation of 2 stage 15 MVar Capacitor Banks at Rio Bosque distribution substation to stabilize voltage in the far east area of EPE service territory. | 2019-05-15 | 2855028
DT218 | SUNSET 14KV SWITCHGEAR AND NETWORK FEEDER REPLACEMENTS - Maintain or improve system reliability. Replacement of the old 14kV switchgear and the downtown network feeders coming out of the new switchgear up to the first junctions of each feeder. | 2020-05-22 | 2809949
DT416 | DISTRIBUTION DUAL VOLTAGE MOBILE TRANSFORMER - Maintain or improve system reliability. Purchase of a new dual voltage mobile transformer to use as backup for transformer replacements with limited back feed options. Existing fleet of mobile transformers is from the 1950's and not sized to adequately handle each voltage in our system. | Multi Year | 2313824
DT439 | SUNSET T4 SWITCHGEAR REPLACEMENT - Maintain of improve distribution system reliability. The switchgear connected off T4 experienced equipment failure and a subsequent fire which required the replacement of the entire switchgear. | 2020-09-10 | 1927740
DT353 | STREET CAR (TROLLEY) - CITY OF EL PASO - Replacement and relocation of distribution facilities to accommodate the City of El Paso's new downtown street car project. | Multi Year | 1850161
DT300 | FARMER 69KV 7.5 MVAR CAPACITOR BANK - Provide voltage support. Installation of 7.5MVAR capacitor bank to stabilize voltage in the far east area of EPE service territory. | 2016-12-19 | 1841131
DT361 | SUBSTATION CIRCUIT BREAKER UPGRADES MPS - Maintain or improve system reliability and serve load growth. Replacement of circuit breakers and related equipment at distribution substations to accommodate power from the new Montana Power Station as per system studies. | Multi Year | 1742713
DT417 | MONTWOOD T1 TRANSFORMER UPGRADE TO 50 MVA - Maintain or improve system reliability and serve load growth. Upgrades transformer at Montwood substation to serve growing load and increase reliability in the event one transformer is out of service. | 2019-04-15 | 1704074
DT392 | SOL & VISTA DISTRIBUTION SUBSTATION UPGRADES - Maintain or improve system reliability and serve load growth. Equipment upgrades at Sol and Vista substations to accommodate a new double circuit transmission line needed to support increased load capacity in the area. | 2017-06-03 | 1685670
DT404 | MONTWOOD SUBSTATION LAND & PRE-FAB WALL - Public safety and security. Construction of a pre-fab wall around Montwood substation as required by the land developer contract and purchase of the substation land to exit the existing lease contract. | Multi Year | 1662443
DT354 | NETWORK SYSTEM UPGRADE BY EATON - Maintain or improve distribution system reliability. Replacement of network protectors and related equipment throughout the Downtown Network system due to equipment that has reached the end of its useful life. | Multi Year | 1633841
DT288 | TRANSMOUNTAIN (NW-3) GETAWAYS/FEEDER - Maintain or improve system reliability and serve load growth. Addition of feeders out of Nuway/Transmountain substation to serve growing load in the area. | Multi Year | 1613192
DT368 | RIPLEY GETAWAYS AND FEEDER ADDITIONS - Maintain or improve system reliability and serve load growth. Addition of feeders out of Ripley substation to serve growing load in the area. | Multi Year | 1568587
DT430 | FORT BLISS EMERGENCY TRANSFORMER REPLACEMENT - Emergency replacement of Fort Bliss transformer due to equipment failure. Most of the substation equipment is over 50 years old and several pieces of equipment and portions of the bus had to be upgraded to accommodate the new transformer. | 2019-09-29 | 1556787
DT270 | GLOBAL REACH SUB FEEDERS - Maintain or improve system reliability and serve load growth. Addition and upgrades of feeders out of Global Reach substation to serve load growth in the area. | Multi Year | 1445673
DT350 | NEW SPARKS-T2 FEEDERS - Maintain or improve system reliability and serve load growth. Addition of feeders out of Sparks substation to serve load growth in the area. | Multi Year | 1437027
DT377 | PENDALE GETAWAYS AND FEEDER ADDITIONS - Maintain or improve system reliability and serve load growth. Addition of feeders out of Pendale substation to serve growing load in the area. | Multi Year | 1431289
DT402 | TEXAS 4KV GROUNDING AND FENCING ADDITIONS - Public safety and security. Installation of grounding grid and perimeter fencing around existing 4kv substations in Texas to reduce touch potential. | Multi Year | 1385936
DT314 | TWO WAY DISTRIBUTION CAPACITOR COMMUNICATION - Provide voltage support. Replacement of the existing capacitor bank control system throughout EPE's Texas distribution system to accommodate two way communications and new capacitor bank controllers. | Multi Year | 1252972
DT203 | FABENS CAPBANK ADDITION - Provide voltage support. Installation of capacitor bank at Fabens substation to stabilize voltage in the far east area of EPE service territory. | 2018-06-22 | 1187305
DT369 | PELLICANO T2 FEEDERS - Maintain or improve system reliability and serve load growth. Addition of new feeders out of Pellicano substation to serve growing load in the area. | Multi Year | 1151442
DT370 | EXECUTIVE (CE-1) NEW FEEDERS - Maintain or improve system reliability and serve load growth. Addition of feeders out of CE-1 temporary substation and Executice substation to serve growing load in the area. | Multi Year | 1140587
DT230 | MESA-18 RECONDUCTOR - Maintain or improve system reliability and serve load growth. Replacement and installation of 336 ACSR conductor on select portions of area feeders for increased reliability in this area. | 2018-06-29 | 1070441
DT437 | SUNSET PERIMETER EXPANSION AND STRUCTURAL IMPROVEMENTS - Maintain or improve distribution system reliability. The perimeter of Sunset substation was expanded to allow for proper clearances between the wall and energized substation equipment, for heavy duty vehicles and equipment used during maintenance and replacement projects. In addition to a new wall, the driveways and drainage infrastructure were also replaced at Sunset. Without the expansion of the perimeter and new entry locations, sections of the wall would have to be removed and rebuilt for each future replacement of major equipment to allow enough working room for cranes to lift large equipment near energized sections of bus and transmission lines. | 2018-08-01 | 1058110
Various Distribution Texas | Project totals less than $1,000,000 | Multi Year | 10672832