## H-5.2b
EL PASO ELECTRIC COMPANY
2021 TEXAS RATE CASE FILING
SCHEDULE H-5.2b: FOSSIL CAPITAL COSTS PROJECTS
SPONSOR: J KYLE OLSON/LARRY J. HANCOCK
PREPARER: LARRY J. HANCOCK/PEDRO VEGA
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
PROJECT NUMBER | STATION NAME | PROJECT DESCRIPTION | CLASSIFICATION (NOTE 1) | DATE OF COMPLETION (NOTE 3) | RATEBASE ADDITIONS |  | BENEFIT ANALYSIS (NOTE 2)
MONTANA POWER UNIT 1
GE1811344001 | MONTANA POWER | TURBINE GENERATOR - UNIT 1 | (10) | March 2019 | 15683144.11 | (A) | No
GE1811344004 | MONTANA POWER | MPS U1-GENERATOR | (10) | April 2017 | 5825663.12 | (A) | No
M180924.0002 | MONTANA POWER | U1 ROW 1 BLADES HP SUPER CORE | (7) | October 2018 | 2531388.57 |  | No
GM1190000001 | MONTANA POWER | U1-LMS 100 SUPERCORE ENGINE #878182 | (7) | January 2019 | 1368033.52 |  | No
GE1811345001 | MONTANA POWER | GSU UNIT 1 | (10) | March 2019 | 411312.83 | (A) | No
M160307.0002 | MONTANA POWER | U1 VCA(239) MOTOR-FAN ASSEMBLY | (6) | September 2017 | 197994.58 |  | No
M180814.0006 | MONTANA POWER | U1 UNIT CONTROLS - COMPUTER, DCS | (6) | January 2019 | 197481.13 |  | No
GE1811345004 | MONTANA POWER | GENERATOR BREAKER - UNIT 1 | (10) | March 2019 | 163975.9 | (A) | No
GE1811345002 | MONTANA POWER | AUXILIARY TRANSFORMER - UNIT 1 | (10) | March 2019 | 163914.51 | (A) | No
M181210.0008 | MONTANA POWER | U1 SELECTIVE CATALYTIC REDUCTION | (6) | April 2019 | 115473.39 |  | No
GE1811346001 | MONTANA POWER | CONT EMISSIONS MONITORING U1 | (10) | March 2019 | 114290.37 | (A) | No
M191010.0001 | MONTANA POWER | U1 HSS (232) HYDRAULIC START SYSTEM | (6) | July 2020 | 105078.37 |  | No
GE1811345005 | MONTANA POWER | ISO PHASE BUS - UNIT 1 | (10) | March 2019 | 96262.91 | (A) | No
GE1811343001 | MONTANA POWER | COMBUSTION TURBINE DRAIN TANK U1 | (10) | March 2019 | -2580 | (A) | No
GE1811344003 | MONTANA POWER | TURBINE 1 OFF LOADING COSTS | (10) | September 2017 | -387523.03 | (A) | No
GE1811300002 | MONTANA POWER | EPEC INTERNAL PAYROLL - U1 | (10) | March 2019 | -596591.96 | (A) | No
GE1811344002 | MONTANA POWER | GE TECH FIELD ASSISTANCE (TURBINE | (10) | September 2017 | -1350262.29 | (A) | No
GE1811300003 | MONTANA POWER | START UP COSTS - UNIT 1 | (10) | March 2019 | -1470112.52 | (A) | No
GE1811300001 | MONTANA POWER | BALANCE OF PLT CONSTRUCTION UNIT 1 | (10) | March 2019 | -17770630.62 | (A) | No
|  |  |  | TOTAL MONTANA UNIT 1 RATE BASE ADDITIONS: | 5396312.89
MONTANA POWER UNIT 2
GE1822344001 | MONTANA POWER | TURBINE GENERATOR - UNIT 2 | (10) | March 2019 | 17913109.38 | (A) | No
GE1822344004 | MONTANA POWER | MPS U2-GENERATOR | (10) | April 2017 | 5825663.12 | (A) | No
GE1822345001 | MONTANA POWER | GSU - UNIT 2 | (10) | March 2019 | 427223.97 | (A) | No
M170120.0001 | MONTANA POWER | BLADES HP SUPER CORE | (7) | June 2017 | 230434.55 |  | No
M180815.0001 | MONTANA POWER | U2 UNIT CONTROLS - COMPUTER, DCS | (6) | January 2019 | 176422.62 |  | No
GE1822345004 | MONTANA POWER | GENERATOR BREAKER - UNIT 2 | (10) | March 2019 | 162765.53 | (A) | No
GE1822345002 | MONTANA POWER | AUXILIARY TRANSFORMER - UNIT 2 | (10) | March 2019 | 147316.13 | (A) | No
M170503.0002 | MONTANA POWER | SUPER CORE | (6) | October 2017 | 115814.62 |  | No
GE1822346001 | MONTANA POWER | CONT EMISSIONS MONITORING U2 | (10) | March 2019 | 115326.64 | (A) | No
M181210.0010 | MONTANA POWER | U2 SELECTIVE CATALYTIC REDUCTION | (6) | April 2019 | 107921.45 |  | No
GE1822345005 | MONTANA POWER | ISO PHASE BUS - UNIT 2 | (10) | March 2019 | 89541.16 | (A) | No
GE1822343001 | MONTANA POWER | COMBUSTION TURBINE DRAIN TANK U2 | (10) | March 2019 | -2580 | (A) | No
GE1822300002 | MONTANA POWER | EPEC INTERNAL PAYROLL - UNIT 2 | (10) | March 2019 | -1067502.63 | (A) | No
GE1822344002 | MONTANA POWER | GE TECH FIELD ASSISTANCE (TURBINE) | (10) | March 2019 | -1306874.36 | (A) | No
GE1822300003 | MONTANA POWER | START UP COSTS - UNIT 2 | (10) | March 2019 | -1533179.98 | (A) | No
GE1822300001 | MONTANA POWER | BALANCE OF PLT CONSTRUCTION U2 | (10) | March 2019 | -17673137.39 | (A) | No
|  |  |  | TOTAL MONTANA UNIT 2 RATE BASE ADDITIONS: | 3728264.81
MONTANA POWER UNIT 3
GE1833344001 | MONTANA POWER | TURBINE GENERATOR - UNIT 3 | (10) | October 2019 | 20957705.54 | (A) | No
GE1833345001 | MONTANA POWER | GSU - UNIT 3 | (10) | October 2019 | 426995.39 | (A) | No
M180815.0002 | MONTANA POWER | U3 UNIT CONTROLS - COMPUTER, DCS | (6) | January 2019 | 176100.77 |  | No
GE1833345004 | MONTANA POWER | GENERATOR BREAKER - UNIT 3 | (10) | October 2019 | 157838.89 | (A) | No
M190924.0001 | MONTANA POWER | U3 SELECTIVE CATALYTIC REDUCTION | (6) | October 2020 | 144108.15 |  | Yes
GE1833345002 | MONTANA POWER | AUXILIARY TRANSFORMER UNIT 3 | (10) | October 2019 | 137835.91 | (A) | No
GE1833345005 | MONTANA POWER | ISO PHASE BUS - UNIT 3 | (10) | October 2019 | 22405.8 | (A) | No
GE1833346001 | MONTANA POWER | CONT EMISSIONS MONIT UNIT 3 | (10) | October 2019 | 22191.33 | (A) | No
GE1833343001 | MONTANA POWER | COMBUSTION TURB DRAIN TANK U3 | (10) | October 2019 | 3234.78 | (A) | No
GE1833344002 | MONTANA POWER | GE TECH FIELD ASSISTANCE (TURBINE) | (10) | October 2019 | -500594.7 | (A) | No
GE1833300002 | MONTANA POWER | EPEC INTERNAL PAYROLL - U3 | (10) | October 2019 | -1067283.33 | (A) | No
GE1833300003 | MONTANA POWER | START UP COSTS - UNIT 3 | (10) | October 2019 | -1342219.14 | (A) | No
GE1833300001 | MONTANA POWER | BALANCE OF PLT CONSTRUCTION U3 | (10) | October 2019 | -13882566.52 | (A) | No
|  |  |  | TOTAL MONTANA UNIT 3 RATE BASE ADDITIONS: | 5255752.87
MONTANA POWER UNIT 4
GE1844344001 | MONTANA POWER | TURBINE GENERATOR - UNIT 4 | (10) | October 2019 | 21290922.83 | (A) | No
GE1844345001 | MONTANA POWER | GSU - UNIT 4 | (10) | October 2019 | 439331.53 | (A) | No
M170203.0001 | MONTANA POWER | INTERMEDIATE POWER TURBINE SUPER C | (7) | June 2017 | 233740.52 |  | No
GE1844345004 | MONTANA POWER | GENERATOR BREAKER - UNIT 4 | (10) | October 2019 | 196937.83 | (A) | No
M180815.0003 | MONTANA POWER | U4 UNIT CONTROLS - COMPUTER, DCS | (6) | January 2019 | 175868.55 |  | No
GE1844346001 | MONTANA POWER | CONT EMISSIONS MONITORING UNIT 4 | (10) | October 2019 | 22372.12 | (A) | No
GE1844345005 | MONTANA POWER | ISO PHASE BUS - UNIT 4 | (10) | October 2019 | 21429.77 | (A) | No
GE1844343001 | MONTANA POWER | COMBUSTION TURB DRAIN TANK U4 | (10) | October 2019 | 3234.78 | (A) | No
GE1844300002 | MONTANA POWER | EPEC INTERNAL PAYROLL - UNIT 4 | (10) | October 2019 | -176992.59 | (A) | No
GE1844344002 | MONTANA POWER | GE TECH FIELD ASSISTANCE (TURBINE) | (10) | October 2019 | -1018802.15 | (A) | No
GE1844300003 | MONTANA POWER | START UP COSTS - UNIT 4 | (10) | October 2019 | -1414048.79 | (A) | No
GE1844300001 | MONTANA POWER | BALANCE OF PLT CONSTR - UNIT 4 | (10) | October 2019 | -14258382.51 | (A) | No
|  |  |  | TOTAL MONTANA UNIT 4 RATE BASE ADDITIONS: | 5515611.89
MONTANA POWER PRODUCTION STATION COMMON
M180816.0152 | MONTANA POWER | MPS-COMMON PRIME MOVERS | (7) | October 2018 | 5735590.34 |  | Yes
GM1150180001 | MONTANA POWER | MPS WAREHOUSE & ACCESS ROAD | (5) | August 2020 | 5427716.34 |  | No
GM1120000001 | MONTANA POWER | MPS GAS BLENDING | (7) | April 2019 | 2718325.06 |  | No
GE1800343015 | MONTANA POWER | POND | (10) | March 2019 | 2657508.17 | (A) | No
GE1800342001 | MONTANA POWER | GAS COMPRESSOR | (10) | March 2019 | 2165625.61 | (A) | No
M180816.0150 | MONTANA POWER | MPS-COMMON PRIME MOVERS | (7) | October 2018 | 1894232.07 |  | Yes
GE1800341003 | MONTANA POWER | BOP PWR DISTRIBUTION CTR#1-ALL UNIT | (10) | December 2017 | 1668713.01 | (A) | No
GE1800341004 | MONTANA POWER | COOLING TOWER PDC #2-ALL UNITS | (10) | March 2019 | 705187.19 | (A) | No
M170317.0003 | MONTANA POWER | MPS PORTABLE REVERSE OSM0SIS SYSTEM | (6) | May 2018 | 656167.5 |  | Yes
GE1800343005 | MONTANA POWER | RAW WATER TANK | (10) | March 2019 | 633978.16 | (A) | No
GE1800341001 | MONTANA POWER | ADMINISTRATION FACILITY | (10) | March 2019 | 631911.61 | (A) | No
M190412.0002 | MONTANA POWER | FUEL GAS COMPRESSOR A | (6) | August 2019 | 615534.39 |  | Yes
M170831.0002 | MONTANA POWER | MPS PORTABLE REVERSE OSMOSIS SYSTEM | (6) | May 2018 | 423487.41 |  | Yes
M190412.0003 | MONTANA POWER | FUEL GAS COMPRESSOR B | (6) | June 2019 | 398035.97 |  | Yes
GE1800343009 | MONTANA POWER | COMPRESSED AIR SYSTEM | (10) | March 2019 | 305427.26 | (A) | No
M191001.0010 | MONTANA POWER | MPS COMMON STRUCTURES & IMPROVEMENT | (6) | February 2020 | 290846.16 |  | Yes
GE1800341006 | MONTANA POWER | PERIMETER FENCING | (10) | March 2019 | 274328.7 | (A) | No
M190917.0003 | MONTANA POWER | MPS STATION CONTROLS - COMPUTER, DC | (6) | December 2019 | 272929.07 |  | Yes
GE1800343006 | MONTANA POWER | DEMINERALIZATION STORAGE TANK | (10) | March 2019 | 254635.88 | (A) | No
GE1800341002 | MONTANA POWER | WATER TREATMENT SYSTEM (STRUCTURE) | (10) | March 2019 | 241969.41 | (A) | No
M180620.0001 | MONTANA POWER | MPS- BOP ACCESSORY ELECTRICAL | (7) | January 2019 | 237633.51 |  | No
GM0020180001 | MONTANA POWER | MPS MISC INVENTORY PARTS | (6) | September 2017 | 194776.86 |  | No
M180529.0002 | MONTANA POWER | FUEL GAS COMPRESSORS FIREWALLS | (6) | April 2019 | 194258.53 |  | No
GE1800346001 | MONTANA POWER | FIRE PROTECTION EQUIP/FACILITIES | (10) | March 2019 | 184452.08 | (A) | No
GE1800341007 | MONTANA POWER | EVAPORATION PONDS ENG SVC DESIGN | (10) | March 2019 | 172384.15 | (A) | No
M170905.0001 | MONTANA POWER | SHELTER FOR ATLAS COPCO A | (6) | November 2019 | 157957.62 |  | No
M180917.0006 | MONTANA POWER | FUEL GAS COMPRESSOR A | (6) | August 2019 | 118661.05 |  | No
M190408.0001 | MONTANA POWER | SHELTER FOR ATLAS COPCO AIR COMPRESSOR | (6) | November 2019 | 116318.45 |  | No
GE1800343014 | MONTANA POWER | DEMINERALIZATION WATER PUMPS | (10) | March 2019 | -10441.47 | (A) | No
GE1801850001 | MONTANA POWER | MPS JOINT U1 & U2-COMBINE WOs | (10) | March 2019 | -47171.24 | (A) | No
GM1020300099 | MONTANA POWER | MPS FUEL OIL STORAGE&DELIV SYST | (7) | November 2016 | -116522.1 | (A) | No
GE1800346002 | MONTANA POWER | MPS TELECOMM NETWORK EQUIP | (10) | March 2019 | -162740.19 | (A) | No
GE1800346003 | MONTANA POWER | MPS IT HARDWARE NETWORK EQUIP | (10) | March 2019 | -163243.02 | (A) | No
GE1805300005 | MONTANA POWER | STATION-WIDE PLANNING & PRE-ENG | (10) | March 2019 | -189010.43 | (A) | No
GE1800340001 | MONTANA POWER | LAND ACQUISITION | (10) | December 2016 | -202048.46 | (A) | No
GE1801860001 | MONTANA POWER | MPS JOINT U3 & U4-COMBINE WOs | (10) | October 2019 | -238191.76 | (A) | No
GE1800300002 | MONTANA POWER | STARTUP COSTS-COMMISSION GAS COMP B | (10) | March 2019 | -351423.26 | (A) | No
GE1800345001 | MONTANA POWER | MPS PROTECTIVE RELAY STUDY&SETTINGS | (10) | March 2019 | -352796.67 | (A) | No
GE1805300009 | MONTANA POWER | BLDRS RISK INS-PDC BLDG RESTORATION | (10) | December 2017 | -392971.8 | (A) | No
GE1800344002 | MONTANA POWER | TURBINE SITE PREP&TEMP ROAD(ALL UNI | (10) | March 2019 | -482436.06 | (A) | No
GE1800340002 | MONTANA POWER | SECURITY SVCS-MPS UNIT 1 & COMMON | (10) | March 2019 | -751276.8 | (A) | No
GE1805300002 | MONTANA POWER | OWNER'S INSURANCE - TOTAL PROJ | (10) | March 2019 | -772743.17 | (A) | No
GE1805300007 | MONTANA POWER | CONSTRUCTION MGMT/MISC | (10) | October 2016 | -1533717.45 | (A) | No
GE1806300002 | MONTANA POWER | ENVIRONMENTAL CONSULTING | (10) | March 2019 | -1671539.66 | (A) | No
GE1805300004 | MONTANA POWER | STATION-WIDE LEGAL/ENVIRONMENTAL | (10) | March 2019 | -2588819.11 | (A) | No
GE1805300001 | MONTANA POWER | STATION-WIDE WORLEY PARSON'S ENG SV | (10) | March 2019 | -4696364.93 | (A) | No
GE1805300006 | MONTANA POWER | WATER SUPPLY-TOTAL PROJECT | (10) | May 2019 | -9672675.61 | (A) | No
|  |  |  | TOTAL MONTANA COMMON RATE BASE ADDITIONS: | 4952458
RIO GRANDE PRODUCTION STATION
GR1330128001 | RIO GRANDE | RG8 DCS CONTROLS UPGRADE | (6) | April 2019 | 2218285.33 |  | No
GR1800000001 | RIO GRANDE | RGU7-GENERATOR STATOR BAR REPL & REWIND | (4) | May 2020 | 2098804.7 |  | Yes
R180307.0004 | RIO GRANDE | U9 GT HIGH PRESSURE TURBINE | (7) | April 2018 | 1974597.71 |  | No
R200531.0004 | RIO GRANDE | U8 GENERATOR HYDROGEN SYSTEM | (6) | June 2020 | 1423956.19 |  | No
GR1311280001 | RIO GRANDE | U8 LP TURBINE BLADES-HYDR COOL-SEAL | (7) | May 2018 | 1361920.32 |  | No
GR1350000001 | RIO GRANDE | RIO GRANDE WELDING SHOP | (6) | April 2018 | 550349.54 |  | No
R190909.0006 | RIO GRANDE | PLANT PROCESS CONTROL NETWORK | (6) | December 2019 | 470533.98 |  | Yes
R200422.0004 | RIO GRANDE | WELL WATER SYSTEM PIPING | (4) | July 2020 | 414140.89 |  | Yes
R170706.0006 | RIO GRANDE | U8 BURNER MANAGEMENT SYSTEM | (7) | June 2018 | 388791 |  | No
R180831.0011 | RIO GRANDE | U9 SCR CO2 CATALYST | (4) | April 2019 | 372460.58 |  | No
GR1700000001 | RIO GRANDE | RG EMPLOYEE ACCESS ENTRANCE IMPROVEMENT | (9) | December 2020 | 367722.35 |  | No
R190214.0006 | RIO GRANDE | U8 MARK IVE DISTRIBUTED CONTROLS SYSTEM | (6) | April 2019 | 363978.68 |  | No
GR0070120104 | RIO GRANDE | RIO GRANDE MAIN RESTROOMS RENOVATION | (6) | August 2018 | 345166.1 |  | No
R170725.0018 | RIO GRANDE | U8 BURNER MANAGEMENT SYSTEM | (7) | June 2018 | 311836.82 |  | No
R170118.0002 | RIO GRANDE | WELL WATER PUMP 3 - SUBMERSIBLE PUMP | (6) | May 2018 | 304623.5 |  | No
R190910.0010 | RIO GRANDE | U8 4160V SWITCHGEAR | (4) | February 2020 | 294559.84 |  | Yes
R160107.0012 | RIO GRANDE | WELL WATER PUMP 4 - SUBMERSIBLE PUMP | (6) | March 2017 | 290577.12 |  | No
R170410.0004 | RIO GRANDE | U9 TURBINE CONTROL COMPUTER PANEL | (6) | January 2019 | 287862 |  | No
R160802.0009 | RIO GRANDE | U8 BOILER TUBES | (4) | May 2017 | 287172.82 |  | No
R190917.0003 | RIO GRANDE | U8 MAIN FEEDWATER REGULATOR | (6) | March 2020 | 280768.3 |  | Yes
GR1340000001 | RIO GRANDE | RIO GRANDE RESTROOMS | (9) | November 2017 | 264388.1 |  | No
R180605.0005 | RIO GRANDE | U9 FUEL GAS SYSTEM PIPING | (6) | June 2019 | 253018.91 |  | No
GR0070120001 | RIO GRANDE | RG CAPITAL BLNKT FAC SVCS | (6) | October 2016 | 226022.39 |  | No
R170404.0004 | RIO GRANDE | U8 BOILER FEED PUMP B (SPARE PUMP) | (6) | September 2017 | 215817.47 |  | No
R200429.0008 | RIO GRANDE | U9 GT COMBUSTOR FUEL NOZZLES | (7) | June 2020 | 197751.48 |  | No
R190906.0001 | RIO GRANDE | RIO GRANDE SPAN GUARD POWER RAIL | (6) | January 2020 | 191869.68 |  | Yes
GR1370120001 | RIO GRANDE | RIO GRANDE CONTROL ROOM | (6) | April 2018 | 175222.27 |  | No
R190726.0001 | RIO GRANDE | 511000-RIO GRANDE BUILDINGS/STRUCTURE | (6) | June 2020 | 168677.69 |  | No
R190614.0004 | RIO GRANDE | U8 BOILER FORCE DRAFT FAN-MOTOR | (7) | May 2020 | 162882.86 |  | No
R190118.0008 | RIO GRANDE | U8 BOILER TUBES | (9) | April 2019 | 160800.9 |  | No
GR0140120007 | RIO GRANDE | RG REVENUE METERS REPLACEMENT | (6) | January 2018 | 159218.43 |  | No
R170419.0009 | RIO GRANDE | U8 TURBINE SYSTEM | (6) | June 2018 | 150835.5 |  | No
R190910.0002 | RIO GRANDE | INSTRUMENT AIR DISTRIBUTION SYSTEM | (6) | May 2020 | 150620.2 |  | No
GR0070120103 | RIO GRANDE | ACCESS IMPROVEMENTS-FACILITY SERV | (6) | January 2018 | 138732.92 |  | No
R190516.0004 | RIO GRANDE | WELL WATER SYSTEM | (6) | May 2020 | 138181.35 |  | No
R161122.0004 | RIO GRANDE | U8 BOILER TUBES | (4) | March 2017 | 130571.9 |  | No
R180605.0008 | RIO GRANDE | U7 CT DISTRIBUTED CONTROLS SYST | (6) | October 2019 | 122230.74 |  | No
R150821.0002 | RIO GRANDE | U9 GT HIGH PRESSURE COMPRESSOR | (7) | May 2017 | 110020.84 |  | No
R191031.0008 | RIO GRANDE | U8 MOV 15 MOTOR, 5TH PT HTR MOTOR | (6) | February 2020 | 106555.48 |  | No
|  |  |  | TOTAL RIO GRANDE RATE BASE ADDITIONS: | 17631527
NEWMAN PRODUCTION STATION
GN1620135001 | NEWMAN UNIT 5 | NWMN U5 ROTORS,BLADES REPL-PHASE 1 | (7) | December 2017 | 16222333.66 |  | No
GN1661100002 | NEWMAN | NWM EVAPORATIVE POND LINER-PH1 | (10)c | December 2018 | 12007483.47 |  | No
GN1910117001 | NEWMAN | NM4-GT1-HOT GAS PATH&GEN INSP PARTS | (7) | May 2019 | 9771008.25 |  | No
GN2100000001 | NEWMAN | NW U4-GAS TURBINE PARTS-BLADES-SEAL | (7) | November 2020 | 7000184.32 |  | Yes
GN1620135003 | NEWMAN UNIT 5 | NW U5-HPIP ROTOR BLADES REP-PHASE 2 | (7) | December 2017 | 4809130.38 |  | No
N160809.0002 | NEWMAN UNIT 5 | U5 DCS- NETWORK, NEWMAN 4 CONTROL ROOM | (6) | May 2019 | 4096453.76 |  | No
N171003.0021 | NEWMAN | U3 TURBINE DCS | (6) | December 2018 | 3157135.52 |  | No
N160714.0008 | NEWMAN | U4 ST TURBINE SYSTEM | (7) | October 2016 | 2972090.89 |  | Yes
N160303.0145 | NEWMAN | FUEL GAS SYSTEM | (6) | July 2017 | 2690084.9 |  | No
GN1920118001 | NEWMAN | U4 GT2 MAJOR CAPITAL IMPROVEMENT OUTAGET | (7) | June 2020 | 1752588.94 |  | No
N180731.0008 | NEWMAN UNIT 5 | HRSG3 HIGH PRESSURE STEAM BYPASS VA | (4) | December 2019 | 1724410.04 |  | No
N161021.0013 | NEWMAN | GT2 GAS TURBINE | (7) | December 2016 | 1138692.62 |  | Yes
GN1661100001 | NEWMAN | NEWMAN EVAPORATIVE POND LINER-PH 2 | (10)c | June 2019 | 1127516.05 |  | No
N160607.0006 | NEWMAN | U2 BOILER TUBES | (4) | May 2018 | 1113059.74 |  | No
GN1900118001 | NEWMAN | U4-GT2-COMBUSTOR INSPECT REPL PARTS | (7) | March 2019 | 1101785.35 |  | No
N160607.0005 | NEWMAN | UNIT 1 BOILER TUBES | (4) | May 2017 | 1071315.53 |  | No
N180731.0010 | NEWMAN UNIT 5 | HRSG3 HOT REHEAT STEAM BYPASS VALVE | (4) | December 2019 | 1028538.18 |  | No
N180420.0005 | NEWMAN UNIT 5 | GT3 MARK VI CONTROL SYSTEM | (6) | May 2019 | 1009603.93 |  | No
N180731.0011 | NEWMAN UNIT 5 | HRSG4 HOT REHEAT STEAM BYPASS VALVE | (4) | December 2019 | 972419.93 |  | No
N180420.0007 | NEWMAN UNIT 5 | GT4 MARK VI CONTROL SYSTEM | (6) | May 2019 | 945827 |  | No
N160802.0002 | NEWMAN | U2 BOILER TUBES | (4) | May 2018 | 871869.12 |  | No
N170925.0030 | NEWMAN | HRSG2 BOILER TUBES | (4) | June 2020 | 865622.79 |  | No
N170925.0032 | NEWMAN | HRSG2 BOILER TUBES | (4) | June 2020 | 850945.68 |  | No
N160303.0144 | NEWMAN | FUEL GAS SYSTEM | (6) | July 2017 | 826760.25 |  | No
N190212.0012 | NEWMAN UNIT 5 | U5 INSTRUMENT AIR SYSTEM 0660 | (4) | March 2020 | 812131.14 |  | No
GN1890117001 | NEWMAN | U4-GT1 HOT GAS PATH INSP-CAP IMPR | (7) | June 2020 | 811703.97 |  | No
N180731.0009 | NEWMAN UNIT 5 | HRSG4 HIGH PRESSURE STEAM BYPASS VA | (4) | December 2019 | 768357.4 |  | No
GN2110000001 | NEWMAN UNIT 5 | NWU5-GAS TURBINE PARTS-7EA GE UNITS | (7) | May 2020 | 720910.48 |  | Yes
N181026.0008 | NEWMAN | U3 COOLING TOWER | (4) | March 2019 | 566647.88 |  | No
N160729.0003 | NEWMAN UNIT 5 | U5 CONDENSER SYSTEM - CD0500 | (6) | November 2017 | 560819.32 |  | No
GN0070110090 | NEWMAN | NEWMAN-FS STRUCTURES & IMPROVEMENTS | (6) | December 2020 | 556238.15 |  | No
N161021.0016 | NEWMAN UNIT 5 | U5 ST COLD REHEAT STEAM PIPE DRAIN | (7) | April 2017 | 538266.25 |  | No
N180516.0021 | NEWMAN | U2 TURBINE SYSTEM | (6) | August 2018 | 510862.56 |  | No
N170919.0029 | NEWMAN | U1 GENERATOR VOLTAGE REGULATOR SYST | (6) | May 2018 | 500291.57 |  | No
GN1670000001 | NEWMAN | NEWMAN MAIN OFFICE EXPANSION | (9) | December 2018 | 449425.72 |  | No
N141013.0020 | NEWMAN UNIT 5 | GT3 INLET AIR SYSTEM | (6) | April 2016 | 435065.9 |  | No
N170320.0003 | NEWMAN | PLANT GENERAL LIGHTING AND 110V RE | (6) | September 2019 | 393380.18 |  | No
N190906.0018 | NEWMAN | PLANT DCS CONTROLS - TURBINE | (6) | March 2020 | 379940.62 |  | Yes
GN1620135002 | NEWMAN UNIT 5 | NWMN U5-NEW ROOF DESIGN | (7) | December 2017 | 372742.54 |  | No
N200106.0118 | NEWMAN | U4 ST CONDENSER MAIN STEAM BY PASS | (6) | December 2020 | 346745.27 |  | No
N141013.0021 | NEWMAN UNIT 5 | GT4 INLET AIR SYSTEM | (6) | November 2016 | 344369.2 |  | No
N161030.0001 | NEWMAN | GT2 GAS TURBINE | (7) | June 2017 | 328331.99 |  | No
GN0030112002 | NEWMAN | U2 DETERIORATED WOOD REPL-CTWR | (6) | August 2018 | 288685.12 |  | No
GN0030114001 | NEWMAN | NEWM U4-CTWR MAIN HEADER PIPE REPL | (6) | December 2016 | 273245.17 |  | No
N190904.0066 | NEWMAN | U2 GENERATOR VOLTAGE REGULATOR SYST | (6) | February 2020 | 272169.19 |  | Yes
N190405.0005 | NEWMAN | PLANT ELECTRIC GENERAL | (6) | December 2019 | 265185.94 |  | No
N190905.0029 | NEWMAN | U3 DCS UPS (UN-INTERRUPTIBLE POWER | (4) | February 2020 | 258935.86 |  | Yes
N190911.0011 | NEWMAN | U2 DC SYSTEM PANEL I&C | (7) | February 2020 | 255156.49 |  | Yes
GN0070114004 | NEWMAN | NWMN U4-GT1-TURB HOUSING DOOR-PH3 | (6) | December 2018 | 245885.81 |  | No
N190904.0067 | NEWMAN | U3 GENERATOR VOLTAGE REGULATOR SYST | (6) | March 2020 | 239115.67 |  | Yes
GN0070114003 | NEWMAN | NWMN U4-TURB HOUSING DOORS-PHASE II | (6) | April 2017 | 237492.63 |  | No
GN1620135005 | NEWMAN UNIT 5 | NW U5-RELIABLE TURB-TAX PORTION | (7) | December 2017 | 226300.67 |  | No
N190423.0008 | NEWMAN | WELL WATER SYSTEM-POTABLE WATER TREATMENT | (6) | August 2020 | 224692.54 |  | No
GN2380000001 | NEWMAN | LOW PRESSURE TURB GLAND SEAL PACKAGING | (7) | February 2020 | 224659.32 |  | Yes
N190222.0003 | NEWMAN | U1 CT 1 FAN MOTOR SOFTSTARTER | (4) | January 2020 | 218885.02 |  | No
N171003.0019 | NEWMAN | U1 TURBINE DCS CONTROLS | (6) | March 2020 | 217912.05 |  | No
N190514.0015 | NEWMAN UNIT 5 | HRSG3 FEEDWATER PUMP NO.1 - PP3840 | (6) | June 2019 | 212490.82 |  | No
N171013.0008 | NEWMAN | U2 BOILER FEED PUMP B | (6) | December 2017 | 212060.97 |  | No
GN0030113003 | NEWMAN | UNIT 3 REWEDGE CNTRCTR SVCS | (6) | April 2017 | 208599.06 |  | No
GN0070110105 | NEWMAN | NEWMAN CONTROL ROOM #4 | (6) | December 2020 | 207641.53 |  | No
N180212.0006 | NEWMAN | U2 TURBINE I&C | (4) | April 2018 | 203005.89 |  | No
GN1590110001 | NEWMAN | NEWMAN CONTROL ROOM #1 | (9) | December 2017 | 198063.16 |  | No
N190905.0042 | NEWMAN | U2 GENERATOR PROTECTIVE RELAY I&C | (4) | February 2020 | 194182.62 |  | Yes
GN0030110012 | NEWMAN | U4 ST-COOLING TWR-FAN SHROUDS REPL | (6) | August 2017 | 189569.83 |  | No
N170131.0006 | NEWMAN UNIT 5 | GT3 STARTING SYSTEM TORQUE CONVERT | (6) | June 2018 | 176716.16 |  | No
GN0030110014 | NEWMAN | NW U1-U4 CATHODIC PROTECTION SYSTEM | (6) | February 2019 | 167931.7 |  | No
N181121.0007 | NEWMAN UNIT 5 | HRSG3 FEEDWATER PUMP VARIABLE SPEED | (6) | June 2019 | 167485.22 |  | No
N170717.0013 | NEWMAN UNIT 5 | GT3 GENERATOR PROTECTIVE RELAY I&C | (6) | March 2018 | 164142.65 |  | No
N190205.0015 | NEWMAN UNIT 5 | HRSG3 FEEDWATER PUMP NO.1 - PP3840 | (7) | November 2019 | 161997.47 |  | Yes
GN0070110093 | NEWMAN | ACCESS IMPROVEMENTS-NEWMAN-FACILITY SERV | (6) | January 2018 | 159866.73 |  | No
N161021.0015 | NEWMAN UNIT 5 | U5 ST GENERATOR-POLECROSSOVER MODIFICATION | (7) | December 2017 | 156238.95 |  | No
N180508.0008 | NEWMAN | U3 CT 1 FAN MOTOR | (6) | December 2018 | 152060.12 |  | No
N180628.0003 | NEWMAN | U3 TRANSFORMER PROTECTIVE RELAY I&C | (6) | December 2018 | 147233.94 |  | No
N171003.0020 | NEWMAN | U2 TURBINE DCS CONTROLS | (6) | March 2020 | 143543.26 |  | No
N180712.0011 | NEWMAN UNIT 5 | U5 CATHODIC PROTECTION SYSTEM | (6) | May 2019 | 143222.41 |  | No
N170717.0014 | NEWMAN UNIT 5 | GT4 GENERATOR PROTECTIVE RELAY I&C | (6) | March 2018 | 143015.56 |  | No
N170125.0004 | NEWMAN | U1 RESERVE STATION SERVICE TRANSFOR | (6) | July 2017 | 142732.07 |  | No
N180628.0002 | NEWMAN | U3 GENERATOR PROTECTIVE RELAY I&C | (6) | January 2019 | 141820.85 |  | No
N190213.0005 | NEWMAN UNIT 5 | HRSG4 BOILER SYSTEM | (6) | September 2019 | 140062.77 |  | No
N180917.0005 | NEWMAN UNIT 5 | U5 FIRE PROTECTION SYSTEM | (6) | December 2018 | 139162.69 |  | No
N180720.0008 | NEWMAN | U3 TURBINE I&C | (6) | May 2019 | 135169.58 |  | No
N200908.0004 | NEWMAN | GT1 GENERATOR H2 COOLERS | (4) | December 2020 | 134077.02 |  | Yes
N190207.0009 | NEWMAN | U1 NEWMAN GENERATOR PROTECTIVE RELAY | (6) | June 2019 | 133551.85 |  | No
N180424.0013 | NEWMAN | U1 BOILER CONTROLS I&C | (6) | June 2018 | 133032.68 |  | No
N190905.0031 | NEWMAN | U4 COOLING TOWER 480V SUPPLY TRANSF | (4) | December 2019 | 132725.07 |  | Yes
N180530.0019 | NEWMAN | U2 TURBINE SYSTEM | (6) | August 2018 | 129892.21 |  | No
GN0070110103 | NEWMAN | NEWMAN MAIN OFFICE RESTROOM RENOVATION | (6) | November 2019 | 129817.76 |  | No
N181119.0002 | NEWMAN | U3 BOILER FEED PUMP A | (6) | October 2019 | 127967.51 |  | No
N180104.0014 | NEWMAN | U4 ST DCS CONTROLS | (6) | September 2018 | 127739.15 |  | No
N160518.0006 | NEWMAN | RO SYSTEM (NEW RO) CONTINOUS DEIONIZATION | (6) | October 2016 | 126844 |  | No
GN0030113007 | NEWMAN | U3 MAIN STOP VALVE COMPONENTS&ASSY | (6) | February 2020 | 126434.28 |  | No
N200908.0005 | NEWMAN | GT2 GENERATOR H2 COOLERS | (4) | December 2020 | 122581.57 |  | Yes
GN0070110092 | NEWMAN | NEWMAN MAIN OFFICE ROOF | (6) | March 2017 | 121136.45 |  | No
N171221.0008 | NEWMAN | HRSG1 FW REGULATOR | (6) | April 2018 | 121000.97 |  | No
N180726.0044 | NEWMAN | U3 FUEL GAS I&C | (6) | December 2018 | 120285.96 |  | No
N200619.0028 | NEWMAN | GT2 TURBINE PS&G CABINET | (6) | December 2020 | 118281.87 |  | No
N171016.0011 | NEWMAN UNIT 5 | HRSG3 HOT REHEAT STEAM BYPASS VALVE | (6) | March 2018 | 114824.44 |  | No
N190121.0093 | NEWMAN | GT1 INLET GUIDE VANES CONTROLS I&C | (6) | June 2019 | 114618.61 |  | No
N180727.0009 | NEWMAN | U3 TURBINE DCS | (6) | December 2018 | 113267.92 |  | No
N190111.0009 | NEWMAN UNIT 5 | HRSG3 STACK SAMPLE PROBE | (6) | July 2019 | 108680.5 |  | No
N190211.0012 | NEWMAN | U1 BOILER FEED PUMP A | (6) | July 2019 | 107594.6 |  | No
N190319.0036 | NEWMAN UNIT 5 | HRSG4 FEEDWATER PUMP NO.1- PP4840-1 | (6) | July 2019 | 106415.82 |  | No
N190111.0010 | NEWMAN UNIT 5 | HRSG4 STACK SAMPLE PROBE | (6) | July 2019 | 105707.2 |  | No
N180524.0026 | NEWMAN | U2 BOILER DRUM ELECTRONIC LEVEL IND | (6) | August 2020 | 103982.45 |  | No
N180926.0017 | NEWMAN | SUMP PUMP SYS | (6) | July 2019 | 103285.08 |  | No
N190204.0013 | NEWMAN | HRSG2 FORWARDING PUMP | (6) | June 2019 | 102576.33 |  | No
GN0030110009 | NEWMAN | NEWMAN REVENUE METER REPLACEMENTS | (6) | January 2018 | 101106.19 |  | No
GN0070114002 | NEWMAN | NWMN U4-GT TURBINE HOUSING DOORS-I | (6) | October 2016 | -200563.05 | (A) | No
|  |  |  | TOTAL NEWMAN RATE BASE ADDITIONS: | 99066292
COPPER PRODUCTION STATION
C180509.0004 | COPPER | COPPER GT CONTROL SYSTEM | (6) | March 2019 | 1174107.12 |  | No
C170217.0005 | COPPER | COPPER GT LUBE OIL COOLER | (4) | December 2017 | 515407.64 |  | No
GC1040344001 | COPPER | COPPER GT-ROW1 VANES & RING SEGMENT | (7) | December 2016 | 323067.72 |  | No
C160615.0003 | COPPER | COPPER GENERATOR VOLTAGE REGULATOR | (6) | December 2017 | 244808.56 |  | No
C170206.0005 | COPPER | COPPER GT SYSTEM | (6) | July 2017 | 101314.65 |  | No
|  |  |  | TOTAL COPPER RATE BASE ADDITIONS: | 2358706
|  |  |  | TOTAL FOSSIL PRODUCTION RATE BASE ADDITIONS: | 143904925
(A) Debit/Credit amounts resulted from reclassifications between Units at MPS.
NOTE 1: USE THE FOLLOWING CLASSIFICATION CATEGORIES
(1) | Immediate Personnel Safety Requirement
(2) | Regulatory Safety of Operations Requirement
(3) | Regulatory Commitment (Not classified in [2] above)
(4) | Plant Efficiency Improvement
(5) | New Building
(6) | Productivity Improvement
(7) | Reliability
(8) | Economic
(9) | Habitability
(10) | Other - Reclassifications related to New Generation Capacity
(10)a | New Generation Capacity
(10)b | Continued Operation
(10)c | Regulatory Commitment-Environmental requirement
(10)e | Replacement
NOTE 2: USE THE FOLLOWING BENEFIT ANALYSIS CATEGORIES
YES
NO
NOTE 3: REPRESENTS THE MONTH AND YEAR THE PROJECT WAS CLOSED TO
PLANT IN SERVICE.
SCHEDULE H-5.2b
PAGE 2 OF 7
SCHEDULE H-5.2b
PAGE 3 OF 7
SCHEDULE H-5.2b
PAGE 3 OF 5
SCHEDULE H-5.2b
PAGE 6 OF 7
SCHEDULE H-5.2b
PAGE 1 OF 7
SCHEDULE H-5.2b
PAGE 4 OF 7
SCHEDULE H-5.2b
PAGE 5 OF 7
SCHEDULE H-5.2b
PAGE 7 OF 7