## MPS 1
EL PASO ELECTRIC COMPANY | [12 empty] | SCHEDULE H-5.3b
2021 TEXAS RATE CASE FILING | [12 empty] | PAGE 1 OF 19
SCHEDULE H-5.3b: FOSSIL CAPITAL EXPENDITURES (HISTORICAL, PRESENT, PROJECTED)
SPONSOR: J KYLE OLSON / DAVID C. HAWKINS
PREPARER: LARRY J. HANCOCK/PEDRO VEGA
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
PLANT NAME: | MONTANA POWER | UNIT NUMBER: | 1
1 | 2 |  | 3 | 4 |  | 5 | 6 | 8
|  | Historical | Historical | Historical | Historical | Historical | Present | Projected | Projected | Projected
Project |  | Year | Year | Year | Year | Year | Year | Year | Year | Year
Number | Project Title | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Total
GE181 | MONTANA UNIT 1 | 6217867 | 12336 | 40672 | 0 | 5070463 | 0 | 0 | 0 | 0 | 11341338
GM117 | UNIT 1 PARTIAL HOT SECTION/COMBUSTOR REPLACEMENT |  | 0 | 0 | 2526532 | 4857 | 0 | 0 | 0 | 0 | 2531389
GM119 | UNIT 1 SUPERCORE 878-182 OH - CAPIT |  | 0 | 0 | 0 | 1368034 | 0 | 0 | 0 | 0 | 1368034
GM002 | MONTANA CAPITAL BLANKET |  | 552147 | -86623 | 73237 | 242028 | 183941 | 0 | 0 | 0 | 964730
GM121 | UNIT 1 HMI HARDWARE UPGRADE |  | 0 | 0 | 249141 | -51660 | 0 | 0 | 0 | 0 | 197481
N/A | OTHER CAPITAL PROJECTS |  | 0 | 0 | 0 | 11023 | 15149 | 0 | 0 | 0 | 26172
| Total | 6217867 | 564483 | -45951 | 2848910 | 6644745 | 199090 | 0 | 0 | 0 | 16429144
[12 empty] | PAGE 1 OF 19 | SCHEDULE H-5.3b

## MPS 2
EL PASO ELECTRIC COMPANY | [12 empty] | SCHEDULE H-5.3b
2021 TEXAS RATE CASE FILING | [12 empty] | PAGE 2 OF 19
SCHEDULE H-5.3b: FOSSIL CAPITAL EXPENDITURES (HISTORICAL, PRESENT, PROJECTED)
SPONSOR: J KYLE OLSON / DAVID C. HAWKINS
PREPARER: LARRY J. HANCOCK/PEDRO VEGA
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
PLANT NAME: | MONTANA POWER | UNIT NUMBER: | 2
1 | 2 |  | 3 | 4 |  | 5 | 6 | 8
|  | Historical | Historical | Historical | Historical | Historical | Present | Projected | Projected | Projected
Project |  | Year | Year | Year | Year | Year | Year | Year | Year | Year
Number | Project Title | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Total
GE182 | MONTANA UNIT 2 | 9734964 | 6018 | 40672 | 0 | 6864388 | 0 | 0 | 0 | 0 | 16646042
GM129 | MPS UNIT 2 INTERMEDIATE PRESSURE TURBINE | 0 | 0 | 0 | 0 | 0 | 0 | 3068188 | 7574 | 0 | 3075762
GM002 | MONTANA CAPITAL BLANKET | 0 | 115239 | 275377 | 79480 | 150806 | 107539 | 0 | 0 | 0 | 728441
GM110 | UNIT 2 SUPERCORE HIGH PRESSURE TURBINE BLADES REPLACEMENT | 0 | 0 | 237784 | 0 | -7349 | 0 | 0 | 0 | 0 | 230435
GM122 | UNIT 2 HMI HARDWARE UPGRADE | 0 | 0 | 0 | 139512 | 36910 | 0 | 0 | 0 | 0 | 176422
N/A | OTHER CAPITAL PROJECTS | 0 | 0 | 0 | 0 | 0 | 5389 | 0 | 0 | 0 | 5389
| Total | 9734964 | 121257 | 553833 | 218992 | 7044755 | 112928 | 3068188 | 7574 | 0 | 20862491
[12 empty] | PAGE 2 OF 19 | SCHEDULE H-5.3b

## MPS 3
EL PASO ELECTRIC COMPANY | [12 empty] | SCHEDULE H-5.3b
2021 TEXAS RATE CASE FILING | [12 empty] | PAGE 3 OF 19
SCHEDULE H-5.3b: FOSSIL CAPITAL EXPENDITURES (HISTORICAL, PRESENT, PROJECTED)
SPONSOR: J KYLE OLSON / DAVID C. HAWKINS
PREPARER: LARRY J. HANCOCK/PEDRO VEGA
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
PLANT NAME: | MONTANA POWER | UNIT NUMBER: | 3
1 | 2 |  | 3 | 4 |  | 5 | 6 | 8
|  | Historical | Historical | Historical | Historical | Historical | Present | Projected | Projected | Projected
Project |  | Year | Year | Year | Year | Year | Year | Year | Year | Year
Number | Project Title | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Total
GE183 | MONTANA UNIT 3 | 34727031 | 7635772 | -75503 | 0 | 269574 | 0 | 0 | 0 | 0 | 42556874
GM002 | MONTANA CAPITAL BLANKET | 0 | 0 | 101763 | 99058 | 117013 | 106722 | 0 | 0 | 0 | 424556
GM123 | UNIT 3 HMI HARDWARE UPGRADE | 0 | 0 | 0 | 139512 | 36588 | 0 | 0 | 0 | 0 | 176100
GM130 | MPS UNIT 3 CO CATALYST GASKET UPGRADE | 0 | 0 | 0 | 0 | 0 | 144108 | 0 | 0 | 0 | 144108
N/A | OTHER CAPITAL PROJECTS | 0 | 0 | 0 | 0 | 0 | 285 | 0 | 0 | 0 | 285
| Total | 34727031 | 7635772 | 26260 | 238570 | 423175 | 251115 | 0 | 0 | 0 | 43301923
[12 empty] | PAGE 3 OF 19 | SCHEDULE H-5.3b

## MPS 4
EL PASO ELECTRIC COMPANY | [12 empty] | SCHEDULE H-5.3b
2021 TEXAS RATE CASE FILING | [12 empty] | PAGE 4 OF 19
SCHEDULE H-5.3b: FOSSIL CAPITAL EXPENDITURES (HISTORICAL, PRESENT, PROJECTED)
SPONSOR: J KYLE OLSON / DAVID C. HAWKINS
PREPARER: LARRY J. HANCOCK/PEDRO VEGA
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
PLANT NAME: | MONTANA POWER | UNIT NUMBER: | 4
1 | 2 |  | 3 | 4 |  | 5 | 6 | 8
|  | Historical | Historical | Historical | Historical | Historical | Present | Projected | Projected | Projected
Project |  | Year | Year | Year | Year | Year | Year | Year | Year | Year
Number | Project Title | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Total
GE184 | MONTANA UNIT 4 | 50570013 | 17029190 | -410568 | 0 | 683422 | 0 | 0 | 0 | 0 | 67872057
PM106 | UNIT 4 - INTERMEDIATE PRESSURE TURBINE MILESTONE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3326566 | 3326566
GM111 | REMOVAL AND REPLACEMENT MPS 4 INTERMEDIATE PRESSURE TURBINE | 0 | 0 | 233741 | 0 | 0 | 0 | 0 | 0 | 0 | 233741
GM002 | MONTANA CAPITAL BLANKET | 0 | 0 | 53287 | 81262 | 70396 | 11433 | 0 | 0 | 0 | 216378
GM124 | UNIT 4 HMI HARDWARE UPGRADE | 0 | 0 | 0 | 139512 | 36356 | 0 | 0 | 0 | 0 | 175868
N/A | OTHER CAPITAL PROJECTS | 0 | 0 | 0 | 0 | 0 | 66368 | 0 | 0 | 0 | 66368
| Total | 50570013 | 17029190 | -123540 | 220774 | 790174 | 77801 | 0 | 0 | 3326566 | 71890978
[12 empty] | PAGE 4 OF 19 | SCHEDULE H-5.3b

## MPS JOINT 1-2
EL PASO ELECTRIC COMPANY | [12 empty] | SCHEDULE H-5.3b
2021 TEXAS RATE CASE FILING | [12 empty] | PAGE 5 OF 19
SCHEDULE H-5.3b: FOSSIL CAPITAL EXPENDITURES (HISTORICAL, PRESENT, PROJECTED)
SPONSOR: J KYLE OLSON / DAVID C. HAWKINS
PREPARER: LARRY J. HANCOCK/PEDRO VEGA
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
PLANT NAME: | MONTANA POWER | UNIT NUMBER: | JOINT 1 & 2
1 | 2 |  | 3 | 4 |  | 5 | 6 | 8
|  | Historical | Historical | Historical | Historical | Historical | Present | Projected | Projected | Projected
Project |  | Year | Year | Year | Year | Year | Year | Year | Year | Year
Number | Project Title | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Total
GE180 | MONTANA COMMON | 0 | 5451011 | -3884 | 0 | 232233 | 0 | 0 | 0 | 0 | 5679360
GM002 | MONTANA CAPITAL BLANKET | 0 | 46807 | 1306 | 9733 | 78995 | 48951 | 0 | 0 | 0 | 185792
GM104 | MPS - CATWALKS | 0 | 105675 | 13241 | 0 | 0 | 0 | 0 | 0 | 0 | 118916
N/A | OTHER CAPITAL PROJECTS | 0 | 0 | 0 | 0 | 0 | 19127 | 0 | 0 | 0 | 19127
| Total | 0 | 5603493 | 10663 | 9733 | 311228 | 68078 | 0 | 0 | 0 | 6003195
[12 empty] | PAGE 5 OF 19 | SCHEDULE H-5.3b

## MPS JOINT 3-4
EL PASO ELECTRIC COMPANY | [12 empty] | SCHEDULE H-5.3b
2021 TEXAS RATE CASE FILING | [12 empty] | PAGE 6 OF 19
SCHEDULE H-5.3b: FOSSIL CAPITAL EXPENDITURES (HISTORICAL, PRESENT, PROJECTED)
SPONSOR: J KYLE OLSON / DAVID C. HAWKINS
PREPARER: LARRY J. HANCOCK/PEDRO VEGA
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
PLANT NAME: | MONTANA POWER | UNIT NUMBER: | JOINT 3 & 4
1 | 2 |  | 3 | 4 |  | 5 | 6 | 8
|  | Historical | Historical | Historical | Historical | Historical | Present | Projected | Projected | Projected
Project |  | Year | Year | Year | Year | Year | Year | Year | Year | Year
Number | Project Title | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Total
GE180 | MONTANA COMMON | 0 | 7617524 | 0 | 0 | -700940 | 0 | 0 | 0 | 0 | 6916584
GM105 | MPS BLACK START | 0 | 0 | 80017 | 79842 | 0 | 0 | 0 | 0 | 0 | 159859
GM002 | MONTANA CAPITAL BLANKET | 0 | 0 | 0 | 21779 | 115639 | 0 | 0 | 0 | 0 | 137418
N/A | OTHER CAPITAL PROJECTS | 0 | 26182 | 339 | 0 | 0 | 0 | 0 | 0 | 0 | 26521
| Total | 0 | 7643706 | 80356 | 101621 | -585301 | 0 | 0 | 0 | 0 | 7240382
[12 empty] | PAGE 6 OF 19 | SCHEDULE H-5.3b

## MPS COMMON
EL PASO ELECTRIC COMPANY | [12 empty] | SCHEDULE H-5.3b
2021 TEXAS RATE CASE FILING | [12 empty] | PAGE 7 OF 19
SCHEDULE H-5.3b: FOSSIL CAPITAL EXPENDITURES (HISTORICAL, PRESENT, PROJECTED)
SPONSOR: J KYLE OLSON / DAVID C. HAWKINS
PREPARER: LARRY J. HANCOCK/PEDRO VEGA
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
PLANT NAME: | MONTANA POWER |  | UNIT NUMBER: | COMMON
1 | 2 |  | 3 | 4 |  | 5 | 6 | 8
|  | Historical | Historical | Historical | Historical | Historical | Present | Projected | Projected | Projected
Project |  | Year | Year | Year | Year | Year | Year | Year | Year | Year
Number | Project Title | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Total
GM109 | MONTANA POWER STATION 1 SUPERCORE REPLACEMENT | 0 | 11942891 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11942891
GM120 | MONTANA CAPITAL SPARE CRITICAL PARTS | 0 | 0 | 0 | 7629822 | 0 | 0 | 0 | 0 | 0 | 7629822
GM102 | MONTANA POWER STATION FUEL OIL STORAGE & DELIVERY SYSTEM | 251086 | 6490266 | -29784 | 0 | -61987 | 0 | 0 | 0 | 0 | 6649581
GM002 | MONTANA CAPITAL BLANKET | 950236 | 495832 | 653790 | -105545 | 614691 | 661268 | 1291507 | 718539 | 294866 | 5575184
GM115 | MONTANA POWER STATION WAREHOUSE AND ACCESS ROAD | 0 | 0 | 0 | 192702 | 2249524 | 2985490 | 0 | 0 | 0 | 5427716
GM128 | PARTIAL HOT SECTION REPLACEMENT | 0 | 0 | 0 | 0 | 2287434 | 406617 | 44109 |  |  | 2738160
GM112 | MONTANA POWER STATION GAS BLENDING | 0 | 0 | 0 | 1890598 | 827728 | 0 | 0 | 0 | 0 | 2718326
GM105 | MONTANA POWER STATION BLACK START | 0 | 3852 | 1591830 | 281311 | 322765 | 132042 | 0 | 0 | 0 | 2331800
GM127 | MONTANA POWER STATION SERVICE WATER TANK LINER | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1204099 | 0 | 1204099
GM106 | MONTANA POWER STATION PORTABLE REVERSE OSMOSIS EDI WATER TREATMENT | 0 | 0 | 651242 | 433101 | 26108 | 0 | 0 | 0 | 0 | 1110451
GM125 | MONTANA POWER STATION "B" GAS COMPRESSOR INSTALL KIT | 0 | 0 | 0 | 0 | 1015646 | 824 | 0 | 0 | 0 | 1016470
GM116 | MONTANA POWER STATION BALANCE OF PLANT EQUIP CAPITAL SPARES | 0 | 0 | 0 | 13766 | 63380 | 0 | 281455 | 285140 | 0 | 643741
GM132 | MONTANA POWER STATION GAS COMPRESSOR C ASSEMBLY REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 399265 | 0 | 0 | 399265
GM126 | MONTANA POWER STATION LIGHTNING PROTECTION INSTALL | 0 | 0 | 0 | 0 | 204603 | 86243 | 0 | 0 | 0 | 290846
GM113 | MONTANA POWER STATION CATHODIC PROTECTION SYSTEM JOINT 1/2, 3/4 | 0 | 0 | 0 | 151338 | 317356 | -194929 | 0 | 0 | 0 | 273765
GM133 | MONTANA DCS CIP CYBER IMPROVEMENTS | 0 | 0 | 0 | 0 | 25060 | 247869 | 0 | 0 | 0 | 272929
GM134 | MONTANA POWER STATION AIR COMPRESSORS CLOSED COOLING WATER SYSTEM | 0 | 0 | 0 | 0 | 0 | 2550 | 261167 | 0 | 0 | 263717
PM111 | MONTANA COMMON DCS UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 222025 | 222025
GM030 | GEN-MPS-G&I BLANKET PROJECT | 0 | 31766 | -31761 | 0 | 1958 | 732 | 50885 | 51869 | 52872 | 158321
GE180 | MONTANA COMMON | 12137947 | -11367415 | 3446 | 1634 | -12418621 | 44 | 0 | 0 | 0 | -11642965
N/A | OTHER CAPITAL PROJECTS | 0 | 0 | 0 | 1380516 | -1282681 | 5013 | 0 | 0 | 0 | 102848
| Total | 13339269 | 7597192 | 2838763 | 11869243 | -5807036 | 4333763 | 2328388 | 2259647 | 569763 | 39328992
[12 empty] | PAGE 7 OF 19 | SCHEDULE H-5.3b

## NM 1
EL PASO ELECTRIC COMPANY | [12 empty] | SCHEDULE H-5.3b
2021 TEXAS RATE CASE FILING | [12 empty] | PAGE 8 OF 19
SCHEDULE H-5.3b: FOSSIL CAPITAL EXPENDITURES (HISTORICAL, PRESENT, PROJECTED)
SPONSOR: J KYLE OLSON / DAVID C. HAWKINS
PREPARER: LARRY J. HANCOCK/PEDRO VEGA
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
PLANT NAME: | NEWMAN | UNIT NUMBER: | 1
1 | 2 |  | 3 | 4 |  | 5 | 6 | 8
|  | Historical | Historical | Historical | Historical | Historical | Present | Projected | Projected | Projected
Project |  | Year | Year | Year | Year | Year | Year | Year | Year | Year
Number | Project Title | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Total
GN003 | GEN-NEWMAN BLANKET | 0 | 341279 | 272442 | 239098 | 493876 | 404715 | 0 | 0 | 0 | 1751410
GN143 | UNIT 1 ECONOMIZER TUBE REPLACEMENT | 0 | 614731 | 456584 | 0 | 0 | 0 | 0 | 0 | 0 | 1071315
GN168 | UNIT 1 VOLTAGE REGULATOR REPLACEMENT | 0 | 0 | 389071 | 146368 | 0 | 0 | 0 | 0 | 0 | 535439
GN181 | UNIT 1 COOLING TOWER SOFT STARTS REPLACEMENTS | 0 | 0 | 0 | 0 | 115694 | 103191 | 0 | 0 | 0 | 218885
GN172 | UNIT 1 BENCH BOARD TO DCS UPGRADE | 0 | 0 | 15032 | 123830 | 79050 | 0 | 0 | 0 | 0 | 217912
GN149 | NEW ACID TANKS FOR COOLING TOWERS AT NEWMAN | 0 | 165785 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 165785
N/A | OTHER CAPITAL PROJECTS | -15556 | 8290 | 9872 | 42936 | -21519 | -1190 | 0 | 0 | 0 | 22833
| Total | -15556 | 1130085 | 1143001 | 552232 | 667101 | 506716 | 0 | 0 | 0 | 3983579
[12 empty] | PAGE 8 OF 19 | SCHEDULE H-5.3b

## NM 2
EL PASO ELECTRIC COMPANY | [12 empty] | SCHEDULE H-5.3b
2021 TEXAS RATE CASE FILING | [12 empty] | PAGE 9 OF 19
SCHEDULE H-5.3b: FOSSIL CAPITAL EXPENDITURES (HISTORICAL, PRESENT, PROJECTED)
SPONSOR: J KYLE OLSON / DAVID C. HAWKINS
PREPARER: LARRY J. HANCOCK/PEDRO VEGA
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
PLANT NAME: | NEWMAN | UNIT NUMBER: | 2
1 | 2 |  | 3 | 4 |  | 5 | 6 | 8
|  | Historical | Historical | Historical | Historical | Historical | Present | Projected | Projected | Projected
Project |  | Year | Year | Year | Year | Year | Year | Year | Year | Year
Number | Project Title | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Total
GN003 | GEN-NEWMAN BLANKET | 0 | 204616 | 334442 | 1096840 | 493340 | 230729 | 0 | 0 | 0 | 2359967
GN144 | UNIT 2 ECONOMIZER TUBE REPLACEMENT | 0 | 614731 | 17428 | 480901 | 0 | 0 | 0 | 0 | 0 | 1113060
GN158 | UNIT 2 BOILER-SECONDARY SUPERHEATER REPLACEMENT | 0 | 147031 | 233980 | 490859 | 0 | 0 | 0 | 0 | 0 | 871870
GN217 | UNIT 2 AUTO VOLT REGULATOR UPGRADE | 0 | 0 | 0 | 0 | 143881 | 128289 | 0 | 0 | 0 | 272170
GN222 | UNIT 2 UNINTERUPTIBLE POWER UPGRADE | 0 | 0 | 0 | 0 | 186022 | 69134 | 0 | 0 | 0 | 255156
GN238 | UNIT 2 LOW PRESSURE TURBINE PACKING REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 224659 | 0 | 0 | 0 | 224659
GN176 | UNIT 2 CONTROL VALVE OVERHAUL | 0 | 0 | 0 | 203006 | 0 | 0 | 0 | 0 | 0 | 203006
GN228 | UNIT 2 GENERATOR PROTECT RELAY UPGRADE | 0 | 0 | 0 | 0 | 65120 | 129063 | 0 | 0 | 0 | 194183
GN173 | UNIT 2 BENCH BOARD TO DCS UPGRADE | 0 | 0 | 0 | 136672 | 6871 | 0 | 0 | 0 | 0 | 143543
N/A | OTHER CAPITAL PROJECTS | 6078 | 8308 | 0 | 26141 | -2141 | -3990 | 0 | 0 | 0 | 34396
| Total | 6078 | 974686 | 585850 | 2434419 | 893093 | 777884 | 0 | 0 | 0 | 5672010
[12 empty] | PAGE 9 OF 19 | SCHEDULE H-5.3b

## NM 3
EL PASO ELECTRIC COMPANY | [12 empty] | SCHEDULE H-5.3b
2021 TEXAS RATE CASE FILING | [12 empty] | PAGE 10 OF 19
SCHEDULE H-5.3b: FOSSIL CAPITAL EXPENDITURES (HISTORICAL, PRESENT, PROJECTED)
SPONSOR: J KYLE OLSON / DAVID C. HAWKINS
PREPARER: LARRY J. HANCOCK/PEDRO VEGA
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
PLANT NAME: | NEWMAN | UNIT NUMBER: | 3
1 | 2 |  | 3 | 4 |  | 5 | 6 | 8
|  | Historical | Historical | Historical | Historical | Historical | Present | Projected | Projected | Projected
Project |  | Year | Year | Year | Year | Year | Year | Year | Year | Year
Number | Project Title | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Total
GN174 | UNIT 3 DCS UPGRADE | 0 | 0 | 0 | 2906526 | 433637 | -6914 | 0 | 0 | 0 | 3333249
GN256 | UNIT 3 SWITCHGEAR & MOTOR CONTROL CENTER UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2762996 | 0 | 2762996
GN003 | GEN-NEWMAN BLANKET | 190626 | 351778 | 354888 | 1098981 | 286510 | 174946 | 0 | 0 | 0 | 2457729
GN207 | UNIT 3 BOILER PARTS REPLACEMENTS | 0 | 0 | 0 | 0 | 0 | 614744 | 1834631 | 0 | 0 | 2449375
GN243 | UNIT 3 AIR PREHEATER ROTOR REPL | 0 | 0 | 0 | 0 | 0 | 0 | 366733 | 1129504 | 0 | 1496237
GN258 | UNIT 3 BOILER ECONOMIZER SECTION REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 607844 | 705393 | 0 | 0 | 1313237
GN257 | UNIT 3 BOILER REHEAT SECTION REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 358070 | 705400 | 0 | 0 | 1063470
GN242 | UNIT 3 CONDENSER VACUUM PUMP REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 437598 | 145679 | 0 | 583277
GN203 | UNIT 3 COOLING TOWER STRUCTURE IMPROVEMENT | 0 | 0 | 0 | 239228 | 327420 | 0 | 0 | 0 | 0 | 566648
GN145 | UNIT 3 BOILER ROOF TUBE REPLACEMENT | 71402 | 447350 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 518752
GN197 | UNIT 3 - VALVE - CAPITAL IMPROVEMENTS | 0 | 0 | 0 | 0 | 0 | 0 | 467959 | 0 | 0 | 467959
GN148 | UNIT 3 ATTEMPERATOR AND LINER REMOVAL | 91563 | 259700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 351263
GN259 | UNIT 3 FEEDWATER REGULATOR KIT REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 59200 | 288082 | 0 | 0 | 347282
PN141 | UNIT 3 DCS EVERGREEN UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 327567 | 327567
GN219 | UNIT 3 UNINTERRUPTIBLE SUPPLY UPGRADE | 0 | 0 | 0 | 0 | 177904 | 81032 | 0 | 0 | 0 | 258936
GN218 | UNIT 3 AUTO VOLT REGULATOR UPGRADE | 0 | 0 | 0 | 0 | 144111 | 95005 | 0 | 0 | 0 | 239116
GN204 | UNIT 3 SPARE BOILER FEED PUMP ROTATING ELEMENT | 0 | 0 | 0 | 0 | 127968 | 0 | 0 | 0 | 0 | 127968
N/A | OTHER CAPITAL PROJECTS | -2355 | 7449 | 480 | -396 | -115 | 1161 | 0 | 0 | 0 | 6224
| Total | 351236 | 1066277 | 355368 | 4244339 | 1497435 | 1985088 | 4805796 | 4038179 | 327567 | 18671285
[12 empty] | PAGE 10 OF 19 | SCHEDULE H-5.3b

## NM 4
EL PASO ELECTRIC COMPANY | [12 empty] | SCHEDULE H-5.3b
2021 TEXAS RATE CASE FILING | [12 empty] | PAGE 11 OF 19
SCHEDULE H-5.3b: FOSSIL CAPITAL EXPENDITURES (HISTORICAL, PRESENT, PROJECTED)
SPONSOR: J KYLE OLSON / DAVID C. HAWKINS
PREPARER: LARRY J. HANCOCK/PEDRO VEGA
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
PLANT NAME: | NEWMAN | UNIT NUMBER: | 4
1 | 2 |  | 3 | 4 |  | 5 | 6 | 8
|  | Historical | Historical | Historical | Historical | Historical | Present | Projected | Projected | Projected
Project |  | Year | Year | Year | Year | Year | Year | Year | Year | Year
Number | Project Title | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Total
GN191 | UNIT 4 GT1 HOT GAS PATH CAP IMPROVEMENT | 0 | 0 | 0 | 399876 | 4442880 | 4928252 | 0 | 0 | 0 | 9771008
GN210 | UNIT 4 GT1 & GT1 CAPITAL TURBINE REPLACEMENT PARTS | 0 | 0 | 0 | 0 | 2009997 | 4990187 | 0 | 0 | 0 | 7000184
GN186 | UNIT 4 STEAM INSTRUMENTATION UPGRADE | 0 | 0 | 0 | 0 | 942521 | 2157177 | 0 | 0 | 0 | 3099698
GN003 | GEN-NEWMAN BLANKET | 285200 | 361983 | 341830 | 456152 | 751102 | 830380 | 0 | 0 | 0 | 3026647
GN160 | UNIT 4 ST ROTOR REPLACEMENT | 0 | 3288421 | -316322 | -8 | 0 | 0 | 0 | 0 | 0 | 2972091
GN185 | UNIT 4 GT1 INSTRUMENTATION UPGRADES | 0 | 0 | 0 | 0 | 947377 | 1843222 | 0 | 0 | 0 | 2790599
GN184 | UNIT 4 GT2 INSTRUMENTATION UPGRADES | 0 | 0 | 0 | 0 | 868579 | 1894654 | 0 | 0 | 0 | 2763233
GN157 | CAPITAL SPARE FOR GT1 OR GT2 | 0 | 2236580 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2236580
GN253 | NWU4 GT2 SWITCHGEAR MOTOR CONTROL CENTER UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2075858 | 0 | 2075858
GN251 | UNIT 4 STEAM TURBINE SWITCHGEAR MOTOR CONTROL CENTER UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2075857 | 0 | 2075857
GN252 | NWU4 GT1 SWITCHGEAR MOTOR CONTROL CENTER UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2075857 | 0 | 2075857
GN192 | UNIT 4/GT2 HOT GAS PATH CAPITAL IMPROVEMENT | 0 | 0 | 0 | 0 | 0 | 1752589 | 0 | 0 | 0 | 1752589
GN244 | UNIT 4 STEAM TURBINE CONDENSER RETUBE REPLACEMENTS | 0 | 0 | 0 | 0 | 0 | 0 | 411285 | 753153 | 0 | 1164438
GN163 | UNIT 4 - W501B6 SPARE GAS TURBINE PARTS | 0 | 986455 | 162753 | -10516 | 0 | 0 | 0 | 0 | 0 | 1138692
GN190 | UNIT 4 GT2 COMBUSTOR INSPECTION CAPITAL | 0 | 0 | 0 | 0 | 347924 | 753861 | 0 | 0 | 0 | 1101785
GN183 | UNIT 4 F BUS SWITCHGEAR UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 1015844 | 0 | 0 | 1015844
GN124 | NEW ECONOMIZER / HEADER REPLACEMENT G2 | 0 | 0 | 0 | 5666 | 8725 | 851232 | 0 | 0 | 0 | 865623
GN128 | NEW LOW PRESSURE SECTION (G2) | 0 | 0 | 0 | 2226 | 0 | 848719 | 0 | 0 | 0 | 850945
GN189 | UNIT 4 GT1 COMBUSTOR INSPECTION CAPITAL | 0 | 0 | 0 | 0 | 0 | 811704 | 0 | 0 | 0 | 811704
GN250 | UNIT 4 GAS LINE UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 794190 | 0 | 794190
GN220 | UNIT 4 HALON FIRE SYSTEM UPGRADE | 0 | 0 | 0 | 0 | 0 | 591235 | 0 | 0 | 0 | 591235
GN007 | GEN-NEWM-FACILITY SERV BLKT | 0 | 219373 | 130560 | 7359 | 126106 | 0 | 0 | 0 | 0 | 483398
GN247 | UNIT 4 GT1 MAJOR INSPECTION CAPITAL IMPROVEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 469372 | 0 | 469372
GN147 | UNIT 4 ST NEW VACUUM PUMP SYSTEM | 0 | 0 | 0 | 0 | 3463 | 295866 | 155624 | 0 | 0 | 454953
GN223 | UNIT 4 UNINTERUPTIBLE POWER UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 336272 | 0 | 0 | 336272
GN151 | UNIT 4 GT2 CAPITAL SPARE PARTS | 0 | 13140 | 315192 | 0 | 0 | 0 | 0 | 0 | 0 | 328332
GN249 | UNIT 4 GT2 HOT GAS PATH CAPITAL IMPROVEMENTS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 290292 | 0 | 290292
GN236 | UNIT 4 HRSG2 REPLACE MANUAL CHECK VALVE | 0 | 0 | 0 | 0 | 0 | 0 | 219662 | 0 | 0 | 219662
GN234 | UNIT 4 HRSG1 MANUAL CHECK VALVE REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 218235 | 0 | 0 | 218235
GN263 | UNIT 4 GT1 GENERATOR HYDROGEN COOLER REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 134077 | 103153 | 0 | 0 | 237230
GN264 | UNIT 4 GT2 GENERATOR HYDROGEN COOLER REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 122582 | 103153 | 0 | 0 | 225735
GN152 | NEWMAN - CONTROL ROOM 4 | 0 | 144100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144100
GN216 | UNIT 4 SOFT STARTERS TO VFD UPGRADE | 0 | 0 | 0 | 0 | 54349 | 80328 | 0 | 0 | 0 | 134677
GN221 | UNIT 4 TRNSFMR COOLING TOWER REPLACEMENT | 0 | 0 | 0 | 0 | 104640 | 28085 | 0 | 0 | 0 | 132725
GN229 | UNIT 4 GT1 COMBUSTOR REPLACEMENTS | 0 | 0 | 0 | 0 | 0 | 0 | 129284 | 0 | 0 | 129284
GN230 | UNIT 4 GT2 COMBUSTOR REPLACEMENTS | 0 | 0 | 0 | 0 | 0 | 0 | 129284 | 0 | 0 | 129284
PN108 | UNIT 4 GT1 COMBUSTOR CAPITAL IMPROVEMENTS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 116083 | 116083
PN111 | UNIT 4 GT2 COMBUSTOR CAPITAL IMPROVEMENTS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 115928 | 115928
N/A | OTHER CAPITAL PROJECTS | 8049 | 60820 | 45012 | 1941 | 28909 | 316381 | 6348 | 0 | 0 | 467460
| Total | 293249 | 7310872 | 679025 | 862696 | 10636572 | 23230531 | 2828144 | 8534579 | 232011 | 54607679
[12 empty] | PAGE 11 OF 19 | SCHEDULE H--5.3b

## NM 5
EL PASO ELECTRIC COMPANY | [12 empty] | SCHEDULE H-5.3b
2021 TEXAS RATE CASE FILING | [12 empty] | PAGE 12 OF 19
SCHEDULE H-5.3b: FOSSIL CAPITAL EXPENDITURES (HISTORICAL, PRESENT, PROJECTED)
SPONSOR: J KYLE OLSON / DAVID C. HAWKINS
PREPARER: LARRY J. HANCOCK/PEDRO VEGA
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
PLANT NAME: | NEWMAN | UNIT NUMBER: | 5
1 | 2 |  | 3 | 4 |  | 5 | 6 | 8
|  | Historical | Historical | Historical | Historical | Historical | Present | Projected | Projected | Projected
Project |  | Year | Year | Year | Year | Year | Year | Year | Year | Year
Number | Project Title | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Total
GN162 | UNIT 5 STG CAPITAL PROJECT | 0 | 744524 | 20598437 | 61246 | 226301 | 0 | 0 | 0 | 0 | 21630508
GN161 | UNIT 5 STEAM TURBINE UPGRADES | 0 | 1578363 | 1075320 | 1063610 | 1010950 | 0 | 0 | 0 | 0 | 4728243
GN133 | GT4 HOT GAS PATH PARTS | 4114550 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4114550
GN003 | GEN-NEWMAN BLANKET | -829701 | 399546 | 1226051 | 806686 | 1121010 | 317812 | 0 | 0 | 0 | 3041404
GN198 | UNIT 5 HRSG BYPASS VALVE REPLACEMENT | 0 | 0 | 0 | 239072 | 2295189 | 240386 | 0 | 0 | 0 | 2774647
GN199 | UNIT 5 HRSG4 BYPASS VALVE REPLACEMENT | 0 | 0 | 0 | 86437 | 1415827 | 248689 | 0 | 0 | 0 | 1750953
GN154 | UNIT 5 GT4 COMPRESSOR BLADE REPLACEMENT | 1596328 | 122739 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1719067
GN254 | UNIT 5 HRSG3 BOILER FEED WATER CONTROL VALVE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1324657 | 0 | 1324657
GN153 | UNIT 5 GT3 COMPRESSOR BLADE REPLACEMENT | 1005385 | 246779 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1252164
GN140 | GT4 WET COMPRESSION UPGRADE | 1015545 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1015545
GN177 | GT3 GT CONTROLS AND AVR UPGRADE | 0 | 0 | 0 | 269121 | 740482 | 0 | 0 | 0 | 0 | 1009603
GN178 | GT4 GT CONTROLS AND AVR UPGRADE | 0 | 0 | 0 | 268861 | 676966 | 0 | 0 | 0 | 0 | 945827
GN139 | GT 3 WET COMPRESSION UPGRADE | 916352 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 916352
GN187 | UNIT 5 INSTRUMENT AIR COMPRESSOR REPLACEMENT | 0 | 0 | 0 | 0 | 616255 | 195877 | 0 | 0 | 0 | 812132
GN211 | UNIT 5 GT3 & GT4 CAP GE 7EAS REPL PARTS | 0 | 0 | 0 | 0 | 0 | 790660 | 0 | 0 | 0 | 790660
GN155 | GT4 STAGE 2 TURBINE REPAIR | 686715 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 686715
GN146 | UNIT 5 STEAM TURBINE NEW VACUUM PUMP SYSTEM | 0 | 283068 | 282379 | 790 | 0 | 0 | 0 | 0 | 0 | 566237
PN113 | UNIT 5 GT4 MAJOR TURB/GEN- CAP IMP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 556866 | 556866
GN164 | COLD REHEAT LINE AND VACUUM BREAKER VALVE | 0 | 0 | 540346 | 0 | 0 | -2080 | 0 | 0 | 0 | 538266
PN112 | UNIT 5 GT3 MAJOR TURB/GEN- CAP IMP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 533982 | 533982
GN226 | UNIT 5 CARBON DIOXIDE SYSTEM UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 521968 | 0 | 0 | 521968
GN245 | UNIT 5 BRIDGE INSTALLATON | 0 | 0 | 0 | 0 | 0 | 0 | 521956 | 0 | 0 | 521956
GN139 | UNIT 5 GT3 WET COMPRESSION UPGRADE | 0 | 16905 | 19271 | 415795 | 0 | 0 | 0 | 0 | 0 | 451971
GN255 | UNIT 5 DISTRIBUTIVE CONTROL SYSTEM EVRGRN UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 370580 | 0 | 370580
GN231 | UNIT 5 STEAM TURBINE VALVE CAP IMPROVEMENT REPLACEMENTS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 363943 | 0 | 363943
GN140 | UNIT 5 GT4 WET COMPRESSION UPGRADE | 0 | 29326 | 29466 | 285577 | 0 | 0 | 0 | 0 | 0 | 344369
GN193 | UNIT 5 GT3 HOT GAS PATH CAP IMPROVEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 322724 | 0 | 0 | 322724
GN201 | UNIT 5 HRSG SPARE BOILER FEED PUMP ROTATING ELEMENT | 0 | 0 | 0 | 0 | 212491 | 0 | 0 | 0 | 0 | 212491
GN202 | UNIT 5 HRSG VARIABLE SPEED DRIVE-BOILER FEED PUMP | 0 | 0 | 0 | 0 | 167485 | 0 | 0 | 0 | 0 | 167485
GN209 | UNIT 5 GT3 BOILER FEED PUMP UPGRADE | 0 | 0 | 0 | 0 | 161997 | 0 | 0 | 0 | 0 | 161997
GN165 | NEWMAN STG 5 - POLE CROSSOVER MODIFICATION | 0 | 151855 | 1624 | 0 | 2760 | 0 | 0 | 0 | 0 | 156239
GN261 | UNIT 5 GT4 INLET GUIDE VANES HARDWARE REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 155605 | 0 | 0 | 155605
GN260 | UNIT 5 GT3 INLET GUIDE VANES HARDWARE REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 155581 | 0 | 0 | 155581
GN262 | UNIT 5 GT4 3RD STAGE AFT SEAL REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 155575 | 0 | 0 | 155575
N/A | OTHER CAPITAL PROJECTS | 39598 | -345723 | -72783 | 149554 | -73509 | -13763 | 0 | 0 | 0 | -316626
| Total | 8544772 | 3227382 | 23700111 | 3646749 | 8574204 | 1777581 | 1833409 | 2059180 | 1090848 | 54454236
[12 empty] | PAGE 12 OF 19 | SCHEDULE H-5.3b

## NM 6
EL PASO ELECTRIC COMPANY | [12 empty] | SCHEDULE H-5.3b
2021 TEXAS RATE CASE FILING | [12 empty] | PAGE 13 OF 19
SCHEDULE H-5.3b: FOSSIL CAPITAL EXPENDITURES (HISTORICAL, PRESENT, PROJECTED)
SPONSOR: J KYLE OLSON / DAVID C. HAWKINS
PREPARER: LARRY J. HANCOCK/PEDRO VEGA
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
PLANT NAME: | NEWMAN | UNIT NUMBER: | 6
1 | 2 |  | 3 | 4 |  | 5 | 6 | 8
|  | Historical | Historical | Historical | Historical | Historical | Present | Projected | Projected | Projected
Project |  | Year | Year | Year | Year | Year | Year | Year | Year | Year
Number | Project Title | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Total
GN208 | NEWMAN 6 - GT 5 | 0 | 0 | 0 | 0 | 6837031 | 17981198 | 44046252 | 71467729 | 11941834 | 152274044
PN125 | NW U6 GT LONG TERM SERVICE AGREEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7344948 | 7344948
| Total | 0 | 0 | 0 | 0 | 6837031 | 17981198 | 44046252 | 71467729 | 19286782 | 159618992
[12 empty] | PAGE 13 OF 19 | SCHEDULE H-5.3b

## NM COMMON
EL PASO ELECTRIC COMPANY | [12 empty] | SCHEDULE H-5.3b
2021 TEXAS RATE CASE FILING | [12 empty] | PAGE 14 OF 19
SCHEDULE H-5.3b: FOSSIL CAPITAL EXPENDITURES (HISTORICAL, PRESENT, PROJECTED)
SPONSOR: J KYLE OLSON / DAVID C. HAWKINS
PREPARER: LARRY J. HANCOCK/PEDRO VEGA
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
PLANT NAME: | NEWMAN | UNIT NUMBER: | COMMON
1 | 2 |  | 3 | 4 |  | 5 | 6 | 8
|  | Historical | Historical | Historical | Historical | Historical | Present | Projected | Projected | Projected
Project |  | Year | Year | Year | Year | Year | Year | Year | Year | Year
Number | Project Title | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Total
GN166 | NEWMAN LAKE COMPLIANCE AGREEMENT | 0 | 0 | 982339 | 10564411 | 1584470 | 3780 | 0 | 0 | 0 | 13135000
GN003 | GEN-NEWMAN BLANKET | 285082 | 60025 | 218261 | 483390 | 1639527 | 566030 | 1062389 | 738422 | 649422 | 5702548
GN156 | NEWMAN GAS METERING UPGRADE | 0 | 2354442 | 1202782 | 109422 | 0 | 0 | 0 | 0 | 0 | 3666646
PG109 | 228MW MTSBSHI501GAC GT COD MAY2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2523473 | 2523473
GN241 | NEWMAN ZERO LIQUID DISCHARGE CLARIFIER INS | 0 | 0 | 0 | 0 | 0 | 36261 | 50938 | 0 | 1539158 | 1626357
GN007 | NEWMAN FACILITIES SERVICES IMPROVEMENTS | 3359 | 12694 | 178474 | 139981 | 730649 | 313231 | 0 | 0 | 0 | 1378388
PN134 | NEWMAN NEW CONTROL ROOM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1053892 | 1053892
GN248 | NEWMAN POTABLE WATER SYSTEM UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 788153 | 0 | 788153
GN240 | NEWMAN OVERHEAD CRANE REPLACE | 0 | 0 | 0 | 0 | 0 | 0 | 770875 | 0 | 0 | 770875
GN167 | NEWMAN - MAIN OFFICE EXPANSION | 0 | 0 | 0 | 431593 | 17833 | 0 | 0 | 0 | 0 | 449426
GN232 | NEWMAN DCS CIP CYBER IMPROVEMENTS | 0 | 0 | 0 | 0 | 335813 | 44127 | 0 | 0 | 0 | 379940
GN246 | NEWMAN PUBLIC ADDRESS SYSTEM UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 268008 | 0 | 268008
GN030 | GEN-NEWM-G&I BLANKET | 0 | 0 | 0 | -197 | 0 | 109339 | 50885 | 51869 | 52872 | 264768
GN159 | NEWMAN CONTROL ROOM #1 | 0 | 0 | 195838 | 2226 | 0 | 0 | 0 | 0 | 0 | 198064
GN150 | PRE-TREATMENT UNIT FOR NEW REVERSE OSMOSIS AT NEWMAN | 0 | 149299 | 240 | 0 | 0 | 0 | 0 | 0 | 0 | 149539
N/A | OTHER CAPITAL PROJECTS | 95685 | 76888 | 218 | 62 | 591 | 79130 | 180020 | 0 | 0 | 432594
| Total | 384126 | 2653348 | 2778152 | 11730888 | 4308883 | 1151898 | 2115107 | 1846452 | 5818817 | 32787671
[12 empty] | PAGE 14 OF 19 | SCHEDULE H-5.3b

## RG 7
EL PASO ELECTRIC COMPANY | [12 empty] | SCHEDULE H-5.3b
2021 TEXAS RATE CASE FILING | [12 empty] | PAGE 15 OF 19
SCHEDULE H-5.3b: FOSSIL CAPITAL EXPENDITURES (HISTORICAL, PRESENT, PROJECTED)
SPONSOR: J KYLE OLSON / DAVID C. HAWKINS
PREPARER: LARRY J. HANCOCK/PEDRO VEGA
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
PLANT NAME: | RIO GRANDE | UNIT NUMBER: | 7
1 | 2 |  | 3 | 4 |  | 5 | 6 | 8
|  | Historical | Historical | Historical | Historical | Historical | Present | Projected | Projected | Projected
Project |  | Year | Year | Year | Year | Year | Year | Year | Year | Year
Number | Project Title | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Total
GR180 | UNIT 7 GENERATOR REWIND/HARDWARE REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 2138333 | 0 | 0 | 0 | 2138333
GR014 | GEN-RG BLANKET | 234225 | 112516 | 40217 | 159495 | 240668 | 11413 | 0 | 0 | 0 | 798534
N/A | OTHER CAPITAL PROJECTS | -1862 | -797 | 19493 | 111309 | -1787 | 0 | 0 | 0 | 0 | 126356
| Total | 232363 | 111719 | 59710 | 270804 | 238881 | 2149746 | 0 | 0 | 0 | 3063223
[12 empty] | PAGE 15 OF 19 | SCHEDULE H-5.3b

## RG 8
EL PASO ELECTRIC COMPANY | [12 empty] | SCHEDULE H-5.3b
2021 TEXAS RATE CASE FILING | [12 empty] | PAGE 16 OF 19
SCHEDULE H-5.3b: FOSSIL CAPITAL EXPENDITURES (HISTORICAL, PRESENT, PROJECTED)
SPONSOR: J KYLE OLSON / DAVID C. HAWKINS
PREPARER: LARRY J. HANCOCK/PEDRO VEGA
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
PLANT NAME: | RIO GRANDE | UNIT NUMBER: | 8
1 | 2 |  | 3 | 4 |  | 5 | 6 | 8
|  | Historical | Historical | Historical | Historical | Historical | Present | Projected | Projected | Projected
Project |  | Year | Year | Year | Year | Year | Year | Year | Year | Year
Number | Project Title | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Total
GR014 | GEN-RG BLANKET | 259500 | 192680 | 595203 | 602381 | 299722 | 1621415 | 0 | 0 | 0 | 3570901
GR133 | UNIT 8 CONTROLS UPGRADE (2017 OUTAGE) | 0 | 0 | 863078 | 438553 | 1343521 | 0 | 0 | 0 | 0 | 2645152
GR131 | UNIT 8 LOW PRESSURE TURBINE BLADES REPLACEMENT | 0 | 0 | 0 | 1361920 | 0 | 0 | 0 | 0 | 0 | 1361920
GR150 | UNIT 8 MAJOR HP/IP TURBINE IMPROVEMENTS | 0 | 0 | 0 | 0 | 0 | 0 | 1296034 | 0 | 0 | 1296034
GR126 | UNIT 8 BOILER TUBE REPLACEMENT | 0 | 766462 | 421930 | -4186 | 0 | 0 | 0 | 0 | 0 | 1184206
GR183 | UNIT 8 COOLING TOWER SWITCHGEAR & MOTOR CONTROL CENTER REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 1172495 | 0 | 0 | 1172495
GR120 | BOILER ROOF & WATER WALL TUBES | 1087627 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1087627
GR178 | UNIT 8 TURBINE CONTROLS UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1054568 | 1054568
PR108 | UNIT 8 BURNER AND FGR UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 948502 | 948502
GR164 | UNIT 8 MAIN STEAM HEADER REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 874955 | 0 | 0 | 874955
GR144 | UNIT 8 BOILER BURNER VALVES UPGRADE | 0 | 0 | 262871 | 457910 | 0 | 0 | 0 | 0 | 0 | 720781
GR184 | UNIT 8 TURBINE BEARING FIRE SYSTEM INSTALLATION | 0 | 0 | 0 | 0 | 0 | 1545 | 523843 | 0 | 0 | 525388
GR147 | UNIT 8 THROTTLE VALVE SEAT REPLACEMENT | 0 | 0 | 0 | 0 | 70132 | 0 | 426089 | 0 | 0 | 496221
GR179 | UNIT 8 AUTOMATIC VOLTAGE REGULATOR UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 468156 | 0 | 0 | 468156
PR110 | UNIT 8 DCS UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 383971 | 383971
GR175 | UNIT 8 4160V SWITCHGEAR BREAKER UPGRADE | 0 | 0 | 0 | 0 | 0 | 294560 | 0 | 0 | 0 | 294560
GR176 | UNIT 8 FEED WATER REGULATORS UPGRADE | 0 | 0 | 0 | 0 | 10856 | 269912 | 0 | 0 | 0 | 280768
GR169 | UNIT 8 DRUM LEVEL UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 191465 | 0 | 0 | 191465
GR157 | UNIT 8 SPARE FORCED DRAFT FAN MOTOR | 0 | 0 | 0 | 0 | 0 | 162883 | 0 | 0 | 0 | 162883
GR159 | UNIT 8 BOILER BURNER TUBE REPLACEMENT | 0 | 0 | 0 | 0 | 160801 | 0 | 0 | 0 | 0 | 160801
GR171 | UNIT 8 AUTO SYNCHRONIZER UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 141605 | 0 | 0 | 141605
GR169 | UNIT 8 DRUM LEVEL UPGRADE | 0 | 0 | 0 | 0 | 35280 | 95170 | 0 | 0 | 0 | 130450
GR117 | WOODWARD TURBINE CONTROLS | 100622 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100622
N/A | OTHER CAPITAL PROJECTS | 287 | 1287 | 31222 | 24500 | 13229 | 132123 | 0 | 0 | 0 | 202648
| Total | 1448036 | 960429 | 2174304 | 2881078 | 1933541 | 2577608 | 5094642 | 0 | 2387041 | 19456679
SCHEDULE H-5.3b
PAGE 16 OF 19

## RG 9
EL PASO ELECTRIC COMPANY | [12 empty] | SCHEDULE H-5.3b
2021 TEXAS RATE CASE FILING | [12 empty] | PAGE 17 OF 19
SCHEDULE H-5.3b: FOSSIL CAPITAL EXPENDITURES (HISTORICAL, PRESENT, PROJECTED)
SPONSOR: J KYLE OLSON / DAVID C. HAWKINS
PREPARER: LARRY J. HANCOCK/PEDRO VEGA
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
PLANT NAME: | RIO GRANDE | UNIT NUMBER: | 9
1 | 2 |  | 3 | 4 |  | 5 | 6 | 8
|  | Historical | Historical | Historical | Historical | Historical | Present | Projected | Projected | Projected
Project |  | Year | Year | Year | Year | Year | Year | Year | Year | Year
Number | Project Title | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Total
GR187 | UNIT 9 - 878-168 INTERMEDIATE PRESSURE TURBINE EXCHANGE | 0 | 0 | 0 | 0 | 0 | 0 | 3034027 | 0 | 0 | 3034027
GR146 | UNIT 9 GAS TURBINE HOT SECT REPLACEMENT | 0 | 0 | 0 | 1974598 | 0 | 0 | 0 | 0 | 0 | 1974598
GR116 | UNIT 9 CRITICAL SPARE COMPONENTS | 268099 | 295500 | 139520 | 102478 | -15977 | 193505 | 141078 | 148770 | 0 | 1272973
GR014 | GEN-RG BLANKET | 2483 | 184819 | 164471 | 204261 | 339088 | 30013 | 0 | 0 | 0 | 925135
GR129 | RIO GRANDE 9 BOOSTER RETROFIT | 0 | 525363 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 525363
GR158 | UNIT 9 SCR CO CATALYST REPLACEMENT | 0 | 0 | 0 | 0 | 372461 | 0 | 0 | 0 | 0 | 372461
GR156 | UNIT 9 HMI HARDWARE UPGRADE | 0 | 0 | 0 | 104608 | 211182 | 0 | 0 | 0 | 0 | 315790
PR111 | UNIT 9 DCS UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 275563 | 275563
GR149 | UNIT 9 FUEL GAS PIPE REPLACEMENT-RELOCATION | 0 | 0 | 0 | 0 | 253019 | 0 | 0 | 0 | 0 | 253019
GR186 | UNIT 9 INSTRUMENT AIR COMPRESSOR UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 202288 | 0 | 0 | 202288
GR185 | UNIT 9 GAS METERING INSTALL | 0 | 0 | 0 | 0 | 0 | 0 | 147960 | 0 | 0 | 147960
GR140 | UNIT 9 HIGH PRESSURE COMPRESSOR STAGE 1 BLADE REPLACEMENT | 0 | 0 | 110021 | 0 | -763 | 0 | 0 | 0 | 0 | 109258
N/A | OTHER CAPITAL PROJECTS | -54838 | -26178 | 0 | -140 | 1751 | -120 | 0 | 0 | 0 | -79525
| Total | 215744 | 979504 | 414012 | 2385805 | 1160761 | 223398 | 3525353 | 148770 | 275563 | 9328910
[12 empty] | PAGE 17 OF 19 | SCHEDULE H-5.3b

## RG COMMON
EL PASO ELECTRIC COMPANY | [12 empty] | SCHEDULE H-5.3b
2021 TEXAS RATE CASE FILING | [12 empty] | PAGE 18 OF 19
SCHEDULE H-5.3b: FOSSIL CAPITAL EXPENDITURES (HISTORICAL, PRESENT, PROJECTED)
SPONSOR: J KYLE OLSON / DAVID C. HAWKINS
PREPARER: LARRY J. HANCOCK/PEDRO VEGA
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
PLANT NAME: | RIO GRANDE | UNIT NUMBER: | COMMON
1 | 2 |  | 3 | 4 |  | 5 | 6 | 8
|  | Historical | Historical | Historical | Historical | Historical | Present | Projected | Projected | Projected
Project |  | Year | Year | Year | Year | Year | Year | Year | Year | Year
Number | Project Title | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Total
GR014 | GEN-RG BLANKET | 22447 | 42263 | 95649 | 237204 | 357764 | 416364 | 735409 | 454973 | 420643 | 2782716
GR007 | RIO GRANDE FACILITIES SERVICES - CAPITAL IMPROVEMENTS | 44126 | 130110 | 89242 | 486629 | 402291 | -26936 | 0 | 0 | 0 | 1125462
GR188 | RIO GRANDE FIRE MAIN REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1006924 | 0 | 1006924
GR123 | NEW RO/DI TANK | 644716 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 644716
GR135 | RIO GRANDE - WELDING SHOP | 0 | 0 | 233714 | 310794 | 5899 | 0 | 0 | 0 | 0 | 550407
GR122 | MAIN SEWER REPLACEMENT | 522147 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 522147
GR177 | RIO GRANDE DCS CIP CYBER IMPROVEMENTS | 0 | 0 | 0 | 0 | 331386 | 139148 | 0 | 0 | 0 | 470534
GR030 | GEN-RG-GENERAL & INTANGIBLE BLANKET | 171658 | 15759 | 34641 | 0 | 0 | 49113 | 50885 | 51869 | 52872 | 426797
GR165 | RG WELL WATER PIPING REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 414141 | 0 | 0 | 0 | 414141
GR170 | RIO GRANDE EMPLOYEE ACCESS IMPROVEMENT | 0 | 0 | 0 | 0 | 1965 | 365758 | 0 | 0 | 0 | 367723
GR141 | RIO GRANDE WELL #3 RELOCATION | 0 | 0 | 238283 | 67507 | -1 | 0 | 0 | 0 | 0 | 305789
GR130 | RIO GRANDE WELL #4 RELOCATION | 0 | 277887 | 16325 | -3635 | 0 | 0 | 0 | 0 | 0 | 290577
GR134 | RIO GRANDE RESTROOMS | 0 | 0 | 239946 | 24442 | 0 | 0 | 0 | 0 | 0 | 264388
GR132 | RIO GRANDE - MAINTENANCE SHOP | 0 | 263679 | -1185 | 0 | -193 | 0 | 0 | 0 | 0 | 262301
GR172 | RIO GRANDE WELL #2 RELOCATION | 0 | 0 | 0 | 0 | 0 | 250471 | 0 | 0 | 0 | 250471
GR174 | RG PLANT CRANE RAILING UPGRADE | 0 | 0 | 0 | 0 | 110777 | 81093 | 0 | 0 | 0 | 191870
GR137 | RIO GRANDE - CONTROL ROOM | 0 | 0 | 27152 | 148330 | 0 | 0 | 0 | 0 | 0 | 175482
GR139 | 480V & 2300V SYSTEM UPGRADE | 0 | 0 | 57347 | 54910 | 10401 | 6570 | 0 | 0 | 0 | 129228
GR182 | RIO GRANDE PLANT GAS METERING UPGRADE | 0 | 0 | 0 | 0 | 0 | 7687 | 117374 | 0 | 0 | 125061
GR166 | RIO GRANDE PUBLIC ANNOUNCEMENTS SYSTEM UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 115392 | 0 | 0 | 115392
N/A | OTHER CAPITAL PROJECTS | -13630 | 16978 | 0 | 3191 | 19243 | -18974 | 0 | 0 | 0 | 6808
| Total | 1391464 | 746676 | 1031114 | 1329372 | 1239532 | 1684435 | 1019060 | 1513766 | 473515 | 10428934
[12 empty] | PAGE 18 OF 19 | SCHEDULE H-5.3b

## COPPER
EL PASO ELECTRIC COMPANY | [12 empty] | SCHEDULE H-5.3b
2021 TEXAS RATE CASE FILING | [12 empty] | PAGE 19 OF 19
SCHEDULE H-5.3b: FOSSIL CAPITAL EXPENDITURES (HISTORICAL, PRESENT, PROJECTED)
SPONSOR: J KYLE OLSON / DAVID C. HAWKINS
PREPARER: LARRY J. HANCOCK/PEDRO VEGA
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
PLANT NAME: | COPPER | UNIT NUMBER: | 1
1 | 2 |  | 3 | 4 |  | 5 | 6 | 8
|  | Historical | Historical | Historical | Historical | Historical | Present | Projected | Projected | Projected
Project |  | Year | Year | Year | Year | Year | Year | Year | Year | Year
Number | Project Title | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Total
GC107 | COPPER GT - HGP INSPECTION/COMPRESSOR CAPITAL REPL | 0 | 0 | 0 | 0 | 1619973 | 7872592 | 0 | 0 | 0 | 9492565
GC108 | COPPER GAS TURBINE CAPITAL REPLACEMENT PARTS (W501B4) | 0 | 0 | 0 | 0 | 0 | 7500310 | 0 | 0 | 0 | 7500310
GC110 | COPPER INLET AIR COOLER REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 2076772 | 0 | 0 | 2076772
GC106 | COPPER DCS UPGRADE | 0 | 0 | 0 | 381592 | 848619 | 21540 | 0 | 0 | 0 | 1251751
GC003 | GEN-COPPER BLANKET | 7786 | 257159 | 136290 | 72524 | 90954 | 177465 | 182211 | 98708 | 137462 | 1160559
GC112 | COPPER SWITCHGEAR & MOTOR CONTROL CENTER UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1091282 | 0 | 1091282
GC113 | COPPER GENERATOR STATOR REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 897135 | 0 | 0 | 0 | 897135
GC105 | COPPER LUBE OIL COOLER REPLACEMENT | 0 | 0 | 465592 | 63686 | 0 | 0 | 0 | 0 | 0 | 529278
GC104 | COPPER CI - CAPITAL PARTS AND LABOR | 0 | 319161 | 3907 | 0 | 0 | 0 | 0 | 0 | 0 | 323068
GC109 | COPPER UNINTERRUPTIBLE POWER SUPPLY | 0 | 0 | 0 | 0 | 0 | 0 | 292757 | 0 | 0 | 292757
GC114 | COPPER SILENCER SECTION REPLACEMENT | 0 | 0 | 0 | 0 | 0 | 219877 | 0 | 0 | 0 | 219877
PC106 | COPPER DCS EVERGREEN UPGRADE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 218378 | 218378
GC111 | COPPER COMBUSTION INSPECTION- CAPITAL IMPROVEMENTS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 124206 | 0 | 124206
N/A | OTHER CAPITAL PROJECTS | 26789 | 65198 | 61 | 56 | 83520 | 14790 | 0 | 0 | 0 | 190414
| Total | 34575 | 641518 | 605850 | 517858 | 2643066 | 16703709 | 2551740 | 1314196 | 355840 | 25368352
[12 empty] | PAGE 19 OF 19 | SCHEDULE H-5.3b