## H-12.1
EL PASO ELECTRIC COMPANY | [12 empty] | SCHEDULE H-12.1 |  | EL PASO ELECTRIC COMPANY | [9 empty] | SCHEDULE H-12.1
2021 TEXAS RATE CASE FILING | [12 empty] | PAGE 1 OF 2 |  | 2021 TEXAS RATE CASE FILING | [9 empty] | PAGE 2 OF 2
SCHEDULE H-12.1: SUPPLY AND LOAD (NET MWH) | [14 empty] | SCHEDULE H-12.1: SUPPLY AND LOAD (NET MWH)
SPONSOR: GEORGE NOVELA /DAVID C. HAWKINS/J KYLE OLSON | [14 empty] | SPONSOR: GEORGE NOVELA /DAVID C. HAWKINS/J KYLE OLSON
PREPARER: ERIC GALVAN / NADIA POWELL | [14 empty] | PREPARER: ERIC GALVAN / NADIA POWELL
FOR THE TEST YEAR ENDED DECEMBER 31, 2020 | [14 empty] | FOR THE TEST YEAR ENDED DECEMBER 31, 2020
| PRODUCTION |  |  |  |  | PURCHASED POWER | [12 empty] | SALES
[9 empty] | NET |  |  | (7) |  |  |  | (7) | BOOK LOSSES | (1) | OFF-SYSTEM
|  | (4) |  | (5) | SUB |  | NON | SUB | INTER- | PRIOR | NET | TOTAL |  |  |  | TOTAL | LESS | SYSTEM'S | NON | OFF-SYSTEM |  | (6) | SUB
| NUCLEAR | COAL | GAS/OIL | WIND/SOLAR | TOTAL | FIRM | FIRM | TOTAL | CHANGE | ADJUST | INADVERTENT | SUPPLY |  |  |  | LOAD | SYSTEM USE | OWN USE | FIRM | FIRM | WHOLESALE | RETAIL | TOTAL
RECONCILIATION PERIOD (RP), (2) | [14 empty] | RECONCILIATION PERIOD (RP), (2)
TEST YEAR (TY) | [14 empty] | TEST YEAR (TY)
January 2020 | 470207.0732 | N/A | 342675 | 1337 | 814219.0732 | 88378 | 690 | 89068 | 9912 | 0 | -2143 | 911056.0732 |  |  | January 2020 | 895358.5153 | 26158.0801 | 1142.97 | 375 | 294179 | 3364.9632 | 570138.502 | 868057.4652
February | 393674.8221 | N/A | 287562 | 1453 | 682689.8221 | 113015 | 1134 | 114149 | 14145 | 0 | -2740 | 808243.8221 |  |  | February | 807326.1655 | 31850.2967 | 1250.764 | 0 | 241017 | 3866.1768 | 529341.928 | 774225.1048
March | 441797.1597 | N/A | 335459 | 1503 | 778759.1597 | 96000 | 2093 | 98093 | 11315 | 0 | -1213 | 886954.1597 |  |  | March | 885757.9785 | 45726.5107 | 1007.575 | 0 | 311037 | 4049.3148 | 523937.578 | 839023.8928
April | 315889.1556 | N/A | 368826 | 2190 | 686905.1556 | 104203 | 4066 | 108269 | 8605 | 0 | -4715 | 799064.1556 |  |  | April | 798108.6164 | 35458.2457 | 935.821 | 0 | 227855 | 5022.9696 | 528836.58 | 761714.5496
May | 437543.0037 | N/A | 447783 | 2365 | 887691.0037 | 106010 | 2424 | 108434 | 19773 | 0 | -3529 | 1012369.0037 |  |  | May | 1013949.1087 | 41986.1438 | 998.935 | 0 | 258932 | 6449.4948 | 705582.535 | 970964.0298
June | 450546.4064 | N/A | 479032 | 1577 | 931155.4064 | 143478 | 837 | 144315 | 14497 | 0 | -1714 | 1088253.4064 |  |  | June | 1088416.6574 | 52390.5488 | 939.549 | 0 | 191788 | 7450.8997 | 835847.66 | 1035086.5597
July | 462792.7483 | N/A | 585152 | 1320 | 1049264.7483 | 185442 | 464 | 185906 | 15275 | 0 | -1665 | 1248780.7483 |  |  | July | 1255306.5142 | 81648.6387 | 1083.513 | 0 | 197823 | 8058.4825 | 966692.88 | 1172574.3625
August | 461529.345 | N/A | 540679 | 1190 | 1003398.345 | 180900 | 1318 | 182218 | 26693 | 0 | -2438 | 1209871.345 |  |  | August | 1210735.4288 | 68559.4539 | 1191.674 | 0 | 175881 | 8376.9829 | 956726.318 | 1140984.3009
September | 449716.8005 | N/A | 464958 | 1533 | 916207.8005 | 96485 | 267 | 96752 | 19933 | 0 | -109 | 1032783.8005 |  |  | September | 1032234.9631 | 51737.6666 | 956.43 | 0 | 260517 | 5400.8964 | 713622.97 | 979540.8664
October | 354420.7037 | N/A | 341296 | 682 | 696398.7037 | 92982.94 | 792 | 93774.94 | 22301 | 0 | 1623 | 814097.6437 |  |  | October | 813528.6643 | 38356.4561 | 964.616 | 0 | 142342 | 3802.7172 | 628062.875 | 774207.5922
November | 302665.0201 | N/A | 297628 | 1212 | 601505.0201 | 82542.26 | 1508 | 84050.26 | 2224 | 0 | -2799 | 684980.2801 |  |  | November | 684021.2547 | 31403.0333 | 946.026 | 0 | 122654 | 3328.4124 | 525689.783 | 651672.1954
December | 444502.6991 | N/A | 309295 | 1097 | 754894.6991 | 132251.4 | 1148 | 133399.4 | 2736 | 0 | -2586 | 888444.0991 | PAGE 1 OF 2 | SCHEDULE H-12.1 | December | 889284.238 | 37742.6748 | 1390.397 | 0 | 231124 | 4046.6592 | 614980.507 | 850151.1662 | PAGE 2 OF 2 | SCHEDULE H-12.1
Total TY | 4985284.9373 | 0 | 4800345 | 17459 | 9803088.9373 | 1421687.6 | 16741 | 1438428.6 | 167409 | 0 | -24028 | 11384898.5373 |  |  | Total TY | 11374028.1048 | 543017.7492 | 12808.27 | 375 | 2655149 | 63217.9696 | 8099460.116 | 10818202.0856
Total RP | [14 empty] | Total RP
Notes: | (1) System's Own Use shall provide metered usage for office buildings, district offices, service centers, warehouses, and maintenance facilities, except that an intermittent basis may be estimated. Electric usage of facilities associated with the transmission or distribution of electricity (e.g., switchyards, substations, etc.) may be estimated based on a statistical sampling technique. | [13 empty] | Notes: | (1) System's Own Use shall provide metered usage for office buildings, district offices, service centers, warehouses, and maintenance facilities, except that an intermittent basis may be estimated. Electric usage of facilities associated with the transmission or distribution of electricity (e.g., switchyards, substations, etc.) may be estimated based on a statistical sampling technique.
| (2) Reconciliation Period information is not applicable. EPE has not included a fuel reconciliation in this proceeding. | [14 empty] | (2) Reconciliation Period information is not applicable. EPE has not included a fuel reconciliation in this proceeding.
| (3) Rate year information is not applicable. EPE’s fuel factor is based on a Commission approved formula and is not being changed in this proceeding. | [14 empty] | (3) Rate year information is not applicable. EPE’s fuel factor is based on a Commission approved formula and is not being changed in this proceeding.
| (4) EPE sold its ownership interest in Four Corners in July 2016. | [14 empty] | (4) EPE sold its ownership interest in Four Corners on July 6, 2016.
| (5) Includes subscribed solar generation. | [14 empty] | (5) Includes subscribed solar generation.
| (6) Retail sales are adjusted for unbilled sales data. | [14 empty] | (6) Retail sales are adjusted for unbilled sales data.
| (7) Monthly total deviations due to cycle billing vs calendar metered data and billing adjustments. | [14 empty] | (7) Monthly total deviations due to cycle billing vs calendar metered data and billing adjustments.