## Schedule
EL PASO ELECTRIC COMPANY | [10 empty] | SCHEDULE H-12.2a
2021 TEXAS RATE CASE FILING | [10 empty] | PAGE 1 OF 2
SCHEDULE H-12.2a: SUMMARY OF NET MWh PRODUCTION BY UNIT (LIGNITE, NUCLEAR, COAL)
SPONSOR: DAVID C. HAWKINS
PREPARER: AARON A. ARZAGA
FOR THE TEST YEAR ENDING DECEMBER 31, 2020
| LIGNITE-FIRED PRODUCTION (A) |  |  | NUCLEAR PRODUCTION |  |  |  | COAL-FIRED PRODUCTION (A)
|  |  |  | Palo Verde | Palo Verde | Palo Verde
|  |  |  | UNIT 1 | UNIT 2 | UNIT 3 | TOTAL
RECONCILIATION PERIOD (RP)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total RP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes: | The reconciliation period is not applicable. EPE has not included a fuel reconciliation in this proceeding.
TEST YEAR (TY)
January 2020 |  |  | 0 | 157213.8561 | 157612.9215 | 155380.2955 | 470207.0732
February |  |  | 0 | 146622.7216 | 147258.9832 | 99793.1173 | 393674.8221
March |  |  | 0 | 156633.3085 | 130230.7678 | 154933.0833 | 441797.1597 |  |  |  | SCHEDULE H-12.2a PAGE 1 OF 2
April |  |  | 0 | 151820.6876 | 14033.8501 | 150034.6179 | 315889.1556
May |  |  | 0 | 156281.7942 | 126606.0053 | 154655.2041 | 437543.0037
June |  |  | 0 | 150709.7459 | 150807.5106 | 149029.1499 | 450546.4064
July |  |  | 0 | 154437.3553 | 154984.5488 | 153370.8441 | 462792.7483
August |  |  | 0 | 153724.7327 | 154658.0407 | 153146.5716 | 461529.345
September |  |  | 0 | 149996.4034 | 150589.8493 | 149130.5479 | 449716.8005
October |  |  | 0 | 42636.3215 | 156808.9364 | 154975.4458 | 354420.7037
November |  |  | 0 | 0 | 152595.7972 | 150069.2229 | 302665.0201
December |  |  | 0 | 131242.6581 | 157499.7823 | 155760.2587 | 444502.6991
Total TY | 0 | 0 | 0 | 1551319.585 | 1653686.9933 | 1780278.3591 | 4985284.9373 | 0 | 0 | 0
Note: | (A) EPE does not have any coal or lignite generation.
EL PASO ELECTRIC COMPANY | [10 empty] | SCHEDULE H-12.2a
2021 TEXAS RATE CASE FILING | [10 empty] | PAGE 2 OF 2
SCHEDULE H-12.2a: SUMMARY OF NET MWh PRODUCTION BY UNIT (LIGNITE, NUCLEAR, COAL)
SPONSOR: DAVID C. HAWKINS
PREPARER: AARON A. ARZAGA
FOR THE TEST YEAR ENDING DECEMBER 31, 2020
| LIGNITE-FIRED PRODUCTION (A) |  |  | NUCLEAR PRODUCTION |  |  |  | COAL-FIRED PRODUCTION (A)
|  |  |  | Palo Verde | Palo Verde | Palo Verde
|  |  |  | UNIT 1 | UNIT 2 | UNIT 3 | TOTAL
RATE YEAR (RY)
Total RY
Note: | Rate year information is not applicable. EPE's fuel factor is based on a Commission approved formula and is not being changed in this proceeding.
(A) EPE does not have any coal or lignite generation.
SCHEDULE H-12.2a PAGE 2 OF 2

## COP (hidden)
EL PASO ELECTRIC COMPANY | [18 empty] | SCHEDULE H-12.3a
2009 RATE CASE FILING | [18 empty] | PAGE 15 OF 33
SCHEDULE H-12.3a: GENERATING UNIT DATA
SPONSOR: RICARDO ACOSTA
PREPARER: J. L. GUADERRAMA/J. SANCHEZ
COPPER UNIT 1
| PRODUCTION MWh |  |  | OPERATING STATISTICS (%) | [7 empty] | FUEL CONSUMPTION |  |  |  | NET
| GROSS |  | NET | EQUIVALENT | FORCED | SCHEDULED | NET | (A) TIME | # OF | # OF | HOURS | BILLION Btu |  |  |  | HEAT
| UNIT | STATION | UNIT | AVAILABILITY | OUTAGE | OUTAGE | CAPACITY | ON | COLD | HOT | CONNECTED | (A) COLD | (A) HOT |  |  | RATE
| OUTPUT | SERVICE | OUTPUT | FACTOR | RATE | FACTOR | FACTOR | AGC | STARTS | STARTS | TO LOAD | START | START | OPERATION | TOTAL | Btu/kWh
RECONCILIATION PERIOD (RP)
Mar 2004 | 64 | 3 | 61 | 40.6 | 53.4 | 6 | 0.1 | N/A | 1 | 1 | 5 | N/A | N/A | 2 | 2 | 33770 | 100
Apr | 0 | 0 | 0 | 0 | 100 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | N/A | 0 | 0 | 0 | 100
May | 805 | 4 | 801 | 82 | 18 | 0 | 1.6 | N/A | 1 | 5 | 14 | N/A | N/A | 11 | 11 | 13665 | 100
Jun | 494 | 0 | 494 | 76.7 | 23.3 | 0 | 1 | N/A | 1 | 3 | 14 | N/A | N/A | 8 | 8 | 15743 | 100
Jul | 1935 | 2 | 1933 | 100 | 0 | 0 | 3.8 | N/A | 0 | 4 | 42 | N/A | N/A | 29 | 29 | 14927 | 100
Aug | 1316 | 12 | 1304 | 99.1 | 0.9 | 0 | 2.5 | N/A | 0 | 7 | 29 | N/A | N/A | 20 | 20 | 15475 | 100
Sep | 665 | 2 | 663 | 100 | 0 | 0 | 1.3 | N/A | 0 | 4 | 15 | N/A | N/A | 11 | 11 | 16659 | 100
Oct | 4 | 0 | 4 | 100 | 0 | 0 | 0 | N/A | 0 | 1 | 1 | N/A | N/A | 1 | 1 | 0 | 100
Nov | 105 | 0 | 105 | 93.3 | 0 | 6.7 | 0.2 | N/A | 0 | 2 | 5 | N/A | N/A | 2 | 2 | 21590 | 100
Dec | 582 | 0 | 582 | 53.4 | 0 | 46.6 | 1.1 | N/A | 1 | 1 | 57 | N/A | N/A | 19 | 19 | 32674 | 100
Jan 2005 | 196 | 0 | 196 | 100 | 0 | 0 | 0.4 | N/A | 0 | 1 | 6 | N/A | N/A | 3 | 3 | 17449 | 100
Feb | 0 | 0 | 0 | 100 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | N/A | 0 | 0 | 0 | 100
Mar | 0 | 0 | 0 | 100 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | N/A | 0 | 0 | 0 | 100
Apr | 0 | 0 | 0 | 100 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | N/A | 0 | 0 | 0 | 100
May | 1082 | 0 | 1082 | 48 | 0 | 52 | 2.1 | N/A | 1 | 2 | 23 | N/A | N/A | 17 | 17 | 15896 | 100
Jun | 2361 | 0 | 2361 | 100 | 0 | 0 | 4.8 | N/A | 0 | 6 | 55 | N/A | N/A | 31 | 31 | 13292 | 100
Jul | 5870 | 0 | 5870 | 100 | 0 | 0 | 11.4 | N/A | 0 | 18 | 141 | N/A | N/A | 103 | 103 | 17602 | 100
Aug | 4291 | 15 | 4276 | 100 | 0 | 0 | 8.3 | N/A | 0 | 11 | 100 | N/A | N/A | 71 | 71 | 16542 | 100
Sep | 121 | 0 | 121 | 98.9 | 0 | 1.1 | 0.2 | N/A | 0 | 1 | 3 | N/A | N/A | 2 | 2 | 16661 | 100
Oct | 536 | 0 | 536 | 100 | 0 | 0 | 1 | N/A | 0 | 1 | 9 | N/A | N/A | 8 | 8 | 14931 | 100
Nov | 0 | 0 | 0 | 74.4 | 0 | 25.6 | 0 | N/A | 0 | 0 | 0 | N/A | N/A | 0 | 0 | 0 | 100
Dec | 2217 | 0 | 2217 | 100 | 0 | 0 | 4.3 | N/A | 0 | 4 | 58 | N/A | N/A | 35 | 35 | 15651 | 100
Jan 2006 | 825 | 0 | 825 | 100 | 0 | 0 | 1.8 | N/A | 0 | 3 | 27 | N/A | N/A | 14 | 14 | 17029 | 100
Feb | 0 | 0 | 0 | 75 | 0 | 25 | 0 | N/A | 0 | 0 | 0 | N/A | N/A | 0 | 0 | 0 | 100
Mar | 1383 | 6 | 1377 | 87.4 | 12.6 | 0 | 3 | N/A | 1 | 9 | 41 | N/A | N/A | 25 | 25 | 18319 | 100
Apr | 2351 | 11 | 2340 | 100 | 0 | 0 | 5.2 | N/A | 0 | 10 | 76 | N/A | N/A | 41 | 41 | 17341 | 100
May | 846 | 4 | 842 | 99.6 | 0.4 | 0 | 1.8 | N/A | 0 | 2 | 16 | N/A | N/A | 13 | 13 | 15618 | 100
Jun | 2444 | 6 | 2438 | 92.6 | 7.4 | 0 | 5.5 | N/A | 0 | 8 | 56 | N/A | N/A | 34 | 34 | 14019 | 100
Jul | 4966 | 14 | 4952 | 100 | 0 | 0 | 10.7 | N/A | 0 | 15 | 109 | N/A | N/A | 82 | 82 | 16640 | 100
Aug | 2195 | 77 | 2118 | 99.6 | 0.4 | 0 | 4.6 | N/A | 0 | 6 | 37 | N/A | N/A | 31 | 31 | 14517 | 100 | PAGE 8 OF 17 | 0
Sep | 441 | 72 | 369 | 100 | 0 | 0 | 0.8 | N/A | 0 | 1 | 9 | N/A | N/A | 6 | 6 | 17195 | 100
Oct | 872 | 17 | 855 | 99.5 | 0.5 | 0 | 1.9 | N/A | 0 | 7 | 27 | N/A | N/A | 14 | 14 | 16446 | 100
Nov | 78 | 0 | 78 | 99 | 1 | 0 | 0.2 | N/A | 0 | 2 | 5 | N/A | N/A | 2 | 2 | 29077 | 100
Dec | 226 | 0 | 226 | 83.6 | 16.4 | 0 | 0.5 | N/A | 1 | 3 | 9 | N/A | N/A | 5 | 5 | 20699 | 100
Jan 2007 | 445 | 6 | 439 | 100 | 0 | 0 | 0.9 | N/A | 0 | 1 | 16 | N/A | N/A | 9 | 9 | 21478 | 100
Feb | 694 | 1 | 693 | 100 | 0 | 0 | 1.7 | N/A | 0 | 4 | 32 | N/A | N/A | 15 | 15 | 21997 | 100
Total RP | 40410 | 252 | 40158 | 89 | 6.5 | 4.5 | 2.3 | N/A | 7 | 143 | 1037 | N/A | N/A | 664 | 664 | 16535
Notes: | Fuel Consumption and Heat Rate shall be provided, if available.
Fuel Consumption may be estimated if actual data is not available.
EPE Notes: | (A) N/A = Not Available (EPE does not measure or record this data)
EL PASO ELECTRIC COMPANY | [15 empty] | SCHEDULE H-12.3a
2009 RATE CASE FILING | [15 empty] | PAGE 8 OF 17
SCHEDULE H-12.3a: GENERATING UNIT DATA
SPONSOR: RICARDO ACOSTA
PREPARER: J. L. GUADERRAMA/J. SANCHEZ
COPPER UNIT 1
| PRODUCTION MWh |  |  | OPERATING STATISTICS (%) | [7 empty] | FUEL CONSUMPTION |  |  |  | NET
| GROSS |  | NET | EQUIVALENT | FORCED | SCHEDULED | NET | (A) TIME | # OF | # OF | HOURS | BILLION Btu |  |  |  | HEAT
| UNIT | STATION | UNIT | AVAILABILITY | OUTAGE | OUTAGE | CAPACITY | ON | COLD | HOT | CONNECTED | (A) COLD | (A) HOT |  |  | RATE
| OUTPUT | SERVICE | OUTPUT | FACTOR | RATE | FACTOR | FACTOR | AGC | STARTS | STARTS | TO LOAD | START | START | OPERATION | TOTAL | Btu/kWh
RECONCILIATION PERIOD (RP)
Mar 2004 | 64 | 3 | 61 | 40.6 | 53.4 | 6 | 0.1 | N/A | 1 | 1 | 5 | N/A | N/A | 2 | 2 | 33770 | 100
Apr | 0 | 0 | 0 | 0 | 100 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | N/A | 0 | 0 | 0 | 100
May | 805 | 4 | 801 | 82 | 18 | 0 | 1.6 | N/A | 1 | 5 | 14 | N/A | N/A | 11 | 11 | 13665 | 100
Jun | 494 | 0 | 494 | 76.7 | 23.3 | 0 | 1 | N/A | 1 | 3 | 14 | N/A | N/A | 8 | 8 | 15743 | 100
Jul | 1935 | 2 | 1933 | 100 | 0 | 0 | 3.8 | N/A | 0 | 4 | 42 | N/A | N/A | 29 | 29 | 14927 | 100
Aug | 1316 | 12 | 1304 | 99.1 | 0.9 | 0 | 2.5 | N/A | 0 | 7 | 29 | N/A | N/A | 20 | 20 | 15475 | 100
Sep | 665 | 2 | 663 | 100 | 0 | 0 | 1.3 | N/A | 0 | 4 | 15 | N/A | N/A | 11 | 11 | 16659 | 100
Oct | 4 | 0 | 4 | 100 | 0 | 0 | 0 | N/A | 0 | 1 | 1 | N/A | N/A | 1 | 1 | 0 | 100
Nov | 105 | 0 | 105 | 93.3 | 0 | 6.7 | 0.2 | N/A | 0 | 2 | 5 | N/A | N/A | 2 | 2 | 21590 | 100
Dec | 582 | 0 | 582 | 53.4 | 0 | 46.6 | 1.1 | N/A | 1 | 1 | 57 | N/A | N/A | 19 | 19 | 32674 | 100
Jan 2005 | 196 | 0 | 196 | 100 | 0 | 0 | 0.4 | N/A | 0 | 1 | 6 | N/A | N/A | 3 | 3 | 17449 | 100
Feb | 0 | 0 | 0 | 100 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | N/A | 0 | 0 | 0 | 100
Mar | 0 | 0 | 0 | 100 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | N/A | 0 | 0 | 0 | 100
Apr | 0 | 0 | 0 | 100 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | N/A | 0 | 0 | 0 | 100
May | 1082 | 0 | 1082 | 48 | 0 | 52 | 2.1 | N/A | 1 | 2 | 23 | N/A | N/A | 17 | 17 | 15896 | 100
Jun | 2361 | 0 | 2361 | 100 | 0 | 0 | 4.8 | N/A | 0 | 6 | 55 | N/A | N/A | 31 | 31 | 13292 | 100
Jul | 5870 | 0 | 5870 | 100 | 0 | 0 | 11.4 | N/A | 0 | 18 | 141 | N/A | N/A | 103 | 103 | 17602 | 100
Aug | 4291 | 15 | 4276 | 100 | 0 | 0 | 8.3 | N/A | 0 | 11 | 100 | N/A | N/A | 71 | 71 | 16542 | 100
Sep | 121 | 0 | 121 | 98.9 | 0 | 1.1 | 0.2 | N/A | 0 | 1 | 3 | N/A | N/A | 2 | 2 | 16661 | 100
Oct | 536 | 0 | 536 | 100 | 0 | 0 | 1 | N/A | 0 | 1 | 9 | N/A | N/A | 8 | 8 | 14931 | 100
Nov | 0 | 0 | 0 | 74.4 | 0 | 25.6 | 0 | N/A | 0 | 0 | 0 | N/A | N/A | 0 | 0 | 0 | 100
Dec | 2217 | 0 | 2217 | 100 | 0 | 0 | 4.3 | N/A | 0 | 4 | 58 | N/A | N/A | 35 | 35 | 15651 | 100
Jan 2006 | 825 | 0 | 825 | 100 | 0 | 0 | 1.8 | N/A | 0 | 3 | 27 | N/A | N/A | 14 | 14 | 17029 | 100
Feb | 0 | 0 | 0 | 75 | 0 | 25 | 0 | N/A | 0 | 0 | 0 | N/A | N/A | 0 | 0 | 0 | 100
Mar | 1383 | 6 | 1377 | 87.4 | 12.6 | 0 | 3 | N/A | 1 | 9 | 41 | N/A | N/A | 25 | 25 | 18319 | 100
Apr | 2351 | 11 | 2340 | 100 | 0 | 0 | 5.2 | N/A | 0 | 10 | 76 | N/A | N/A | 41 | 41 | 17341 | 100
May | 846 | 4 | 842 | 99.6 | 0.4 | 0 | 1.8 | N/A | 0 | 2 | 16 | N/A | N/A | 13 | 13 | 15618 | 100
Jun | 2444 | 6 | 2438 | 92.6 | 7.4 | 0 | 5.5 | N/A | 0 | 8 | 56 | N/A | N/A | 34 | 34 | 14019 | 100
Jul | 4966 | 14 | 4952 | 100 | 0 | 0 | 10.7 | N/A | 0 | 15 | 109 | N/A | N/A | 82 | 82 | 16640 | 100
Aug | 2195 | 77 | 2118 | 99.6 | 0.4 | 0 | 4.6 | N/A | 0 | 6 | 37 | N/A | N/A | 31 | 31 | 14517 | 100 | PAGE 8 OF 17 | SCHEDULE FR-4.2a
Sep | 441 | 72 | 369 | 100 | 0 | 0 | 0.8 | N/A | 0 | 1 | 9 | N/A | N/A | 6 | 6 | 17195 | 100
Oct | 872 | 17 | 855 | 99.5 | 0.5 | 0 | 1.9 | N/A | 0 | 7 | 27 | N/A | N/A | 14 | 14 | 16446 | 100
Nov | 78 | 0 | 78 | 99 | 1 | 0 | 0.2 | N/A | 0 | 2 | 5 | N/A | N/A | 2 | 2 | 29077 | 100
Dec | 226 | 0 | 226 | 83.6 | 16.4 | 0 | 0.5 | N/A | 1 | 3 | 9 | N/A | N/A | 5 | 5 | 20699 | 100
Jan 2007 | 445 | 6 | 439 | 100 | 0 | 0 | 0.9 | N/A | 0 | 1 | 16 | N/A | N/A | 9 | 9 | 21478 | 100
Feb | 694 | 1 | 693 | 100 | 0 | 0 | 1.7 | N/A | 0 | 4 | 32 | N/A | N/A | 15 | 15 | 21997 | 100
Total RP | 40410 | 252 | 40158 | 89 | 6.5 | 4.5 | 2.3 | N/A | 7 | 143 | 1037 | N/A | N/A | 664 | 664 | 16535
Notes: | Fuel Consumption and Heat Rate shall be provided, if available.
Fuel Consumption may be estimated if actual data is not available.
EPE Notes: | (A) N/A = Not Available (EPE does not measure or record this data)