## H-12.5a
EL PASO ELECTRIC COMPANY | [18 empty] | SCHEDULE H-12.5a
2021 TEXAS RATE CASE FILING | [18 empty] | PAGE 1 OF 1
SCHEDULE H-12.5a: SUMMARY OF LINE LOSSES AND SYSTEM'S OWN USE
SPONSOR: GEORGE NOVELA / JAMES SCHICHTL
PREPARER: ERIC GALVAN
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
| SYSTEM LOSSES (MWh) | [12 empty] | SYSTEM'S OWN USE (MWh), (2)
| STEP-UP | 345 kV | 345 kV/ | 115 kV | 115 kV/ | 69 kV | POWER | DIST | DIST | SEC (5) | SUB | DIF | BOOK LOSSES | OFFICES AND |  |  | TOTAL
| XFMR (3) | TRANS (3) | 115 kV (3) | LINES (3) | 69 kV (3) | LINES (3) | TRANS (4) | PRI (4) | TRANS |  | TOTAL |  | LESS | MAIN REPORTING | WAREHOUSES | MISCELLANEOUS | SYSTEM
|  |  | AUTO |  | AUTO | [7 empty] | SYSTEM USE | PLACES |  |  | USE
RECONCILIATION PERIOD (RP), (6)
2020-01-01 | 847.3289 | 7183.122 | 700.1502 | 2264.6999 | 307.5735 | 680.9268 | 2432.804 | 5219.9883 | 6653.0284 | 1011.4281 | 27301.0501 | -1142.97 | 26158.0801 | 454.14 | 99.88 | 588.95 | 1142.97
2020-02-01 | 1027.3409 | 8709.1507 | 848.8946 | 2745.8273 | 372.9164 | 825.5873 | 2949.6445 | 6328.9562 | 8066.4405 | 1226.3024 | 33101.0607 | -1250.764 | 31850.2967 | 511.45 | 115.425 | 623.889 | 1250.764
2020-03-01 | 1450.4621 | 12296.1073 | 1198.5208 | 3876.7256 | 526.5059 | 1165.6142 | 4164.4871 | 8935.6044 | 11388.6901 | 1731.3681 | 46734.0857 | -1007.575 | 45726.5107 | 447.132 | 75.844 | 484.599 | 1007.575
2020-04-01 | 1129.5442 | 9575.5666 | 933.3455 | 3018.9915 | 410.0153 | 907.7195 | 3243.0852 | 6958.5823 | 8868.9174 | 1348.2991 | 36394.0667 | -935.821 | 35458.2457 | 414.269 | 60.536 | 461.016 | 935.821
2020-05-01 | 1334.1061 | 11309.714 | 1102.3755 | 3565.7348 | 484.2696 | 1072.1087 | 3830.4121 | 8218.7905 | 10475.0897 | 1592.4778 | 42985.0788 | -998.935 | 41986.1438 | 455.991 | 51.392 | 491.552 | 998.935
2020-06-01 | 1655.1792 | 14031.5702 | 1367.6791 | 4423.8836 | 600.8166 | 1330.1281 | 4752.2595 | 10196.7685 | 12996.0809 | 1975.7321 | 53330.0978 | -939.549 | 52390.5488 | 451.389 | 59.29 | 428.87 | 939.549
2020-07-01 | 2567.7159 | 21767.483 | 2121.7106 | 6862.8677 | 932.0599 | 2063.4569 | 7372.2846 | 15818.4709 | 20161.1056 | 3064.9966 | 82732.1517 | -1083.513 | 81648.6387 | 484.703 | 75.089 | 523.721 | 1083.513
2020-08-01 | 2164.8304 | 18352.073 | 1788.8053 | 5786.0548 | 785.8158 | 1739.6918 | 6215.542 | 13336.4861 | 16997.743 | 2584.0857 | 69751.1279 | -1191.674 | 68559.4539 | 502.587 | 67.523 | 621.564 | 1191.674
2020-09-01 | 1635.44 | 13864.2333 | 1351.3685 | 4371.1255 | 593.6514 | 1314.2653 | 4695.5853 | 10075.1645 | 12841.0929 | 1952.17 | 52694.0966 | -956.43 | 51737.6666 | 438.732 | 65.141 | 452.557 | 956.43
2020-10-01 | 1220.3882 | 10345.6848 | 1008.4101 | 3261.795 | 442.991 | 980.7232 | 3503.9115 | 7518.2287 | 9582.2032 | 1456.7366 | 39321.0721 | -964.616 | 38356.4561 | 442.137 | 57.616 | 464.863 | 964.616
2020-11-01 | 1004.0014 | 8511.2932 | 829.6091 | 2683.4466 | 364.4443 | 806.8313 | 2882.6335 | 6185.1728 | 7883.1843 | 1198.4428 | 32349.0593 | -946.026 | 31403.0333 | 399.579 | 68.23 | 478.217 | 946.026
2020-12-01 | 1214.5533 | 10296.2205 | 1003.5887 | 3246.1998 | 440.873 | 976.0342 | 3487.1587 | 7482.2828 | 9536.3891 | 1449.7717 | 39133.0718 | -1390.397 | 37742.6748 | 487.927 | 135.906 | 766.564 | 1390.397
TOTAL TY | 17250.8906 | 146242.2186 | 14254.458 | 46107.352 | 6261.9326 | 13863.0872 | 49529.808 | 106274.4958 | 135449.9652 | 20591.8111 | 555826.0192 | -12808.27 | 543017.7492 | 5490.036 | 931.872 | 6386.362 | 12808.27
TOTAL RP | [18 empty] | SCHEDULE H-12.5a
NOTES: | (1) | All values in this schedule are estimated. | [15 empty] | PAGE 1 OF 1
| (2) | System's Own Use shall provide metered usage for office buildings, district offices, service centers, warehouses, and maintenance facilities, except that an intermittent basis may be estimated. Electric usage of facilities associated with the transmission or distribution of electricity (e.g., switchyards, substations, etc.) may be estimated based on a statistical sampling technique.
| (3) | EPE's transmission voltage system is comprised of 345, 115, and 69 kV levels.
| (4) | EPE's primary distribution voltage system is an aggregation of 2.4, 4.16, 13.8 and 23.9 kV levels.
| (5) | EPE's secondary distribution voltage system is all service below the 2.4 kV level.
| (6) | Not applicable. EPE has not included a fuel reconciliation in this proceeding.