## H-12.6a
EL PASO ELECTRIC COMPANY | [5 empty] | SCHEDULE H-12.6a
2021 TEXAS RATE CASE FILING | [5 empty] | PAGE 1 OF 1
SCHEDULE H-12.6a: MONTHLY MINIMUM AND PEAK DEMAND
SPONSOR: GEORGE NOVELA
PREPARER: ERIC GALVAN
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
| 2017 |  | 2018 |  | 2019
| Minimum | Peak | Minimum | Peak | Minimum | Peak
| Load | Load | Load | Load | Load | Load
Month | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
January | 635 | 1061 | 661 | 1137 | 680 | 1140
February | 582 | 991 | 617 | 1015 | 625 | 1057
March | 593 | 1197 | 594 | 1018 | 584 | 1033
April | 588 | 1313 | 600 | 1294 | 585 | 1262
May | 589 | 1432 | 643 | 1705 | 593 | 1460
June | 682 | 1935 | 683 | 1921 | 658 | 1856
July | 785 | 1792 | 759 | 1929 | 800 | 1885
August | 771 | 1773 | 747 | 1864 | 839 | 1985
September | 690 | 1685 | 665 | 1701 | 700 | 1775
October | 581 | 1531 | 594 | 1523 | 594 | 1373
November | 579 | 1012 | 602 | 1083 | 620 | 1062
December | 609 | 1163 | 636 | 1078 | 655 | 1109
Annual Load | 579 | 1935 | 594 | 1929 | 584 | 1985