## Schedule H wPUCT Variables
EL PASO ELECTRIC COMPANY |  |  |  |  | SCHEDULE H-14.2
2021 TEXAS RATE CASE FILING |  |  |  |  | PAGE 2 OF 7
SCHEDULE H-14.2: WHEELING INFORMATION
SPONSOR: R. CLAY DOYLE
PREPARER: MARIANA MERCADO
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
WHEELING INFORMATION
USING PUCT 16 TAC §23.66(d)(5)(B) AMBIENT CONDITIONS
80%
|  | Thermal | Thermal
| Length | Rating | Rating
Description | (miles) | (amps) | (amps) | MW-Miles
69 kV Transmission Lines
Alamo Alto to Neely | 50.72 | 353 | 282.4 | 1711.8025
Austin to Ascarate | 2.31 | 702 | 561.6 | 155.0418
Clint to Felipe | 11.33 | 353 | 282.4 | 382.3881
Cox to Apollo | 15.12 | 353 | 282.4 | 510.3007
Dallas to Ascarate | 5.8 | 702 | 561.6 | 389.2824
Dyer to Austin | 2.15 | 702 | 561.6 | 144.303
Farah to Scotsdale | 2.05 | 702 | 561.6 | 137.5912
Felipe to Alamo | 10.18 | 353 | 282.4 | 343.5755
Lane to Americas | 3.62 | 702 | 561.6 | 242.9659
Mann to Lane | 2.97 | 702 | 561.6 | 199.3395
Mann to Scotsdale | 3.19 | 702 | 561.6 | 214.1053
Neely to Farmer | 33.34 | 353 | 282.4 | 1125.2266
Phelps Dodge to Ascarate | 0.43 | 702 | 561.6 | 28.8606
Phelps Dodge to Viscount | 1.56 | 702 | 561.6 | 104.7036
Rio Grande Co OP to Farmer | 3.37 | 353 | 282.4 | 113.7377
Rio Bosque to Ascarate | 10.21 | 702 | 561.6 | 685.2713
Rio Grande to Border Steel | 12.91 | 512 | 409.6 | 631.9692
Rio Grande to Sunset | 5.02 | 466 | 372.8 | 223.6605
Rio Grande to Sunset | 5.65 | 466 | 372.8 | 251.7295
Santa Fe to Dallas | 1.93 | 702 | 561.6 | 129.5371
Scotsdale to Austin | 4.69 | 702 | 561.6 | 314.7818
Socorro to Rio Bosque | 2.39 | 702 | 561.6 | 160.4112
Socorro to Valley | 1.82 | 702 | 561.6 | 122.1541
Sparks to Felipe | 12.87 | 512 | 409.6 | 630.0111
Santa Fe to Sunset | 2.88 | 962 | 769.6 | 264.891
Valley to Americas | 4.87 | 702 | 561.6 | 326.863
Valley to Clint | 3.31 | 512 | 409.6 | 162.0308
Viscount to Farah | 1.94 | 702 | 561.6 | 130.2083
69 kV Total | 218.63 |  |  | 9836.7435
EL PASO ELECTRIC COMPANY |  |  |  |  | SCHEDULE H-14.2
2021 TEXAS RATE CASE FILING |  |  |  |  | PAGE 3 OF 7
SCHEDULE H-14.2: WHEELING INFORMATION
SPONSOR: R. CLAY DOYLE
PREPARER: MARIANA MERCADO
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
WHEELING INFORMATION
USING PUCT 16 TAC §23.66(d)(5)(B) AMBIENT CONDITIONS
80%
|  | Thermal | Thermal
| Length | Rating | Rating
Description | (miles) | (amps) | (amps) | MW-Miles
115 kV Transmission Lines
Airport to Mimbres Tap | 2.7 | 638 | 510.4 | 274.494
Amrad to Holloman | 22.53 | 654 | 523.2 | 2347.9422
Anthony to Border Steel | 5.15 | 859 | 687.2 | 704.9346
Anthony to Newman | 12.3 | 859 | 687.2 | 1683.6303
Anthony to Nuway | 6.56 | 859 | 687.2 | 897.9362
Anthony to Salopek | 17.3 | 859 | 687.2 | 2368.0328
Arroyo to Anthony | 24.39 | 659 | 626 | 3041.1973
Ascarate to Copper | 1.36 | 962 | 769.6 | 208.4791
Ascarate to Juarez | 2.38 | 965 | 772 | 365.9761
Ascarate to Trowbridge | 0.54 | 711 | 568.8 | 61.1803
Austin to Marlow | 1.18 | 888 | 710.4 | 166.9719
Biggs to Bliss Industrial | 2.19 | 962 | 769.6 | 335.7126
Butterfield to Ft. Bliss | 1.85 | 702 | 561.6 | 206.9461
Caliente to Diamond Head | 6.06 | 965 | 772 | 931.8551
Caliente to Vista | 6.6 | 862 | 689.6 | 906.5665
Caliente to MPS | 3.1 | 353 | 282.4 | 174.3753
Caliente to MPS | 8.53 | 973 | 778.4 | 1322.5446
Caliente to MPS | 3.1 | 973 | 778.4 | 480.6434
Chaparral to Oro Grande | 35.384 | 702 | 561.6 | 3958.1522
Copper to Pendale | 5.11 | 962 | 769.6 | 783.3294
Coyote to MPS | 3.09 | 973 | 778.4 | 479.0929
Coyote to Dell City | 10.8 | 232 | 185.6 | 399.264
Cromo to Rio Grande | 0.95 | 702 | 561.6 | 106.2696
Diablo to Juarez | 2.28 | 965 | 772 | 350.599
Diablo to Rio Grande 1 | 2.9 | 1724 | 1379.2 | 796.6796
Diablo to Rio Grande 2 | 2.9 | 1724 | 1379.2 | 796.6796
Diamond Head to Lane | 2.8 | 965 | 772 | 430.5601
Durazno to Ascarate | 3.3 | 962 | 769.6 | 505.8683
Dyer to Austin | 2.08 | 962 | 769.6 | 318.8503
Dyer to Shearman | 9.63 | 702 | 561.6 | 1077.2385
Executive to Rio Grande | 2.94 | 1404 | 1123.2 | 657.7531
Ft. Bliss to Austin | 1.76 | 702 | 561.6 | 196.8785
Global Reach to Vista | 2.98 | 888 | 710.4 | 421.6748
Hatch to Jornada | 33.44 | 349 | 279.2 | 1859.6883
Jornada to Arroyo | 4.87 | 446 | 356.8 | 346.1085
Lane to Wrangler | 1.04 | 859 | 687.2 | 142.3557
Las Cruces to Arroyo | 4.08 | 859 | 687.2 | 558.4725
Las Cruces to Salopek | 5.01 | 859 | 687.2 | 685.7714
Leo East to Dyer | 3.76 | 962 | 769.6 | 576.3833
Leo East to Milagro | 4.39 | 962 | 769.6 | 672.9581
Liberty to Global Reach | 2.58 | 962 | 769.6 | 395.497
Liberty to Bliss Industrial | 2.17 | 962 | 769.6 | 332.6467
MAR to Largo | 11.35 | 318 | 254.4 | 575.1372
Marlow to Trowbridge | 1.08 | 711 | 568.8 | 122.3607
Mesa to Austin | 6.088 | 859 | 687.2 | 833.3286
Mesa to Rio Grande | 2.31 | 888 | 710.4 | 326.8687
Milagro to Newman | 6.29 | 962 | 769.6 | 964.2156
Montwood to Caliente | 4.98 | 962 | 769.6 | 763.4013
Montwood to Coyote | 7.85 | 962 | 769.6 | 1203.3534
Montwood to MPS | 7.02 | 973 | 778.4 | 1088.4247
Newman to Butterfield | 16.7 | 702 | 561.6 | 1868.1082
Newman to Chaparral | 2.88 | 702 | 561.6 | 322.1648
Newman to Picante | 13.56 | 962 | 769.6 | 2078.6588
Newman to Pipeline | 9.78 | 962 | 769.6 | 1499.2097
Newman to Shearman | 7.25 | 702 | 561.6 | 811.0051
Nuway to Montoya | 3.62 | 859 | 687.2 | 495.5075
Oro Grande to Amrad | 7.86 | 702 | 561.6 | 879.2414
Patriot to Cromo | 18.44 | 702 | 561.6 | 2062.7495
Patriot to Newman | 1.48 | 702 | 561.6 | 165.5569
Pelicano to Horizon | 6.74 | 962 | 769.6 | 1033.1977
Pelicano to Montwood | 3.8 | 962 | 769.6 | 582.515
Pendale to Lane | 1.52 | 962 | 769.6 | 233.006
Picante to Biggs | 2.3 | 962 | 769.6 | 352.5749
Picante to Global Reach | 5.98 | 962 | 769.6 | 916.6947
Pipeline to Biggs | 13.65 | 702 | 561.6 | 1526.9268
Rio Grande to Ripley | 3.03 | 859 | 687.2 | 414.7479
Ripley to Thorn | 1.86 | 702 | 561.6 | 208.0648
Salopek to Arroyo | 10.71 | 702 | 561.6 | 1198.0503
Santa Teresa to Diablo | 8.88 | 878 | 702.4 | 1242.3842
Santa Teresa to Montoya | 7.38 | 962 | 769.6 | 1131.3055
Scotsdale to Vista | 5.18 | 702 | 561.6 | 579.4491
SOL to Lane | 2.1 | 702 | 561.6 | 234.9118
SOL to Vista | 2 | 962 | 769.6 | 306.5868
Sparks to Horizon | 3.84 | 962 | 769.6 | 588.6468
Sunset North to Durazno | 4.63 | 962 | 769.6 | 709.7486
Sunset North to Executive | 2.25 | 1404 | 1123.2 | 503.3825
Thorn to Montoya | 2.99 | 702 | 561.6 | 334.4697
White Sands to Oro Grande | 22.8 | 431 | 344.8 | 1565.8876
Wrangler to Sparks | 3.97 | 512 | 409.6 | 323.8985
345 kV Total | 522.212 |  |  | 63373.931
EL PASO ELECTRIC COMPANY |  |  |  |  | SCHEDULE H-14.2
2021 TEXAS RATE CASE FILING |  |  |  |  | PAGE 4 OF 7
SCHEDULE H-14.2: WHEELING INFORMATION
SPONSOR: R. CLAY DOYLE
PREPARER: MARIANA MERCADO
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
WHEELING INFORMATION
USING PUCT 16 TAC §23.66(d)(5)(B) AMBIENT CONDITIONS
80%
|  | Thermal | Thermal
| Length | Rating | Rating
Description | (miles) | (amps) | (amps) | MW-Miles
345 kV Transmission Lines
Amrad to Empire | 125.1 | 1222 | 977.6 | 73079.9472
Caliente to Amrad | 56.66 | 1630 | 1304 | 44150.3229
Caliente to Picante | 7.26 | 1636 | 1308.8 | 5677.9247
Empire to Eddy | 0.46 | 1688 | 1350.4 | 371.1932
Hidalgo to Greenlee | 59.95 | 1592 | 1273.6 | 45624.9036
Luna to Afton | 57.26 | 1706 | 1364.8 | 46698.1935
Luna to Diablo | 84.9 | 1804 | 1443.2 | 73217.3376
Luna to Hidalgo | 50.5 | 1468 | 1174.4 | 35439.4639
Macho Springs to Luna | 24.86 | 1914 | 1531.2 | 22746.405
Macho Springs to Springerville | 201.38 | 1538 | 1230.4 | 148061.5806
Newman to Afton | 29.88 | 1710 | 1368 | 24425.6659
Newman to Arroyo | 30.31 | 1452 | 1161.6 | 21038.8628
Picante to Newman | 16.2 | 1634 | 1307.2 | 12654.2607
West Mesa to Arroyo | 201.75 | 1420 | 1136 | 136953.0149
345 kV Total | 946.47 |  |  | 690139.0765
500 kV Transmission Lines
Palo Verde to Kyreen | 75 | 4395 | 3516 | 42705.3382
Palo Verde to Westwing I | 45 | 4395 | 3516 | 25623.2029
Palo Verde to Westwing II | 45 | 4395 | 3516 | 25623.2029
500 kV Total | 165 |  |  | 93951.744
Note: The method for calculating the "thermal rating" of a transmission line is defined in 16 TAC §23.66(d)(5)(B).

## Schedule H wEPE Variables
EL PASO ELECTRIC COMPANY | [5 empty] | SCHEDULE H-14.2
2021 TEXAS RATE CASE FILING | [5 empty] | PAGE 5 OF 7
SCHEDULE H-14.2: WHEELING INFORMATION
SPONSOR: R. CLAY DOYLE
PREPARER: MARIANA MERCADO
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
WHEELING INFORMATION
USING EPE LOCAL AMBIENT CONDITIONS
80%
|  | Thermal | Thermal
| Length | Rating | Rating
Description | (miles) | (amps) | (amps) | MW-Miles
69 kV Transmission Lines
Alamo Alto to Neely | 50.72 | 344 | 275.2 | 1668.1588
Austin to Ascarate | 2.31 | 680 | 544 | 150.1829
Clint to Felipe | 11.33 | 344 | 275.2 | 372.6388
Cox to Apollo | 15.12 | 344 | 275.2 | 497.2902
Dallas to Ascarate | 5.8 | 680 | 544 | 377.0827
Dyer to Austin | 2.15 | 680 | 544 | 139.7807
Farah to Scotsdale | 2.05 | 680 | 544 | 133.2792
Felipe to Alamo | 10.18 | 344 | 275.2 | 334.8158
Lane to Americas | 3.62 | 680 | 544 | 235.3516
Mann to Lane | 2.97 | 680 | 544 | 193.0923
Mann to Scotsdale | 3.19 | 680 | 544 | 207.3955
Neely to Farmer | 33.34 | 344 | 275.2 | 1096.5381
Phelps Dodge to Ascarate | 0.43 | 680 | 544 | 27.9561
Phelps Dodge to Viscount | 1.56 | 680 | 544 | 101.4222
Rio Grande Co OP to Farmer | 3.37 | 344 | 275.2 | 110.8378
Rio Bosque to Ascarate | 10.21 | 680 | 544 | 663.7956
Rio Grande to Border Steel | 12.91 | 497 | 397.6 | 613.4545
Rio Grande to Sunset | 5.02 | 454 | 363.2 | 217.901
Rio Grande to Sunset | 5.65 | 454 | 363.2 | 245.2472
Santa Fe to Dallas | 1.93 | 680 | 544 | 125.4775
Scotsdale to Austin | 4.69 | 680 | 544 | 304.9169
Socorro to Rio Bosque | 2.39 | 680 | 544 | 155.3841
Socorro to Valley | 1.82 | 680 | 544 | 118.326
Sparks to Felipe | 12.87 | 497 | 397.6 | 611.5538
Santa Fe to Sunset | 2.88 | 928 | 742.4 | 255.529
Valley to Americas | 4.87 | 680 | 544 | 316.6194
Valley to Clint | 3.31 | 497 | 397.6 | 157.2838
Viscount to Farah | 1.94 | 680 | 544 | 126.1277
69 kV Total | 218.63 |  |  | 9557.4393
EL PASO ELECTRIC COMPANY | [5 empty] | SCHEDULE H-14.2
2017 TEXAS RATE CASE FILING | [5 empty] | PAGE 6 OF 7
SCHEDULE H-14.2: WHEELING INFORMATION
SPONSOR: R. CLAY DOYLE
PREPARER: MARIANA MERCADO
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
WHEELING INFORMATION
USING EPE LOCAL AMBIENT CONDITIONS
80%
|  | Thermal | Thermal
| Length | Rating | Rating
Description | (miles) | (amps) | (amps) | MW-Miles
115 kV Transmission Lines |  |  |  |  | * = Thermal Rating SAG Limited
Airport to Mimbres Tap | 2.7 | 618 | 494.4 | 265.8892
Amrad to Holloman | 22.53 | 609 | 487.2 | 2186.3865 | *
Anthony to Border Steel | 5.15 | 830 | 664 | 681.1359
Anthony to Newman | 12.3 | 830 | 664 | 1626.7906
Anthony to Nuway | 6.56 | 830 | 664 | 867.6217
Anthony to Salopek | 17.3 | 830 | 664 | 2288.0876
Arroyo to Anthony | 24.39 | 571 | 456.8 | 2219.1996 | *
Ascarate to Copper | 1.36 | 928 | 742.4 | 201.1108
Ascarate to Juarez | 2.38 | 931 | 744.8 | 353.0816
Ascarate to Trowbridge | 0.54 | 910 | 728 | 78.3039
Austin to Marlow | 1.18 | 1141 | 912.8 | 214.5439
Biggs to Bliss Industrial | 2.19 | 928 | 742.4 | 323.8475
Butterfield to Ft. Bliss | 1.85 | 680 | 544 | 200.4606
Caliente to Diamond Head | 6.06 | 931 | 744.8 | 899.0229
Caliente to Vista | 6.6 | 833 | 666.4 | 876.0671
Caliente to MPS | 3.1 | 344 | 275.2 | 169.9294
Caliente to MPS | 8.53 | 1346 | 1076.8 | 1829.5427
Caliente to MPS | 3.1 | 1346 | 1076.8 | 664.8983
Chaparral to Oro Grande | 35.384 | 680 | 544 | 3834.1076
Copper to Pendale | 5.11 | 928 | 742.4 | 755.6442
Coyote to MPS | 3.09 | 1249 | 999.2 | 614.9919
Coyote to Dell City | 10.8 | 115 | 92 | 197.9111 | *
Cromo to Rio Grande | 0.95 | 680 | 544 | 102.9392
Diablo to Juarez | 2.28 | 931 | 744.8 | 338.2462
Diablo to Rio Grande 1 | 2.9 | 1666 | 1332.8 | 769.8772
Diablo to Rio Grande 2 | 2.9 | 1666 | 1332.8 | 769.8772
Diamond Head to Lane | 2.8 | 931 | 744.8 | 415.3901
Durazno to Ascarate | 3.3 | 928 | 742.4 | 487.9894
Dyer to Austin | 2.08 | 928 | 742.4 | 307.5812
Dyer to Shearman | 9.63 | 680 | 544 | 1043.4789
Executive to Rio Grande | 2.94 | 1360 | 1088 | 637.1397
Ft. Bliss to Austin | 1.76 | 680 | 544 | 190.7085
Global Reach to Vista | 2.98 | 1653 | 1322.4 | 784.942
Hatch to Jornada | 33.44 | 228 | 182.4 | 1214.9253 | *
Jornada to Arroyo | 4.87 | 398 | 318.4 | 308.8592 | *
Lane to Wrangler | 1.04 | 830 | 664 | 137.5498
Las Cruces to Arroyo | 4.08 | 830 | 664 | 539.6184
Las Cruces to Salopek | 5.01 | 830 | 664 | 662.6196
Leo East to Dyer | 3.76 | 928 | 742.4 | 556.0121
Leo East to Milagro | 4.39 | 928 | 742.4 | 649.1738
Liberty to Global Reach | 2.58 | 928 | 742.4 | 381.519
Liberty to Bliss Industrial | 2.17 | 928 | 742.4 | 320.89
MAR to Largo | 11.35 | 145 | 116 | 262.2481 | *
Marlow to Trowbridge | 1.08 | 910 | 728 | 156.6079
Mesa to Austin | 6.088 | 830 | 664 | 805.1952
Mesa to Rio Grande | 2.31 | 1347 | 1077.6 | 495.8246
Milagro to Newman | 6.29 | 928 | 742.4 | 930.1373
Montwood to Caliente | 4.98 | 928 | 742.4 | 736.4203
Montwood to Coyote | 7.85 | 928 | 742.4 | 1160.8232
Montwood to MPS | 7.02 | 1249 | 999.2 | 1397.166
Newman to Butterfield | 16.7 | 680 | 544 | 1809.5635
Newman to Chaparral | 2.88 | 680 | 544 | 312.0684
Newman to Picante | 13.56 | 928 | 742.4 | 2005.1927
Newman to Pipeline | 9.78 | 928 | 742.4 | 1446.2231
Newman to Shearman | 7.25 | 680 | 544 | 785.589
Nuway to Montoya | 3.62 | 830 | 664 | 478.779
Oro Grande to Amrad | 7.86 | 680 | 544 | 851.6868
Patriot to Cromo | 18.44 | 680 | 544 | 1998.1049
Patriot to Newman | 1.48 | 680 | 544 | 160.3685
Pelicano to Horizon | 6.74 | 928 | 742.4 | 996.6813
Pelicano to Montwood | 3.8 | 928 | 742.4 | 561.9272
Pendale to Lane | 1.52 | 928 | 742.4 | 224.7709
Picante to Biggs | 2.3 | 928 | 742.4 | 340.1138
Picante to Global Reach | 5.98 | 928 | 742.4 | 884.2959
Pipeline to Biggs | 13.65 | 680 | 544 | 1479.0744
Rio Grande to Ripley | 3.03 | 830 | 664 | 400.746
Ripley to Thorn | 1.86 | 680 | 544 | 201.5442
Salopek to Arroyo | 10.71 | 680 | 544 | 1160.5045
Santa Teresa to Diablo | 8.88 | 848 | 678.4 | 1199.9338
Santa Teresa to Montoya | 7.38 | 928 | 742.4 | 1091.3217
Scotsdale to Vista | 5.18 | 680 | 544 | 561.2898
SOL to Lane | 2.1 | 680 | 544 | 227.5499
SOL to Vista | 2 | 928 | 742.4 | 295.7511
Sparks to Horizon | 3.84 | 928 | 742.4 | 567.8422
Sunset North to Durazno | 4.63 | 928 | 742.4 | 684.6639
Sunset North to Executive | 2.25 | 1360 | 1088 | 487.6069
Thorn to Montoya | 2.99 | 680 | 544 | 323.9877
White Sands to Oro Grande | 22.8 | 372 | 297.6 | 1351.5317 | *
Wrangler to Sparks | 3.97 | 497 | 397.6 | 314.4093
115 kV Total | 522.212 |  |  | 61115.456
EL PASO ELECTRIC COMPANY | [5 empty] | SCHEDULE H-14.2
2021 TEXAS RATE CASE FILING | [5 empty] | PAGE 7 OF 7
SCHEDULE H-14.2: WHEELING INFORMATION
SPONSOR: R. CLAY DOYLE
PREPARER: MARIANA MERCADO
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
WHEELING INFORMATION
USING EPE LOCAL AMBIENT CONDITIONS
80%
|  | Thermal | Thermal
| Length | Rating | Rating
Description | (miles) | (amps) | (amps) | MW-Miles
345 kV Transmission Lines |  |  |  |  | * = Thermal Rating SAG Limited
Amrad to Empire | 125.1 | 708 | 566.4 | 42340.9187 | *
Caliente to Amrad | 56.66 | 1314 | 1051.2 | 35591.1192 | *
Caliente to Picante | 7.26 | 1318 | 1054.4 | 4574.2694 | *
Empire to Eddy | 0.46 | 1434 | 1147.2 | 315.3383
Hidalgo to Greenlee | 59.95 | 1280 | 1024 | 36683.3396 | *
Luna to Afton | 57.26 | 1542 | 1233.6 | 42209.0353 | *
Luna to Diablo | 84.9 | 1572 | 1257.6 | 63801.3607 | *
Luna to Hidalgo | 50.5 | 1102 | 881.6 | 26603.7392 | *
Macho Springs to Luna | 24.86 | 1726 | 1380.8 | 20512.1708
Macho Springs to Springerville | 201.38 | 1218 | 974.4 | 117255.5301 | *
Newman to Afton | 29.88 | 1546 | 1236.8 | 22083.0874 | *
Newman to Arroyo | 30.31 | 1172 | 937.6 | 16981.7818 | *
Picante to Newman | 16.2 | 1316 | 1052.8 | 10191.5588 | *
West Mesa to Arroyo | 201.75 | 1138 | 910.4 | 109755.3035 | *
345 kV Total | 946.47 |  |  | 548898.5529
500 kV Transmission Lines
Palo Verde to Kyreen | 75 | 4395 | 3516 | 42705.3382
Palo Verde to Westwing I | 45 | 4395 | 3516 | 25623.2029
Palo Verde to Westwing II | 45 | 4395 | 3516 | 25623.2029
500 kV Total | 165 |  |  | 93951.744
Note: The method for calculating the "thermal rating" of a transmission line is defined in
16 TAC §23.66(d)(5)(B) using EPE Local System Variables.