## P-11
EL PASO ELECTRIC COMPANY
2020 TEXAS RATE CASE FILING
SCHEDULE P-11: DISTRIBUTION PLANT STUDY
SPONSOR: ADRIAN HERNANDEZ
PREPARER: ADRIAN HERNANDEZ
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
|  | Total Texas | Primary |  | Secondary
Line | Account Number and Description | Dollars | Percent | Dollars | Percent | Dollars
1 | A360 Land and Land Rights | 9223070.12 | 100% | 9223070 | 0% | 0
2 | A361 Structures and Improvements | 23079222.77 | 100% | 23079223 | 0% | 0
3 | A362 Station Equipment | 229751970.07 | 100% | 229751970 | 0% | 0
4 | A364 Poles, Towers & Fixtures | 131007070.14 | 37.97% | 49741454.67 | 62.03% | 81265615.47
5 | A365 O.H. Conductors & Devices | 90911084.13 | 88.37% | 80337994.1 | 11.63% | 10573090.03
6 | A366 Underground Conduits | 104732196.61 | 62.79% | 65756450.01 | 37.21% | 38975746.6
7 | A367 U.G. Conductors & Devices | 132327341.5 | 86.26% | 114139845.94 | 13.74% | 18187495.56
8 | A368 Line Transformers | 221531429.73 | 55.18% | 122233513.81 | 44.82% | 99297915.92
9 | A369 Services | 41728794.46 | 0% | 0 | 100% | 41728794
10 | A370 Meters - Other | 51750005.54 | 0% | 0 | 100% | 51750006
11 | A371 Install. on Customer Prem. | 8930113.71 | 0% | 0 | 100% | 8930114
12 | A373 Street Lights | 9861814.48 | 0% | 0 | 100% | 9861814
12 | Distribution Plant Adjustment | -4660635 | 65.82% | -3067504.9536 | 34.18% | -1593130.0457
13 | Total | 1050173478.26 |  | 691196016.5764 |  | 358977461.5343
Note:
Amounts may not add or tie to other schedules due to rounding.
|  | Total Texas | Demand |  | Customer
Line | Account Number and Description | Dollars | Percent | Dollars | Percent | Dollars
1 | A360 Land and Land Rights | 9223070.12 | 100% | 9223070.12 | 0% | 0
2 | A361 Structures and Improvements | 23079222.77 | 100% | 23079222.77 | 0% | 0
3 | A362 Station Equipment | 229751970.07 | 100% | 229751970.07 | 0% | 0
4 | A364 Poles, Towers & Fixtures | 131007070.14 | 100% | 131007070.14 | 0% | 0
5 | A365 O.H. Conductors & Devices | 90911084.13 | 100% | 90911084.13 | 0% | 0
6 | A366 Underground Conduits | 104732196.61 | 100% | 104732196.61 | 0% | 0
7 | A367 U.G. Conductors & Devices | 132327341.5 | 100% | 132327341.5 | 0% | 0
8 | A368 Line Transformers | 221531429.73 | 100% | 221531429.73 | 0% | 0
9 | A369 Services | 41728794.46 | 0% | 0 | 100% | 41728794.46
10 | A370 Meters - Other | 51750005.54 | 0% | 0 | 100% | 51750005.54
11 | A371 Install. on Customer Prem. | 8930113.71 | 0% | 0 | 100% | 8930113.71
12 | A373 Street Lights | -4660635 | 0% | 0 | 100% | -4660635
13 | Total | 1040311663.78 |  | 942563385.07 |  | 97748278.71
Amounts may not add or tie to other schedules due to rounding.
Line | Retirement Unit | KVA | Equip Type | Balance | Count
1 | 1/2 KVA CONTROL TRANSF. | 0.5 | Transformers | 6186.7255 | 9
2 | 3 KVA LINE TRANSF | 3 | Transformers | 11057.9851 | 205
3 | 5 KVA LINE TRANSF | 5 | Transformers | 170847.7677 | 1039
4 | 7-1/2 KVA LINE TRANSF | 7.5 | Transformers | 19886.7928 | 249
5 | 10 KVA LINE TRANSF | 10 | Transformers | 9043506.7695 | 12793
6 | 15 KVA LINE TRANSF | 15 | Transformers | 8293920.8455 | 9518
7 | 25 KVA LINE TRANSF | 25 | Transformers | 21459544.3743 | 15610
8 | 25 KVA SUBM TRANSF | 25 | Transformers | 443730.9546 | 518
9 | 25KVA PADMTD TRANSF | 25 | Transformers | 5302884.7895 | 3239
10 | 30 KVA LINE TRANSF | 30 | Transformers | 2265.2549 | 7
11 | 37-1/2 KVA SUBM TRANSF | 37.5 | Transformers | 885826.5992 | 772
12 | 37-1/2 KVA LINE TRANSF | 37.5 | Transformers | 12631074.7704 | 5395
13 | 37-1/2KVA PADMTD TRANSF | 37.5 | Transformers | 7600061.1078 | 3165
14 | 45 KVA Transformer | 45 | Transformers | 2476.9719 | 4
15 | 50 KVA LINE TRANSF | 50 | Transformers | 8865055.8705 | 5559
16 | 50 KVA PADMTD TRANSF | 50 | Transformers | 24840361.4262 | 7710
17 | 50 KVA SUBM TRANSF | 50 | Transformers | 714116.2876 | 640
18 | 75 KVA LINE TRANSF | 75 | Transformers | 4399815.3557 | 1852
19 | 75 KVA PADMTD TRANSF | 75 | Transformers | 27037745.385 | 5961
20 | 75 KVA SUBM TRANSF | 75 | Transformers | 315655.5738 | 190
21 | 100 KVA LINE TRANSF | 100 | Transformers | 4044667.6531 | 1824
22 | 100 KVA SUBM TRANSF | 100 | Transformers | 44155.6697 | 7
23 | 100 KVA PADMTD TRANSF | 100 | Transformers | 5958215.2138 | 1068
24 | 112-1/2 KVA PADMTD TRSF | 112.5 | Transformers | 1177007.3947 | 257
25 | 112 1/2 KVA LINE TRANSF | 112.5 | Transformers | 724982.2654 | 37
26 | 134 KVA Line Transformer | 134 | Transformers | 2448.1637 | 2
27 | 150 KVA PADMTD TRANSF | 150 | Transformers | 4103846.8759 | 668
28 | 150 KVA LINE TRANSF | 150 | Transformers | 5191217.5577 | 466
29 | 167 KVA LINE TRANSF | 167 | Transformers | 1871630.5538 | 600
30 | 167 KVA PADMTD TRANSF | 167 | Transformers | 4116950.5433 | 638
31 | 176 KVA Line Transformer | 176 | Transformers | 3091.862 | 2
32 | 200 KVA LINE TRANSF | 200 | Transformers | 3252.083 | 2
33 | 225 KVA LINE TRANSF | 225 | Transformers | 19320.0452 | 9
34 | 250 KVA LINE TRANSF | 250 | Transformers | 812202.8821 | 247
35 | 250 KVA PADMTD TRANSF | 250 | Transformers | 4994.4064 | 1
36 | 300 KVA LINE TRANSF | 300 | Transformers | 256942.745 | 54
37 | 300 KVA PADMTD TRANSF | 300 | Transformers | 11924092.1482 | 1033
38 | 333 KVA LINE TRANSF | 333 | Transformers | 172727.2961 | 53
39 | 500 KVA LINE TRANSF | 500 | Transformers | 934419.3487 | 142
40 | 500KVA PADMTD TRANSF | 500 | Transformers | 7204962.6626 | 709
41 | 750 KVA LINE TRANSF | 750 | Transformers | 213900.298 | 16
42 | 750 KVA PADMTD TRANSF | 750 | Transformers | 4843818.7155 | 290
43 | 833 KVA LINE TRANSF | 833 | Transformers | 102859.3178 | 12
44 | 1000 KVA NETWORK TRANSF | 1000 | Transformers | 1310711.981 | 43
45 | 1000 KVA PADMTD TRANSF | 1000 | Transformers | 3949518.7613 | 192
46 | 1000 KVA LINE TRANSF | 1000 | Transformers | 250412.3386 | 20
47 | 1000 KVA Submersible Transformer | 1000 | Transformers | 121863.1654 | 5
48 | 1500 KVA LINE TRANSF | 1500 | Transformers | 141449.9643 | 10
49 | 1500 KVA NETWORK TRANSF | 1500 | Transformers | 714152.7169 | 13
50 | 1500 KVA PADMTD TRANSF | 1500 | Transformers | 5792921.6472 | 217
51 | 1500 KVA SUBM TRANSF | 1500 | Transformers | 190320.3307 | 6
52 | 2500 KVA PADMTD TRANSF | 2500 | Transformers | 7098027.7436 | 173
53 | 2500 KVA LINE TRANSF | 2500 | Transformers | 265806.1647 | 12
54 | Total Transformers: |  |  | 205612912.1227 | 83263
Amounts may not add or tie to other schedules due to rounding.
|  |  |  | Typical | Meter
Line |  | Meter Type |  | Replacement | Installation
No. | Rate Class | Type | Quantity | Cost | Cost
1 | TXRT01 | Kwh | 1 | 45.2379 | 138.4871
2 | TXRT01 | Bi-Directional Kwh | 15 | 2924.9714 | 2077.3069
3 | TXRT01 | Kwh | 310547 | 14048495.4853 | 43006762.5452
4 | TXRT01 | Kwh Net | 14295 | 2746244.4463 | 1979673.5135
5 | TXRT01 | Kwh Solar | 45 | 8644.7776 | 6231.9208
6 | TXRT01 | Kwh TOU | 60 | 11526.3702 | 8309.2278
7 | TXRT01 | Kwh/Kw | 70 | 15399.4784 | 9694.0991
8 | TXRT01 | Kwh/Kw Net | 18 | 3457.911 | 2492.7683
9 | TXRT01 | Kwh/Kw TOU | 1 | 192.1062 | 138.4871
10 | TXRT01 | Kwh/Kw/PF | 30 | 6674.1401 | 4154.6139
11 | TXRT01 | Kwh/Kw/PF Net | 2 | 427.5912 | 276.9743
12 | TXRT01 | Kwh/Kw Net TOU | 3 | 576.3185 | 415.4614
13 | TXRT01 | Kwh Net TOU | 7 | 1344.7432 | 969.4099
14 | TXRT02 | Kwh/Kw | 154 | 33488.4432 | 21327.0179
15 | TXRT02 | Kwh/Kw/PF | 17 | 3959.8659 | 2354.2812
16 | TXRT02 | Bidirectional Kwh/Kw | 2 | 470.97 | 276.9743
17 | TXRT02 | Kwh | 18932 | 856444.0053 | 2621838.3321
18 | TXRT02 | Kwh Net | 34 | 6531.6098 | 4708.5624
19 | TXRT02 | Kwh TOU | 2 | 384.2123 | 276.9743
20 | TXRT02 | Kwh/Kw | 5559 | 1259479.0301 | 769849.9518
21 | TXRT02 | Kwh/Kw Net | 13 | 2670.8954 | 1800.3327
22 | TXRT02 | Kwh/Kw TOU | 681 | 131084.5741 | 94309.7351
23 | TXRT02 | Kwh/Kw/PF | 2131 | 497003.4476 | 295116.0726
24 | TXRT02 | Kwh/Kw/PF | 4 | 941.9399 | 1577.3238
25 | TXRT02 | Kwh/Kw/PF Net | 11 | 2590.3348 | 1523.3584
26 | TXRT02 | Kwh/Kw/PF TOU | 21 | 4858.427 | 2908.2297
27 | TXRT07 | Kwh | 62 | 2804.7501 | 8586.202
28 | TXRT07 | Kwh/Kw | 59 | 13720.0987 | 8170.7406
29 | TXRT07 | Kwh/Kw/PF | 80 | 18578.5257 | 11078.9703
30 | TXRT07 | Kwh/Kw/PF | 5 | 1177.4249 | 1971.6547
31 | TXRT09 | Kwh | 30 | 1357.1371 | 4154.6139
|  |  |  | Typical | Meter
Line |  | Meter Type |  | Replacement | Installation
No. | Rate Class | Type | Quantity | Cost | Cost
1 | TXRT11TOU | TOU Pulse w/Shoulder Peak | 2 | 718.8489 | 276.9743
2 | TXRT11TOU | Kwh | 2 | 90.4758 | 276.9743
3 | TXRT11TOU | Kwh TOU | 1 | 235.485 | 138.4871
4 | TXRT11TOU | Kwh/Kw | 1 | 235.485 | 138.4871
5 | TXRT11TOU | Kwh/Kw/PF | 2 | 470.97 | 276.9743
6 | TXRT11TOU | Shoulder Peak | 386 | 134722.1974 | 53456.0319
7 | TXRT11TOU | Shoulder Peak | 16 | 5750.7911 | 6309.2951
8 | TXRT15 | Kwh | 1 | 45.2379 | 138.4871
9 | TXRT15 | On Off Peak Kwh Pulse | 0 | 0 | 0
10 | TXRT15 | On Off Peak Kwh Pulse | 1 | 359.4244 | 394.3309
11 | TXRT22 | Kwh | 29 | 1311.8992 | 4016.1267
12 | TXRT22 | Kwh TOU | 19 | 4300.6994 | 2631.2555
13 | TXRT22 | Kwh/Kw | 74 | 16992.1005 | 10248.0476
14 | TXRT22 | Kwh/Kw TOU | 3 | 706.4549 | 415.4614
15 | TXRT22 | Kwh/Kw/PF | 20 | 4709.6996 | 2769.7426
16 | TXRT22 | On Off Peak Kwh Pulse | 1 | 359.4244 | 138.4871
17 | TXRT24 | Kwh/Kw | 29 | 6568.7916 | 4016.1267
18 | TXRT24 | Kwh/Kw/PF | 11 | 2546.956 | 1523.3584
19 | TXRT24 | Bidirectional Kwh/Kw/PF | 3 | 706.4549 | 415.4614
20 | TXRT24 | Interval Kwh with Pulse | 5 | 4461.8207 | 692.4356
21 | TXRT24 | Kwh | 63 | 2849.988 | 8724.6891
22 | TXRT24 | Kwh Solar | 2 | 427.5912 | 276.9743
23 | TXRT24 | Kwh Wind | 2 | 384.2123 | 276.9743
24 | TXRT24 | Kwh/Kw | 3653 | 829991.6055 | 505893.4834
25 | TXRT24 | Kwh/Kw Net | 11 | 2330.0619 | 1523.3584
26 | TXRT24 | Kwh/Kw TES/PF | 1 | 359.4244 | 138.4871
27 | TXRT24 | Kwh/Kw TOU | 77 | 15572.9937 | 10663.509
28 | TXRT24 | Kwh/Kw/PF | 3631 | 846370.2057 | 502846.7665
29 | TXRT24 | Kwh/Kw/PF | 46 | 10832.3092 | 18139.2234
30 | TXRT24 | Kwh/Kw/PF Net | 46 | 10788.9303 | 6370.4079
31 | TXRT24 | Kwh/Kw/PF TOU | 153 | 35812.3081 | 21188.5308
32 | TXRT24 | On Off Peak Kwh Pulse | 9 | 3234.82 | 1246.3842
33 | TXRT24 | TOU Kwh with Pulse | 1 | 359.4244 | 138.4871
|  |  |  | Typical | Meter
Line |  | Meter Type |  | Replacement | Installation
No. | Rate Class | Type | Quantity | Cost | Cost
1 | TXRT25 | Interval Kwh with Pulse | 0 | 0 | 0
2 | TXRT25 | Interval Kwh with Pulse | 1 | 892.3641 | 394.3309
3 | TXRT25 | On Off Peak Kwh Pulse | 140 | 50319.4224 | 19388.1981
4 | TXRT25 | On Off Peak Kwh Pulse | 21 | 7547.9134 | 8280.9498
5 | TXRT25 | TOU Kwh with Pulse | 2 | 718.8489 | 276.9743
6 | TXRT25 | TOU Kwh with Pulse | 2 | 718.8489 | 788.6619
7 | TXRT26 | On Off Peak Kwh Pulse | 0 | 0 | 0
8 | TXRT26 | On Off Peak Kwh Pulse | 7 | 2515.9711 | 2760.3166
9 | TXRT28 | Kwh/Kw | 3 | 663.0761 | 415.4614
10 | TXRT28 | Kwh/Kw | 1 | 192.1062 | 138.4871
11 | TXRT28 | Kwh/Kw/PF | 1 | 235.485 | 138.4871
12 | TXRT30 | On Off Peak Kwh Pulse | 0 | 0 | 0
13 | TXRT30 | On Off Peak Kwh Pulse | 2 | 718.8489 | 788.6619
14 | TXRT31 | On Off Peak Kwh Pulse | 5 | 1797.1222 | 692.4356
15 | TXRT31 | On Off Peak Kwh Pulse | 6 | 2156.5467 | 2365.9857
16 | TXRT34 | Kwh/Kw/PF | 1 | 235.485 | 138.4871
17 | TXRT34 | Interval Kwh with Pulse | 2 | 1784.7283 | 276.9743
18 | TXRT41 | Kwh/Kw | 1 | 192.1062 | 138.4871
19 | TXRT41 | Interval Kwh with Pulse | 7 | 6246.549 | 969.4099
20 | TXRT41 | Interval Kwh with Pulse | 5 | 4461.8207 | 1971.6547
21 | TXRT41 | Kwh | 1 | 45.2379 | 138.4871
22 | TXRT41 | Kwh Solar | 1 | 235.485 | 138.4871
23 | TXRT41 | Kwh/Kw | 320 | 65941.9918 | 44315.8814
24 | TXRT41 | Kwh/Kw Net | 1 | 192.1062 | 138.4871
25 | TXRT41 | Kwh/Kw/PF | 494 | 111991.6997 | 68412.6419
26 | TXRT41 | Kwh/Kw/PF | 5 | 1177.4249 | 1971.6547
27 | TXRT41 | Kwh/Kw/PF Net | 1 | 235.485 | 138.4871
28 | TXRT41 | TOU BiDirectional Pulse w/ Shoulder Peak | 1 | 359.4244 | 138.4871
29 | TXRTEVC | Kwh/Kw/PF | 1 | 235.485 | 138.4871
30 | TXRTWH | Kwh | 6696 | 302913.0076 | 927309.8178
31 | TXRTWH | Kwh Net | 38 | 7343.4132 | 5262.5109
32 | TXRTWH | Kwh TOU | 4 | 768.4247 | 553.9485
33 | TXRTWH | Kwh/Kw | 8 | 1840.501 | 1107.897
34 | TXRTWH | Kwh/Kw/PF | 1 | 192.1062 | 138.4871
35 | TXRTWH | Kwh/Kw Net TOU | 1 | 192.1062 | 138.4871
36 | TXRTWH | Kwh | 76 | 3438.0807 | 10525.0218
37 | TXRTWH | Kwh/Kw | 3 | 663.0761 | 415.4614
38 | TXRTWH | Kwh/Kw/PF | 1 | 235.485 | 138.4871
| Total Meters: |  | 369052 | 22207504.1444 | 51139909.1468
Note: | Meter costs are estimates based on the typical meter installed in each class.
Amounts may not add or tie to other schedules due to rounding.