## WP1 - Cost of Service (Rate 08)
EL PASO ELECTRIC COMPANY
2021 TEXAS RATE CASE FILING
WORKPAPERS Q-7: PROOF OF REVENUE
SPONSOR: MANUEL CARRASCO
PREPARER: RENE F. GONZALEZ
FOR THE TEST YEAR PERIOD ENDED DECEMBER 31, 2020
LAMP COST OF SERVICE DATA
Rate 08 Workpaper
Cost of Service Data, as filed:
@ Equalized ROR
| TOTAL COST OF SERVICE | 3078788.8416
1 | CUSTOMER 373-STREET LIGHTS | 1367456.0612
| Customer 373-Street Lights Costs | 1367456.0612
| Non-Customer 373-Street Lights Costs | 1711332.7804
| Annual kWH Sales | 36054763
| Non-Street Light System Cost per kWh | 0.047465
| Metered Energy Charge per kWh | 0.048979
| LEVELIZED FIXED CHARGE (RATE DESIGN WORKPAPER) | 0.094579
| ADJUSTED CUSTOMER COMPONENT COST | 1367456.0612
| RATE CLASS ADJUSTED NCP (D8DIST, WP P-07) | 9066.6853
| DEMAND & ENERGY COMPONENT COSTS | 1765941.7074
| RATE CLASS ANNUAL ENERGY AT SOURCE, KWH (E1ENERGY, WP P-07) | 38885061.8955
| TARGET REVENUE REQUIREMENT (EXHIBIT MC-x REVENUE DISTRIBUTION) | 3133397.7686
| BURNING HOURS | 4275
| ADJUSTED SYSTEM COST PER KWH | 0.04541
| ANNUALIZED KWH OF NCO LED LAMPS ON CO POLES | 237958
| ANNUAL CABLEVISION-DISTRIBUTION POLE RENTAL RATE | 8.59
| ESTIMATED CLEARANCE REQUIREMENT PER INSTALLATION, IN FEET | 3
| MONTHLY NCO LED LAMPS ON CO POLES ATTACHMENT FEE | 2.15

## WP1 - Cost of Service (Rate 09)
EL PASO ELECTRIC COMPANY
2021 TEXAS RATE CASE FILING
WORKPAPERS Q-7: PROOF OF REVENUE
SPONSOR: MANUEL CARRASCO
PREPARER: RENE F. GONZALEZ
FOR THE TEST YEAR PERIOD ENDED DECEMBER 31, 2020
LAMP COST OF SERVICE DATA
Rate 09 Workpaper
Cost of Service Data, as filed:
@ Equalized ROR
| TOTAL COST OF SERVICE | 98620.4177
1 | CUSTOMER 373-STREET LIGHTS | 0
| Customer 373-Street Lights Costs | 0
| Non-Customer 373-Street Lights Costs | 98620.4177
| Annual kWH Sales | 2655162
| Non-Street Light System Cost per kWh | 0.037143
| Metered Energy Charge per kWh | 0.037828
| LEVELIZED FIXED CHARGE (RATE DESIGN WORKPAPER) | 0.094579
| ADJUSTED CUSTOMER COMPONENT COST | 0
| RATE CLASS ADJUSTED NCP (D8DIST, WP P-07) | 195.1891
| DEMAND & ENERGY COMPONENT COSTS | 100439.9824
| RATE CLASS ANNUAL ENERGY AT SOURCE, KWH (E1ENERGY, WP P-07) | 2238726.573
| TARGET REVENUE REQUIREMENT (EXHIBIT MC-x REVENUE DISTRIBUTION) | 100439.9824
| BURNING HOURS | 8760
| ADJUSTED SYSTEM COST PER KWH | 0.04486
| ANNUALIZED KWH OF METERED TRAFFIC SIGNALS | 68022
| ANNUAL CUSTOMERS | 312
| SMALL GENERAL SERVICE CUSTOMER CHARGE | 12.23

## WP1 - Cost of Service (Rate 28)
EL PASO ELECTRIC COMPANY
2021 TEXAS RATE CASE FILING
WORKPAPERS Q-7: PROOF OF REVENUE
SPONSOR: MANUEL CARRASCO
PREPARER: RENE F. GONZALEZ
FOR THE TEST YEAR PERIOD ENDED DECEMBER 31, 2020
LAMP COST OF SERVICE DATA
Rate 28 Workpaper
Cost of Service Data, as filed:
@ Equalized ROR
| TOTAL COST OF SERVICE | 2643074.62
| CUSTOMER 371-INSTALL ON CUST PREM | 1303439.1545
| Customer 373-Street Lights Costs | 1303439.1545
| Non-Customer 373-Street Lights Costs | 1339635.4655
| Annual kWH Sales | 26829319
| Non-Street Light System Cost per kWh | 0.049932
| Metered Energy Charge per kWh | 0.051918
| LEVELIZED FIXED CHARGE (RATE DESIGN WORKPAPER) | 0.094579
| ADJUSTED CUSTOMER COMPONENT COST | 1303439.1545
| RATE CLASS ADJUSTED NCP (D8DIST, WP P-07) | 6408.1605
| DEMAND & ENERGY COMPONENT COSTS | 1392922.6591
| RATE CLASS ANNUAL ENERGY AT SOURCE, KWH (E1ENERGY, WP P-07) | 28935420.5415
| TARGET REVENUE REQUIREMENT (EXHIBIT MC-x REVENUE DISTRIBUTION) | 2696361.8137
| BURNING HOURS | 4275
| ADJUSTED SYSTEM COST PER KWH | 0.04814

## WP2 - Lamp COS
EL PASO ELECTRIC COMPANY | [15 empty] | EL PASO ELECTRIC COMPANY | [10 empty] | EL PASO ELECTRIC COMPANY
2021 TEXAS RATE CASE FILING | [15 empty] | 2021 TEXAS RATE CASE FILING | [10 empty] | 2021 TEXAS RATE CASE FILING
WORKPAPERS Q-7: PROOF OF REVENUE | [15 empty] | WORKPAPERS Q-7: PROOF OF REVENUE | [10 empty] | WORKPAPERS Q-7: PROOF OF REVENUE
SPONSOR: MANUEL CARRASCO | [15 empty] | SPONSOR: MANUEL CARRASCO | [10 empty] | SPONSOR: MANUEL CARRASCO
PREPARER: RENE F. GONZALEZ | [15 empty] | PREPARER: RENE F. GONZALEZ | [10 empty] | PREPARER: RENE F. GONZALEZ
FOR THE TEST YEAR PERIOD ENDED DECEMBER 31, 2020 | [15 empty] | FOR THE TEST YEAR PERIOD ENDED DECEMBER 31, 2020 | [10 empty] | FOR THE TEST YEAR PERIOD ENDED DECEMBER 31, 2020
LAMP COST OF SERVICE |  |  | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l) | (m) | LAMP COST OF SERVICE |  | (n) | (o) | (p) | (q) | (r) | (s) | (t) | (u) | (v) | LAMP COST OF SERVICE |  | (w) | (x) | (y) | (z) | (aa) | (ab) | (ac) | (ad) | (ae) | (af) | (ag) | (ah) | (ai) | (aj) | (ah) | (ak)
[32 empty] | Reproduction | [5 empty] | 100%
[9 empty] | Pole |  |  | Struct duct |  | Total | TOTAL | [16 empty] | Cost | Scaled | At Scaled |  |  |  | Target |  | Target | Adjusted | Rate | Proposed
Lamp |  |  | Fixture | Lamp | Misc | Arm | Cable | Labor | Hole or | Pole | Breakway | Install | Duct | Reproduction | Relamp | Lamp |  |  | Direct | Fixed | Lighting System | Demand/Energy | Bulb Repl | Yrly Bulb | Yearly | Monthly | Lamp |  | Active | Yearly | Monthly | Revenue | Unit | Estimated | Current | Present | Percent | Calculated | Target | Percent | Proposed | Design | Percent | Manual
No. |  | Description | Charge | Cost | Cost | Cost | Cost | Installation | Base | Cost | Base | Cost | Cost | Cost | Cost | No. | Description | WATTS | Investment | Charge | Cost | Cost | Cost | Repl Cost | Cost | Cost | No. | Description | Lamps | Costs | Cost | Requirement | Rate | Revenues | Rate | Revenues | Change | Rate | Revenues | Change | Rate | Revenues | Change | Adj
|  | RATE NO. 08 | [14 empty] | RATE NO. 08 | [10 empty] | RATE NO. 08
|  | MV-OH SYSTEM CO. OWNED - 35' WOOD POLE ( No longer install) ANY MV LUMINAIRE IS BEING REPLACED WITH A HPSV LUMINAIRE | [14 empty] | MV-OH SYSTEM CO. OWNED - 35' WOOD POLE ( No longer install) | [10 empty] | MV-OH SYSTEM CO. OWNED - 35' WOOD POLE ( No longer install)
1 |  | 175W MV 7,000L - 195W | 75.56 | 9.09 | 35.96 | 41.58 | 46.81 | 642.89 | 275 | 410.16 | 0 | 0 | 0 | 1537.05 | 95.21 | 1 | 175W MV 7,000L - 195W | 195 | 1537.05 | 145.3731 | 29.4103 | 37.8586 | 31.7367 | 3.03 | 247.4086 | 20.6174 | 1 | 175W MV 7,000L - 195W | 328 | 247.4086 | 20.62 | 81150.0281 | 11 | 43296 | 16.88 | 66439.68 | -0.34834 | 16.88 | 66439.68 | 0 | 12.57 | 49475.52 | -25.53% | 0
2 |  | 250W MV 11,000L - 275W | 91.83 | 9.09 | 35.96 | 41.58 | 46.81 | 642.89 | 275 | 410.16 | 0 | 0 | 0 | 1553.32 | 95.21 | 2 | 250W MV 11,000L - 275W | 275 | 1553.32 | 146.9119 | 41.4761 | 53.3903 | 31.7367 | 3.03 | 276.5449 | 23.0454 | 2 | 250W MV 11,000L - 275W | 188 | 276.5449 | 23.05 | 51990.4441 | 12.3 | 27748.8 | 19.28 | 43495.68 | -0.36203 | 19.28 | 43495.68 | 0 | 14.35 | 32373.6 | -25.57% | 0
3 |  | 400W MV 20,000L - 460W | 114.92 | 9.09 | 35.96 | 41.58 | 46.81 | 642.89 | 275 | 410.16 | 0 | 0 | 0 | 1576.41 | 95.21 | 3 | 400W MV 20,000L - 460W | 460 | 1576.41 | 149.0957 | 69.3781 | 89.3074 | 31.7367 | 3.03 | 342.5479 | 28.5457 | 3 | 400W MV 20,000L - 460W | 20 | 342.5479 | 28.55 | 6850.9589 | 15.24 | 3657.6 | 24.77 | 5944.8 | -0.38474 | 24.77 | 5944.8 | 0 | 18.44 | 4425.6 | -25.56% | 0
|  | OH - HPSV - CO. OWNED - WOOD POLE | [14 empty] | OH - HPSV - CO. OWNED - WOOD POLE | [10 empty] | OH - HPSV - CO. OWNED - WOOD POLE
4 |  | 100W HPS 8,500 L - 35 Ft. 124 Watts | 110.87 | 9.09 | 35.96 | 41.58 | 46.81 | 642.89 | 275 | 410.16 |  |  |  | 1572.36 | 95.21 | 4 | 100W HPS 8,500 L - 35 Ft. 124 Watts | 124 | 1572.36 | 148.7127 | 18.7019 | 24.0742 | 31.7367 | 3.03 | 226.2554 | 18.8546 | 4 | 100W HPS 8,500 L - 35 Ft. 124 Watts | 1211 | 226.2554 | 18.85 | 273995.3444 | 10.06 | 146191.92 | 16.03 | 232947.96 | -0.37243 | 16.03 | 232947.96 | 0 | 11.93 | 173366.76 | -25.58% | 0
5 |  | 150W HPS 14,400 L - 35 Ft. 193 Watts | 115.05 | 9.09 | 35.96 | 41.58 | 46.81 | 642.89 | 275 | 410.16 |  |  |  | 1576.54 | 95.21 | 5 | 150W HPS 14,400 L - 35 Ft. 193 Watts | 193 | 1576.54 | 149.108 | 29.1087 | 37.4703 | 31.7367 | 3.03 | 250.4536 | 20.8711 | 5 | 150W HPS 14,400 L - 35 Ft. 193 Watts | 685 | 250.4536 | 20.87 | 171560.7301 | 11.14 | 91570.8 | 17.4 | 143028 | -0.35977 | 17.4 | 143028 | 0 | 12.95 | 106449 | -25.57% | 0
6 |  | 250W HPS 23,200 L - 35 Ft. 313 Watts | 143.94 | 9.09 | 35.96 | 41.58 | 46.81 | 642.89 | 275 | 410.16 |  |  |  | 1605.43 | 95.21 | 6 | 250W HPS 23,200 L - 35 Ft. 313 Watts | 313 | 1605.43 | 151.8404 | 47.2073 | 60.7679 | 31.7367 | 3.03 | 294.5822 | 24.5485 | 6 | 250W HPS 23,200 L - 35 Ft. 313 Watts | 433 | 294.5822 | 24.55 | 127554.1136 | 13.1 | 68067.6 | 20.42 | 106102.32 | -0.35847 | 20.42 | 106102.32 | 0 | 15.2 | 78979.2 | -25.56% | 0
7 |  | 450W HPS 50,000 L - 50 Ft. 485 Watts | 180.42 | 9.09 | 35.96 | 41.58 | 46.81 | 642.89 | 275 | 1058.1 |  |  |  | 2289.85 | 95.21 | 7 | 450W HPS 50,000 L - 50 Ft. 485 Watts | 485 | 2289.85 | 216.5724 | 73.1487 | 94.1611 | 31.7367 | 3.03 | 418.6488 | 34.8874 | 7 | 450W HPS 50,000 L - 50 Ft. 485 Watts | 140 | 418.6488 | 34.89 | 58610.8316 | 18.62 | 31281.6 | 29.36 | 49324.8 | -0.3658 | 29.36 | 49324.8 | 0 | 21.86 | 36724.8 | -25.54% | 0
|  | HPSV - DOWNTOWN E.P. AREA CO. OWNED - STEEL BASE STANDARD AND LUMINAIRE | [14 empty] | HPSV - DOWNTOWN E.P. AREA CO. OWNED - STEEL BASE STANDARD AND LUMINAIRE | [10 empty] | HPSV - DOWNTOWN E.P. AREA CO. OWNED - STEEL BASE STANDARD AND LUMINAIRE
8 |  | 450W HPS, 50,000L - OH 485 Watts | 180.42 | 9.09 | 35.96 |  | 46.81 | 642.89 | 550 | 1200 | 406.06 | 2000 | 72 | 5143.23 | 95.21 | 8 | 450W HPS, 50,000L - OH 485 Watts | 485 | 5143.23 | 486.443 | 73.1487 | 94.1611 | 31.7367 | 3.03 | 688.5194 | 57.3766 | 8 | 450W HPS, 50,000L - OH 485 Watts | 84 | 688.5194 | 57.38 | 57835.6308 | 30.62 | 30864.96 | 50.65 | 51055.2 | -0.39546 | 50.65 | 51055.2 | 0 | 37.7 | 38001.6 | -25.57% | 0
9 |  | 1000W MV 119,500L OH 1,102W | 114.92 | 29 | 35.96 |  | 46.81 | 642.89 | 550 | 1200 | 406.06 | 2000 |  | 5025.64 | 95.21 | 9 | 1000W MV 119,500L OH 1,102W | 1102 | 5025.64 | 475.3214 | 166.2059 | 213.9495 | 31.7367 | 9.6667 | 896.8801 | 74.74 | 9 | 1000W MV 119,500L OH 1,102W | 2 | 896.8801 | 74.74 | 1793.7603 | 39.89 | 957.36 | 58.01 | 1392.24 | -0.31236 | 58.01 | 1392.24 | 0 | 43.18 | 1036.32 | -25.56% | 0
10 |  | 1000W MV 119,500L UG 1,102W | 114.92 | 29 | 35.96 |  | 46.81 | 642.89 | 550 | 1200 | 406.06 | 2000 | 72 | 5097.64 | 95.21 | 10 | 1000W MV 119,500L UG 1,102W | 1102 | 5097.64 | 482.1311 | 166.2059 | 213.9495 | 31.7367 | 9.6667 | 903.6898 | 75.3075 | 10 | 1000W MV 119,500L UG 1,102W | 7 | 903.6898 | 75.31 | 6325.8289 | 40.19 | 3375.96 | 94.69 | 7953.96 | -0.57556 | 94.69 | 7953.96 | 0 | 70.49 | 5921.16 | -25.56% | 0
|  | MV- OH SYSTEM - CO-OWNED STEEL POLE | [14 empty] | MV- OH SYSTEM - CO-OWNED STEEL POLE | [10 empty] | MV- OH SYSTEM - CO-OWNED STEEL POLE
11 |  | 400W MV 20,000L - 460W | 114.92 | 9.09 | 35.96 |  | 46.81 | 642.89 | 550 | 1200 | 0 | 0 | 0 | 2599.67 | 95.21 | 11 | 400W MV 20,000L - 460W | 460 | 2599.67 | 245.8749 | 69.3781 | 89.3074 | 31.7367 | 3.03 | 439.3271 | 36.6106 | 11 | 400W MV 20,000L - 460W | 71 | 439.3271 | 36.61 | 31192.2265 | 19.54 | 16648.08 | 35.43 | 30186.36 | -0.44849 | 35.43 | 30186.36 | 0 | 26.37 | 22467.24 | -25.57% | 0
12 |  | (2) 400W MV 20,000L - 920W | 229.84 | 18.18 | 35.96 |  | 46.81 | 642.89 | 550 | 1200 | 0 | 0 | 0 | 2723.68 | 113.39 | 12 | (2) 400W MV 20,000L - 920W | 920 | 2723.68 | 257.6037 | 138.7563 | 178.6148 | 37.7967 | 6.06 | 618.8315 | 51.5693 | 12 | (2) 400W MV 20,000L - 920W | 9 | 618.8315 | 51.57 | 5569.4832 | 27.52 | 2972.16 | 49.75 | 5373 | -0.44683 | 49.75 | 5373 | 0 | 37.03 | 3999.24 | -25.57% | 0
|  | MV - NON CO OWNED SYSTEMS INTERSTATE OR FREEWAY LIGHTING | [14 empty] | MV - NON CO OWNED SYSTEMS INTERSTATE OR FREEWAY LIGHTING | [10 empty] | MV - NON CO OWNED SYSTEMS INTERSTATE OR FREEWAY LIGHTING
13 |  | 250W MV 11,000L Wall 292W |  | 9.9 | 35.96 | [8 empty] | 45.86 | 487.27 | 13 | 250W MV 11,000L Wall 292W | 292 | 45.86 | 4.3374 | 44.04 | 56.6908 | 162.4233 | 3.3 | 270.7916 | 22.566 | 13 | 250W MV 11,000L Wall 292W | 22 | 270.7916 | 22.57 | 5957.4146 | 12.04 | 3178.56 | 10.34 | 2729.76 | 0.16441 | 12.04 | 3178.56 | 0.16441 | 8.96 | 2365.44 | -13.35% | 0
14 |  | 400W MV 20,000L - 460W |  | 9.09 | 35.96 | [8 empty] | 45.05 | 487.27 | 14 | 400W MV 20,000L - 460W | 460 | 45.05 | 4.2608 | 69.3781 | 89.3074 | 162.4233 | 3.03 | 328.3997 | 27.3666 | 14 | 400W MV 20,000L - 460W | 14 | 328.3997 | 27.37 | 4597.5956 | 14.61 | 2454.48 | 14.24 | 2392.32 | 0.025983 | 14.61 | 2454.48 | 0.025983 | 10.88 | 1827.84 | -23.6% | 0
15 |  | 1000W MV 60,000L 1,102W |  | 29 | 35.96 | [8 empty] | 64.96 | 487.27 | 15 | 1000W MV 60,000L 1,102W | 1102 | 64.96 | 6.1439 | 166.2059 | 213.9495 | 162.4233 | 9.6667 | 558.3893 | 46.5324 | 15 | 1000W MV 60,000L 1,102W | 0 | 558.3893 | 46.53 | 0 | 24.83 | 0 | 0 | 0 | 0 | 24.83 | 0 | 0 | 18.48 | 0 | 0%
|  | MV - NON CO. OWNED - WOOD POLE 35'- UG OR OH RESIDENTIAL / MV LAMPS NO LONGER AVAILABLE | [14 empty] | MV - NON CO. OWNED - WOOD POLE 35'- UG OR OH RESIDENTIAL / -Replace Lamp Only | [10 empty] | MV - NON CO. OWNED - WOOD POLE 35'- UG OR OH RESIDENTIAL / -Replace Lamp Only
16 |  | 175W MV 7,000 L - 195 Watts |  | 9.09 | 35.96 | [8 empty] | 45.05 | 93.36 | 16 | 175W MV 7,000 L - 195 Watts | 195 | 45.05 | 4.2608 | 29.4103 | 37.8586 | 31.12 | 3.03 | 105.6797 | 8.8066 | 16 | 175W MV 7,000 L - 195 Watts | 5 | 105.6797 | 8.81 | 528.3984 | 4.7 | 282 | 7.86 | 471.6 | -0.40204 | 7.86 | 471.6 | 0 | 5.85 | 351 | -25.57% | 0
|  | HPSV NON-CO. OWNED SYSTEMS INTERSTATE OR FREEWAY LIGHTING | [14 empty] | HPSV NON-CO. OWNED SYSTEMS INTERSTATE OR FREEWAY LIGHTING | [10 empty] | HPSV NON-CO. OWNED SYSTEMS INTERSTATE OR FREEWAY LIGHTING
17 |  | 150W HPS 16,000 L - Wall 193 Watts | 115.05 | 9.09 | 35.96 | [8 empty] | 160.1 | 487.27 | 17 | 150W HPS 16,000 L - Wall 193 Watts | 193 | 160.1 | 15.1421 | 29.1087 | 37.4703 | 162.4233 | 3.03 | 247.1744 | 20.5979 | 17 | 150W HPS 16,000 L - Wall 193 Watts | 575 | 247.1744 | 20.6 | 142125.2894 | 10.99 | 75831 | 8.25 | 56925 | 0.33212 | 10.99 | 75831 | 0.33212 | 8.18 | 56442 | -0.8485% | 0
18 |  | 250W HPS 23,200 L - Wall 313 Watts | 143.94 | 9.09 | 35.96 | [8 empty] | 188.99 | 487.27 | 18 | 250W HPS 23,200 L - Wall 313 Watts | 313 | 188.99 | 17.8745 | 47.2073 | 60.7679 | 162.4233 | 3.03 | 291.303 | 24.2753 | 18 | 250W HPS 23,200 L - Wall 313 Watts | 94 | 291.303 | 24.28 | 27382.4862 | 12.96 | 14618.88 | 11.11 | 12532.08 | 0.16652 | 12.96 | 14618.88 | 0.16652 | 9.65 | 10885.2 | -13.14% | 0
19 |  | 250W HPS 23,200 L - 40 Ft. 313 Watts | 143.94 | 9.09 | 35.96 |  |  | 642.89 |  | 1300 | 564.41 |  |  | 2696.29 | 487.27 | 19 | 250W HPS 23,200 L - 40 Ft. 313 Watts | 313 | 2696.29 | 255.0132 | 47.2073 | 60.7679 | 162.4233 | 3.03 | 528.4417 | 44.0368 | 19 | 250W HPS 23,200 L - 40 Ft. 313 Watts | 0 | 528.4417 | 44.04 | 0 | 23.5 | 0 | 0 | 0 | 0 | 23.5 | 0 | 0 | 17.49 | 0 | 0% | 0
20 |  | 400W HPS 50,000 L - 50 Ft. 485 Watts | 180.42 | 9.09 | 35.96 |  |  | 642.89 |  | 1150 | 564.41 |  |  | 2582.77 | 487.27 | 20 | 400W HPS 50,000 L - 50 Ft. 485 Watts | 485 | 2582.77 | 244.2765 | 73.1487 | 94.1611 | 162.4233 | 3.03 | 577.0396 | 48.0866 | 20 | 400W HPS 50,000 L - 50 Ft. 485 Watts | 1950 | 577.0396 | 48.09 | 1125227.2701 | 25.66 | 600444 | 15.23 | 356382 | 0.68483 | 25.66 | 600444 | 0.68483 | 19.1 | 446940 | 25.41% | 0
21 |  | 400W HPS 50,000 L - 150 Ft. Climbing | 180.42 | 9.09 | 35.96 | [8 empty] | 225.47 | 487.27 | 21 | 400W HPS 50,000 L - 150 Ft. Climbing | 485 | 225.47 | 21.3248 | 73.1487 | 94.1611 | 162.4233 | 3.03 | 354.0879 | 29.5073 | 21 | 400W HPS 50,000 L - 150 Ft. Climbing | 102 | 354.0879 | 29.51 | 36116.9654 | 15.75 | 19278 | 16.11 | 19718.64 | -0.022346 | 16.11 | 19718.64 | 0 | 11.99 | 14675.76 | -25.57% | 0
|  | Tower Structure - 485 Watts Per Lamp | [14 empty] | Tower Structure - 485 Watts Per Lamp | [10 empty] | Tower Structure - 485 Watts Per Lamp
22 |  | 400W HPS 50,000 L - 150 Ft. Lowering | 180.42 | 9.09 | 35.96 | [8 empty] | 225.47 | 806.36 | 22 | 400W HPS 50,000 L - 150 Ft. Lowering | 485 | 225.47 | 21.3248 | 73.1487 | 94.1611 | 268.7867 | 3.03 | 460.4512 | 38.3709 | 22 | 400W HPS 50,000 L - 150 Ft. Lowering | 0 | 460.4512 | 38.37 | 0 | 20.48 | 0 | 15.11 | 0 | 0.35539 | 20.48 | 0 | 0.35539 | 15.25 | 0 | 0.9265% | 0
|  | Tower Structure - 485 Watts Per Lamp | [14 empty] | Tower Structure - 485 Watts Per Lamp | [10 empty] | Tower Structure - 485 Watts Per Lamp
23 |  | 40 Ft. Max. Mounting Height 116 Watts |  | 6 | 0 | [8 empty] | 6 | 18 | 23 | 40 Ft. Max. Mounting Height 116 Watts | 116 | 6 | 0.56748 | 17.4954 | 22.521 | 6 | 2 | 48.5838 | 4.0487 | 23 | 40 Ft. Max. Mounting Height 116 Watts | 6 | 48.5838 | 4.05 | 291.503 | 2.16 | 155.52 | 4.73 | 340.56 | -0.54334 | 4.73 | 340.56 | 0 | 3.52 | 253.44 | -25.58% | 0
24 |  | 150 Ft. Tower 116 Watts |  | 6 | 0 | [8 empty] | 6 | 60 | 24 | 150 Ft. Tower 116 Watts | 116 | 6 | 0.56748 | 17.4954 | 22.521 | 20 | 2 | 62.5838 | 5.2153 | 24 | 150 Ft. Tower 116 Watts | 3 | 62.5838 | 5.22 | 187.7515 | 2.79 | 100.44 | 5.66 | 203.76 | -0.50707 | 5.66 | 203.76 | 0 | 4.21 | 151.56 | -25.62% | 0
|  | HPSV NON-CO. OWNED SYSTEMS LARGE ARTERIAL LIGHTING | [14 empty] | HPSV NON-CO. OWNED SYSTEMS LARGE ARTERIAL LIGHTING | [10 empty] | HPSV NON-CO. OWNED SYSTEMS LARGE ARTERIAL LIGHTING
25 |  | 150W HPS 16,000 L - Wall 193 Watts | 115.05 | 9.09 | 35.96 | [8 empty] | 160.1 | 220.15 | 25 | 150W HPS 16,000 L - Wall 193 Watts | 193 | 160.1 | 15.1421 | 29.1087 | 37.4703 | 73.3833 | 3.03 | 158.1344 | 13.1779 | 25 | 150W HPS 16,000 L - Wall 193 Watts | 0 | 158.1344 | 13.18 | 0 | 7.03 | 0 | 0 | 0 | 0 | 7.03 | 0 | 0 | 5.23 | 0 | 0% | 0
26 |  | 250W HPS 23,200 L - Wall 313 Watts | 143.94 | 9.09 | 35.96 | [8 empty] | 188.99 | 220.15 | 26 | 250W HPS 23,200 L - Wall 313 Watts | 313 | 188.99 | 17.8745 | 47.2073 | 60.7679 | 73.3833 | 3.03 | 202.263 | 16.8553 | 26 | 250W HPS 23,200 L - Wall 313 Watts | 0 | 202.263 | 16.86 | 0 | 9 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 6.7 | 0 | 0% | 0
27 |  | 250W HPS 23,200 L - 40 Ft. 313 Watts | 143.94 | 9.09 | 35.96 |  |  | 642.89 |  | 1300 | 564.41 |  |  | 2696.29 | 220.15 | 27 | 250W HPS 23,200 L - 40 Ft. 313 Watts | 313 | 2696.29 | 255.0132 | 47.2073 | 60.7679 | 73.3833 | 3.03 | 439.4017 | 36.6168 | 27 | 250W HPS 23,200 L - 40 Ft. 313 Watts | 384 | 439.4017 | 36.62 | 168730.2394 | 19.54 | 90040.32 | 12.07 | 55618.56 | 0.61889 | 19.54 | 90040.32 | 0.61889 | 14.55 | 67046.4 | 20.55% | 0
28 |  | 400W HPS 50,000 L - 50 Ft. 485 Watts | 180.42 | 9.09 | 35.96 |  |  | 642.89 |  | 1150 | 564.41 |  |  | 2582.77 | 220.15 | 28 | 400W HPS 50,000 L - 50 Ft. 485 Watts | 485 | 2582.77 | 244.2765 | 73.1487 | 94.1611 | 73.3833 | 3.03 | 487.9996 | 40.6666 | 28 | 400W HPS 50,000 L - 50 Ft. 485 Watts | 636 | 487.9996 | 40.67 | 310367.7619 | 21.7 | 165614.4 | 17.37 | 132567.84 | 0.24928 | 21.7 | 165614.4 | 0.24928 | 16.15 | 123256.8 | -7.024% | 0
|  | HPSV - NON-CO OWNED - WOOD/STEEL POLE UG OR OH STANDARD RESIDENTIAL SERVICE | [14 empty] | HPSV - NON-CO OWNED - WOOD/STEEL POLE UG OR OH STANDARD RESIDENTIAL SERVICE | [10 empty] | HPSV - NON-CO OWNED - WOOD/STEEL POLE UG OR OH STANDARD RESIDENTIAL SERVICE
29 |  | 100W HPS 8,500L - 124 Watts | 110.87 | 9.09 | 35.96 | 41.58 | 46.81 | [6 empty] | 244.31 | 93.36 | 29 | 100W HPS 8,500L - 124 Watts | 124 | 244.31 | 23.1067 | 18.7019 | 24.0742 | 31.12 | 3.03 | 100.0328 | 8.3361 | 29 | 100W HPS 8,500L - 124 Watts | 4844 | 100.0328 | 8.34 | 484558.7387 | 4.45 | 258669.6 | 5.83 | 338886.24 | -0.23671 | 5.83 | 338886.24 | 0 | 4.34 | 252275.52 | -25.56% | 0
30 |  | 150W HPS 14,400 L - 193 Watts | 115.05 | 9.09 | 35.96 | 41.58 | 46.81 | [6 empty] | 248.49 | 93.36 | 30 | 150W HPS 14,400 L - 193 Watts | 193 | 248.49 | 23.502 | 29.1087 | 37.4703 | 31.12 | 3.03 | 124.2309 | 10.3526 | 30 | 150W HPS 14,400 L - 193 Watts | 0 | 124.2309 | 10.35 | 0 | 5.52 | 0 | 7.31 | 0 | -0.24487 | 7.31 | 0 | 0 | 5.44 | 0 | -25.58% | 0
31 |  | 250W HPS 23,200 L - 313 Watts | 143.94 | 9.09 | 35.96 | 41.58 | 46.81 | [6 empty] | 277.38 | 93.36 | 31 | 250W HPS 23,200 L - 313 Watts | 313 | 277.38 | 26.2344 | 47.2073 | 60.7679 | 31.12 | 3.03 | 168.3596 | 14.03 | 31 | 250W HPS 23,200 L - 313 Watts | 1897 | 168.3596 | 14.03 | 319378.1104 | 7.49 | 170502.36 | 11.21 | 255184.44 | -0.33185 | 11.21 | 255184.44 | 0 | 8.34 | 189851.76 | -25.6% | 0
LAMP COST OF SERVICE |  |  | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l) | (m) | LAMP COST OF SERVICE |  | (n) | (o) | (p) | (q) | (r) | (s) | (t) | (u) | (v) | LAMP COST OF SERVICE |  | (w) | (x) | (y) | (z) | (aa) | (ab) | (ac) | (ad) | (ae) | (af) | (ag) | (ah) | (ai) | (aj) | (ah) | (ak)
[32 empty] | Reproduction | [5 empty] | 100%
[9 empty] | Pole |  |  | Struct duct |  | Total | [17 empty] | Cost | Scaled | At Scaled |  |  |  | Target |  | Target | Adjusted | Rate | Target
Lamp |  |  | Fixture | Lamp | Misc | Arm | Cable | Labor | Hole or | Pole | Breakway | Install | Duct | Reproduction | Relamp | Lamp |  |  | Direct | Fixed | Lighting System | Demand/Energy | Bulb Repl | Yrly Bulb | Yearly | Monthly | Lamp |  | Active | Yearly | Monthly | Revenue | Calculated | Estimated | Current | Present | Percent | Calculated | Target | Percent | Proposed | Design | Percent | Manual
No. |  | Description | Charge | Cost | Cost | Cost | Cost | Installation | Base | Cost | Base | Cost | Cost | Cost | Cost | No. | Description | WATTS | Investment | Charge | Cost | Cost | Cost | Repl Cost | Cost | Cost | No. | Description | Lamps | Costs | Cost | Requirement | Rate | Revenues | Rate | Revenues | Change | Rate | Revenues | Change | Rate | Revenues | Change | Adj
|  | RATE NO. 08 Continued | [14 empty] | RATE NO. 08 Continued | [10 empty] | RATE NO. 08 Continued
|  | HPSV - OH - NON-CO. OWNED FIXTURE - CO. OWNED EXISTING WOOD POLE (DISTRIBUTION OR STREET LIGHT) CF or D | [14 empty] | HPSV - OH - NON-CO. OWNED FIXTURE - CO. OWNED EXISTING WOOD POLE (DISTRIBUTION OR STREET LIGHT) CF or D | [10 empty] | HPSV - OH - NON-CO. OWNED FIXTURE - CO. OWNED EXISTING WOOD POLE (DISTRIBUTION OR STREET LIGHT) CF or D
32 |  | 100W HPS 8,500L - 124 Watts | 110.87 | 9.09 | 35.96 | 41.58 | 46.81 | [6 empty] | 244.31 | 112.42 | 32 | 100W HPS 8,500L - 124 Watts | 124 | 244.31 | 23.1067 | 18.7019 | 24.0742 | 37.4733 | 3.03 | 106.3861 | 8.8655 | 32 | 100W HPS 8,500L - 124 Watts | 2668 | 106.3861 | 8.87 | 283838.1241 | 4.73 | 151435.68 | 7.87 | 251965.92 | -0.39898 | 7.87 | 251965.92 | 0 | 5.86 | 187613.76 | -25.54% | 0
33 |  | 150W HPS 14,400 L - 193 Watts | 115.05 | 9.09 | 35.96 | 41.58 | 46.81 | [6 empty] | 248.49 | 112.42 | 33 | 150W HPS 14,400 L - 193 Watts | 193 | 248.49 | 23.502 | 29.1087 | 37.4703 | 37.4733 | 3.03 | 130.5843 | 10.882 | 33 | 150W HPS 14,400 L - 193 Watts | 2499 | 130.5843 | 10.88 | 326330.1123 | 5.81 | 174230.28 | 9.51 | 285185.88 | -0.38906 | 9.51 | 285185.88 | 0 | 7.08 | 212315.04 | -25.55% | 0
34 |  | 250W HPS 23,200 L - 313 Watts | 143.94 | 9.09 | 35.96 | 41.58 | 46.81 | [6 empty] | 277.38 | 112.42 | 34 | 250W HPS 23,200 L - 313 Watts | 313 | 277.38 | 26.2344 | 47.2073 | 60.7679 | 37.4733 | 3.03 | 174.7129 | 14.5594 | 34 | 250W HPS 23,200 L - 313 Watts | 888 | 174.7129 | 14.56 | 155145.061 | 7.77 | 82797.12 | 12.08 | 128724.48 | -0.35679 | 12.08 | 128724.48 | 0 | 8.99 | 95797.44 | -25.58% | 0
35 |  | (2) 250W HPS 23,200 L - 626 Watts | 287.88 | 9.09 | 35.96 | 83.16 | 46.81 | [6 empty] | 462.9 | 122.16 | 35 | (2) 250W HPS 23,200 L - 626 Watts | 626 | 462.9 | 43.7807 | 94.4146 | 121.5357 | 40.72 | 3.03 | 303.4811 | 25.2901 | 35 | (2) 250W HPS 23,200 L - 626 Watts | 11 | 303.4811 | 25.29 | 3338.292 | 13.5 | 1782 | 21.47 | 2834.04 | -0.37122 | 21.47 | 2834.04 | 0 | 15.98 | 2109.36 | -25.57% | 0
36 |  | 450W HPS 50,000 L - 485 Watts | 180.42 | 9.09 | 35.96 | 41.58 | 46.81 | [6 empty] | 313.86 | 112.42 | 36 | 450W HPS 50,000 L - 485 Watts | 485 | 313.86 | 29.6847 | 73.1487 | 94.1611 | 37.4733 | 3.03 | 237.4978 | 19.7915 | 36 | 450W HPS 50,000 L - 485 Watts | 52 | 237.4978 | 19.79 | 12349.8835 | 10.56 | 6589.44 | 16.58 | 10345.92 | -0.36309 | 16.58 | 10345.92 | 0 | 12.34 | 7700.16 | -25.57% | 0
|  | ORNAMENTAL HPSV - NON-CO. OWNED, OPERATED & MAINTAINED (ENERGY ONLY) | [14 empty] | ORNAMENTAL HPSV - NON-CO. OWNED, OPERATED & MAINTAINED (ENERGY ONLY) | [10 empty] | ORNAMENTAL HPSV - NON-CO. OWNED, OPERATED & MAINTAINED (ENERGY ONLY)
37 |  | 70W HPS - 82 Watt | [11 empty] | 0 |  | 37 | 70W HPS - 82 Watt | 82 | 0 | 0 | 12.3674 | 15.92 | 0 | 0 | 28.2874 | 2.3573 | 37 | 70W HPS - 82 Watt | 0 | 28.2874 | 2.36 | 0 | 1.26 | 0 | 0 | 0 | 0 | 1.26 | 0 | 0 | 0.94 | 0 | 0% | 0
38 |  | 150W HPS - 193 Watt | [11 empty] | 0 |  | 38 | 150W HPS - 193 Watt | 193 | 0 | 0 | 29.1087 | 37.4703 | 0 | 0 | 66.5789 | 5.5482 | 38 | 150W HPS - 193 Watt | 0 | 66.5789 | 5.55 | 0 | 2.96 | 0 | 0 | 0 | 0 | 2.96 | 0 | 0 | 2.2 | 0 | 0% | 0
39 |  | 175W MH - 210 Watt | [11 empty] | 0 |  | 39 | 175W MH - 210 Watt | 210 | 0 | 0 | 31.6726 | 40.7708 | 0 | 0 | 72.4434 | 6.037 | 39 | 175W MH - 210 Watt | 489 | 72.4434 | 6.04 | 35424.8261 | 3.22 | 18894.96 | 3.9 | 22885.2 | -0.17436 | 3.9 | 22885.2 | 0 | 2.9 | 17017.2 | -25.64% | 0
40 |  | 250W MH - 295 Watt | [11 empty] | 0 |  | 40 | 250W MH - 295 Watt | 295 | 0 | 0 | 44.4925 | 57.2732 | 0 | 0 | 101.7657 | 8.4805 | 40 | 250W MH - 295 Watt | 21 | 101.7657 | 8.48 | 2137.0805 | 4.53 | 1141.56 | 4.64 | 1169.28 | -0.023707 | 4.64 | 1169.28 | 0 | 3.45 | 869.4 | -25.65% | 0
|  | HPS ROADWAY ILLUMINATION NON-COMPANY OWNED (ENERGY ONLY) | [14 empty] | HPS ROADWAY ILLUMINATION NON-COMPANY OWNED (ENERGY ONLY) | [10 empty] | HPS ROADWAY ILLUMINATION NON-COMPANY OWNED (ENERGY ONLY)
41 |  | 100W HPS - 124 Watt | [11 empty] | 0 |  | 41 | 100W HPS - 124 Watt | 124 | 0 | 0 | 18.7019 | 24.0742 | 0 | 0 | 42.7761 | 3.5647 | 41 | 100W HPS - 124 Watt | 246 | 42.7761 | 3.56 | 10522.9223 | 1.9 | 5608.8 | 2.41 | 7114.32 | -0.21162 | 2.41 | 7114.32 | 0 | 1.79 | 5284.08 | -25.73% | 0
42 |  | 150W HPS - 193 Watt | [11 empty] | 0 |  | 42 | 150W HPS - 193 Watt | 193 | 0 | 0 | 29.1087 | 37.4703 | 0 | 0 | 66.5789 | 5.5482 | 42 | 150W HPS - 193 Watt | 114 | 66.5789 | 5.55 | 7589.9993 | 2.96 | 4049.28 | 3.74 | 5116.32 | -0.20856 | 3.74 | 5116.32 | 0 | 2.78 | 3803.04 | -25.67% | 0
43 |  | 250W HPS - 313 Watt | [11 empty] | 0 |  | 43 | 250W HPS - 313 Watt | 313 | 0 | 0 | 47.2073 | 60.7679 | 0 | 0 | 107.9752 | 8.9979 | 43 | 250W HPS - 313 Watt | 1526 | 107.9752 | 9 | 164770.1146 | 4.8 | 87897.6 | 5.98 | 109505.76 | -0.19732 | 5.98 | 109505.76 | 0 | 4.45 | 81488.4 | -25.59% | 0
44 |  | 400W HPS - 485 Watt | [11 empty] | 0 |  | 44 | 400W HPS - 485 Watt | 485 | 0 | 0 | 73.1487 | 94.1611 | 0 | 0 | 167.3098 | 13.9425 | 44 | 400W HPS - 485 Watt | 2553 | 167.3098 | 13.94 | 427141.8518 | 7.44 | 227931.84 | 14.28 | 437482.08 | -0.47899 | 14.28 | 437482.08 | 0 | 10.63 | 325660.68 | -25.56% | 0
|  | MV TO LED - OH SYSTEM CO. OWNED - 35' WOOD POLE | [14 empty] | MV TO LED - OH SYSTEM CO. OWNED - 35' WOOD POLE | [10 empty] | MV TO LED - OH SYSTEM CO. OWNED - 35' WOOD POLE
45 |  | 175W MV 7,000L - 65W |  |  |  | 41.58 | 46.81 | 642.89 | 275 | 410.16 |  |  |  | 1416.44 | 93.36 | 45 | 175W MV 7,000L - 65W | 65 | 1416.44 | 133.9659 | 9.8034 | 12.6195 | 31.12 | 0 | 187.5088 | 15.6257 | 45 | 175W MV 7,000L - 65W | 1371 | 187.5088 | 15.63 | 257074.6062 | 8.34 | 137209.68 | 13.07 | 215027.64 | -0.3619 | 13.07 | 215027.64 | 0 | 9.73 | 160077.96 | -25.55% | 0
46 |  | 250W MV 11,000L - 100W |  |  |  | 41.58 | 46.81 | 642.89 | 275 | 410.16 |  |  |  | 1416.44 | 93.36 | 46 | 250W MV 11,000L - 100W | 100 | 1416.44 | 133.9659 | 15.0822 | 19.4147 | 31.12 | 0 | 199.5827 | 16.6319 | 46 | 250W MV 11,000L - 100W | 64 | 199.5827 | 16.63 | 12773.2948 | 8.87 | 6812.16 | 16.34 | 12549.12 | -0.45716 | 16.34 | 12549.12 | 0 | 12.16 | 9338.88 | -25.58% | 0
47 |  | 400W MV 20,000L - 100W |  |  |  | 41.58 | 46.81 | 642.89 | 275 | 410.16 |  |  |  | 1416.44 | 93.36 | 47 | 400W MV 20,000L - 100W | 100 | 1416.44 | 133.9659 | 15.0822 | 19.4147 | 31.12 | 0 | 199.5827 | 16.6319 | 47 | 400W MV 20,000L - 100W | 55 | 199.5827 | 16.63 | 10977.0502 | 8.87 | 5854.2 | 19.38 | 12790.8 | -0.54231 | 19.38 | 12790.8 | 0 | 14.43 | 9523.8 | -25.54% | 0
|  | LED- OH - EXISTING WOOD/STEEL POLE STANDARD RESIDENTIAL COMPANY OWNED | [14 empty] | LED- OH - EXISTING WOOD/STEEL POLE STANDARD RESIDENTIAL COMPANY OWNED (ENERGY ONLY) | [10 empty] | LED- OH - EXISTING WOOD/STEEL POLE STANDARD RESIDENTIAL COMPANY OWNED (ENERGY ONLY)
48 |  | 65W LED 8,500L OH Existing- 35 ft 65 Watt |  |  |  | 41.58 | 46.81 | 508.69 |  | 410.16 |  |  |  | 1007.24 |  | 48 | 65W LED 8,500L OH Existing- 35 ft 65 Watt | 65 | 1007.24 | 95.264 | 9.8034 | 12.6195 | 0 | 0 | 117.687 | 9.8072 | 48 | 65W LED 8,500L OH Existing- 35 ft 65 Watt | 122 | 117.687 | 9.81 | 14357.8128 | 5.24 | 7671.36 | 12.77 | 18695.28 | -0.58966 | 12.77 | 18695.28 | 0 | 9.51 | 13922.64 | -25.53% | 0
49 |  | 95W LED 14,400L OH Existing- 35 ft 95 Watt |  |  |  | 41.58 | 46.81 | 508.69 |  | 410.16 |  |  |  | 1007.24 |  | 49 | 95W LED 14,400L OH Existing- 35 ft 95 Watt | 95 | 1007.24 | 95.264 | 14.3281 | 18.4439 | 0 | 0 | 128.036 | 10.6697 | 49 | 95W LED 14,400L OH Existing- 35 ft 95 Watt | 0 | 128.036 | 10.67 | 0 | 5.69 | 0 | 14.57 | 0 | -0.60947 | 14.57 | 0 | 0 | 10.85 | 0 | -25.53% | 0
50 |  | 125W LED 23,000L OH Existing- 35 ft 116 Watt |  |  |  | 41.58 | 46.81 | 508.69 |  | 410.16 |  |  |  | 1007.24 |  | 50 | 125W LED 23,000L OH Existing- 35 ft 116 Watt | 116 | 1007.24 | 95.264 | 17.4954 | 22.521 | 0 | 0 | 135.2804 | 11.2734 | 50 | 125W LED 23,000L OH Existing- 35 ft 116 Watt | 34 | 135.2804 | 11.27 | 4599.5332 | 6.01 | 2452.08 | 17.44 | 7115.52 | -0.65539 | 17.44 | 7115.52 | 0 | 12.98 | 5295.84 | -25.57% | 0
51 |  | 400W LED 50,000L OH Existing- 50 ft 159 Watt |  |  |  | 41.58 | 46.81 | 508.69 |  | 410.16 |  |  |  | 1007.24 |  | 51 | 400W LED 50,000L OH Existing- 50 ft 159 Watt | 159 | 1007.24 | 95.264 | 23.9807 | 30.8693 | 0 | 0 | 150.114 | 12.5095 | 51 | 400W LED 50,000L OH Existing- 50 ft 159 Watt | 0 | 150.114 | 12.51 | 0 | 6.68 | 0 | 25.27 | 0 | -0.73565 | 25.27 | 0 | 0 | 18.81 | 0 | -25.56% | 0
|  | LIGHT-EMITTING DIODE ("LED") - ENERGY ONLY | [14 empty] | LIGHT-EMITTING DIODE ("LED") - ENERGY ONLY | [10 empty] | LIGHT-EMITTING DIODE ("LED") - ENERGY ONLY
52 | New | 1W-20W LED | [11 empty] | 0 |  | 52 | 1W-20W LED | 10 | 0 | 0 | 1.5082 | 1.9415 | 0 | 0 | 3.4497 | 0.28747 | 52 | 1W-20W LED | 0 | 3.4497 | 0.29 | 0 | 0.15 | 0 | 0 | 0 | 0 | 0.16 | 0 | 0 | 0.12 | 0 | 0% | 0
53 |  | 21W-30W LED | [11 empty] | 0 |  | 53 | 21W-30W LED | 25 | 0 | 0 | 3.7706 | 4.8537 | 0 | 0 | 8.6242 | 0.71868 | 53 | 21W-30W LED | 24 | 8.6242 | 0.72 | 206.9812 | 0.38 | 109.44 | 0.7 | 201.6 | -0.45714 | 0.4 | 115.2 | -0.42857 | 0.44 | 126.72 | -37.14% | 0.14
54 |  | 31W-40W LED | [11 empty] | 0 |  | 54 | 31W-40W LED | 35 | 0 | 0 | 5.2788 | 6.7951 | 0 | 0 | 12.0739 | 1.0062 | 54 | 31W-40W LED | 7487 | 12.0739 | 1.01 | 90397.2981 | 0.54 | 48515.76 | 0.68 | 61093.92 | -0.20588 | 0.56 | 50312.64 | -0.17647 | 0.42 | 37734.48 | -38.24% | 0
55 |  | 41W-50W LED | [11 empty] | 0 |  | 55 | 41W-50W LED | 45 | 0 | 0 | 6.787 | 8.7366 | 0 | 0 | 15.5236 | 1.2936 | 55 | 41W-50W LED | 135 | 15.5236 | 1.29 | 2095.6843 | 0.69 | 1117.8 | 0.87 | 1409.4 | -0.2069 | 0.73 | 1182.6 | -0.16092 | 0.54 | 874.8 | -37.93% | 0
56 |  | 51W-60W LED | [11 empty] | 0 |  | 56 | 51W-60W LED | 55 | 0 | 0 | 8.2952 | 10.6781 | 0 | 0 | 18.9733 | 1.5811 | 56 | 51W-60W LED | 10 | 18.9733 | 1.58 | 189.7327 | 0.84 | 100.8 | 1.08 | 129.6 | -0.22222 | 0.89 | 106.8 | -0.17593 | 0.66 | 79.2 | -38.89% | 0
57 |  | 61W-70W LED | [11 empty] | 0 |  | 57 | 61W-70W LED | 65 | 0 | 0 | 9.8034 | 12.6195 | 0 | 0 | 22.423 | 1.8686 | 57 | 61W-70W LED | 2400 | 22.423 | 1.87 | 53815.1024 | 1 | 28800 | 1.27 | 36576 | -0.2126 | 1.05 | 30240 | -0.17323 | 0.78 | 22464 | -38.58% | 0
58 |  | 71W-80W LED | [11 empty] | 0 |  | 58 | 71W-80W LED | 75 | 0 | 0 | 11.3117 | 14.561 | 0 | 0 | 25.8726 | 2.1561 | 58 | 71W-80W LED | 73 | 25.8726 | 2.16 | 1888.7031 | 1.15 | 1007.4 | 1.47 | 1287.72 | -0.21769 | 1.21 | 1059.96 | -0.17687 | 0.9 | 788.4 | -38.78% | 0
59 |  | 81W-90W LED | [11 empty] | 0 |  | 59 | 81W-90W LED | 85 | 0 | 0 | 12.8199 | 16.5025 | 0 | 0 | 29.3223 | 2.4435 | 59 | 81W-90W LED | 15 | 29.3223 | 2.44 | 439.835 | 1.3 | 234 | 1.66 | 298.8 | -0.21687 | 1.37 | 246.6 | -0.1747 | 1.02 | 183.6 | -38.55% | 0
60 |  | 91W-100W LED | [11 empty] | 0 |  | 60 | 91W-100W LED | 95 | 0 | 0 | 14.3281 | 18.4439 | 0 | 0 | 32.772 | 2.731 | 60 | 91W-100W LED | 1230 | 32.772 | 2.73 | 40309.5815 | 1.46 | 21549.6 | 1.88 | 27748.8 | -0.2234 | 1.53 | 22582.8 | -0.18617 | 1.14 | 16826.4 | -39.36% | 0
61 |  | 101W-110W LED | [11 empty] | 0 |  | 61 | 101W-110W LED | 105 | 0 | 0 | 15.8363 | 20.3854 | 0 | 0 | 36.2217 | 3.0185 | 61 | 101W-110W LED | 2489 | 36.2217 | 3.02 | 90155.8201 | 1.61 | 48087.48 | 1.99 | 59437.32 | -0.19095 | 1.69 | 50476.92 | -0.15075 | 1.26 | 37633.68 | -36.68% | 0
62 |  | 111W-130W LED | [11 empty] | 0 |  | 62 | 111W-130W LED | 120 | 0 | 0 | 18.0986 | 23.2976 | 0 | 0 | 41.3962 | 3.4497 | 62 | 111W-130W LED | 2091 | 41.3962 | 3.45 | 86559.5224 | 1.84 | 46169.28 | 2.24 | 56206.08 | -0.17857 | 1.94 | 48678.48 | -0.13393 | 1.44 | 36132.48 | -35.71% | 0
63 |  | 131W-150W LED | [11 empty] | 0 |  | 63 | 131W-150W LED | 140 | 0 | 0 | 21.1151 | 27.1805 | 0 | 0 | 48.2956 | 4.0246 | 63 | 131W-150W LED | 664 | 48.2956 | 4.02 | 32068.2815 | 2.15 | 17131.2 | 2.64 | 21035.52 | -0.18561 | 2.26 | 18007.68 | -0.14394 | 1.68 | 13386.24 | -36.36% | 0
64 |  | 151W-170W LED | [11 empty] | 0 |  | 64 | 151W-170W LED | 160 | 0 | 0 | 24.1315 | 31.0634 | 0 | 0 | 55.195 | 4.5996 | 64 | 151W-170W LED | 1146 | 55.195 | 4.6 | 63253.4434 | 2.45 | 33692.4 | 3.13 | 43043.76 | -0.21725 | 2.58 | 35480.16 | -0.17572 | 1.92 | 26403.84 | -38.66% | 0
65 |  | 171W-190W LED | [11 empty] | 0 |  | 65 | 171W-190W LED | 180 | 0 | 0 | 27.148 | 34.9464 | 0 | 0 | 62.0943 | 5.1745 | 65 | 171W-190W LED | 138 | 62.0943 | 5.17 | 8569.0202 | 2.76 | 4570.56 | 3.52 | 5829.12 | -0.21591 | 2.9 | 4802.4 | -0.17614 | 2.16 | 3576.96 | -38.64% | 0
66 |  | 191W-210W LED | [11 empty] | 0 |  | 66 | 191W-210W LED | 200 | 0 | 0 | 30.1644 | 38.8293 | 0 | 0 | 68.9937 | 5.7495 | 66 | 191W-210W LED | 0 | 68.9937 | 5.75 | 0 | 3.07 | 0 | 3.91 | 0 | -0.21483 | 3.23 | 0 | -0.17391 | 2.4 | 0 | -38.62% | 0
67 |  | 211W-230W LED | [11 empty] | 0 |  | 67 | 211W-230W LED | 220 | 0 | 0 | 33.1809 | 42.7122 | 0 | 0 | 75.8931 | 6.3244 | 67 | 211W-230W LED | 192 | 75.8931 | 6.32 | 14571.4739 | 3.37 | 7764.48 | 4.33 | 9976.32 | -0.22171 | 3.55 | 8179.2 | -0.18014 | 2.64 | 6082.56 | -39.03% | 0
68 |  | 231W-250W LED | [11 empty] | 0 |  | 68 | 231W-250W LED | 240 | 0 | 0 | 36.1973 | 46.5952 | 0 | 0 | 82.7925 | 6.8994 | 68 | 231W-250W LED | 161 | 82.7925 | 6.9 | 13329.5869 | 3.68 | 7109.76 | 4.72 | 9119.04 | -0.22034 | 3.87 | 7476.84 | -0.18008 | 2.88 | 5564.16 | -38.98% | 0
69 |  | 251W-270W LED | [11 empty] | 0 |  | 69 | 251W-270W LED | 260 | 0 | 0 | 39.2137 | 50.4781 | 0 | 0 | 89.6918 | 7.4743 | 69 | 251W-270W LED | 1332 | 89.6918 | 7.47 | 119469.5273 | 3.99 | 63776.16 | 5.1276 | 81959.6974 | -0.22186 | 4.19 | 66972.96 | -0.18285 | 3.12 | 49870.08 | -39.15% | 0
70 | New | 271W-300W LED | [11 empty] | 0 |  | 70 | 271W-300W LED | 285 | 0 | 0 | 42.9843 | 55.3318 | 0 | 0 | 98.3161 | 8.193 | 70 | 271W-300W LED | 0 | 98.3161 | 8.19 | 0 | 4.37 | 0 | 0 | 0 | 0 | 4.6 | 0 | 0 | 3.42 | 0 | 0% | 0
71 | New | 301W-330W LED | [11 empty] | 0 |  | 71 | 301W-330W LED | 315 | 0 | 0 | 47.5089 | 61.1562 | 0 | 0 | 108.6651 | 9.0554 | 71 | 301W-330W LED | 0 | 108.6651 | 9.06 | 0 | 4.83 | 0 | 0 | 0 | 0 | 5.08 | 0 | 0 | 3.78 | 0 | 0% | 0
72 | New | 331W-360W LED | [11 empty] | 0 |  | 72 | 331W-360W LED | 345 | 0 | 0 | 52.0336 | 66.9806 | 0 | 0 | 119.0142 | 9.9178 | 72 | 331W-360W LED | 0 | 119.0142 | 9.92 | 0 | 5.29 | 0 | 0 | 0 | 0 | 5.56 | 0 | 0 | 4.14 | 0 | 0% | 0
73 | New | 361W-390W LED | [11 empty] | 0 |  | 73 | 361W-390W LED | 375 | 0 | 0 | 56.5583 | 72.805 | 0 | 0 | 129.3632 | 10.7803 | 73 | 361W-390W LED | 0 | 129.3632 | 10.78 | 0 | 5.75 | 0 | 0 | 0 | 0 | 6.05 | 0 | 0 | 4.5 | 0 | 0% | 0
74 | New | 391W-420W LED | [11 empty] | 0 |  | 74 | 391W-420W LED | 405 | 0 | 0 | 61.0829 | 78.6294 | 0 | 0 | 139.7123 | 11.6427 | 74 | 391W-420W LED | 0 | 139.7123 | 11.64 | 0 | 6.21 | 0 | 0 | 0 | 0 | 6.53 | 0 | 0 | 4.86 | 0 | 0% | 0
75 | New | 421W-450W LED | [11 empty] | 0 |  | 75 | 421W-450W LED | 435 | 0 | 0 | 65.6076 | 84.4538 | 0 | 0 | 150.0613 | 12.5051 | 75 | 421W-450W LED | 0 | 150.0613 | 12.51 | 0 | 6.68 | 0 | 0 | 0 | 0 | 7.02 | 0 | 0 | 5.22 | 0 | 0% | 0
76 | New | 451W-480W LED | [11 empty] | 0 |  | 76 | 451W-480W LED | 465 | 0 | 0 | 70.1323 | 90.2781 | 0 | 0 | 160.4104 | 13.3675 | 76 | 451W-480W LED | 0 | 160.4104 | 13.37 | 0 | 7.14 | 0 | 0 | 0 | 0 | 7.5 | 0 | 0 | 5.58 | 0 | 0% | 0
77 | New | 481W-510W LED | [11 empty] | 0 |  | 77 | 481W-510W LED | 495 | 0 | 0 | 74.6569 | 96.1025 | 0 | 0 | 170.7595 | 14.23 | 77 | 481W-510W LED | 0 | 170.7595 | 14.23 | 0 | 7.59 | 0 | 0 | 0 | 0 | 7.98 | 0 | 0 | 5.94 | 0 | 0% | 0
78 | New | 511W-540W LED | [11 empty] | 0 |  | 78 | 511W-540W LED | 525 | 0 | 0 | 79.1816 | 101.9269 | 0 | 0 | 181.1085 | 15.0924 | 78 | 511W-540W LED | 0 | 181.1085 | 15.09 | 0 | 8.05 | 0 | 0 | 0 | 0 | 8.47 | 0 | 0 | 6.3 | 0 | 0% | 0
79 | New | 541W-570W LED | [11 empty] | 0 |  | 79 | 541W-570W LED | 555 | 0 | 0 | 83.7062 | 107.7513 | 0 | 0 | 191.4576 | 15.9548 | 79 | 541W-570W LED | 0 | 191.4576 | 15.95 | 0 | 8.51 | 0 | 0 | 0 | 0 | 8.95 | 0 | 0 | 6.66 | 0 | 0% | 0
[28 empty] | Energy | 237958 |  | 0.047465 | 11294.6333 | 0.02533 | 6027.4761 | 0.04527 | 10772.3587 | -0.44047 | 0.04527 | 10772.3587 | 0 | 0.0337 | 8019.1846 | -25.56%
80 |  | Pole Attachments | [11 empty] | 0 |  | 80 | Pole Attachments | [9 empty] | 80 | Pole Attachments | 569 | 25.8 | 2.15 | 14680.2 | 1.15 | 7852.2 | 2.11 | 14407.08 | -0.45498 | 2.11 | 14407.08 | 0 | 1.57 | 10719.96 | -25.59%
[32 empty] | 5871543.8973 |  | 3133776.2361 |  | 3946236.4961 |  |  | 4209839.1187 |  |  | 3133827.1846 | -20.59%
[32 empty] | 3133397.7686 |  | 3119896.56 |  | -812460.2599 |  |  | -1076441.35 |  |  | -429.416
|  |  | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l) | (m) |  |  | (n) | (o) | (p) | (q) | (r) | (s) | (t) | (u) | (v) |  |  | (w) | (x) | (y) | (z) | (aa) | (ab) | (ac) | (ad) | (ae) | (af) | (ag) | (ah) | (ai) | (aj) | (ah) | (ak)
LAMP COST OF SERVICE | [15 empty] | LAMP COST OF SERVICE | [10 empty] | LAMP COST OF SERVICE |  |  |  |  | Reproduction | [5 empty] | 100%
[9 empty] | Pole |  |  | Struct duct |  | Total | [17 empty] | Cost | Scaled | At Scaled |  |  |  | Target |  | Target | Adjusted | Rate | Target
Lamp |  |  | Fixture | Lamp | Misc | Arm | Cable | Labor | Hole or | Pole | Breakway | Install | Duct | Reproduction | Relamp | Lamp |  |  | Direct | Fixed | Lighting System | Demand/Energy | Bulb Repl | Yrly Bulb | Yearly | Monthly | Lamp |  | Active | Yearly | Monthly | Revenue | Calculated | Estimated | Current | Present | Percent | Calculated | Target | Percent | Proposed | Design | Percent | Manual
No. |  | Description | Charge | Cost | Cost | Cost | Cost | Installation | Base | Cost | Base | Cost | Cost | Cost | Cost | No. | Description | WATTS | Investment | Charge | Cost | Cost | Cost | Repl Cost | Cost | Cost | No. | Description | Lamps | Costs | Cost | Requirement | Rate | Revenues | Rate | Revenues | Change | Rate | Revenues | Change | Rate | Revenues | Change | Adj
|  | RATE NO. 09 | [14 empty] | RATE NO. 09 | [10 empty] | RATE NO. 09
|  | INCANDESCENT TRAFFIC SIGNALS (MONTHLY RATE PER UNIT) | [14 empty] | INCANDESCENT TRAFFIC SIGNALS (MONTHLY RATE PER UNIT) | [10 empty] | INCANDESCENT TRAFFIC SIGNALS (MONTHLY RATE PER UNIT)
|  | Flashing Lights | [14 empty] | Flashing Lights | [10 empty] | Flashing Lights
1 |  | 3 Lamp Head - 24 Hours - 61 Watts | [11 empty] | 0 |  | 1 | 3 Lamp Head - 24 Hours - 61 Watts | 61 | 0 | 0 | 0 | 23.9739 | 0 | 0 | 23.9739 | 1.9978 | 1 | 3 Lamp Head - 24 Hours - 61 Watts | 0 | 23.9739 | 2 | 0 | 2.08 | 0 | 0 | 0 | 0 | 2.08 | 0 | 0 | 2.01 | 0 | 0% | 0
2 |  | 4 Lamp Head - 24 Hours - 61 Watts | [11 empty] | 0 |  | 2 | 4 Lamp Head - 24 Hours - 61 Watts | 61 | 0 | 0 | 0 | 23.9739 | 0 | 0 | 23.9739 | 1.9978 | 2 | 4 Lamp Head - 24 Hours - 61 Watts | 0 | 23.9739 | 2 | 0 | 2.08 | 0 | 0 | 0 | 0 | 2.08 | 0 | 0 | 2.01 | 0 | 0% | 0
3 |  | 3 Lamp Head - 24 Hours - 103 Watts | [11 empty] | 0 |  | 3 | 3 Lamp Head - 24 Hours - 103 Watts | 103 | 0 | 0 | 0 | 40.4806 | 0 | 0 | 40.4806 | 3.3734 | 3 | 3 Lamp Head - 24 Hours - 103 Watts | 0 | 40.4806 | 3.37 | 0 | 3.51 | 0 | 0 | 0 | 0 | 3.51 | 0 | 0 | 3.4 | 0 | 0% | 0
4 |  | 3 Lamp Head - 18 Norm 6 Flash - 103 Watts | [11 empty] | 0 |  | 4 | 3 Lamp Head - 18 Norm 6 Flash - 103 Watts | 103 | 0 | 0 | 0 | 40.4806 | 0 | 0 | 40.4806 | 3.3734 | 4 | 3 Lamp Head - 18 Norm 6 Flash - 103 Watts | 0 | 40.4806 | 3.37 | 0 | 3.51 | 0 | 0 | 0 | 0 | 3.51 | 0 | 0 | 3.4 | 0 | 0% | 0
5 |  | 5 Lamp Head - 24 Hours - 133 Watts | [11 empty] | 0 |  | 5 | 5 Lamp Head - 24 Hours - 133 Watts | 133 | 0 | 0 | 0 | 52.2711 | 0 | 0 | 52.2711 | 4.3559 | 5 | 5 Lamp Head - 24 Hours - 133 Watts | 0 | 52.2711 | 4.36 | 0 | 4.54 | 0 | 0 | 0 | 0 | 4.54 | 0 | 0 | 4.4 | 0 | 0% | 0
6 |  | 4 Lamp Head - 18 Norm 6 Flash - 103 Watts | [11 empty] | 0 |  | 6 | 4 Lamp Head - 18 Norm 6 Flash - 103 Watts | 103 | 0 | 0 | 0 | 40.4806 | 0 | 0 | 40.4806 | 3.3734 | 6 | 4 Lamp Head - 18 Norm 6 Flash - 103 Watts | 0 | 40.4806 | 3.37 | 0 | 3.51 | 0 | 0 | 0 | 0 | 3.51 | 0 | 0 | 3.4 | 0 | 0% | 0
7 |  | 3 Lamp Head - 24 Hours - 133 Watts | [11 empty] | 0 |  | 7 | 3 Lamp Head - 24 Hours - 133 Watts | 133 | 0 | 0 | 0 | 52.2711 | 0 | 0 | 52.2711 | 4.3559 | 7 | 3 Lamp Head - 24 Hours - 133 Watts | 0 | 52.2711 | 4.36 | 0 | 4.54 | 0 | 0 | 0 | 0 | 4.54 | 0 | 0 | 4.4 | 0 | 0% | 0
8 |  | 3 Lamp Head - 18 Norm 6 Flash - 133 Watts | [11 empty] | 0 |  | 8 | 3 Lamp Head - 18 Norm 6 Flash - 133 Watts | 133 | 0 | 0 | 0 | 52.2711 | 0 | 0 | 52.2711 | 4.3559 | 8 | 3 Lamp Head - 18 Norm 6 Flash - 133 Watts | 0 | 52.2711 | 4.36 | 0 | 4.54 | 0 | 0 | 0 | 0 | 4.54 | 0 | 0 | 4.4 | 0 | 0% | 0
9 |  | 4 Lamp Head - 24 Hours - 133 Watt | [11 empty] | 0 |  | 9 | 4 Lamp Head - 24 Hours - 133 Watt | 133 | 0 | 0 | 0 | 52.2711 | 0 | 0 | 52.2711 | 4.3559 | 9 | 4 Lamp Head - 24 Hours - 133 Watt | 0 | 52.2711 | 4.36 | 0 | 4.54 | 0 | 0 | 0 | 0 | 4.54 | 0 | 0 | 4.4 | 0 | 0% | 0
10 |  | 4 Lamp Head - 18 Norm 6 Flash - 133 Watt | [11 empty] | 0 |  | 10 | 4 Lamp Head - 18 Norm 6 Flash - 133 Watt | 133 | 0 | 0 | 0 | 52.2711 | 0 | 0 | 52.2711 | 4.3559 | 10 | 4 Lamp Head - 18 Norm 6 Flash - 133 Watt | 0 | 52.2711 | 4.36 | 0 | 4.54 | 0 | 0 | 0 | 0 | 4.54 | 0 | 0 | 4.4 | 0 | 0% | 0
11 |  | 2 Unit Walk Light - 24 Hours - 61 Watts | [11 empty] | 0 |  | 11 | 2 Unit Walk Light - 24 Hours - 61 Watts | 61 | 0 | 0 | 0 | 23.9739 | 0 | 0 | 23.9739 | 1.9978 | 11 | 2 Unit Walk Light - 24 Hours - 61 Watts | 0 | 23.9739 | 2 | 0 | 2.08 | 0 | 0 | 0 | 0 | 2.08 | 0 | 0 | 2.01 | 0 | 0% | 0
12 |  | 2 Unit WalK Light - 24 Hours - 103 Watts | [11 empty] | 0 |  | 12 | 2 Unit WalK Light - 24 Hours - 103 Watts | 103 | 0 | 0 | 0 | 40.4806 | 0 | 0 | 40.4806 | 3.3734 | 12 | 2 Unit WalK Light - 24 Hours - 103 Watts | 0 | 40.4806 | 3.37 | 0 | 3.51 | 0 | 0 | 0 | 0 | 3.51 | 0 | 0 | 3.4 | 0 | 0% | 0
13 |  | 2 Unit Walk Light - 18 Norm 6 Flash-103 Watt | [11 empty] | 0 |  | 13 | 2 Unit Walk Light - 18 Norm 6 Flash-103 Watt | 103 | 0 | 0 | 0 | 40.4806 | 0 | 0 | 40.4806 | 3.3734 | 13 | 2 Unit Walk Light - 18 Norm 6 Flash-103 Watt | 0 | 40.4806 | 3.37 | 0 | 3.51 | 0 | 0 | 0 | 0 | 3.51 | 0 | 0 | 3.4 | 0 | 0% | 0
14 |  | 1 Unit Flashing - 24 Hours - 103 Watts | [11 empty] | 0 |  | 14 | 1 Unit Flashing - 24 Hours - 103 Watts | 103 | 0 | 0 | 0 | 40.4806 | 0 | 0 | 40.4806 | 3.3734 | 14 | 1 Unit Flashing - 24 Hours - 103 Watts | 0 | 40.4806 | 3.37 | 0 | 3.51 | 0 | 0 | 0 | 0 | 3.51 | 0 | 0 | 3.4 | 0 | 0% | 0
15 |  | 1 Unit Flashing - 24 Hours - 133 Watts | [11 empty] | 0 |  | 15 | 1 Unit Flashing - 24 Hours - 133 Watts | 133 | 0 | 0 | 0 | 52.2711 | 0 | 0 | 52.2711 | 4.3559 | 15 | 1 Unit Flashing - 24 Hours - 133 Watts | 0 | 52.2711 | 4.36 | 0 | 4.54 | 0 | 0 | 0 | 0 | 4.54 | 0 | 0 | 4.4 | 0 | 0% | 0
16 |  | 2 Unit Flashing - 24 Hours - 103 Watts | [11 empty] | 0 |  | 16 | 2 Unit Flashing - 24 Hours - 103 Watts | 103 | 0 | 0 | 0 | 40.4806 | 0 | 0 | 40.4806 | 3.3734 | 16 | 2 Unit Flashing - 24 Hours - 103 Watts | 0 | 40.4806 | 3.37 | 0 | 3.51 | 0 | 0 | 0 | 0 | 3.51 | 0 | 0 | 3.4 | 0 | 0% | 0
17 |  | 2 Unit School Flasher-351 Annl BH 103 Watts | [11 empty] | 0 |  | 17 | 2 Unit School Flasher-351 Annl BH 103 Watts | 103 | 0 | 0 | 0 | 40.4806 | 0 | 0 | 40.4806 | 3.3734 | 17 | 2 Unit School Flasher-351 Annl BH 103 Watts | 0 | 40.4806 | 3.37 | 0 | 3.51 | 0 | 0 | 0 | 0 | 3.51 | 0 | 0 | 3.4 | 0 | 0% | 0
18 |  | 2 Unit School Flasher-790 Annl BH 133 Watts | [11 empty] | 0 |  | 18 | 2 Unit School Flasher-790 Annl BH 133 Watts | 133 | 0 | 0 | 0 | 52.2711 | 0 | 0 | 52.2711 | 4.3559 | 18 | 2 Unit School Flasher-790 Annl BH 133 Watts | 2 | 52.2711 | 4.36 | 104.5421 | 4.54 | 108.96 | 3.42 | 82.08 | 0.32749 | 4.54 | 108.96 | 0.32749 | 4.4 | 105.6 | 28.65% | 0
19 |  | 30 Watt Controller - 24 Hours - 30 Watts | [11 empty] | 0 |  | 19 | 30 Watt Controller - 24 Hours - 30 Watts | 30 | 0 | 0 | 0 | 11.7905 | 0 | 0 | 11.7905 | 0.98254 | 19 | 30 Watt Controller - 24 Hours - 30 Watts | 47 | 11.7905 | 0.98 | 554.1519 | 1.02 | 575.28 | 0.77 | 434.28 | 0.32468 | 1.02 | 575.28 | 0.32468 | 0.99 | 558.36 | 28.57% | 0
20 |  | 100 Watt Controller - 100 - 100 Watts | [11 empty] | 0 |  | 20 | 100 Watt Controller - 100 - 100 Watts | 100 | 0 | 0 | 0 | 39.3016 | 0 | 0 | 39.3016 | 3.2751 | 20 | 100 Watt Controller - 100 - 100 Watts | 659 | 39.3016 | 3.28 | 25899.7215 | 3.42 | 27045.36 | 3.27 | 25859.16 | 0.045872 | 3.42 | 27045.36 | 0.045872 | 3.31 | 26175.48 | 1.223% | 0
|  | LIGHT-EMITTING DIODE ("LED") TRAFFIC SIGNALS | [14 empty] | LIGHT-EMITTING DIODE ("LED") TRAFFIC SIGNALS | [10 empty] | LIGHT-EMITTING DIODE ("LED") TRAFFIC SIGNALS
|  | TYPE OF UNIT | [14 empty] | TYPE OF UNIT | WATTAGE | [9 empty] | TYPE OF UNIT
21 |  | 5 Lamp Head - 24 Hours - 14 Watts | [11 empty] | 0 |  | 21 | 5 Lamp Head - 24 Hours - 14 Watts | 14 | 0 | 0 | 0 | 5.5022 | 0 | 0 | 5.5022 | 0.45852 | 21 | 5 Lamp Head - 24 Hours - 14 Watts | 777 | 5.5022 | 0.46 | 4275.2226 | 0.48 | 4475.52 | 0.77 | 7179.48 | -0.37662 | 0.77 | 7179.48 | 0 | 0.75 | 6993 | -2.597% | 0
22 |  | 3 Lamp Head - 24 Hours - 14 Watts | [11 empty] | 0 |  | 22 | 3 Lamp Head - 24 Hours - 14 Watts | 14 | 0 | 0 | 0 | 5.5022 | 0 | 0 | 5.5022 | 0.45852 | 22 | 3 Lamp Head - 24 Hours - 14 Watts | 6169 | 5.5022 | 0.46 | 33943.1768 | 0.48 | 35533.44 | 0.44 | 32572.32 | 0.090909 | 0.48 | 35533.44 | 0.090909 | 0.46 | 34052.88 | 4.545% | 0
23 |  | 3 Lamp Head - 18 Norm 6 Flash - 14 Watts | [11 empty] | 0 |  | 23 | 3 Lamp Head - 18 Norm 6 Flash - 14 Watts | 14 | 0 | 0 | 0 | 5.5022 | 0 | 0 | 5.5022 | 0.45852 | 23 | 3 Lamp Head - 18 Norm 6 Flash - 14 Watts | 0 | 5.5022 | 0.46 | 0 | 0.48 | 0 | 0.43 | 0 | 0.11628 | 0.48 | 0 | 0.11628 | 0.46 | 0 | 6.977% | 0
24 |  | 4 Lamp Head - 24 Hours - 14 Watts | [11 empty] | 0 |  | 24 | 4 Lamp Head - 24 Hours - 14 Watts | 14 | 0 | 0 | 0 | 5.5022 | 0 | 0 | 5.5022 | 0.45852 | 24 | 4 Lamp Head - 24 Hours - 14 Watts | 200 | 5.5022 | 0.46 | 1100.4434 | 0.48 | 1152 | 0.77 | 1848 | -0.37662 | 0.77 | 1848 | 0 | 0.75 | 1800 | -2.597% | 0
25 |  | 4 Lamp Head - 18 Norm 6 Flash - 14 Watts | [11 empty] | 0 |  | 25 | 4 Lamp Head - 18 Norm 6 Flash - 14 Watts | 14 | 0 | 0 | 0 | 5.5022 | 0 | 0 | 5.5022 | 0.45852 | 25 | 4 Lamp Head - 18 Norm 6 Flash - 14 Watts | 0 | 5.5022 | 0.46 | 0 | 0.48 | 0 | 0.77 | 0 | -0.37662 | 0.77 | 0 | 0 | 0.75 | 0 | -2.597% | 0
26 |  | 2 Unit Walk Light - 24 Hours - 9 Watts | [11 empty] | 0 |  | 26 | 2 Unit Walk Light - 24 Hours - 9 Watts | 9 | 0 | 0 | 0 | 3.5371 | 0 | 0 | 3.5371 | 0.29476 | 26 | 2 Unit Walk Light - 24 Hours - 9 Watts | 4832 | 3.5371 | 0.29 | 17091.4581 | 0.3 | 17395.2 | 0.29 | 16815.36 | 0.034483 | 0.3 | 17395.2 | 0.034483 | 0.29 | 16815.36 | 0% | 0
27 |  | 2 Unit Walk Light - 18 Norm 6 Flash-9 Watt | [11 empty] | 0 |  | 27 | 2 Unit Walk Light - 18 Norm 6 Flash-9 Watt | 9 | 0 | 0 | 0 | 3.5371 | 0 | 0 | 3.5371 | 0.29476 | 27 | 2 Unit Walk Light - 18 Norm 6 Flash-9 Watt | 0 | 3.5371 | 0.29 | 0 | 0.3 | 0 | 0.29 | 0 | 0.034483 | 0.3 | 0 | 0.034483 | 0.29 | 0 | 0% | 0
28 |  | 1 Unit Flashing - 24 Hours - 14 Watts | [11 empty] | 0 |  | 28 | 1 Unit Flashing - 24 Hours - 14 Watts | 14 | 0 | 0 | 0 | 5.5022 | 0 | 0 | 5.5022 | 0.45852 | 28 | 1 Unit Flashing - 24 Hours - 14 Watts | 263 | 5.5022 | 0.46 | 1447.0831 | 0.48 | 1514.88 | 0.22 | 694.32 | 1.1818 | 0.44 | 1388.64 | 1 | 0.43 | 1357.08 | 95.45% | 0
29 |  | 2 Unit Flashing - 24 Hours - 14 Watts | [11 empty] | 0 |  | 29 | 2 Unit Flashing - 24 Hours - 14 Watts | 14 | 0 | 0 | 0 | 5.5022 | 0 | 0 | 5.5022 | 0.45852 | 29 | 2 Unit Flashing - 24 Hours - 14 Watts | 8 | 5.5022 | 0.46 | 44.0177 | 0.48 | 46.08 | 0.44 | 42.24 | 0.090909 | 0.48 | 46.08 | 0.090909 | 0.46 | 44.16 | 4.545% | 0
30 |  | 2 Unit School Flasher-351 Annl BH 14 Watts | [11 empty] | 0 |  | 30 | 2 Unit School Flasher-351 Annl BH 14 Watts | 14 | 0 | 0 | 0 | 5.5022 | 0 | 0 | 5.5022 | 0.45852 | 30 | 2 Unit School Flasher-351 Annl BH 14 Watts | 0 | 5.5022 | 0.46 | 0 | 0.48 | 0 | 0.35 | 0 | 0.37143 | 0.48 | 0 | 0.37143 | 0.46 | 0 | 31.43% | 0
31 |  | 2 Unit School Flasher-790 Annl BH 14 Watts | [11 empty] | 0 |  | 31 | 2 Unit School Flasher-790 Annl BH 14 Watts | 14 | 0 | 0 | 0 | 5.5022 | 0 | 0 | 5.5022 | 0.45852 | 31 | 2 Unit School Flasher-790 Annl BH 14 Watts | 1021 | 5.5022 | 0.46 | 5617.7636 | 0.48 | 5880.96 | 0.35 | 4288.2 | 0.37143 | 0.48 | 5880.96 | 0.37143 | 0.46 | 5635.92 | 31.43% | 0
32 |  | 4 Unit School Flasher-351 Annl BH 14 Watts | [11 empty] | 0 |  | 32 | 4 Unit School Flasher-351 Annl BH 14 Watts | 14 | 0 | 0 | 0 | 5.5022 | 0 | 0 | 5.5022 | 0.45852 | 32 | 4 Unit School Flasher-351 Annl BH 14 Watts | 0 | 5.5022 | 0.46 | 0 | 0.48 | 0 | 0.77 | 0 | -0.37662 | 0.77 | 0 | 0 | 0.75 | 0 | -2.597% | 0
33 |  | 4 Unit School Flasher-790 Annl BH 14 Watts | [11 empty] | 0 |  | 33 | 4 Unit School Flasher-790 Annl BH 14 Watts | 14 | 0 | 0 | 0 | 5.5022 | 0 | 0 | 5.5022 | 0.45852 | 33 | 4 Unit School Flasher-790 Annl BH 14 Watts | 0 | 5.5022 | 0.46 | 0 | 0.48 | 0 | 0.77 | 0 | -0.37662 | 0.77 | 0 | 0 | 0.75 | 0 | -2.597% | 0
34 | New | Bike Lane Signals | [11 empty] | 0 |  | 34 | Bike Lane Signals | 10 | 0 | 0 | 0 | 3.9302 | 0 | 0 | 3.9302 | 0.32751 | 34 | Bike Lane Signals | 0 | 3.9302 | 0.33 | 0 | 0.34 | 0 | 0 | 0 | 0 | 0.34 | 0 | 0 | 0.33 | 0 | 0% | 0
[28 empty] | Energy | 68022 |  | 0.037143 | 2526.5344 | 0.03869 | 2631.7712 | 0.03455 | 2350.1601 | 0.11983 | 0.03869 | 2631.7712 | 0.11983 | 0.03747 | 2548.7843 | 8.452%
[28 empty] | Meters | 312 | 146.76 | 12.23 | 3815.76 | 12.74 | 3974.88 | 10.75 | 3354 | 0.18512 | 12.74 | 3974.88 | 0.18512 | 12.34 | 3850.08 | 14.79% | 0
[29 empty] | 13978 | 884.2849 |  | 96419.8751 |  | 100334.3312 |  | 95519.6001 |  |  | 103608.0512 |  |  | 99936.7043
[32 empty] | 100439.9824 |  | 93727.68 |  | 4814.7311 |  |  | -3168.0688 |  |  | 503.278
[36 empty] | 4814.7311 |  |  | -3273.72 |  |  | 397.6268
|  |  | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l) | (m) |  |  | (n) | (o) | (p) | (q) | (r) | (s) | (t) | (u) | (v) |  |  | (w) | (x) | (y) | (z) | (aa) | (ab) | (ac) | (ad) | (ae) | (af) | (ag) | (ah) | (ai) | (aj) | (ah)
LAMP COST OF SERVICE | [15 empty] | LAMP COST OF SERVICE | [10 empty] | LAMP COST OF SERVICE |  |  |  |  | Reproduction | [5 empty] | 100%
[9 empty] | Pole |  |  |  |  | Total | [17 empty] | Cost | Scaled | At Scaled |  |  |  | Target |  | Target | Adjusted | Rate | Target
Lamp |  |  | Fixture | Lamp | Misc | Arm | Cable | Labor | Hole or | Pole | Breakway | Construct | Duct | Reproduction | Relamp | Lamp |  |  | Direct | Fixed | Lighting System | Demand/Energy | Bulb Repl | Yrly Bulb | Total | Monthly | Lamp |  | Active | Yearly | Monthly | Revenue | Calculated | Estimated | Current | Present | Percent | Calculated | Target | Percent | Proposed | Design | Percent
No. |  | Description | Charge | Cost | Cost | Cost | Cost | Overhead | Base | Cost | Base | Cost | Cost | Cost | Cost | No. | Description | WATTS | Investment | Charge | Cost | Cost | Cost | Repl Cost | Cost | Cost | No. | Description | Lamps | Costs | Cost | Requirement | Rate | Revenues | Rate | Revenues | Change | Rate | Revenues | Change | Rate | Revenues | Change
|  | RATE NO. 28 | [14 empty] | RATE NO. 28 | [10 empty] | RATE NO. 28
|  | MV-OH SYSTEM CO. OWNED - WOOD POLE (WITH 35' POLE)/ No longer Install | [14 empty] | MV-OH SYSTEM CO. OWNED - WOOD POLE (WITH 35' POLE)/ No longer Install | [10 empty] | MV-OH SYSTEM CO. OWNED - WOOD POLE (WITH 35' POLE)/ No longer Install
1 |  | 175W MV 7,000L 195 Watts | 75.56 | 9.09 | 35.96 | 21.81 | 46.81 | 611.24 | 250 | 392.08 |  |  |  | 1442.55 | 87.93 | 1 | 175W MV 7,000L 195 Watts | 195 | 1442.55 | 136.4353 | 39.6636 | 40.1299 | 29.31 | 3.03 | 248.5688 | 20.7141 | 1 | 175W MV 7,000L 195 Watts | 67 | 248.5688 | 20.71 | 16654.1103 | 12.79 | 10283.16 | 13.09 | 10524.36 | -0.022918 | 13.09 | 10524.36 | 0 | 12.74 | 10242.96 | -0.026738 | 0
2 |  | 250W MV 11,000L 275 Watts | 91.83 | 9.09 | 35.96 | 21.81 | 46.81 | 611.24 | 250 | 392.08 |  |  |  | 1458.82 | 87.93 | 2 | 250W MV 11,000L 275 Watts | 275 | 1458.82 | 137.9741 | 55.9358 | 56.5934 | 29.31 | 3.03 | 282.8434 | 23.5703 | 2 | 250W MV 11,000L 275 Watts | 70 | 282.8434 | 23.57 | 19799.038 | 14.56 | 12230.4 | 14.82 | 12448.8 | -0.017544 | 14.82 | 12448.8 | 0 | 14.42 | 12112.8 | -0.026991 | 0
3 |  | 400 MV 20,000L 460 Watts | 114.92 | 9.09 | 35.96 | 21.81 | 46.81 | 611.24 | 250 | 392.08 |  |  |  | 1481.91 | 87.93 | 3 | 400 MV 20,000L 460 Watts | 460 | 1481.91 | 140.158 | 93.5654 | 94.6654 | 29.31 | 3.03 | 360.7287 | 30.0607 | 3 | 400 MV 20,000L 460 Watts | 20 | 360.7287 | 30.06 | 7214.5747 | 18.57 | 4456.8 | 18.76 | 4502.4 | -0.010128 | 18.76 | 4502.4 | 0 | 18.26 | 4382.4 | -0.026652 | 0
|  | HPSV OH SYSTEM CO. OWNED - 35' WOOD POLE | [14 empty] | HPSV OH SYSTEM CO. OWNED - 35' WOOD POLE | [10 empty] | HPSV OH SYSTEM CO. OWNED - 35' WOOD POLE
4 |  | 100W HPS 8,500L 124 Watts | 78.48 | 9.09 | 35.96 | 21.81 | 46.81 | 611.24 | 250 | 392.08 |  |  |  | 1445.47 | 87.93 | 4 | 100W HPS 8,500L 124 Watts | 124 | 1445.47 | 136.7115 | 25.222 | 25.5185 | 29.31 | 3.03 | 219.792 | 18.316 | 4 | 100W HPS 8,500L 124 Watts | 1452 | 219.792 | 18.32 | 319137.945 | 11.32 | 197239.68 | 11.64 | 202815.36 | -0.027491 | 11.64 | 202815.36 | 0 | 11.33 | 197413.92 | -0.026632 | 0
6 |  | 150W HPS 14,400L 193 Watts | 90.16 | 9.09 | 35.96 | 21.81 | 46.81 | 611.24 | 250 | 392.08 |  |  |  | 1457.15 | 87.93 | 6 | 150W HPS 14,400L 193 Watts | 193 | 1457.15 | 137.8162 | 39.2568 | 39.7183 | 29.31 | 3.03 | 249.1313 | 20.7609 | 6 | 150W HPS 14,400L 193 Watts | 49 | 249.1313 | 20.76 | 12207.4324 | 12.83 | 7544.04 | 13.12 | 7714.56 | -0.022104 | 13.12 | 7714.56 | 0 | 12.77 | 7508.76 | -0.026677 | 0
5 |  | 250W HPS 23,200L 313 Watts | 93.52 | 9.09 | 35.96 | 21.81 | 46.81 | 611.24 | 250 | 392.08 |  |  |  | 1460.51 | 87.93 | 5 | 250W HPS 23,200L 313 Watts | 313 | 1460.51 | 138.134 | 63.6651 | 64.4136 | 29.31 | 3.03 | 298.5527 | 24.8794 | 5 | 250W HPS 23,200L 313 Watts | 2234 | 298.5527 | 24.88 | 666966.8125 | 15.37 | 412038.96 | 15.61 | 418472.88 | -0.015375 | 15.61 | 418472.88 | 0 | 15.19 | 407213.52 | -0.026906 | 0
7 |  | 400W HPS 50,000L 485 Watts | 118.68 | 9.09 | 35.96 | 21.81 | 46.81 | 611.24 | 250 | 392.08 |  |  |  | 1485.67 | 87.93 | 7 | 400W HPS 50,000L 485 Watts | 485 | 1485.67 | 140.5136 | 98.6505 | 99.8102 | 29.31 | 3.03 | 371.3143 | 30.9429 | 7 | 400W HPS 50,000L 485 Watts | 68 | 371.3143 | 30.94 | 25249.3715 | 19.11 | 15593.76 | 19.29 | 15740.64 | -0.0093313 | 19.29 | 15740.64 | 0 | 18.78 | 15324.48 | -0.026439 | 0
|  | HPSV FLOODLIGHT ON EXISTING WOOD POLE (DISTRIBUTION OR LIGHTING) | [14 empty] | HPSV FLOODLIGHT ON EXISTING WOOD POLE (DISTRIBUTION OR LIGHTING) | [10 empty] | HPSV FLOODLIGHT ON EXISTING WOOD POLE (DISTRIBUTION OR LIGHTING)
8 |  | 100W HPS 9,500L 137 Watts | 133.8 | 9.09 | 35.96 | 33.59 | 46.81 | 271.66 | 0 | 0 |  |  |  | 530.91 | 87.93 | 8 | 100W HPS 9,500L 137 Watts | 137 | 530.91 | 50.2131 | 27.8662 | 28.1938 | 29.31 | 3.03 | 138.6131 | 11.5511 | 8 | 100W HPS 9,500L 137 Watts | 916 | 138.6131 | 11.55 | 126969.613 | 7.14 | 78482.88 | 7.29 | 80131.68 | -0.020576 | 7.29 | 80131.68 | 0 | 7.1 | 78043.2 | -0.026063 | 0
9 |  | 250W HPS 27,500L 330 Watts | 144.02 | 9.09 | 35.96 | 33.59 | 46.81 | 271.66 | 0 | 0 |  |  |  | 541.13 | 87.93 | 9 | 250W HPS 27,500L 330 Watts | 330 | 541.13 | 51.1797 | 67.123 | 67.9121 | 29.31 | 3.03 | 218.5548 | 18.2129 | 9 | 250W HPS 27,500L 330 Watts | 855 | 218.5548 | 18.21 | 186864.3495 | 11.25 | 115425 | 11.17 | 114604.2 | 0.007162 | 11.25 | 115425 | 0.007162 | 10.95 | 112347 | -0.019696 | 0
10 |  | 400W HPS 50,000L 490 Watts | 149.98 | 9.09 | 35.96 | 33.59 | 46.81 | 271.66 | 0 | 0 |  |  |  | 547.09 | 87.93 | 10 | 400W HPS 50,000L 490 Watts | 490 | 547.09 | 51.7434 | 99.6675 | 100.8392 | 29.31 | 3.03 | 284.5901 | 23.7158 | 10 | 400W HPS 50,000L 490 Watts | 1930 | 284.5901 | 23.72 | 549258.8082 | 14.65 | 339294 | 14.49 | 335588.4 | 0.011042 | 14.65 | 339294 | 0.011042 | 14.26 | 330261.6 | -0.015873 | 0
11 |  | 1000W HPS 119,500L 1103 Watts | 273.07 | 29 | 35.96 | 41.35 | 46.81 | 271.66 | 0 | 0 |  |  |  | 697.85 | 87.93 | 11 | 1000W HPS 119,500L 1103 Watts | 1103 | 697.85 | 66.0021 | 224.3535 | 226.9911 | 29.31 | 9.6667 | 556.3234 | 46.3603 | 11 | 1000W HPS 119,500L 1103 Watts | 1097 | 556.3234 | 46.36 | 610286.8164 | 28.64 | 377016.96 | 28.23 | 371619.72 | 0.014524 | 28.64 | 377016.96 | 0.014524 | 27.88 | 367012.32 | -0.012398 | 0
|  | METAL HALIDE FLOODLIGHT ON EXISTING WOOD POLE (DISTRIBUTION OR LIGHTING) All MH are being converted to LED | [14 empty] | METAL HALIDE FLOODLIGHT ON EXISTING WOOD POLE (DISTRIBUTION OR LIGHTING) | [10 empty] | METAL HALIDE FLOODLIGHT ON EXISTING WOOD POLE (DISTRIBUTION OR LIGHTING)
12 |  | 400W MH 38,000L 35' Pole 490 Watts | 137.16 | 30.84 | 35.96 | 33.59 | 46.81 | 271.66 | 0 | 0 |  |  |  | 556.02 | 87.93 | 12 | 400W MH 38,000L 35' Pole 490 Watts | 490 | 556.02 | 52.588 | 99.6675 | 100.8392 | 29.31 | 10.28 | 292.6846 | 24.3904 | 12 | 400W MH 38,000L 35' Pole 490 Watts | 189 | 292.6846 | 24.39 | 55317.3987 | 15.07 | 34178.76 | 15.97 | 36219.96 | -0.056356 | 15.97 | 36219.96 | 0 | 15.54 | 35244.72 | -0.026925 | 0
13 |  | 1000W MH 115,500L 35' Pole 1100 Watts | 265 | 36.3 | 35.96 | 41.35 | 46.81 | 271.66 | 0 | 0 |  |  |  | 697.08 | 87.93 | 13 | 1000W MH 115,500L 35' Pole 1100 Watts | 1100 | 697.08 | 65.9293 | 223.7433 | 226.3737 | 29.31 | 12.1 | 557.4564 | 46.4547 | 13 | 1000W MH 115,500L 35' Pole 1100 Watts | 375 | 557.4564 | 46.45 | 209046.1342 | 28.7 | 129150 | 28.28 | 127260 | 0.014851 | 28.7 | 129150 | 0.014851 | 27.93 | 125685 | -0.012376 | 0
|  | HPSV FLOODLIGHT WITH NEW CO. SUPPLIED WOOD POLE | [14 empty] | HPSV FLOODLIGHT WITH NEW CO. SUPPLIED WOOD POLE | [10 empty] | HPSV FLOODLIGHT WITH NEW CO. SUPPLIED WOOD POLE
14 |  | 100W HPS 9,500L 35' Pole 137 Watts | 133.8 | 9.09 | 35.96 | 33.59 | 46.81 | 611.24 | 250 | 392.08 |  |  |  | 1512.57 | 87.93 | 14 | 100W HPS 9,500L 35' Pole 137 Watts | 137 | 1512.57 | 143.0578 | 27.8662 | 28.1938 | 29.31 | 3.03 | 231.4578 | 19.2882 | 14 | 100W HPS 9,500L 35' Pole 137 Watts | 477 | 231.4578 | 19.29 | 110405.3742 | 11.92 | 68230.08 | 12.26 | 70176.24 | -0.027732 | 12.26 | 70176.24 | 0 | 11.93 | 68287.32 | -0.026917 | 0
15 |  | 250W HPS 27,500L 35' Pole 330 Watts | 144.02 | 9.09 | 35.96 | 33.59 | 46.81 | 611.24 | 250 | 392.08 |  |  |  | 1522.79 | 87.93 | 15 | 250W HPS 27,500L 35' Pole 330 Watts | 330 | 1522.79 | 144.0244 | 67.123 | 67.9121 | 29.31 | 3.03 | 311.3995 | 25.95 | 15 | 250W HPS 27,500L 35' Pole 330 Watts | 272 | 311.3995 | 25.95 | 84700.6606 | 16.03 | 52321.92 | 16.29 | 53170.56 | -0.015961 | 16.29 | 53170.56 | 0 | 15.86 | 51767.04 | -0.026397 | 0
16 |  | 400W HPS 50,000L 35' Pole 490 Watts | 149.98 | 9.09 | 35.96 | 33.59 | 46.81 | 611.24 | 250 | 392.08 |  |  |  | 1528.75 | 87.93 | 16 | 400W HPS 50,000L 35' Pole 490 Watts | 490 | 1528.75 | 144.5881 | 99.6675 | 100.8392 | 29.31 | 3.03 | 377.4347 | 31.4529 | 16 | 400W HPS 50,000L 35' Pole 490 Watts | 1042 | 377.4347 | 31.45 | 393287.0084 | 19.43 | 242952.72 | 19.62 | 245328.48 | -0.009684 | 19.62 | 245328.48 | 0 | 19.1 | 238826.4 | -0.026504 | 0
17 |  | 1000W HPS 119,500L 35' Pole 1103 Watts | 273.07 | 29 | 35.96 | 41.35 | 46.81 | 611.24 | 250 | 392.08 |  |  |  | 1679.51 | 87.93 | 17 | 1000W HPS 119,500L 35' Pole 1103 Watts | 1103 | 1679.51 | 158.8468 | 224.3535 | 226.9911 | 29.31 | 9.6667 | 649.1681 | 54.0973 | 17 | 1000W HPS 119,500L 35' Pole 1103 Watts | 181 | 649.1681 | 54.1 | 117499.4325 | 33.42 | 72588.24 | 35.57 | 77258.04 | -0.060444 | 35.57 | 77258.04 | 0 | 34.62 | 75194.64 | -0.026708 | 0
18 |  | 1000W HPS 119,500L 45' Pole 1103 Watts | 273.07 | 29 | 35.96 | 41.35 | 46.81 | 611.24 | 250 | 561.26 |  |  |  | 1848.69 | 87.93 | 18 | 1000W HPS 119,500L 45' Pole 1103 Watts | 1103 | 1848.69 | 174.8478 | 224.3535 | 226.9911 | 29.31 | 9.6667 | 665.1691 | 55.4308 | 18 | 1000W HPS 119,500L 45' Pole 1103 Watts | 885 | 665.1691 | 55.43 | 588674.6159 | 34.24 | 363628.8 | 36.72 | 389966.4 | -0.067538 | 36.72 | 389966.4 | 0 | 35.74 | 379558.8 | -0.026688 | 0
|  | METAL HALIDE FLOODLIGHT WITH NEW CO. WOOD POLE All MH are being converted to LED | [14 empty] | METAL HALIDE FLOODLIGHT WITH NEW CO. WOOD POLE | [10 empty] | METAL HALIDE FLOODLIGHT WITH NEW CO. WOOD POLE
19 |  | 400W MH 38,000L 35' Pole 490 Watts | 137.16 | 30.84 | 35.96 | 33.59 | 46.81 | 611.24 | 250 | 392.08 |  |  |  | 1537.68 | 87.93 | 19 | 400W MH 38,000L 35' Pole 490 Watts | 490 | 1537.68 | 145.4327 | 99.6675 | 100.8392 | 29.31 | 10.28 | 385.5293 | 32.1274 | 19 | 400W MH 38,000L 35' Pole 490 Watts | 86 | 385.5293 | 32.13 | 33155.5234 | 19.85 | 20485.2 | 25.05 | 25851.6 | -0.20758 | 25.05 | 25851.6 | 0 | 24.38 | 25160.16 | -0.026747 | 0
20 |  | 1000W MH 115,500L 35' Pole 1100 Watts | 265 | 36.3 | 35.96 | 41.35 | 46.81 | 611.24 | 250 | 392.08 |  |  |  | 1678.74 | 87.93 | 20 | 1000W MH 115,500L 35' Pole 1100 Watts | 1100 | 1678.74 | 158.774 | 223.7433 | 226.3737 | 29.31 | 12.1 | 650.3011 | 54.1918 | 20 | 1000W MH 115,500L 35' Pole 1100 Watts | 90 | 650.3011 | 54.19 | 58527.0946 | 33.48 | 36158.4 | 37.01 | 39970.8 | -0.09538 | 37.01 | 39970.8 | 0 | 36.02 | 38901.6 | -0.02675 | 0
21 |  | 1000W MH 115,500L 45' Pole 1100 Watts | 265 | 36.3 | 35.96 | 41.35 | 46.81 | 611.24 | 250 | 561.26 |  |  |  | 1847.92 | 87.93 | 21 | 1000W MH 115,500L 45' Pole 1100 Watts | 1100 | 1847.92 | 174.7749 | 223.7433 | 226.3737 | 29.31 | 12.1 | 666.302 | 55.5252 | 21 | 1000W MH 115,500L 45' Pole 1100 Watts | 216 | 666.302 | 55.53 | 143921.2261 | 34.31 | 88931.52 | 38.17 | 98936.64 | -0.10113 | 38.17 | 98936.64 | 0 | 37.15 | 96292.8 | -0.026723 | 0
LED AREA LIGHT ON EXISTING WOOD POLE (DISTRIBUTION OR LIGHTING)
22 |  | 31W-100W LED light equivalent to 150W HPS | 300 |  | 65.96 | 33.59 | 46.81 | 611.24 | 250 |  |  |  |  | 1307.6 |  | 22 | 31W-100W LED light equivalent to 150W HPS | 66 | 1307.6 | 123.6719 | 13.4246 | 13.5824 | 0 | 0 | 150.6789 | 12.5566 | 22 | 31W-100W LED light equivalent to 150W HPS | 7 | 150.6789 | 12.56 | 1054.7522 | 7.76 | 651.84 | 8.19 | 687.96 | -0.052503 | 8.19 | 687.96 | 0 | 7.97 | 669.48 | -0.026862 | 0
LED AREA LIGHT OH SYSTEM CO. OWNED - 35' WOOD POLE
23 |  | 31W-100W LED light equivalent to 150W HPS | 300 |  | 65.96 | 33.59 | 46.81 | 611.24 | 250 | 392.08 |  |  |  | 1699.68 |  | 23 | 31W-100W LED light equivalent to 150W HPS | 66 | 1699.68 | 160.7545 | 13.4246 | 13.5824 | 0 | 0 | 187.7615 | 15.6468 | 23 | 31W-100W LED light equivalent to 150W HPS | 8 | 187.7615 | 15.65 | 1502.0922 | 9.67 | 928.32 | 10.23 | 982.08 | -0.054741 | 10.23 | 982.08 | 0 | 9.96 | 956.16 | -0.026393 | 0
LED FLOODLIGHT ON EXISTING WOOD POLE (DISTRIBUTION OR LIGHTING)
24 |  | 31W-100W LED light equivalent to 150W HPS | 300 |  | 78.59 | 33.59 | 46.81 | 285.73 | [5 empty] | 744.72 |  | 24 | 31W-100W LED light equivalent to 150W HPS | 66 | 744.72 | 70.4351 | 13.4246 | 13.5824 | 0 | 0 | 97.4421 | 8.1202 | 24 | 31W-100W LED light equivalent to 150W HPS | 4 | 97.4421 | 8.12 | 389.7684 | 5.02 | 240.96 | 8.25 | 396 | -0.39152 | 8.25 | 396 | 0 | 8.03 | 385.44 | -0.026667 | 0
25 |  | 101W-200W LED light equivalent to 400W HPS | 600 |  | 78.59 | 33.59 | 46.81 | 285.73 | [5 empty] | 1044.72 |  | 25 | 101W-200W LED light equivalent to 400W HPS | 151 | 1044.72 | 98.8089 | 30.7139 | 31.0749 | 0 | 0 | 160.5977 | 13.3831 | 25 | 101W-200W LED light equivalent to 400W HPS | 27 | 160.5977 | 13.38 | 4336.1367 | 8.27 | 2679.48 | 11.57 | 3748.68 | -0.28522 | 11.57 | 3748.68 | 0 | 11.26 | 3648.24 | -0.026793 | 0
26 |  | 250W-400W LED light equivalent to 1000W HPS | 900 |  | 99.11 | 33.59 | 46.81 | 285.73 | [5 empty] | 1365.24 |  | 26 | 250W-400W LED light equivalent to 1000W HPS | 325 | 1365.24 | 129.1234 | 66.106 | 66.8831 | 0 | 0 | 262.1125 | 21.8427 | 26 | 250W-400W LED light equivalent to 1000W HPS | 8 | 262.1125 | 21.84 | 2096.9003 | 13.49 | 1295.04 | 16.83 | 1615.68 | -0.19846 | 16.83 | 1615.68 | 0 | 16.38 | 1572.48 | -0.026738 | 0
27 | New | 400W-500W LED | 1200 |  | 99.11 | 33.59 | 46.81 | 285.73 | [5 empty] | 1665.24 |  | 27 | 400W-500W LED | 450 | 1665.24 | 157.4972 | 91.5314 | 92.6074 | 0 | 0 | 341.636 | 28.4697 | 27 | 400W-500W LED | 0 | 341.636 | 28.47 | 0 | 17.59 | 0 | 0 | 0 | 0 | 17.59 | 0 | 0 | 17.12 | 0 | 0 | 0
LED FLOODLIGHT WITH NEW CO. SUPPLIED 35FT WOOD POLE
28 |  | 31W-100W LED light equivalent to 150W HPS | 300 |  | 78.59 | 33.59 | 46.81 | 642.89 | 250 | 392.08 |  |  |  | 1743.96 |  | 28 | 31W-100W LED light equivalent to 150W HPS | 66 | 1743.96 | 164.9425 | 13.4246 | 13.5824 | 0 | 0 | 191.9495 | 15.9958 | 28 | 31W-100W LED light equivalent to 150W HPS | 1 | 191.9495 | 16 | 191.9495 | 9.88 | 118.56 | 10.3 | 123.6 | -0.040777 | 10.3 | 123.6 | 0 | 10.03 | 120.36 | -0.026214 | 0
29 |  | 101W-200W LED light equivalent to 400W HPS | 600 |  | 78.59 | 33.59 | 46.81 | 642.89 | 250 | 392.08 |  |  |  | 2043.96 |  | 29 | 101W-200W LED light equivalent to 400W HPS | 151 | 2043.96 | 193.3163 | 30.7139 | 31.0749 | 0 | 0 | 255.1051 | 21.2588 | 29 | 101W-200W LED light equivalent to 400W HPS | 20 | 255.1051 | 21.26 | 5102.101 | 13.13 | 3151.2 | 13.62 | 3268.8 | -0.035977 | 13.62 | 3268.8 | 0 | 13.26 | 3182.4 | -0.026432 | 0
30 |  | 250W-400W LED light equivalent to 1000W HPS | 900 |  | 99.11 | 41.35 | 46.81 | 642.89 | 250 | 392.08 |  |  |  | 2372.24 |  | 30 | 250W-400W LED light equivalent to 1000W HPS | 325 | 2372.24 | 224.3647 | 66.106 | 66.8831 | 0 | 0 | 357.3539 | 29.7795 | 30 | 250W-400W LED light equivalent to 1000W HPS | 7 | 357.3539 | 29.78 | 2501.4771 | 18.4 | 1545.6 | 18.92 | 1589.28 | -0.027484 | 18.92 | 1589.28 | 0 | 18.42 | 1547.28 | -0.026427 | 0
LED FLOODLIGHT WITH NEW CO. SUPPLIED 40FT WOOD POLE
31 |  | 250W-400W LED light equivalent to 1000W HPS | 900 |  | 99.11 | 41.35 | 46.81 | 642.89 | 250 | 473.31 |  |  |  | 2453.47 |  | 31 | 250W-400W LED light equivalent to 1000W HPS | 325 | 2453.47 | 232.0474 | 66.106 | 66.8831 | 0 | 0 | 365.0365 | 30.4197 | 31 | 250W-400W LED light equivalent to 1000W HPS | 0 | 365.0365 | 30.42 | 0 | 18.79 | 0 | 19.34 | 0 | -0.028438 | 19.34 | 0 | 0 | 18.82 | 0 | -0.026887 | 0
LED FLOODLIGHT WITH NEW CO. SUPPLIED 35FT DIRECT EMBEDDED POLE FOR UG ONLY
32 |  | 250W-400W LED light equivalent to 1000W HPS | 900 |  | 99.11 | 41.35 | 46.81 | 642.89 | 250 | 730.63 |  | 546 | 72 | 3328.79 |  | 32 | 250W-400W LED light equivalent to 1000W HPS | 325 | 3328.79 | 314.8346 | 66.106 | 66.8831 | 0 | 0 | 447.8237 | 37.3186 | 32 | 250W-400W LED light equivalent to 1000W HPS | 0 | 447.8237 | 37.32 | 0 | 23.06 | 0 | 23.91 | 0 | -0.03555 | 23.91 | 0 | 0 | 23.27 | 0 | -0.026767 | 0
LED FLOODLIGHT WITH NEW CO. SUPPLIED 35FT WOOD POLE FOR UG ONLY
33 |  | 250W-400W LED light equivalent to 1000W HPS | 900 |  | 99.11 | 41.35 | 46.81 | 642.89 | 250 | 730.63 |  | 546 | 72 | 3328.79 |  | 33 | 250W-400W LED light equivalent to 1000W HPS | 325 | 3328.79 | 314.8346 | 66.106 | 66.8831 | 0 | 0 | 447.8237 | 37.3186 | 33 | 250W-400W LED light equivalent to 1000W HPS | 0 | 447.8237 | 37.32 | 0 | 23.06 | 0 | 23.91 | 0 | -0.03555 | 23.91 | 0 | 0 | 23.27 | 0 | -0.026767 | 0
LED FLOODLIGHT WITH NEW CO. SUPPLIED 35FT DIRECT EMBEDDED POLE FOR UG ONLY
34 |  | 2-250W-400W LED light equivalent to 1000W HPS | 1800 |  | 162.26 | 82.7 | 46.81 | 642.89 | 250 | 730.63 |  | 546 | 72 | 4333.29 |  | 34 | 2-250W-400W LED light equivalent to 1000W HPS | 650 | 4333.29 | 409.8394 | 132.212 | 133.7663 | 0 | 0 | 675.8177 | 56.3181 | 34 | 2-250W-400W LED light equivalent to 1000W HPS | 16 | 675.8177 | 56.32 | 10813.0829 | 34.79 | 6679.68 | 35.85 | 6883.2 | -0.029568 | 35.85 | 6883.2 | 0 | 34.89 | 6698.88 | -0.026778 | 0
LED FLOODLIGHT WITH NEW CO. SUPPLIED 35FT WOOD POLE FOR UG ONLY
35 |  | 2-250W-400W LED light equivalent to 1000W HPS | 1800 |  | 162.26 | 82.7 | 46.81 | 642.89 | 250 | 392.08 |  | 546 | 72 | 3994.74 |  | 35 | 2-250W-400W LED light equivalent to 1000W HPS | 650 | 3994.74 | 377.8196 | 132.212 | 133.7663 | 0 | 0 | 643.7979 | 53.6498 | 35 | 2-250W-400W LED light equivalent to 1000W HPS | 2 | 643.7979 | 53.65 | 1287.5957 | 33.15 | 795.6 | 34.09 | 818.16 | -0.027574 | 34.09 | 818.16 | 0 | 33.18 | 796.32 | -0.026694 | 0
[29 empty] | 12671 | 12600.8518 |  | 4364419.1962 |  | 2696317.56 |  | 2758415.16 |  |  | 2770228.8 |  |  | 2696358.48
[32 empty] | 2696361.8137 |  |  |  | -62097.6 |  |  | -73866.9863 |  |  | 3.3337
WP Q-7(b)
PAGE 4 OF 15
WP Q-7(b)
PAGE 5 OF 15
WP Q-7(b)
PAGE 6 OF 15
WP Q-7(b)
PAGE 7 OF 15
WP Q-7(b)
PAGE 8 OF 15
WP Q-7(b)
PAGE 9 OF 15
WP Q-7(b)
PAGE 10 OF 15
WP Q-7(b)
PAGE 13 OF 15
WP Q-7(b)
PAGE 14 OF 15
WP Q-7(b)
PAGE 15 OF 15
WP Q-7(b)
PAGE 7 OF 18
WP Q-7(b)
PAGE 11 OF 15
WP Q-7(b)
PAGE 12 OF 15