## 2019
EL PASO ELECTRIC COMPANY | [7 empty] | SOAH Docket No. 473-21-2606 |  |  |  |  | SOAH Docket No. 473-21-2606
COINCIDENT PEAK DEMAND (kW) | [7 empty] | PUC Docket No. 52195 |  |  |  |  | PUC Docket No. 52195
FOR THE PERIOD JANUARY 1, 2019 TO DECEMBER 31, 2019 | [7 empty] | OPUC's 10th, Q. No. OPUC 10-9 |  |  |  |  | OPUC's 10th, Q. No. OPUC 10-9
[8 empty] | Attachment 1 |  |  |  |  | Attachment 1
[8 empty] | Page 1 of 4 |  |  |  |  | Page 2 of 4
Line | Month | Native Peak Date & Time | Hatch | NRG | Sun Edison 1 | Sun Edison 2 | Wrangler | Stanton Tower | EPCC | Holloman | Rio Grande (d) | Van Horn (d) | Newman carport (d)
1 | January | 2019-01-02 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | N/A | N/A
2 | February | 2019-02-19 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | N/A | N/A
3 | March | 2019-03-28 17:00 | 1891.457 | 15367.721 | 6952.513 | 8746.651 | 6.578 | 8.705 | 4.651 | 0 | N/A | N/A | N/A
4 | April | 2019-04-29 16:00 | 2034.162 | 9571.838 | 4433.824 | 4981.952 | 2.813 | 16.87 | 6.93 | 1582.792 | N/A | N/A | N/A
5 | May | 2019-05-16 16:00 | 3297.28 | 18016.534 | 6369.339 | 9061.095 | 5.834 | 16.33 | 7.564 | 2674.276 | N/A | N/A | N/A
6 | June | 2019-06-27 16:00 | 3928.308 | 17309.016 | 8109.879 | 8857.222 | 6.038 | 18.554 | 8.212 | 3468.708 | N/A | N/A | N/A
7 | July | 2019-07-16 16:00 | 2470.035 | 15261.462 | 8040.79 | 7202.055 | 2.995 | 19.829 | 9.119 | 2956.031 | N/A | N/A | N/A
8 | August | 2019-08-26 16:00 | 3727.737 | 16515.426 | 7623.218 | 8730.273 | 6.521 | 16.286 | 8.042 | 4813.799 | N/A | N/A | N/A
9 | September | 2019-09-03 16:00 | 3588.306 | 16836.23 | 7873.878 | 8677.35 | 7.058 | 16.006 | 7.596 | 4638.893 | N/A | N/A | N/A
10 | October | 2019-10-03 15:00 | 2974.616 | 8400.517 | 6979.94 | 3630.622 | 3.278 | 14.321 | 7.081 | 1576.745 | N/A | N/A | N/A
11 | November | 2019-11-12 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | N/A | N/A
12 | December | 2019-12-18 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | N/A | N/A
EL PASO ELECTRIC COMPANY
ENERGY (kWh)
FOR THE PERIOD JANUARY 1, 2019 TO DECEMBER 31, 2019
Line | Month |  | Hatch | NRG | Sun Edison 1 | Sun Edison 2 | Wrangler | Stanton Tower | EPCC | Holloman | Rio Grande (a) | Van Horn (b) | Newman carport (c)
13 | January |  | 814545 | 2833550 | 1925742 | 1919424 | 2374 | 3989 | 2148 | 832638 | 5948 | 2436 | 5709
14 | February |  | 765339 | 3036101 | 1794170 | 1957190 | 2078 | 4388 | 2182 | 848883 | 8092 | 2830 | 8344
15 | March |  | 1010957 | 4071175 | 1988425 | 2534558 | 2400 | 5637 | 2641 | 1061573 | 8843 | 3190 | 8813
16 | April |  | 1158454 | 5098231 | 2475309 | 2907021 | 2384 | 6654 | 2995 | 1372856 | 14216 | 2776 | 10870
17 | May |  | 1283693 | 5706087 | 2703134 | 3137560 | 1899 | 7189 | 3105 | 1266209 | 8168 | 3850 | 10629
18 | June |  | 1257666 | 5656231 | 2679327 | 2964780 | 1844 | 7009 | 2931 | 1440019 | 10504 | 3575 | 11848
19 | July |  | 1099839 | 5107206 | 2323959 | 2708663 | 1529 | 6617 | 2827 | 923765 | 10066 | 2348 | 10503
20 | August |  | 1078322 | 4891236 | 2374774 | 2605013 | 1583 | 6448.977 | 2880 | 1197509 | 9770 | 3800 | 10249
21 | September |  | 975993 | 4272998 | 1861926 | 2245144 | 1399 | 5368 | 2471 | 1027280 | 8670 | 2100 | 8401
22 | October |  | 995429 | 4055674 | 2202456 | 2596545 | 1710 | 5320 | 2609 | 970793 | 8332 | 3631 | 8265
23 | November |  | 766226 | 2468139 | 1555113 | 1750054 | 985 | 3545 | 1783 | 719334 | 7024 | 1606 | 7023
24 | December |  | 808156 | 2574284 | 1660522 | 1864843 | 1371 | 3704 | 1794 | 730219 | 5553 | 2303 | 7103
25 | Total |  | 12014619 | 49770912 | 25544857 | 29190795 | 21556 | 65868.977 | 30366 | 12391078 | 105186 | 34445 | 107757
(a) | Rio Grande meter readings were taken on 12/31/2019.
(b) | Van Horn meter readings were taken on 01/03/2020.
(c) | Newman carport meter readings were taken on 12/31/2019.
(d) | No interval data meters available.

## 2018
EL PASO ELECTRIC COMPANY | [7 empty] | SOAH Docket No. 473-21-2606 |  |  |  |  | SOAH Docket No. 473-21-2606
COINCIDENT PEAK DEMAND (kW) | [7 empty] | PUC Docket No. 52195 |  |  |  |  | PUC Docket No. 52195
FOR THE PERIOD JANUARY 1, 2018 TO DECEMBER 31, 2018 | [7 empty] | OPUC's 10th, Q. No. OPUC 10-9 |  |  |  |  | OPUC's 10th, Q. No. OPUC 10-9
[8 empty] | Attachment 1 |  |  |  |  | Attachment 1
[8 empty] | Page 3 of 4 |  |  |  |  | Page 4 of 4
Line | Month | Native Peak Date & Time | Hatch | NRG | Sun Edison 1 | Sun Edison 2 | Wrangler | Stanton Tower | EPCC | Holloman | Rio Grande (e) | Van Horn (e) | Newman carport (e)
1 | January | 2018-01-16 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | N/A | N/A | N/A
2 | February | 2018-02-28 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | N/A | N/A | N/A
3 | March | 2018-03-22 19:00 | 0.073 | 39.621 | 9.208 | 8.611 | 0.031 | 0.043 | 0.014 | N/A | N/A | N/A | N/A
4 | April | 2018-04-24 16:00 | 3084.776 | 16364.577 | 8248.293 | 9967.546 | 16.33 | 17.064 | 8.143 | N/A | N/A | N/A | N/A
5 | May | 2018-05-31 16:00 | 3941.506 | 17604.839 | 8163.608 | 8607.75 | 18.283 | 19.289 | 8.507 | N/A | N/A | N/A | N/A
6 | June | 2018-06-26 16:00 | 3725.707 | 17456.96 | 5541.403 | 6353.001 | 17.573 | 19.267 | 8.51 | N/A | N/A | N/A | N/A
7 | July | 2018-07-23 16:00 | 3090.728 | 17501.702 | 5941.774 | 6959.915 | 18.269 | 18.792 | 8.438 | N/A | N/A | N/A | N/A
8 | August | 2018-08-02 16:00 | 3488.551 | 15981.973 | 5727.971 | 0 | 11.926 | 17.194 | 7.906 | 0 | N/A | N/A | N/A
9 | September | 2018-09-13 16:00 | 4034.817 | 15395.795 | 4342.235 | 7690.525 | 18.283 | 14.774 | 7.196 | 4925.408 | N/A | N/A | N/A
10 | October | 2018-10-04 16:00 | 3850.273 | 15146.526 | 7246.414 | 7807.22 | 18.23 | 11.858 | 6.07 | 4504.69 | N/A | N/A | N/A
11 | November | 2018-11-12 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | N/A | N/A
12 | December | 2018-12-28 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | N/A | N/A
EL PASO ELECTRIC COMPANY
ENERGY (kWh)
FOR THE PERIOD JANUARY 1, 2018 TO DECEMBER 31, 2018
Line | Month |  | Hatch | NRG | Sun Edison 1 | Sun Edison 2 | Wrangler | Stanton Tower | EPCC | Holloman (a) | Rio Grande (b) | Van Horn (c) | Newman carport (d)
13 | January |  | 792971 | 3026174 | 1833113 | 2241359 | 4614 | 4231 | 2302 | N/A | 7870 | 2533 | 7017
14 | February |  | 711843 | 3071679 | 1781096 | 2173539 | 4090 | 4296 | 2154 | N/A | 7477 | 2550 | 8399
15 | March |  | 959965 | 4394470 | 2172096 | 2789502 | 4879 | 5975 | 2789 | N/A | 9445 | 3216 | 10262
16 | April |  | 1053393 | 5182661 | 2414789 | 2922457 | 5503 | 6647 | 2987 | N/A | 11584 | 3485 | 11816
17 | May |  | 1236780 | 5980386 | 2646998 | 2541686 | 5725 | 7402 | 3183 | N/A | 12777 | 4009 | 13553
18 | June |  | 1137317 | 5245930 | 2308730 | 2427980 | 4917 | 6649 | 2821 | N/A | 10785 | 3357 | 10858
19 | July |  | 1021203 | 4843918 | 1691074 | 1983494 | 3746 | 6382 | 2690 | N/A | 11919 | 2315 | 10339
20 | August |  | 1041330 | 4927418 | 1740783 | 2290041 | 3663 | 6288 | 2806 | 437560 | 9296 | 3355 | 10009
21 | September |  | 1029577 | 4482303 | 1857575 | 2177743 | 3784 | 5555 | 2637 | 1076087 | 9445 | 2692 | 10507
22 | October |  | 759494 | 3069618 | 1578741 | 1616581 | 2326 | 4073 | 1952 | 796326 | 8200 | 2082 | 7282
23 | November |  | 760275 | 3158763 | 1949166 | 2055700 | 2987 | 4342 | 2326 | 945386 | 7295 | 2723 | 8359
24 | December |  | 627742 | 2209229 | 1385619 | 1636816 | 1825 | 3256 | 1762 | 671752 | 5526 | 2090 | 5748
25 | Total |  | 11131890 | 49592549 | 23359780 | 26856898 | 48059 | 65096 | 30409 | 3927111 | 111619 | 34407 | 114149
(a) | Holloman Air Force Base Facility went into commercial operation on 10/18/2018, all kWh produced prior to this date is "test energy". This report shows total HAFB kWh generation for October 2018 which includes 402,964.2 kWh test and 393,361.4 kWh regular energy.
(b) | Rio Grande meter readings were taken on 12/28/2018.
(c) | Van Horn meter readings were taken on 01/04/2019.
(d) | Newman carport meter readings were taken on 12/28/2018.
(e) | No interval data meters available.