## EPE comparison
EL PASO ELECTRIC COMPANY
COMPARISON OF PROPOSED SURVIVOR CURVE AND NET SALVAGE PERCENT
FROM CURRENT AND MOST RECENTLY FILED DEPRECIATION STUDIES
|  | 2019 STUDY ESTIMATES |  |  | MOST RECENTLY FILED ESTIMATES
|  | SURVIVOR |  | NET SALVAGE | SURVIVOR |  | NET SALVAGE
DEPRECIABLE GROUP |  | CURVE |  | PERCENT | CURVE |  | PERCENT
STEAM PRODUCTION PLANT
311 | STRUCTURES AND IMPROVEMENTS
| RIO GRANDE UNIT 6 | 100-R3 | * | -9 | 100-S2.5 | * | -5
| RIO GRANDE UNIT 7 | 100-R3 | * | -9 | 100-S2.5 | * | -5
| RIO GRANDE UNIT 8 | 100-R3 | * | -9 | 100-S2.5 | * | -5
| RIO GRANDE COMMON | 100-R3 | * | -9 | 100-S2.5 | * | -5
| NEWMAN UNIT 1 | 100-R3 | * | -6 | 100-S2.5 | * | -5
| NEWMAN UNIT 2 | 100-R3 | * | -6 | 100-S2.5 | * | -5
| NEWMAN UNIT 3 | 100-R3 | * | -6 | 100-S2.5 | * | -5
| NEWMAN UNIT 4 | 100-R3 | * | -6 | 100-S2.5 | * | -5
| NEWMAN UNIT 5 | 100-R3 | * | -6 | 100-S2.5 | * | -5
| NEWMAN COMMON | 100-R3 | * | -6 | 100-S2.5 | * | -5
312 | BOILER PLANT EQUIPMENT
| RIO GRANDE UNIT 6 | 70-R4 | * | -9 | 80-R4 | * | -10
| RIO GRANDE UNIT 7 | 70-R4 | * | -9 | 80-R4 | * | -10
| RIO GRANDE UNIT 8 | 70-R4 | * | -9 | 80-R4 | * | -10
| RIO GRANDE COMMON | 70-R4 | * | -9 | 80-R4 | * | -10
| NEWMAN UNIT 1 | 70-R4 | * | -6 | 80-R4 | * | -10
| NEWMAN UNIT 2 | 70-R4 | * | -6 | 80-R4 | * | -10
| NEWMAN UNIT 3 | 70-R4 | * | -6 | 80-R4 | * | -10
| NEWMAN UNIT 4 | 70-R4 | * | -6 | 80-R4 | * | -10
| NEWMAN UNIT 5 | 70-R4 | * | -6 | 80-R4 | * | -10
| NEWMAN COMMON | 70-R4 | * | -6 | 80-R4 | * | -10
313 | ENGINES AND ENGINE-DRIVEN GENERATORS
| NEWMAN UNIT 1 | 55-R2.5 | * | 0 | 50-R3 | * | -10
| NEWMAN UNIT 4 | 55-R2.5 | * | 0 | 50-R3 | * | -10
| NEWMAN UNIT 5 | 55-R2.5 | * | 0 | 50-R3 | * | -10
TOTAL ACCOUNT 313
314 | TURBOGENERATOR UNITS
| RIO GRANDE UNIT 6 | 75-R2.5 | * | -9 | 75-S3 | * | -5
| RIO GRANDE UNIT 7 | 75-R2.5 | * | -9 | 75-S3 | * | -5
| RIO GRANDE UNIT 8 | 75-R2.5 | * | -9 | 75-S3 | * | -5
| NEWMAN UNIT 1 | 75-R2.5 | * | -6 | 75-S3 | * | -5
| NEWMAN UNIT 2 | 75-R2.5 | * | -6 | 75-S3 | * | -5
| NEWMAN UNIT 3 | 75-R2.5 | * | -6 | 75-S3 | * | -5
| NEWMAN UNIT 4 | 75-R2.5 | * | -6 | 75-S3 | * | -5
| NEWMAN UNIT 5 | 75-R2.5 | * | -6 | 75-S3 | * | -5
| NEWMAN COMMON | 75-R2.5 | * | -6 | 75-S3 | * | -5
315 | ACCESSORY ELECTRIC EQUIPMENT
| RIO GRANDE UNIT 6 | 65-S4 | * | -9 | 65-R4 | * | 0
| RIO GRANDE UNIT 7 | 65-S4 | * | -9 | 65-R4 | * | 0
| RIO GRANDE UNIT 8 | 65-S4 | * | -9 | 65-R4 | * | 0
| NEWMAN UNIT 1 | 65-S4 | * | -6 | 65-R4 | * | 0
| NEWMAN UNIT 2 | 65-S4 | * | -6 | 65-R4 | * | 0
| NEWMAN UNIT 3 | 65-S4 | * | -6 | 65-R4 | * | 0
| NEWMAN UNIT 4 | 65-S4 | * | -6 | 65-R4 | * | 0
| NEWMAN UNIT 5 | 65-S4 | * | -6 | 65-R4 | * | 0
| NEWMAN COMMON | 65-S4 | * | -6 | 65-R4 | * | 0
316 | MISCELLANEOUS POWER PLANT EQUIPMENT
| RIO GRANDE UNIT 6 | 70-S2.5 | * | -9 | 65-R3 | * | 0
| RIO GRANDE UNIT 7 | 70-S2.5 | * | -9 | 65-R3 | * | 0
| RIO GRANDE UNIT 8 | 70-S2.5 | * | -9 | 65-R3 | * | 0
| RIO GRANDE COMMON | 70-S2.5 | * | -9 | 65-R3 | * | 0
| NEWMAN UNIT 1 | 70-S2.5 | * | -6 | 65-R3 | * | 0
| NEWMAN UNIT 2 | 70-S2.5 | * | -6 | 65-R3 | * | 0
| NEWMAN UNIT 3 | 70-S2.5 | * | -6 | 65-R3 | * | 0
| NEWMAN UNIT 4 | 70-S2.5 | * | -6 | 65-R3 | * | 0
| NEWMAN UNIT 5 | 70-S2.5 | * | -6 | 65-R3 | * | 0
| NEWMAN ZERO LIQUID DISCHARGE | 70-S2.5 | * | -6 | 65-R3 | * | 0
| NEWMAN COMMON | 70-S2.5 | * | -6 | 65-R3 | * | 0
GAS TURBINE PLANT
341 | STRUCTURES AND IMPROVEMENTS
| COPPER POWER STATION | 60-R4 | * | -8 | 60-S2.5 | * | 0
| RIO GRANDE UNIT 9 | 60-R4 | * | -6 | 60-S2.5 | * | 0
| MONTANA POWER STATION UNIT 1 | 60-R4 | * | -6 | 60-S2.5 | * | -5
| MONTANA POWER STATION UNIT 2 | 60-R4 | * | -6 | 60-S2.5 | * | -5
| MONTANA POWER STATION UNIT 3 | 60-R4 | * | -6 | 60-S2.5 | * | -5
| MONTANA POWER STATION UNIT 4 | 60-R4 | * | -6 | 60-S2.5 | * | -5
| MONTANA POWER STATION COMMON | 60-R4 | * | -7 | 60-S2.5 | * | -5
| SOLAR FACILITIES | 35-S2 | * | 0 | 50-R3 | * | 0
342 | FUEL HOLDERS
| COPPER POWER STATION | 50-R4 | * | -8 | 45-R4 | * | 0
| RIO GRANDE UNIT 9 | 50-R4 | * | -6 | 45-R4 | * | 0
| MONTANA POWER STATION COMMON | 50-R4 | * | -7 | 45-R4 | * | 0
343 | PRIME MOVERS
| RIO GRANDE UNIT 9 | 40-S1 | * | -6 | 40-S1 | * | 0
| MONTANA POWER STATION UNIT 1 | 40-S1 | * | -6 | 40-S0.5 | * | -5
| MONTANA POWER STATION UNIT 2 | 40-S1 | * | -6 | 40-S0.5 | * | -5
| MONTANA POWER STATION UNIT 3 | 40-S1 | * | -6 | 40-S0.5 | * | -5
| MONTANA POWER STATION UNIT 4 | 40-S1 | * | -6 | 40-S0.5 | * | -5
| MONTANA POWER STATION COMMON | 40-S1 | * | -7 | 40-S0.5 | * | -5
344 | GENERATORS
| COPPER POWER STATION | 45-S3 | * | -8 | 40-R3 | * | 0
| RIO GRANDE UNIT 9 | 45-S3 | * | -6 | 40-R3 | * | 0
| MONTANA POWER STATION UNIT 1 | 45-S3 | * | -6 | 45-R3 | * | -5
| MONTANA POWER STATION UNIT 2 | 45-S3 | * | -6 | 45-R3 | * | -5
| MONTANA POWER STATION UNIT 3 | 45-S3 | * | -6 | 45-R3 | * | -5
| MONTANA POWER STATION UNIT 4 | 45-S3 | * | -6 | 45-R3 | * | -5
| MONTANA POWER STATION COMMON | 45-S3 | * | -7 | 30-S2.5 | * | 0
| SOLAR FACILITIES | 25-S2.5 | * | 0
345 | ACCESSORY ELECTRIC EQUIPMENT
| COPPER POWER STATION | 45-S1.5 | * | -8 | 45-S1.5 | * | 0
| RIO GRANDE UNIT 9 | 45-S1.5 | * | -6 | 45-S1.5 | * | 0
| MONTANA POWER STATION UNIT 1 | 45-S1.5 | * | -6 | 45-R2.5 | * | -3
| MONTANA POWER STATION UNIT 2 | 45-S1.5 | * | -6 | 45-R2.5 | * | -3
| MONTANA POWER STATION UNIT 3 | 45-S1.5 | * | -6 | 45-R2.5 | * | -3
| MONTANA POWER STATION UNIT 4 | 45-S1.5 | * | -6 | 45-R2.5 | * | -3
| MONTANA POWER STATION COMMON | 45-S1.5 | * | -7 | 45-R2.5 | * | -3
| SOLAR FACILITIES | 25-S2.5 | * | 0 | 40-R2.5 | * | 0
346 | MISCELLANEOUS POWER PLANT EQUIPMENT
| COPPER POWER STATION | 50-R4 | * | -8 | 45-S3 | * | 0
| RIO GRANDE UNIT 9 | 50-R4 | * | -6 | 45-S3 | * | 0
| MONTANA POWER STATION UNIT 1 | 50-R4 | * | -6 | 45-S3 | * | -3
| MONTANA POWER STATION UNIT 2 | 50-R4 | * | -6 | 45-S3 | * | -3
| MONTANA POWER STATION UNIT 3 | 50-R4 | * | -6 | 45-S3 | * | -3
| MONTANA POWER STATION UNIT 4 | 50-R4 | * | -6 | 45-S3 | * | -3
| MONTANA POWER STATION COMMON | 50-R4 | * | -7 | 45-S3 | * | -2
TRANSMISSION PLANT
350.1 | LAND RIGHTS | 80-R3 |  | 0 | 75-R3 |  | 0
350.1 | LAND RIGHTS - ISLETA | SQUARE | * | 0
352 | STRUCTURES AND IMPROVEMENTS | 75-R4 |  | -5 | 65-R4 |  | -5
353 | STATION EQUIPMENT | 50-R4 |  | -5 | 48-R4 |  | -2
354 | STEEL TOWERS AND FIXTURES | 75-R4 |  | -10 | 70-R4 |  | -10
355 | WOOD AND STEEL POLES | 55-S3 |  | -20 | 50-S3 |  | -25
356 | OVERHEAD CONDUCTORS AND DEVICES | 60-R5 |  | -15 | 60-R5 |  | -10
359 | ROADS AND TRAILS | 70-R3 |  | 0 | 65-R3 |  | 0
DISTRIBUTION PLANT
360.1 | LAND RIGHTS | 70-R4 |  | 0 | 70-R4 |  | 0
361 | STRUCTURES AND IMPROVEMENTS | 70-R3 |  | -5 | 65-R3 |  | -5
362 | STATION EQUIPMENT | 65-R2 |  | -5 | 60-R2 |  | -2
364 | POLES, TOWERS AND FIXTURES | 45-R3 |  | -30 | 45-R3 |  | -20
365 | OVERHEAD CONDUCTORS AND DEVICES | 48-R2.5 |  | -15 | 48-R2.5 |  | -15
366 | UNDERGROUND CONDUIT | 65-R4 |  | -5 | 57-R4 |  | -10
367 | UNDERGROUND CONDUCTORS AND DEVICES | 41-S2 |  | -20 | 40-R3 |  | -15
368 | LINE TRANSFORMERS | 52-R3 |  | -15 | 55-R3 |  | -5
369 | SERVICES | 65-S3 |  | -15 | 60-S3 |  | -15
370 | METERS | 35-R2.5 |  | -15 | 31-R2 |  | -10
371 | INSTALLATIONS ON CUSTOMERS' PREMISES | 35-R2 |  | -15 | 36-R2 |  | -15
373 | STREET LIGHTING AND SIGNAL SYSTEMS | 55-R3 |  | -20 | 50-R3 |  | -15
GENERAL PLANT
390 | STRUCTURES AND IMPROVEMENTS
| SYSTEMS OPERATIONS BUILDING | 80-R2.5 | * | 0 | 80-R2.5 | * | 0
| STANTON TOWER | 80-R2.5 | * | 0 | 80-R2.5 | * | 0
| EASTSIDE OPERATIONS CENTER | 80-R2.5 | * | 0 | 80-R2.5 | * | 0
| OTHER STRUCTURES | 40-S0.5 |  | 0 | 40-S0.5 |  | 0
391 | OFFICE FURNITURE AND EQUIPMENT | 20-SQ |  | 0 | 20-SQ |  | 0
393 | STORES EQUIPMENT | 25-SQ |  | 0 | 25-SQ |  | 0
394 | TOOLS, SHOP AND GARAGE EQUIPMENT | 25-SQ |  | 0 | 25-SQ |  | 0
395 | LABORATORY EQUIPMENT | 15-SQ |  | 0 | 15-SQ |  | 0
396 | POWER OPERATED EQUIPMENT | 21-R2.5 |  | 15 | 22-R2.5 |  | 5
397 | COMMUNICATION EQUIPMENT | 15-SQ |  | 0 | 15-SQ |  | 0
398 | MISCELLANEOUS EQUIPMENT | 15-SQ |  | 0 | 15-SQ |  | 0
* INTERIM SURVIVOR CURVES USED. EACH LOCATION HAS A UNIQUE PROBABLE RETIREMENT DATE.