## Exhibit JP-1
EL PASO ELECTRIC COMPANY
Calculation of EPE's Unadjusted 1CP System Load Factor
For The Test Year Ended December 31, 2020
Native System
|  | Net Output to Lines | System Peak |  | Load
Line | Period | (MWh) | (MW) | Hours | Factor*
|  | -1 | -2 | -3 | -4
1 | Annual | 8674263 | 2173 | 8784 | 45.44%
2 | January | 609370 | 1078 | 744 | 75.98%
3 | February | 563992 | 1133 | 696 | 71.52%
4 | March | 567567 | 1015 | 744 | 75.16%
5 | April | 562888 | 1386 | 720 | 56.41%
6 | May | 752315 | 1650 | 744 | 61.28%
7 | June | 896734 | 1932 | 720 | 64.47%
8 | July | 1039608 | 2173 | 744 | 64.3%
9 | August | 1033192 | 2100 | 744 | 66.13%
10 | September | 769845 | 1870 | 720 | 57.18%
11 | October | 667494 | 1449 | 744 | 61.92%
12 | November | 556416 | 1042 | 720 | 74.17%
13 | December | 654842 | 1097 | 744 | 80.23%
Source: Schedule O-1.6.
* |  | MWh Net Output to Lines
Native System Peak x Period Hours x 100

## O-1.6
EL PASO ELECTRIC COMPANY | [7 empty] | SCHEDULE O-1.6
2021 TEXAS RATE CASE FILING | [7 empty] | PAGE 1 OF 1
SCHEDULE O-1.6: SYSTEM LOAD FACTOR
SPONSOR: GEORGE NOVELA
PREPARER: ENEDINA SOTO
FOR THE TEST YEAR ENDED DECEMBER 31, 2020
|  | (a) |  | (b) | ( c ) | (d) | (e)
Native System
| Line |  |  | MWh Net Output | Native System |  | Load
| No. | Description |  | to Lines | Peak MW | Hours | Factor (A)
| 1 | Annual |  | 8674263 | 2173 | 8784 | 45.44%
| 2 | January | 2020 | 609370 | 1078 | 744 | 75.98%
| 3 | February | 2020 | 563992 | 1133 | 696 | 71.52%
| 4 | March | 2020 | 567567 | 1015 | 744 | 75.16%
| 5 | April | 2020 | 562888 | 1386 | 720 | 56.41%
| 6 | May | 2020 | 752315 | 1650 | 744 | 61.28%
| 7 | June | 2020 | 896734 | 1932 | 720 | 64.47%
| 8 | July | 2020 | 1039608 | 2173 | 744 | 64.3%
| 9 | August | 2020 | 1033192 | 2100 | 744 | 66.13%
| 10 | September | 2020 | 769845 | 1870 | 720 | 57.18%
| 11 | October | 2020 | 667494 | 1449 | 744 | 61.92%
| 12 | November | 2020 | 556416 | 1042 | 720 | 74.17%
| 13 | December | 2020 | 654842 | 1097 | 744 | 80.23%
Note:
(A) Native Load Factor Equation:
|  | MWh Net Output to Lines |  |  | x 100
Native System Peak x Period Hours