## SUM Adjustments
Recommended Adjustments
Adjustment | FERC Account | Adjustment | In-Service Date | Depreciation Rate | Source
1. Production O&M Expense (Total Co)
Newman | 512 - Maintenance of Boiler Plant | -996915.3333 |  |  | CEP 1-11
Newman | 513 - Maintenance of Electric Plant | -2000599.6667 |  |  | CEP 1-11
Copper | 553 - Maintenance of Generating & Electric Plant | -495339.5 |  |  | CEP 1-11
Montana | 553 - Maintenance of Generating & Electric Plant | -2546418.6667 |  |  | CEP 1-11
Subtotal Production O&M |  | -6039273.1667
2. Transmission O&M Expense (Total Co) | 566 - Miscellaneous Transmission Expense | -2389049.75 |  |  | CEP 1-14
3. Gas Turbine Spares (Rate Base, Total Co)
LMS100 Power Turbine | 343 - Other Production Prime Movers | -5737590 | N/A | 2.27% | CEP 5-34
LMS100 Booster | 343 - Other Production Prime Movers | -1894232 | N/A | 2.27% | CEP 5-35
Subtotal GT Spares |  | -7631822
4. Distribution Reliability Projects (Rate Base, TexRetail)
DT359 - NUWAY | 362 - Distribution Station Equipment | -10331928 | 12/17/19 | 1.33% | CEP 8-3
DT186 - LEO Sub | 362 - Distribution Station Equipment | -3214808 | 3/23/17 | 1.33% | CEP 8-3
DT382 - Ripley T2 XFMR | 362 - Distribution Station Equipment | -1216948 | 7/18/19 | 1.33% | CEP 8-3
DT379 - Pendale T2 XFMR | 362 - Distribution Station Equipment | -1731086 | 12/6/19 | 1.33% | CEP 8-3
DT291 - Global Reach T2 | 362 - Distribution Station Equipment | -1465267 | 8/2/18 | 1.33% | CEP 8-3
DT184 - Rio Bosque Capacitor Bank | 362 - Distribution Station Equipment | -1889566 | 5/15/19 | 1.33% | CEP 8-3
Subtotal Reliability Projects |  | -19849603

## TBL1 ProdO&M
SOURCE: CEP 1-11
Generating Station | 2016-2019 Avg O&M | TY Adjusted O&M | TY O&M Increase | TY Increase
Newman | 29127246 | 33076042 | 3948796 | 13.56%
Rio Grande (Steam) | 12008527 | 12384703 | 376176 | 3.133%
Montana | 5830334.6667 | 8698615 | 2868280.3333 | 49.2%
Copper | 472614.75 | 971816 | 499201.25 | 105.6%
Hueco Wind and Solar | 131375 | 378642 | 247267 | 188.2%
| 47570097.4167 | 55509818 | 7939720.5833 | 16.69%
Rio Grande (Steam) | 10673570 | 10644887 | -28683 | -0.2687%
Rio Grande (CT) | 1334957 | 1739816 | 404859 | 30.33%
Rio Grande (Total) | 12008527 | 12384703 | 376176 | 3.133%

## TBL2, 3 & 4 - ProOM Accts
SOURCE: EPE'S RESPONSE TO CEP 1-11
Test Year Ended
| FERC Acct, | Description | 2016 | 2017 | 2018 | 2019 | 2017-19 Avg | 2020 | Test Year |  | Test Year Req. | Test Year Increase | Percent Increase
| 500000 | Operation Supervision & Engineering | 1611125 | 1636665 | 1135956 | 1072432 | 1281684.3333 | 1269531 | -4239 | (1) | 1265292 | -16392.3333 | -1.279%
| 502000 | Steam Expenses | 1230874 | 1316507 | 1433397 | 1610378 | 1453427.3333 | 1501231 | -26197 | (1) | 1475034 | 21606.6667 | 1.487%
| 505000 | Electric Operating Expenses | 2845063 | 2809591 | 3666741 | 3771388 | 3415906.6667 | 4624823 | -5275 | (1) | 4619548 | 1203641.3333 | 35.24% | Newman Station
| 506000 | Miscellaneous Steam Power Expenses | 2170351 | 1944532 | 1684007 | 2162302 | 1930280.3333 | 2314223 | -46165 | (2) | 2268058 | 337777.6667 | 17.5%
| 507000 | Rents | 458672 | 466271 | 464612 | 524890 | 485257.6667 | 655198 | 0 |  | 655198 | 169940.3333 | 35.02%
0
|  | Total Operations Expense | 8316085 | 8173566 | 8384713 | 9141390 | 8566556.3333 | 10365006 | -81876 |  | 10283130 | 1716573.6667 | 20.04%
Maintenance Expense
| 510000 | Maintenance Supervision & Engineering | 1104281 | 1303419 | 1379197 | 1553447 | 1412021 | 1196149 | -3367 | (1) | 1192782 | -219239 | -15.53%
| 511000 | Maintenance of Structures | 724656 | 892876 | 849264 | 1061751 | 934630.3333 | 902987 | -1456 | (1) | 901531 | -33099.3333 | -3.541%
| 512000 | Maintenance of Boiler Plant | 3135095 | 5860217 | 6000314 | 4603216 | 5487915.6667 | 6490432 | -5601 | (1)(3) | 6484831 | 996915.3333 | 18.17%
| 513000 | Maintenance of Electric Plant | 6493264 | 12291507 | 10392872 | 9401702 | 10695360.3333 | 12892629 | -196669 | (1)(3) | 12695960 | 2000599.6667 | 18.71%
| 514000 | Maintenance of Miscellaneous Steam Plant | 1423942 | 2082433 | 2097252 | 1912602 | 2030762.3333 | 1518966 | -1158 | (1)(3) | 1517808 | -512954.3333 | -25.26%
|  | Total Maintenance Expense | 12881238 | 22430452 | 20718899 | 18532718 | 20560689.6667 | 23001163 | -208251 |  | 22792912 | 2232222.3333 | 10.86%
|  | Total Steam Power Generation Expense-Newman | 21197323 | 30604018 | 29103612 | 27674108 | 29127246 | 33366169 | -290127 |  | 33076042 | 3948796 | 13.56%
[11 empty] | Newman Adj | 2997515
TBL 2
| FERC Acct, | Description | 2016 | 2017 | 2018 | 2019 | 2016-19 Avg | 2020 | Test Year |  | Test Year Req. | Test Year Increase | Percent Increase
| 505000 | Electric Operating Expenses | 2845063 | 2809591 | 3666741 | 3771388 | 3415906.6667 | 4624823 | -5275 | (1) | 4619548 | 1203641.3333 | 35.24%
| 512000 | Maintenance of Boiler Plant | 3135095 | 5860217 | 6000314 | 4603216 | 5487915.6667 | 6490432 | -5601 | (1)(3) | 6484831 | 996915.3333 | 18.17%
| 513000 | Maintenance of Electric Plant | 6493264 | 12291507 | 10392872 | 9401702 | 10695360.3333 | 12892629 | -196669 | (1)(3) | 12695960 | 2000599.6667 | 18.71%
[11 empty] | Total: | 4201156.3333
| FERC | [6 empty] | December 31, | Adjustments to |  | Test Year | TY vs Avg
| Acct. | Description | 2016 | 2017 | 2018 | 2019 | 2017-19 AVG | #REF! | #REF! |  | #REF! | Change | TY ADJ INCREASE
4201156.3333
| 546000 | Operation Supervision & Engineering | 380255 | 571035 | 471459 | 563346 | 535280 | 666563 | -5025 | (1) | 661538 | 126258 | 23.59%
| 548000 | Generation Expenses | 695011 | 918364 | 1174804 | 912897 | 1002021.6667 | 914450 | 0 |  | 914450 | -87571.6667 | -8.739%
| 549000 | Misc. Other Power Generation Expenses | 1289341 | 1308868 | 1118045 | 983427 | 1136780 | 761430 | -15511 | (2) | 745919 | -390861 | -34.38%
| 550000 | Rents | 30481 | 57684 | 50226 | 98110 | 68673.3333 | 187358 | 0 |  | 187358 | 118684.6667 | 172.8%
|  | Total Operations Expense | 2395088 | 2855951 | 2814534 | 2557780 | 2742755 | 2529801 | -20536 |  | 2509265 | -233490 | -8.513%
Maintenance Expense
| 551000 | Maintenance Supervision & Engineering | 521 | 1234 | 2913 | 92247 | 32131.3333 | 198333 | -925 |  | 197408 | 165276.6667 | 514.4%
| 552000 | Maintenance of Structures | 24972 | 74134 | 67700 | 101163 | 80999 | 219656 | -337 | (1) | 219319 | 138320 | 170.8%
| 553000 | Maintenance of Generating & Electric Plant | 570697 | 2009293 | 2561350 | 3005267 | 2525303.3333 | 4933150 | 138572 | (1) | 5071722 | 2546418.6667 | 100.8% | Montana Station
| 554000 | Maintenance of Miscellaneous Other Power | 275485 | 341776 | 346211 | 659451 | 449146 | 701569 | -668 | (1) | 700901 | 251755 | 56.05%
|  | Total Maintenance Expense | 871675 | 2426437 | 2978174 | 3858128 | 3087579.6667 | 6052708 | 136642 |  | 6189350 | 3101770.3333 | 100.5%
|  | Total Other Power Generation Expense-MPS | 3266763 | 5282388 | 5792708 | 6415908 | 5830334.6667 | 8582509 | 116106 |  | 8698615 | 2868280.3333 | 49.2%
[11 empty] | Montana Adj: | 2546418.6667
| TBL 3 | [6 empty] | December 31, | Adjustments to
| FERC Acct, | Description | 2016 | 2017 | 2018 | 2019 | 2017-19 Avg | 2020 | Test Year |  | Test Year Req. | Test Year Increase | Percent Increase
| 553000 | Maintenance of Generating & Electric Plant | 570697 | 2009293 | 2561350 | 3005267 | 2525303.3333 | 4933150 | 138572 | (1) | 5071722 | 2546418.6667 | 100.8%
Test Year Ended
| FERC | [6 empty] | December 31, | Adjustments to |  | Test Year | TY vs Avg
| Acct. | Description | 2016 | 2017 | 2018 | 2019 | 2016-19 AVG | 2020 | Test Year |  | Adjusted | Change | TY Adj Increase
Other Power Generation Expenses
| 546000 | Operation Supervision & Engineering | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #DIV/0!
| 548000 | Generation Expenses | 16 | 0 | 0 | 0 | 4 | 1454 | 0 |  | 1454 | 1450 | 36250%
| 549000 | Misc. Other Power Generation Expenses | 110279 | 67945 | 85560 | 61276 | 81265 | 38473 | 0 |  | 38473 | -42792 | -52.66%
| 550000 | Rents | 0 | 41 | 2090 | 1353 | 871 | 3579 | 0 |  | 3579 | 2708 | 310.9%
0
|  | Total Operations Expense | 110295 | 67986 | 87650 | 62629 | 82140 | 43506 | 0 |  | 43506 | -38634 | -47.03%
0
|  | Maintenance Expense | [9 empty] | 0
0
| 551000 | Maintenance Supervision & Engineering | 0 | 2469 | 0 | 150 | 654.75 | 3560 | 0 |  | 3560 | 2905.25 | 443.7%
| 552000 | Maintenance of Structures | 8586 | 4928 | 7096 | 3849 | 6114.75 | 36537 | 0 |  | 36537 | 30422.25 | 497.5%
| 553000 | Maintenance of Generating & Electric Plant | 606333 | 115818 | 262388 | 423207 | 351936.5 | 847276 | 0 |  | 847276 | 495339.5 | 140.7% | Copper Station
| 554000 | Maintenance of Miscellaneous Other Power | 47044 | 27972 | 26771 | 25288 | 31768.75 | 40937 | 0 |  | 40937 | 9168.25 | 28.86%
|  | Total Maintenance Expense | 661963 | 151187 | 296255 | 452494 | 390474.75 | 928310 | 0 |  | 928310 | 537835.25 | 137.7%
|  | Total Other Power Generation Expense-Copper | 772258 | 219173 | 383905 | 515123 | 472614.75 | 971816 | 0 |  | 971816 | 499201.25 | 105.6%
[11 empty] | Total Increase | 7242914.5
[11 empty] | Copper Adj. | 495339.5
TBL 4
| FERC Acct, | Description | 2016 | 2017 | 2018 | 2019 | 2016-19 Avg | 2020 | Test Year |  | Test Year Req. | Test Year Increase | Percent Increase
| 553000 | Maintenance of Generating & Electric Plant | 570697 | 2009293 | 2561350 | 3005267 | 351936.5 | 4933150 | -4085874 | (1) | 847276 | 495339.5 | 140.7%

## TBL5 TYGasPltOutages
CEP 1-4
TBL 5
| 2016 | 2017 | 2018 | 2019 | 2016-2019 Avg | 2020 TY | 2020 TY Increase
Newman
Forced Outage Hours | 8936.54 | 9270.78 | 4375.27 | 2642.24 | 6306.2075 | 5015.64 | -20.47%
Planned Outage Hours | 8638.74 | 14581.29 | 8867.28 | 10766.7 | 10713.5025 | 15196.62 | 41.85%
Total Outage Hours | 17575.28 | 23852.07 | 13242.55 | 13408.94 | 17019.71 | 20212.26 | 18.76%
Montana
Forced Outage Hours | 208.3 | 326.95 | 1286.87 | 622.67 | 745.4967 | 517.65 | -30.56%
Planned Outage Hours | 20.9 | 5017.47 | 2588.8 | 2226.25 | 3277.5067 | 4656.08 | 42.06%
Total Outage Hours | 229.2 | 5344.42 | 3875.67 | 2848.92 | 4023.0033 | 5173.73 | 28.6%
Copper
Forced Outage Hours | 140.68 | 43.19 | 177.34 | 367.52 | 182.1825 | 3567.4 | 1858%
Planned Outage Hours | 811.88 | 399.03 | 39.87 | 838.61 | 522.3475 | 319.5 | -38.83%
Total Outage Hours | 952.56 | 442.22 | 217.21 | 1206.13 | 704.53 | 3886.9 | 451.7%
CEP 1-4
FORCED OUTAGE HOURS
| 2016 | 2017 | 2018 | 2019 | 2020
Copper | 140.68 | 43.19 | 177.34 | 367.52 | 3567.4
Montana 1 | 199.58 | 0.86 | 429.63 | 97.31 | 39.95
Montana 2 | 8.25 | 248.38 | 129.54 | 265.06 | 229.6
Montana 3 | 0.47 | 39.52 | 213.83 | 94.69 | 216.18
Montana 4 | 0 | 38.19 | 513.87 | 165.61 | 31.92
Newman 1 | 323.9 | 10.72 | 527.48 | 12.55 | 818.58
Newman 2 | 46.91 | 146.93 | 2377.49 | 23.5 | 28.58
Newman 3 | 302.24 | 0.72 | 26.05 | 499.42 | 959.97
Newman 4-GT1 | 274.83 | 191.25 | 919.7 | 1466.85 | 1271.23
Newman 4-GT2 | 307.81 | 269.04 | 79.51 | 289.6 | 876.42
Newman 4-ST | 3181.3 | 2098.84 | 261.29 | 186.64 | 915.85
Newman 5-GT3 | 59.3 | 79.36 | 95.79 | 0 | 93.47
Newman 5-GT4 | 66.21 | 5.02 | 18.45 | 139.93 | 10.57
Newman 5-ST | 4374.04 | 6468.9 | 69.51 | 23.75 | 40.97
Rio Grande 6 | 8.5 | 10.9 | 125.85 | 0 | 0
Rio Grande 7 | 25.99 | 33.62 | 2156.87 | 1004.7 | 3930.05
Rio Grande 8 | 345.06 | 238.03 | 123.04 | 59.5 | 1113.85
Rio Grande 9 | 17.97 | 9.98 | 230.84 | 297.43 | 5.55
PVGS 1 | 173 | 0 | 129 | 0 | 0
PVGS 2 | 0 | 0 | 83 | 89 | 98
PVGS 3 | 84 | 138 | 84 | 0 | 197
PLANNED OUTAGE HOURS
| 2016 | 2017 | 2018 | 2019 | 2020
Copper | 811.88 | 399.03 | 39.87 | 838.61 | 319.5
Montana 1 | 7 | 862.47 | 916.43 | 620.12 | 681.55
Montana 2 | 6.9 | 785 | 496.14 | 492.3 | 633.59
Montana 3 | 7 | 2705 | 737.27 | 598.84 | 2690.01
Montana 4 | 0 | 665 | 438.96 | 514.99 | 650.93
Newman 1 | 176 | 3567.24 | 1432.6 | 778.56 | 1295.2
Newman 2 | 584.24 | 884.81 | 2006.15 | 995.39 | 651.8
Newman 3 | 1461.51 | 2810.3 | 2035.65 | 531.75 | 1245.93
Newman 4-GT1 | 2457.85 | 1142.76 | 1362.28 | 2129.47 | 3249.69
Newman 4-GT2 | 854.37 | 2494.69 | 40.61 | 808.08 | 3698.45
Newman 4-ST | 318.97 | 470 | 37.33 | 852.02 | 3227.58
Newman 5-GT3 | 829.63 | 1192.68 | 641.27 | 1234.94 | 636.69
Newman 5-GT4 | 1091.55 | 1023.9 | 727.54 | 1213.03 | 660.6
Newman 5-ST | 864.62 | 994.91 | 583.85 | 2223.46 | 530.68
Rio Grande 6 | 0 | 27.17 | 496.85 | 0 | 0
Rio Grande 7 | 1487.15 | 886.21 | 643.77 | 492.1 | 99.2
Rio Grande 8 | 1228.82 | 844.02 | 3314.53 | 2066.95 | 1284.95
Rio Grande 9 | 761.24 | 617.68 | 611.62 | 1110.41 | 3271.48
PVGS 1 | 857 | 739 | 0 | 795 | 1311
PVGS 2 | 0 | 743 | 1408 | 0 | 749
PVGS 3 | 689 | 0 | 685 | 1140 | 0

## TBL6 TransO&M
Source: CEP 1-14
TBL6
[8 empty] | Test Year Ended | Adjustments to |  | Test Year
|  | Description | 2016 | 2017 | 2018 | 2019 | 2016-19 AVG | December 31, 2020 | Test Year |  | Adjusted | TY vs Avg | TY vs Avg
Transmission Expenses
Operations Expense
1 | 560000 | Operation Supervision & Engineering | 1641654 | 1427707 | 1769333 | 1894111 | 1683201.25 | 2169209 | -11282 | (1) | 2157927 | 474725.75 | 28.2%
2 | 561100 | Load Dispatch - Reliability | 76925 | 63127 | 100775 | 128245 | 92268 | 128147 | -636 | (1) | 127511 | 35243 | 38.2%
3 | 561200 | Load Dispatch - Monitor & Oper Trans Sys | 770296 | 818846 | 847523 | 869313 | 826494.5 | 932103 | -3954 | (1) | 928149 | 101654.5 | 12.3%
4 | 561300 | Load Dispatch - Trans Service & Sched | 771095 | 866803 | 944247 | 971535 | 888420 | 1092216 | -4887 | (1) | 1087329 | 198909 | 22.39%
5 | 561400 | Scheduling, Sys Control & Dispatch Ser | 628585 | 599757 | 610891 | 618115 | 614337 | 652858 | -3235 | (1) | 649623 | 35286 | 5.744%
6 | 561500 | Reliability, Planning & Standards Development | 975328 | 979739 | 902274 | 741277 | 899654.5 | 678638 | -2983 | (1) | 675655 | -223999.5 | -24.9%
7 | 561600 | Transmission Service Studies | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
8 | 561700 | Generation Interconnection Studies | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
9 | 561800 | Reliability, Plan & Standards Develop Services | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
10 | 562000 | Station Expenses | 312087 | 323624 | 296197 | 267776 | 299921 | 137496 | -172 | (1) | 137324 | -162597 | -54.21%
11 | 563000 | Overhead Line Expenses | 305124 | 211172 | 500681 | 303759 | 330184 | 240539 | -809 | (1) | 239730 | -90454 | -27.4%
12 | 565000 | Transmission of Electricity by Others | 6274714 | 6806326 | 7094447 | 6123189 | 6574669 | 6728666 | 0 |  | 6728666 | 153997 | 2.342%
13 | 566000 | Miscellaneous Transmission Expenses | 6277658 | 6552528 | 6148745 | 7661298 | 6660057.25 | 8942379 | 106728 | (1)(2)(3) | 9049107 | 2389049.75 | 35.87%
14 | 567000 | Rents | 299485 | 289370 | 282705 | 250050 | 280402.5 | 117943 | 0 |  | 117943 | -162459.5 | -57.94%
0
15 |  | Total Operations Expense | 18332951 | 18938999 | 19497818 | 19828668 | 19149609 | 21820194 | 78770 |  | 21898964 | 2749355 | 14.36%
Maintenance Expense
16 | 568000 | Maintenance Supervision & Engineering | 75245 | 53239 | 36372 | 20533 | 46347.25 | 15516 | 0 |  | 15516 | -30831.25 | -66.52%
17 | 569000 | Maintenance of Structures | 14182 | 32317 | 31286 | 17124 | 23727.25 | -1705 | 0 |  | -1705 | -25432.25 | -107.2%
18 | 569100 | Maintenance of Computer Hardware | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
19 | 569200 | Maintenance of Computer Software | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
20 | 569300 | Maintenance of Communication Equipment | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
21 | 569400 | Maintenance of Misc. Regional Trans Plant | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
22 | 570000 | Maintenance of Station Equipment | 584272 | 625143 | 324329 | 631007 | 541187.75 | 317863 | -4 | (1) | 317859 | -223328.75 | -41.27%
23 | 571000 | Maintenance of Overhead Lines | 1286512 | 1412178 | 2455709 | 1656209 | 1702652 | 1525242 | -3616 | (1) | 1521626 | -181026 | -10.63%
24 | 573000 | Maintenance of Misc. Transmission Plant | 50467 | 15663 | 18625 | 16467 | 25305.5 | 39726 | -40 | (1) | 39686 | 14380.5 | 56.83%
0
25 |  | Total Maintenance Expense | 2010678 | 2138540 | 2866321 | 2341340 | 2339219.75 | 1896642 | -3660 |  | 1892982 | -446237.75 | -19.08%
0
26 |  | Total Transmission Expenses | 20343629 | 21077539 | 22364139 | 22170008 | 21488828.75 | 23716836 | 75110 |  | 23791946 | 2303117.25 | 10.72%
|  | TOTAL EXCL 565 | 14068915 | 14271213 | 15269692 | 16046819 | 14914159.75 | 16988170 |  |  | 17063280 | 2149120.25 | 14.41%
|  | Operations Excluding Wheeling (Acct 565) | 12058237 | 12132673 | 12403371 | 13705479 | 12574940 |  |  |  | 15170298 | 2595358 | 20.64%
|  | Maintenance | 2010678 | 2138540 | 2866321 | 2341340 | 2339219.75 |  |  |  | 1892982 | -446237.75 | -19.08%
|  | Total O&M Excluding Wheeling | 14068915 | 14271213 | 15269692 | 16046819 | 14914159.75 |  |  |  | 17063280 | 2149120.25 | 14.41%

## TBL7 TransOM Acct
CEP 1-14
TBL7
| FERC | [6 empty] | Test Year Ended | Adjustments to |  | Test Year
| Acct. | Description | 2016 | 2017 | 2018 | 2019 | 2016-19 AVG | December 31, 2020 | Test Year |  | Adjusted | TY vs Avg | TY vs Avg
Transmission Expenses
Operations Expense
| 560000 | Operation Supervision & Engineering | 1641654 | 1427707 | 1769333 | 1894111 | 1683201.25 | 2169209 | -11282 | (1) | 2157927 | 474725.75 | 28.2%
| 561100 | Load Dispatch - Reliability | 76925 | 63127 | 100775 | 128245 | 92268 | 128147 | -636 | (1) | 127511 | 35243 | 38.2%
| 561200 | Load Dispatch - Monitor & Oper Trans Sys | 770296 | 818846 | 847523 | 869313 | 826494.5 | 932103 | -3954 | (1) | 928149 | 101654.5 | 12.3%
| 561300 | Load Dispatch - Trans Service & Sched | 771095 | 866803 | 944247 | 971535 | 888420 | 1092216 | -4887 | (1) | 1087329 | 198909 | 22.39%
| 561400 | Scheduling, Sys Control & Dispatch Ser | 628585 | 599757 | 610891 | 618115 | 614337 | 652858 | -3235 | (1) | 649623 | 35286 | 5.744%
| 561500 | Reliability, Planning & Standards Development | 975328 | 979739 | 902274 | 741277 | 899654.5 | 678638 | -2983 | (1) | 675655 | -223999.5 | -24.9%
| 561600 | Transmission Service Studies | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 561700 | Generation Interconnection Studies | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 561800 | Reliability, Plan & Standards Develop Services | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 562000 | Station Expenses | 312087 | 323624 | 296197 | 267776 | 299921 | 137496 | -172 | (1) | 137324 | -162597 | -54.21%
| 563000 | Overhead Line Expenses | 305124 | 211172 | 500681 | 303759 | 330184 | 240539 | -809 | (1) | 239730 | -90454 | -27.4%
| 565000 | Transmission of Electricity by Others | 6274714 | 6806326 | 7094447 | 6123189 | 6574669 | 6728666 | 0 |  | 6728666 | 153997 | 2.342%
| 566000 | Miscellaneous Transmission Expenses | 6277658 | 6552528 | 6148745 | 7661298 | 6660057.25 | 8942379 | 106728 | (1)(2)(3) | 9049107 | 2389049.75 | 35.87%
| 567000 | Rents | 299485 | 289370 | 282705 | 250050 | 280402.5 | 117943 | 0 |  | 117943 | -162459.5 | -57.94%
0
|  | Total Operations Expense | 18332951 | 18938999 | 19497818 | 19828668 | 19149609 | 21820194 | 78770 |  | 21898964 | 2749355 | 14.36%
Maintenance Expense
| 568000 | Maintenance Supervision & Engineering | 75245 | 53239 | 36372 | 20533 | 46347.25 | 15516 | 0 |  | 15516 | -30831.25 | -66.52%
| 569000 | Maintenance of Structures | 14182 | 32317 | 31286 | 17124 | 23727.25 | -1705 | 0 |  | -1705 | -25432.25 | -107.2%
| 569100 | Maintenance of Computer Hardware | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 569200 | Maintenance of Computer Software | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 569300 | Maintenance of Communication Equipment | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 569400 | Maintenance of Misc. Regional Trans Plant | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 570000 | Maintenance of Station Equipment | 584272 | 625143 | 324329 | 631007 | 541187.75 | 317863 | -4 | (1) | 317859 | -223328.75 | -41.27%
| 571000 | Maintenance of Overhead Lines | 1286512 | 1412178 | 2455709 | 1656209 | 1702652 | 1525242 | -3616 | (1) | 1521626 | -181026 | -10.63%
| 573000 | Maintenance of Misc. Transmission Plant | 50467 | 15663 | 18625 | 16467 | 25305.5 | 39726 | -40 | (1) | 39686 | 14380.5 | 56.83%
0
|  | Total Maintenance Expense | 2010678 | 2138540 | 2866321 | 2341340 | 2339219.75 | 1896642 | -3660 |  | 1892982 | -446237.75 | -19.08%
0
|  | Total Transmission Expenses | 20343629 | 21077539 | 22364139 | 22170008 | 21488828.75 | 23716836 | 75110 |  | 23791946 | 2303117.25 | 10.72%
|  | TOTAL EXCL 565 | 14068915 | 14271213 | 15269692 | 16046819 | 14914159.75 | 16988170 |  |  | 17063280 | 2149120.25 | 14.41%
|  | Operations Excluding Wheeling (Acct 565) | 12058237 | 12132673 | 12403371 | 13705479 | 12574940 |  |  |  | 15170298 | 2595358 | 20.64%
|  | Maintenance | 2010678 | 2138540 | 2866321 | 2341340 | 2339219.75 |  |  |  | 1892982 | -446237.75 | -19.08%
|  | Total O&M Excluding Wheeling | 14068915 | 14271213 | 15269692 | 16046819 | 14914159.75 |  |  |  | 17063280 | 2149120.25 | 14.41%

## TBL8&9 DistCapAdj
Source CEP 8-3
TBL8 & 9
Projects | Cost Requested | Budget Overage | Overage %
DT359 - NUWAY | 14431157 | 10331928 | 252%
DT186 - LEO Sub | 6899678 | 3214808 | 87.24%
DT382 - Ripley T2 XFMR | 3397392 | 1216948 | 55.81%
DT379 - Pendale T2 XFMR | 3351288 | 1731086 | 106.8%
DT291 - Global Reach T2 | 3009279 | 1465267 | 94.9%
DT184 - Rio Bosque Capacitor Bank | 2139566 | 1889566 | 755.8%
Projects Total | 33228360 | 19849603 | 148.4%

## TBL10 SAIDI
TBL10
| SAIDI | SAIFI | RELIABILITY
2011 | 48.37 | 0.446 | 99.99%
2012 | 38.3 | 0.334 | 99.99%
2013 | 37.5 | 0.37 | 99.99%
2014 | 49.17 | 0.5292 | 99.99%
2015 | 51.5 | 0.525 | 99.99%
2016 | 43.06 | 0.411 | 99.99%
2017 | 47.02 | 0.582 | 99.99%
2018 | 38.82 | 0.487 | 99.99%
2019 | 64.47 | 0.72 | 99.99%
2020 | 48.57 | 0.532 | 99.99%
AVG 2011-2015 | 44.968 | 0.44084 | 99.99%
AVG 2016-2020 | 48.388 | 0.5464 | 99.99%
AVG 2011-2020 | 46.678 | 0.49362 | 99.99%

## REL Complaints6-14
R

## ProdO&M WP
CEP 1-4
Steam Power Generating Plants
NEWMAN GENERATING STATION
|  | (a) | (b) | (c) | (d) | (e) |  | (f) | (g) |  | (h)
| 0 | 0 | 17018372.87 | 29293507.61 | 11577970.12 | #DIV/0! | #DIV/0! | Test Year Ended
| 8638.74 | 14581.29 | 8867.28 | 10766.7 | 10713.5025 | 15196.62 | 41.85% | December 31, | Adjustments to |  | Test Year | Test Year
| Acct. | Acct. | Acct. | Acct. | 11588683.6225 | Acct. | #VALUE! | 2020 | Test Year |  | Adjusted | vs 2016-19 Avg | TY OVER AVG
| 1027000 | #VALUE! | 20798444 | 36804392 | #VALUE! | 33209023 | #VALUE!
| 20.9 | 5017.47 | 2588.8 | 2226.25 | 2463.355 | 4656.08 | 89.01%
| Acct. | Acct. | Acct. | Acct. | Acct. | Acct. | #VALUE!
| 500000 | 500000 | 500000 | 500000 |  | 500000 | 50000000% | 1269531 | -4239 | (1) | 1265292 | 765292 | 153.1%
| 502000 | 502000 | 502000 | 502000 |  | 502000 | 50200000% | 1501231 | -26197 | (1) | 1475034 | 973034 | 193.8%
| 512000 | Maintenance of Boiler Plant | 3135095 | 5860217 | 3169104 | 6000314 | 89.34% | 4624823 | -5275 | (1) | 4619548 | 4619547.1066 | 517087225%
| 811.88 | 399.03 | 39.87 | 838.61 | 522.3475 | 319.5 | -38.83% | 2314223 | -46165 | (2) | 2268058 | 2268058.3883 | -584042016%
| Acct. | Acct. | Acct. | Acct. | Acct. | Acct. | #VALUE! | 655198 | 0 |  | 655198 | #VALUE! | #VALUE!
0
|  | Total Operations Expense | 4137134.87 | 6863055.61 | 3169626.3475 | 0 | 3344227.3192 | 10365006 | -81876 |  | 10283130 | 6938902.6808 | 207.5%
Maintenance Expense
CEP 1-4
| 510000 | Maintenance Supervision & Engineering | 1104281 | 1303419 | 1379197 | 1553447 | 1412021 | 1196149 | -3367 | (1) | 1192782 | -219239 | -15.53%
| 511000 | Maintenance of Structures | 724656 | 892876 | 849264 | 1061751 | 934630.3333 | 902987 | -1456 | (1) | 901531 | -33099.3333 | -3.541%
| 512000 | Maintenance of Boiler Plant | 3135095 | 5860217 | 6000314 | 4603216 | 5487915.6667 | 6490432 | -5601 | (1)(3) | 6484831 | 996915.3333 | 18.17%
| 513000 | Maintenance of Electric Plant | 6493264 | 12291507 | 10392872 | 9401702 | 10695360.3333 | 12892629 | -196669 | (1)(3) | 12695960 | 2000599.6667 | 18.71%
| 514000 | Maintenance of Miscellaneous Steam Plant | 1423942 | 2082433 | 2097252 | 1912602 | 2030762.3333 | 1518966 | -1158 | (1)(3) | 1517808 | -512954.3333 | -25.26%
|  | Total Maintenance Expense | 12881238 | 22430452 | 20718899 | 18532718 | 20560689.6667 | 23001163 | -208251 |  | 22792912 | 2232222.3333 | 10.86%
|  | Total Steam Power Generation Expense-Newman | 17018372.87 | 29293507.61 | 23888525.3475 | 18532718 | 23904916.9858 | 33366169 | -290127 |  | 33076042 | 9171125.0142 | 38.37%
[11 empty] | Newman Adj | 7617062.1066
MONTANA POWER STATION UNITS 1, 2, 3, 4 AND COMMON
|  |  | (b) | (c) | (d) | (e) |  | (f) | (g) |  | (h)
Test Year Ended
| FERC | [6 empty] | December 31, | Adjustments to |  | Test Year | TY vs Avg
| Acct. | Description | 2016 | 2017 | 2018 | 2019 | 2017-19 AVG | #REF! | #REF! |  | #REF! | Change | TY ADJ INCREASE
Other Power Generation Expenses
Operations Expense
PLANNED OUTAGE HOURS
| 2016 | 2017 | 2018 | 2019 | 2020
Copper | 811.88 | 399.03 | 39.87 | 838.61 | 319.5
Montana 1 | 7 | 862.47 | 916.43 | 620.12 | 681.55
Montana 2 | 6.9 | 785 | 496.14 | 492.3 | 633.59
Montana 3 | 7 | 2705 | 737.27 | 598.84 | 2690.01
Montana 4 | 0 | 665 | 438.96 | 514.99 | 650.93
Newman 1 | 176 | 3567.24 | 1432.6 | 778.56 | 1295.2
Newman 2 | 584.24 | 884.81 | 2006.15 | 995.39 | 651.8
Newman 3 | 1461.51 | 2810.3 | 2035.65 | 531.75 | 1245.93
Newman 4-GT1 | 2457.85 | 1142.76 | 1362.28 | 2129.47 | 3249.69
Newman 4-GT2 | 854.37 | 2494.69 | 40.61 | 808.08 | 3698.45
Newman 4-ST | 318.97 | 470 | 37.33 | 852.02 | 3227.58
Newman 5-GT3 | 829.63 | 1192.68 | 641.27 | 1234.94 | 636.69
Newman 5-GT4 | 1091.55 | 1023.9 | 727.54 | 1213.03 | 660.6
Newman 5-ST | 864.62 | 994.91 | 583.85 | 2223.46 | 530.68
Rio Grande 6 | 0 | 27.17 | 496.85 | 0 | 0
Rio Grande 7 | 1487.15 | 886.21 | 643.77 | 492.1 | 99.2
Rio Grande 8 | 1228.82 | 844.02 | 3314.53 | 2066.95 | 1284.95
Rio Grande 9 | 761.24 | 617.68 | 611.62 | 1110.41 | 3271.48
PVGS 1 | 857 | 739 | 0 | 795 | 1311
PVGS 2 | 0 | 743 | 1408 | 0 | 749
PVGS 3 | 689 | 0 | 685 | 1140 | 0
| 546000 | Operation Supervision & Engineering | 380255 | 571035 | 471459 | 563346 | 535280 | 666563 | -5025 | (1) | 661538 | 126258 | 23.59%
| 548000 | Generation Expenses | 695011 | 918364 | 1174804 | 912897 | 1002021.6667 | 914450 | 0 |  | 914450 | -87571.6667 | -8.739%
| 549000 | Misc. Other Power Generation Expenses | 1289341 | 1308868 | 1118045 | 983427 | 1136780 | 761430 | -15511 | (2) | 745919 | -390861 | -34.38%
| 550000 | Rents | 30481 | 57684 | 50226 | 98110 | 68673.3333 | 187358 | 0 |  | 187358 | 118684.6667 | 172.8%
|  | Total Operations Expense | 2395088 | 2855951 | 2814534 | 2557780 | 2742755 | 2529801 | -20536 |  | 2509265 | -233490 | -8.513%
Maintenance Expense
| 551000 | Maintenance Supervision & Engineering | 521 | 1234 | 2913 | 92247 | 32131.3333 | 198333 | -925 |  | 197408 | 165276.6667 | 514.4%
| 552000 | Maintenance of Structures | 24972 | 74134 | 67700 | 101163 | 80999 | 219656 | -337 | (1) | 219319 | 138320 | 170.8%
| 553000 | Maintenance of Generating & Electric Plant | 570697 | 2009293 | 2561350 | 3005267 | 2525303.3333 | 4933150 | 138572 | (1) | 5071722 | 2546418.6667 | 100.8%
| 554000 | Maintenance of Miscellaneous Other Power | 275485 | 341776 | 346211 | 659451 | 449146 | 701569 | -668 | (1) | 700901 | 251755 | 56.05%
|  | Total Maintenance Expense | 871675 | 2426437 | 2978174 | 3858128 | 3087579.6667 | 6052708 | 136642 |  | 6189350 | 3101770.3333 | 100.5%
|  | Total Other Power Generation Expense-MPS | 3266763 | 5282388 | 5792708 | 6415908 | 5830334.6667 | 8582509 | 116106 |  | 8698615 | 2868280.3333 | 49.2%
[11 empty] | Total Ajust | 10658820.2733
COPPER GENERATING STATION
|  | (a) | (b) | (c) | (d) | (e) |  | (f) | (g) |  | (h)
Test Year Ended
| FERC | [6 empty] | December 31, | Adjustments to |  | Test Year | TY vs Avg
| Acct. | Description | 2016 | 2017 | 2018 | 2019 | 2016-19 AVG | 2020 | Test Year |  | Adjusted | Change | TY Adj Increase
Other Power Generation Expenses
Operations Expense
| 546000 | Operation Supervision & Engineering | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #DIV/0!
| 548000 | Generation Expenses | 16 | 0 | 0 | 0 | 4 | 1454 | 0 |  | 1454 | 1450 | 36250%
| 549000 | Misc. Other Power Generation Expenses | 110279 | 67945 | 85560 | 61276 | 81265 | 38473 | 0 |  | 38473 | -42792 | -52.66%
| 550000 | Rents | 0 | 41 | 2090 | 1353 | 871 | 3579 | 0 |  | 3579 | 2708 | 310.9%
0
|  | Total Operations Expense | 110295 | 67986 | 87650 | 62629 | 82140 | 43506 | 0 |  | 43506 | -38634 | -47.03%
0
|  | Maintenance Expense | [9 empty] | 0
0
| 551000 | Maintenance Supervision & Engineering | 0 | 2469 | 0 | 150 | 654.75 | 3560 | 0 |  | 3560 | 2905.25 | 443.7%
| 552000 | Maintenance of Structures | 8586 | 4928 | 7096 | 3849 | 6114.75 | 36537 | 0 |  | 36537 | 30422.25 | 497.5%
| 553000 | Maintenance of Generating & Electric Plant | 606333 | 115818 | 262388 | 423207 | 351936.5 | 847276 | 0 |  | 847276 | 495339.5 | 140.7%
| 554000 | Maintenance of Miscellaneous Other Power | 47044 | 27972 | 26771 | 25288 | 31768.75 | 40937 | 0 |  | 40937 | 9168.25 | 28.86%
|  | Total Maintenance Expense | 661963 | 151187 | 296255 | 452494 | 390474.75 | 928310 | 0 |  | 928310 | 537835.25 | 137.7%
|  | Total Other Power Generation Expense-Copper | 772258 | 219173 | 383905 | 515123 | 472614.75 | 971816 | 0 |  | 971816 | 499201.25 | 105.6%

## TransO&M WP
Attachment 1
SOURCE: EPE'S RESPONSE TO CEP 1-14 | [13 empty] | Page 1 of 1
|  | (a) | (b) | (c) | (d) | (e) |  | (f) | (g) |  | (h)
Line | FERC | [6 empty] | Test Year Ended | Adjustments to |  | Test Year
No. | Acct. | Description | 2016 | 2017 | 2018 | 2019 | 2016-19 AVG | December 31, 2020 | Test Year |  | Adjusted | TY OVER AVG | TY OVER AVG
Transmission Expenses
Operations Expense
1 | 560000 | Operation Supervision & Engineering | 1641654 | 1427707 | 1769333 | 1894111 | 1683201.25 | 2169209 | -11282 | (1) | 2157927 | 474725.75 | 28.2%
2 | 561100 | Load Dispatch - Reliability | 76925 | 63127 | 100775 | 128245 | 92268 | 128147 | -636 | (1) | 127511 | 35243 | 38.2%
3 | 561200 | Load Dispatch - Monitor & Oper Trans Sys | 770296 | 818846 | 847523 | 869313 | 826494.5 | 932103 | -3954 | (1) | 928149 | 101654.5 | 12.3%
4 | 561300 | Load Dispatch - Trans Service & Sched | 771095 | 866803 | 944247 | 971535 | 888420 | 1092216 | -4887 | (1) | 1087329 | 198909 | 22.39%
5 | 561400 | Scheduling, Sys Control & Dispatch Ser | 628585 | 599757 | 610891 | 618115 | 614337 | 652858 | -3235 | (1) | 649623 | 35286 | 5.744%
6 | 561500 | Reliability, Planning & Standards Development | 975328 | 979739 | 902274 | 741277 | 899654.5 | 678638 | -2983 | (1) | 675655 | -223999.5 | -24.9%
7 | 561600 | Transmission Service Studies | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
8 | 561700 | Generation Interconnection Studies | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
9 | 561800 | Reliability, Plan & Standards Develop Services | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
10 | 562000 | Station Expenses | 312087 | 323624 | 296197 | 267776 | 299921 | 137496 | -172 | (1) | 137324 | -162597 | -54.21%
11 | 563000 | Overhead Line Expenses | 305124 | 211172 | 500681 | 303759 | 330184 | 240539 | -809 | (1) | 239730 | -90454 | -27.4%
12 | 565000 | Transmission of Electricity by Others | 6274714 | 6806326 | 7094447 | 6123189 | 6574669 | 6728666 | 0 |  | 6728666 | 153997 | 2.342%
13 | 566000 | Miscellaneous Transmission Expenses | 6277658 | 6552528 | 6148745 | 7661298 | 6660057.25 | 8942379 | 106728 | (1)(2)(3) | 9049107 | 2389049.75 | 35.87%
14 | 567000 | Rents | 299485 | 289370 | 282705 | 250050 | 280402.5 | 117943 | 0 |  | 117943 | -162459.5 | -57.94%
0
15 |  | Total Operations Expense | 18332951 | 18938999 | 19497818 | 19828668 | 19149609 | 21820194 | 78770 |  | 21898964 | 2749355 | 14.36%
Maintenance Expense
16 | 568000 | Maintenance Supervision & Engineering | 75245 | 53239 | 36372 | 20533 | 46347.25 | 15516 | 0 |  | 15516 | -30831.25 | -66.52%
17 | 569000 | Maintenance of Structures | 14182 | 32317 | 31286 | 17124 | 23727.25 | -1705 | 0 |  | -1705 | -25432.25 | -107.2%
18 | 569100 | Maintenance of Computer Hardware | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
19 | 569200 | Maintenance of Computer Software | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
20 | 569300 | Maintenance of Communication Equipment | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
21 | 569400 | Maintenance of Misc. Regional Trans Plant | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
22 | 570000 | Maintenance of Station Equipment | 584272 | 625143 | 324329 | 631007 | 541187.75 | 317863 | -4 | (1) | 317859 | -223328.75 | -41.27%
23 | 571000 | Maintenance of Overhead Lines | 1286512 | 1412178 | 2455709 | 1656209 | 1702652 | 1525242 | -3616 | (1) | 1521626 | -181026 | -10.63%
24 | 573000 | Maintenance of Misc. Transmission Plant | 50467 | 15663 | 18625 | 16467 | 25305.5 | 39726 | -40 | (1) | 39686 | 14380.5 | 56.83%
0
25 |  | Total Maintenance Expense | 2010678 | 2138540 | 2866321 | 2341340 | 2339219.75 | 1896642 | -3660 |  | 1892982 | -446237.75 | -19.08%
0
26 |  | Total Transmission Expenses | 20343629 | 21077539 | 22364139 | 22170008 | 21488828.75 | 23716836 | 75110 |  | 23791946 | 2303117.25 | 10.72%
|  | TOTAL EXCL 565 | 14068915 | 14271213 | 15269692 | 16046819 | 14914159.75 | 16988170 |  |  | 17063280 | 2149120.25 | 14.41%
[9 empty] | Trans Adj (TotalCo) |  | -2389049.75
[9 empty] | Recom TransO&M |  | 21402896.25
| (1) | Represents Adjustment #3 Salaries and Wages.
| (2) | Represents Adjustment #7 to remove COVID -19 related costs.
| (3) | Represents Adjustment #24 to remove non-recoverable membership dues from cost of service.

## GT SparesWP
Olson Direct, pg 12
| Cost Requested | Source
LMS100 Power Turbine | 5737590 | CEP 5-34
LMS100 Booster | 1894232 | CEP 5-35
7631822