## CCOSS
PUBLIC UTILITY COMMISSION OF TEXAS
EL PASO ELECTRIC COMPANY - RATE CASE
PUC DOCKET NO. 46831
TEST YEAR ENDING 09/30/2016
SUMMARY: FUNCTION & CLASS REV REQs
AT AN EQUALIZED RATE OF RETURN
|  | Capacity Costs | [10 empty] | Energy | Customer Costs | [7 empty] | Total
[5 empty] | Dist. | Dist. | Dist. | Dist. | Dist. | Dist. | Dist. Line | Dist. Line
|  |  |  | Load | Substation | Substation | OH | OH | UG | UG | Transf. | Transf. |  |  | Service |  |  | Street | Meter
| Rate Class | Production | Transm. | Dispatch | Primary | Secondary | Primary | Secondary | Primary | Secondary | Primary | Secondary | Other | Deposits | Drops | Meters | Install. | Lights | Read | Records | Other
| Residential Service | 141173299.7624 | 31656715.1656 | 21098667.4486 | 7166095.3543 | 4919437.6594 | 6844587.5852 | 1027419.7318 | 12201830.9037 | 4284269.4109 | 6557732.449 | 6070529.4091 | 28733086.9667 | -466235.1715 | 2720046.1646 | 10593591.9576 | 40945.1146 | 38235.9346 | 3659630.2661 | 23903075.6417 | 511535.1029 | 312734496.8573
| Small General Service | 12104221.4993 | 2781031.5891 | 1794897.4379 | 608601.5533 | 380980.4864 | 581602.2018 | 79595.9093 | 1038288.5311 | 333416.7262 | 559296.66 | 473829.6586 | 2957291.2544 | -42472.093 | 247472.1247 | 1128477.1638 | 3764.5042 | 3515.4215 | 390474.7038 | 3116047.021 | 45627.1105 | 28585959.4639
| Residential Distributed Generation Service | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Outdoor Recreational Lighting Service | 88169.1231 | 18568.3111 | 133740.7454 | 46098.9534 | 18359.1287 | 43830.5553 | 3830.5663 | 77175.4894 | 15776.5274 | 40638.4346 | 22171.6377 | 34883.7909 | -390.4447 | 7398.4877 | 11565.8998 | 75.3582 | 70.372 | 3957.5006 | 24395.0352 | 209.3388 | 590524.8107
| Government Street Lighting Service | 767686.4797 | 48641.8136 | 194827.8435 | 66040.7725 | 27194.4634 | 63116.9925 | 5688.5557 | 112706.4999 | 24197.7146 | 60736.8203 | 34729.4635 | 340859.3649 | -821.2581 | 1680.2955 | 3150.6771 | 414.1153 | 1267704.2555 | 614.7453 | 23670.854 | 153.5726 | 3042994.0415
| Government Signal Service | 41729.8735 | 8243.1293 | 4430.7549 | 1483.6995 | 622.9893 | 1423.4237 | 130.5527 | 2567.74 | 567.7625 | 1406.3579 | 826.1857 | 19592.1278 | -88.5274 | 504.3387 | 1025.5054 | 14.3869 | 13.435 | 342.2653 | 5751.3254 | 43.3643 | 90630.6904
| Time of Use Municipal Pumping Service | 3959989.196 | 971844.6241 | 833100.4082 | 283660.8229 | 141324.3607 | 270726.2911 | 29527.4159 | 481624.1195 | 123759.7225 | 257971.5991 | 175946.8417 | 1643952.5476 | -2561.9681 | 19116.2375 | 44585.1038 | 1425.3094 | 1331.0022 | 13908.2377 | 57368.694 | 342.6119 | 9308943.1777
| Electrolytic Refining Service | 1288958.9435 | 313785.1286 | 16071.492 | 4232.8996 | 2546.1626 | 4406.8243 | 548.3237 | 9603.097 | 3162.0328 | 6685.456 | 5293.6251 | 430201.8267 | -536.5996 | 1484.9912 | 2937.1418 | 365.9818 | 341.7662 | 594.2806 | 3222.3404 | -0.81839 | 2093904.896
| Water Heating | 119535.8278 | 21016.2137 | 82238.7441 | 28155.3921 | 24776.9366 | 26825.9254 | 5169.4706 | 47504.2939 | 21283.0787 | 25252.969 | 29902.9254 | 48613.2478 | -143.8188 | 453.6359 | 210677.6165 | 98.6149 | 92.0899 | 73535.0319 | 1306.9996 | 607.245 | 766902.44
| Irrigation Service | 247631.5485 | 53746.8739 | 47533.8118 | 16229.2283 | 12030.5071 | 15476.0138 | 2511.0721 | 27468.5866 | 10392.3506 | 14657.5596 | 14652.2326 | 47456.5653 | -291.1836 | 1565.0121 | 8617.9351 | 69.1609 | 64.5848 | 2933.2194 | 16799.4102 | 406.4168 | 539950.9059
| General Service | 53050784.5073 | 12440752.321 | 7984981.594 | 2712434.0344 | 1299376.117 | 2590633.3599 | 271593.5357 | 4617802.5683 | 1144163.7202 | 2481336.1889 | 1632014.0911 | 15103071.7181 | -31469.1555 | 309937.8798 | 131988.214 | 15397.6078 | 14378.8076 | 188902.8097 | 951891.4296 | 89506.5738 | 106999477.9227
| Large Power Service | 17077267.6628 | 4116215.9813 | 2384793.9522 | 807602.1645 | 282825.4638 | 772077.0874 | 59208.3382 | 1379780.2253 | 254324.0452 | 744513.6329 | 367261.0094 | 6112338.7029 | -7639.8861 | 30611.7923 | 515108.0933 | 5279.6236 | 4930.2913 | 12992.473 | 57245.0944 | 12219.9605 | 34988955.7081
| Petroleum Refinery Service | 6758404.7144 | 1682362.1876 | 88457.3342 | 23297.838 | 14014.0537 | 24255.1177 | 3017.9684 | 52855.3518 | 17403.7977 | 36796.684 | 29136.0605 | 2905205.4738 | -2919.0503 | 8173.3771 | 16211.1928 | 2014.3605 | 1881.0781 | 3286.6453 | 17228.6633 | -8.4166 | 11681074.4319
| Area Lighting Service | 581283.5456 | 38458.3415 | 148449.2252 | 50206.7567 | 20749.0291 | 48017.6126 | 4341.7581 | 85905.2688 | 18545.9764 | 46434.3729 | 26688.1754 | 253798.5045 | -1597.8928 | 8728.3247 | 2635.6105 | 1187226.9959 | 323.4955 | 524.4351 | 67127.3715 | 2144.95 | 2589991.8571
| Electric Furnace | 915152.1373 | 220298.6614 | 18801.0016 | 4951.7962 | 2978.5913 | 5155.2594 | 641.4486 | 11234.0436 | 3699.0582 | 7820.8836 | 6192.6704 | 297299.6952 | -675.9309 | 1737.1954 | 3501.6478 | 428.1386 | 399.8103 | 718.1675 | 3750.4877 | -1.1049 | 1504083.6584
| Military Reservation Service | 8635787.2352 | 2067657.9197 | 94783.9975 | 24964.1506 | 15016.3697 | 25989.8971 | 3233.8202 | 56635.6829 | 18648.5556 | 39428.4638 | 31219.9356 | 2725125.1732 | -3086.842 | 8757.955 | 17582.1332 | 2158.432 | 2015.6169 | 3595.6444 | 18452.8432 | -9.0807 | 13787957.9031
| Cotton Gin Service | 35108.1956 | 3301.012 | 38611.8945 | 13306.0166 | 5340.6033 | 12652.165 | 1114.3301 | 22281.8813 | 4591.1836 | 11736.8434 | 6453.8613 | 15110.0101 | -34.0422 | 109.5202 | 568.8728 | 22.5965 | 21.1014 | 172.1985 | 417.1666 | 139.7686 | 171025.1793
| City & County Service | 7957553.2777 | 1827132.1533 | 1322648.5137 | 450373.0383 | 184802.4377 | 429828.7057 | 38630.2633 | 764630.2666 | 162907.2391 | 409524.3085 | 232520.9205 | 2083117.3795 | -4297.5737 | 37556.869 | 68611.6774 | 2255.5098 | 2106.2715 | 21333.324 | 114409.1551 | 724.4486 | 16106368.1856
| TOTAL | 254802563.5295 | 58269771.4269 | 36287036.1994 | 12307734.4712 | 7352375.3599 | 11760605.0179 | 1536203.0607 | 20989894.5497 | 6441108.9022 | 11301969.6835 | 9159368.7036 | 63751004.3493 | -565261.4383 | 3405334.2013 | 12760836.4427 | 1261955.8111 | 1337425.3344 | 4377515.9484 | 28382159.5329 | 663641.0434 | 545583242.1298
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
225
226
Note on C1958: Murphy, Brian: See Givens DT

## Rev Distribution
Line | Description | Total Texas | R01-Residential | R02-Small Gen Serv | R07-Rec Light | R08-Street Light | R09-Traffic Signs | R11TOU-Muni Pump | R15-Elec Ref | R22-Irrig Serv | R24-Gen Serv | R25-Large Power | R26-Petroleum Ref | R28-P Area Light | R30-Elec Furnace | R31-Mili Reserv | R34-Cotton Gin | R41-Cty/Cnty | RWH-Water Heating
1 | TOTAL CCOSS CLASS REV REQUIREMENT | 545583242.1298 | 312734496.8573 | 28585959.4639 | 590524.8107 | 3042994.0415 | 90630.6904 | 9308943.1777 | 2093904.896 | 539950.9059 | 106999477.9227 | 34988955.7081 | 11681074.4319 | 2589991.8571 | 1504083.6584 | 13787957.9031 | 171025.1793 | 16106368.1856 | 766902.44
2 | COVID19 RIDER REVENUE | 2209826.2388 | 1388193.737 | 137971.122 | 2559.5841 | 14583.3701 | 323.176 | 30277.8502 | 6405.7647 | 2097.3856 | 362957.6846 | 116009.2126 | 33796.4315 | 6276.0975 | 4313.9142 | 42820.6852 | 594.5454 | 55477.8417 | 5167.8366
3 | TOTAL CCOSS CLASS REV REQUIREMENT | 547793068.3686 | 314122690.5942 | 28723930.5859 | 593084.3948 | 3057577.4116 | 90953.8664 | 9339221.0279 | 2100310.6607 | 542048.2915 | 107362435.6074 | 35104964.9207 | 11714870.8634 | 2596267.9546 | 1508397.5725 | 13830778.5883 | 171619.7247 | 16161846.0273 | 772070.2766
4 | BASE RATE REVENUE AT PRESENT RATES | 533815444 | 274080350 | 33434697 | 462980 | 4046620 | 95204 | 10102350 | 1830063 | 439605 | 125392755 | 36014169 | 10964770 | 2932614 | 1191760 | 13009892 | 132972 | 19210061 | 474582
5 | % NON-FUEL INCREASE | 2.618% | 14.61% | -14.09% | 28.1% | -24.44% | -4.464% | -7.554% | 14.77% | 23.3% | -14.38% | -2.525% | 6.841% | -11.47% | 26.57% | 6.31% | 29.06% | -15.87% | 62.68%
6 | Capping Level1 |  | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2
7 | CAPPED INCREASE / FLOOR DECREASE |  | 3.928% | -7.045% | 28.1% | -24.44% | -4.464% | -7.554% | 14.77% | 23.3% | -7.19% | -2.525% | 6.841% | -11.47% | 26.57% | 6.31% | 29.06% | -7.934% | 3.928%
8 | REV. REQ. AT CAPPED INCREASE / FLOOR DECREASE | 531131464.2984 | 284845284.4605 | 31079313.7929 | 593084.3948 | 3057577.4116 | 90953.8664 | 9339221.0279 | 2100310.6607 | 542048.2915 | 116377595.3037 | 35104964.9207 | 11714870.8634 | 2596267.9546 | 1508397.5725 | 13830778.5883 | 171619.7247 | 17685953.5137 | 493221.9504
9 | REV. REQ. DEFICIENCY | 16661604.0702
10 | REV. REQ. SUBJECT TO DEFICIENCY ALLOCATION | 531131464.2984 | 284845284.4605 | 31079313.7929 | 593084.3948 | 3057577.4116 | 90953.8664 | 9339221.0279 | 2100310.6607 | 542048.2915 | 116377595.3037 | 35104964.9207 | 11714870.8634 | 2596267.9546 | 1508397.5725 | 13830778.5883 | 171619.7247 | 17685953.5137 | 493221.9504
11 | ALLOCATION OF DEFICIENCY | 16661604.0702 | 8935601.9554 | 974958.6609 | 18605.0687 | 95916.2612 | 2853.2245 | 292971.5401 | 65886.7851 | 17004.0651 | 3650767.3635 | 1101243.4128 | 367495.7203 | 81444.9748 | 47318.4603 | 433871.7856 | 5383.714 | 554808.6959 | 15472.3819
12 | REV. REQ. WITH DEFICIENCY ALLOCATION | 547793068.3686 | 293780886.4159 | 32054272.4538 | 611689.4635 | 3153493.6728 | 93807.0909 | 9632192.568 | 2166197.4458 | 559052.3566 | 120028362.6672 | 36206208.3335 | 12082366.5837 | 2677712.9294 | 1555716.0329 | 14264650.374 | 177003.4387 | 18240762.2095 | 508694.3323
13 | % NON-FUEL INCREASE W/ CAP OR FLOOR | 2.618% | 7.188% | -4.129% | 32.12% | -22.07% | -1.467% | -4.654% | 18.37% | 27.17% | -4.278% | 0.5332% | 10.19% | -8.692% | 30.54% | 9.645% | 33.11% | -5.046% | 7.188%
14 | REV. REQ. WITHOUT COVID-19 RIDER | 545583242.1298 | 292392692.679 | 31916301.3319 | 609129.8794 | 3138910.3026 | 93483.9149 | 9601914.7178 | 2159791.6811 | 556954.9711 | 119665404.9826 | 36090199.1209 | 12048570.1523 | 2671436.8319 | 1551402.1187 | 14221829.6888 | 176408.8933 | 18185284.3679 | 503526.4957
15 | BASE REVENUE INCREASE | 2.204% | 6.681% | -4.541% | 31.57% | -22.43% | -1.807% | -4.954% | 18.02% | 26.69% | -4.568% | 0.2111% | 9.884% | -8.906% | 30.18% | 9.316% | 32.67% | -5.335% | 6.099%
16 | 1 Capping Level:
0 - No Cap / No Floor
1 - 50% Floor
2 - 1.5 x System Average
3 - 2.0 x System Average

## Staff Proposed Rates
STAFF PROPOSED RATES
[6 empty] | COMPANY'S REQUEST |  |  | STAFF'S PROPOSAL
[5 empty] | Staff Recommended | EPE |  |  | TARGET | STAFF
|  |  | Billing |  | Total | PROPOSED |  |  | REVENUES | PROPOSED
Line | Description |  | Units | Adjustments | Billing Units | RATES | Revenues | % | STAFF | RATES | REVENUES | DELTA
1 | Rate 1 - Residential Service Rate
2 |  | Customer Charge - Non LIR | 3664944 | 0 | 3664944 | 10.54 | 38628509.76 | 0.12427 | 36319595.04 | 9.91 | 36319595.04
3 |  | Customer Charge - Low Income Rider | 122932 | 0 | 122932 | -10.54 | -1295703.28 | -0.0041685 | -1218256.12 | -9.91 | -1218256.12
4 |  | Energy Charge ($/kWh) Summer, First 600 kWh | 594193276 | 1087163.2521 | 595280439.2521 | 0.11827 | 70275238.7525 | 0.25661 | 65915756.0313 | 0.11073 | 65916593.5993
5 |  | Energy Charge ($/kWh) Summer, All Other kWh | 612549542 | 1120748.7177 | 613670290.7177 | 0.12827 | 78571729.7523 | 0.28691 | 73697579.1367 | 0.12009 | 73697506.2232
6 |  | Energy Charge ($/kWh) Non-Summer | 1272108507 | 2327508.0303 | 1274436015.0303 | 0.09827 | 125010102.9829 | 0.45648 | 117255175.4494 | 0.092005 | 117254485.5629
7 |  | DG Minimum Bill | 39255.8022 |  | 39255.8022 | 24.02 | 529168.2141 | 0.0017024 | 1256185.6715 | 32 | 1256185.6715 |  | 13.48
8 |  | Community Solar Base Credit ($/kWh) | 13004217.2718 |  | 13004217.2718 | -0.068124 | -885899.2974 | -0.0028501 | -833342.53 | -0.064082 | -833336.2512
9 |  | Total Revenues | 2478851325 | 4535420 |  |  | 310833146.8844 |  | 292392692.679 |  | 292392773.7256 | -81.0466
10
11 | Rate 2 - Small Commercial Service Rate
12 |  | Customer Charge | 345180 |  | 345180 | 12.23 | 4221551.4 | 0.1304 | 4161984.7622 | 12.06 | 4162870.8
13 |  | Energy Charge ($/kWh) Summer | 115181036.0451 | 447455.5316 | 115628491.5768 | 0.11502 | 13248122.7659 | 0.40923 | 13061190.0355 | 0.11295 | 13060122.4951
14 |  | Energy Charge ($/kWh) Non-Summer | 157128072.7849 | 610411.4684 | 157738484.2532 | 0.09502 | 14930309.476 | 0.4612 | 14719640.873 | 0.093308 | 14718262.4887
15 |  | DG Minimum Bill | 58.8461 |  | 58.8461 | 25.19 | 762.6456 |  | 2324.4214 | 39.5 | 2324.4214 |  | 12.96
16 |  | Community Solar Base Credit ($/kWh) | 425582.2062 |  | 425582.2062 | -0.064985 | -27656.4597 | -0.0008543 | -27266.2234 | -0.064068 | -27266.2008
17 |  | Total Revenues | 272309108.83 | 1057867 | 273366975.83 |  | 32373089.8279 |  | 31916301.3319 |  | 31916314.0044 | -12.6725
18
19 | Rate 7 - Outdoor Recreational Lighting Service
20 |  | Customer Charge | 2532 | 0 | 2532 | 25.39 | 64287.48 | 0.10238 | 62360.9609 | 24.63 | 62363.16
21 |  | Energy Charge ($/kWh) - Secondary Voltage | 3639116 |  | 3639116 | 0.1535 | 558604.306 | 0.99103 | 541864.4702 | 0.1489 | 541864.3724
22 |  | Energy Charge ($/kWh) - Primary Voltage | 37410 |  | 37410 | 0.13515 | 5055.9615 | 0.0089699 | 4904.4482 | 0.1311 | 4904.451
23 |  | Total kWh Sales and Revenues | 3676526 | 0 | 3676526 |  | 627947.7475 |  | 609129.8794 |  | 609131.9834 | -2.104
24
25 | Rate 8 - Street Lighting Service
26 |  | MV-OH SYSTEM CO. OWNED - 35' WOOD POLE
27 |  | 175W MV 7,000L - 195W | 3936 | 0 | 3936 | 12.57 | 49475.52 | 0.015788 | 49555.7701 | 12.59 | 49554.24
28 |  | 250W MV 11,000L - 275W | 2256 | 0 | 2256 | 14.35 | 32373.6 | 0.01033 | 32426.1105 | 14.38 | 32441.28
29 |  | 400W MV 20,000L - 460W | 240 | 0 | 240 | 18.44 | 4425.6 | 0.0014122 | 4432.7784 | 18.47 | 4432.8
30 |  | HPSV - DOWNTOWN E.P. AREA CO. OWNED - STEEL BASE STANDARD AND LUMINAIRE | [5 empty] | 0 | 0
31 |  | 1000W MV 119,500L OH 1,102W | 24 | 0 | 24 | 43.18 | 1036.32 | 0.00033069 | 1038.0009 | 43.25 | 1038
32 |  | 1000W MV 119,500L UG 1,102W | 84 | 0 | 84 | 70.49 | 5921.16 | 0.0018894 | 5930.7642 | 70.6 | 5930.4
33 |  | HPSV - DOWNTOWN E.P. AREA CO. OWNED - STEEL BASE STANDARD AND LUMINAIRE | [5 empty] | 0 | 0
34 |  | 450W HPS, 50,000L - OH 485 Watts | 1008 | 0 | 1008 | 37.7 | 38001.6 | 0.012126 | 38063.2392 | 37.76 | 38062.08
35 |  | MV- OH SYSTEM - CO-OWNED STEEL POLE | [5 empty] | 0 | 0
36 |  | Single 400W MV 20,000L | 852 | 0 | 852 | 26.37 | 22467.24 | 0.0071693 | 22503.6822 | 26.41 | 22501.32
37 |  | Double 400W MV 20,000L | 108 | 0 | 108 | 37.03 | 3999.24 | 0.0012762 | 4005.7268 | 37.09 | 4005.72
38 |  | MV - NON CO OWNED SYSTEMS INTERSTATE OR FREEWAY LIGHTING | [5 empty] | 0 | 0
39 |  | 250W MV 11,000L Wall 292W | 264 | 0 | 264 | 8.96 | 2365.44 | 0.00075481 | 2369.2768 | 8.97 | 2368.08
40 |  | 400W MV 20,000L - 460W | 168 | 0 | 168 | 10.88 | 1827.84 | 0.00058326 | 1830.8048 | 10.9 | 1831.2
41 |  | MV - NON CO. OWNED - WOOD POLE 35'- UG OR OH RESIDENTIAL | [5 empty] | 0 | 0
42 |  | 175W MV 7,000 L - 195 Watts | 60 | 0 | 60 | 5.85 | 351 | 0.000112 | 351.5693 | 5.86 | 351.6
43 |  | HPSV NON-CO. OWNED SYSTEMS INTERSTATE OR FREEWAY LIGHTING | [5 empty] | 0 | 0
44 |  | 150W HPS 16,000 L - Wall 193 Watts | 6900 | 0 | 6900 | 8.18 | 56442 | 0.018011 | 56533.5498 | 8.19 | 56511
45 |  | 250W HPS 23,200 L - Wall 313 Watts | 1128 | 0 | 1128 | 9.65 | 10885.2 | 0.0034735 | 10902.856 | 9.67 | 10907.76
46 |  | 400W HPS 50,000 L - 50 Ft. 485 Watts | 23400 | 0 | 23400 | 19.1 | 446940 | 0.14262 | 447664.9439 | 19.13 | 447642
47 |  | 400W HPS 50,000 L - 150 Ft. Lowering | 0 | 0 | 0 | 15.25 | 0 | 0 |  | 15.25 | 0
48 |  | 400W HPS 50,000 L - 150 Ft. Climbing | 1224 | 0 | 1224 | 11.99 | 14675.76 | 0.004683 | 14699.5643 | 12.02 | 14712.48
49 |  | 40 Ft. Max. Mounting Height 116 Watts - Incandescent Obstruction Lights | 72 | 0 | 72 | 3.52 | 253.44 | 8.0872e-05 | 253.8511 | 3.54 | 254.88
50 |  | 150 Ft. Tower 116 Watts HPS Non-Co Owned | 36 | 0 | 36 | 4.21 | 151.56 | 4.8363e-05 | 151.8058 | 4.22 | 151.92
51 |  | HPSV NON-CO. OWNED SYSTEMS LARGE ARTERIAL LIGHTING | [5 empty] | 0 | 0
52 |  | 150W HPS 16,000 L - Wall | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 |  | 250W HPS 23,200 L - Wall | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 |  | 250W HPS 23,200 L - 40 Ft. 313 Watts | 4608 | 0 | 4608 | 14.55 | 67046.4 | 0.021394 | 67155.1503 | 14.57 | 67138.56
55 |  | 400W HPS 50,000 L - 50 Ft. 485 Watts | 7632 | 0 | 7632 | 16.15 | 123256.8 | 0.039331 | 123456.7245 | 16.18 | 123485.76
56 |  | HPSV - NON-CO OWNED - WOOD/STEEL POLE UG OR OH STANDARD RESIDENTIAL SERVICE | [5 empty] | 0 | 0
57 |  | 100W HPS 8,500L | 58128 | 0 | 58128 | 4.34 | 252275.52 | 0.080501 | 252684.7149 | 4.35 | 252856.8
58 |  | 150W HPS 14,400 L | 0 | 0 | 0 | 5.44 | 0 | 0 | 0 | 5.44 | 0
59 |  | 250W HPS 23,200 L | 22764 | 0 | 22764 | 8.34 | 189851.76 | 0.060581 | 190159.7026 | 8.35 | 190079.4
60 |  | HPSV - OH - NON-CO. OWNED FIXTURE - CO. OWNED EXISTING WOOD POLE | [5 empty] | 0 | 0
61 |  | (DISTRIBUTION OR STREET LIGHT) CF or D | [5 empty] | 0 | 0
62 |  | 100W HPS 8,500L - 124 Watts | 32016 | 0 | 32016 | 5.86 | 187613.76 | 0.059867 | 187918.0725 | 5.87 | 187933.92
63 |  | 150W HPS 14,400 L - 193 Watts | 29988 | 0 | 29988 | 7.08 | 212315.04 | 0.067749 | 212659.4184 | 7.09 | 212614.92
64 |  | 250W HPS 23,200 L - 313 Watts | 10656 | 0 | 10656 | 8.99 | 95797.44 | 0.030569 | 95952.825 | 9.01 | 96010.56
65 |  | (2) 250W HPS 23,200 L - 626 Watts | 132 | 0 | 132 | 15.98 | 2109.36 | 0.00067309 | 2112.7814 | 16.01 | 2113.32
66 |  | 450W HPS 50,000 L - 485 Watts | 624 | 0 | 624 | 12.34 | 7700.16 | 0.0024571 | 7712.6498 | 12.36 | 7712.64
67 |  | OH - HPSV - CO. OWNED - WOOD POLE
68 |  | 100W HPS 8,500 L - 35 Ft. 124 Watts | 14532 | 0 | 14532 | 11.93 | 173366.76 | 0.055321 | 173647.9637 | 11.95 | 173657.4
69 |  | 150W HPS 14,400 L - 35 Ft. 193 Watts | 8220 | 0 | 8220 | 12.95 | 106449 | 0.033968 | 106621.662 | 12.97 | 106613.4
70 |  | 250W HPS 23,200 L - 35 Ft. 313 Watts | 5196 | 0 | 5196 | 15.2 | 78979.2 | 0.025202 | 79107.3055 | 15.22 | 79083.12
71 |  | 450W HPS 50,000 L - 50 Ft. 485 Watts | 1680 | 0 | 1680 | 21.86 | 36724.8 | 0.011719 | 36784.3682 | 21.9 | 36792
72 |  | ORNAMENTAL HPSV - NON-CO. OWNED, OPERATED & MAINTAINED | [5 empty] | 0 | 0
73 |  | 175W MH 14,400 Lumens - 210 Watt | 5868 | 0 | 5868 | 2.9 | 17017.2 | 0.0054302 | 17044.8022 | 2.9 | 17017.2
74 |  | 250W MH 16,000 Lumens - 295 Watt | 252 | 0 | 252 | 3.45 | 869.4 | 0.00027742 | 870.8102 | 3.46 | 871.92
75 |  | HPS ROADWAY ILLUMINATION COMPANY OWNED (ENERGY ONLY) | [5 empty] | 0 | 0
76 |  | 100W HPS - 124 Watt | 2952 | 0 | 2952 | 1.79 | 5284.08 | 0.0016861 | 5292.6509 | 1.79 | 5284.08
77 |  | 150W HPS - 193 Watt | 1368 | 0 | 1368 | 2.78 | 3803.04 | 0.0012135 | 3809.2086 | 2.78 | 3803.04
78 |  | 250W HPS - 313 Watt | 18312 | 0 | 18312 | 4.45 | 81488.4 | 0.026003 | 81620.5755 | 4.46 | 81671.52
79 |  | 400W HPS - 485 Watt | 30636 | 0 | 30636 | 10.63 | 325660.68 | 0.10392 | 326188.9069 | 10.65 | 326273.4
80 |  | MV TO LED - OH SYSTEM CO. OWNED - 35' WOOD POLE | [5 empty] | 0 | 0
81 |  | 175W MV 7,000L - 65W | 16452 | 0 | 16452 | 9.73 | 160077.96 | 0.051081 | 160337.609 | 9.75 | 160407
82 |  | 250W MV 11,000L - 100W | 768 | 0 | 768 | 12.16 | 9338.88 | 0.00298 | 9354.0278 | 12.18 | 9354.24
83 |  | 400W MV 20,000L - 100W | 660 | 0 | 660 | 14.43 | 9523.8 | 0.003039 | 9539.2478 | 14.45 | 9537
84 |  | LED- OH - EXISTING WOOD/STEEL POLE STANDARD RESIDENTIAL COMPANY OWNED (ENERGY ONLY) | [5 empty] | 0 | 0
85 |  | 65W LED 8,500L OH Existing- 35 ft 65 Watt | 1464 | 0 | 1464 | 9.51 | 13922.64 | 0.0044427 | 13945.2227 | 9.53 | 13951.92
86 |  | 95W LED 14,400L OH Existing- 35 ft 95 Watt | 0 | 0 | 0 | 10.85 | 0 | 0 |  | 10.85 | 0
87 |  | 125W LED 23,000L OH Existing- 35 ft 116 Watt | 408 | 0 | 408 | 12.98 | 5295.84 | 0.0016899 | 5304.4299 | 13 | 5304
88 |  | 400W LED 50,000L OH Existing- 50 ft 159 Watt | 0 | 0 | 0 | 18.81 | 0 | 0 |  | 18.81 | 0
89 |  | LIGHT-EMITTING DIODE ("LED") - ENERGY ONLY
90 |  | 1W-20W LED | 0 |  | 0 | 0.12 | 0 | 0 | 0 | 0.12 | 0
91 |  | 21W-30W LED | 288 | 0 | 288 | 0.44 | 126.72 | 4.0436e-05 | 126.9255 | 0.45 | 129.6
90 |  | 31W-40W LED | 89844 | 0 | 89844 | 0.42 | 37734.48 | 0.012041 | 37795.6859 | 0.42 | 37734.48
91 |  | 41W-50W LED | 1620 | 0 | 1620 | 0.54 | 874.8 | 0.00027915 | 876.2189 | 0.54 | 874.8
92 |  | 51W-60W LED | 120 | 0 | 120 | 0.66 | 79.2 | 2.5273e-05 | 79.3285 | 0.67 | 80.4
93 |  | 61W-70W LED | 28800 | 0 | 28800 | 0.78 | 22464 | 0.0071682 | 22500.437 | 0.78 | 22464
94 |  | 71W-80W LED | 876 | 0 | 876 | 0.9 | 788.4 | 0.00025158 | 789.6788 | 0.9 | 788.4
95 |  | 81W-90W LED | 180 | 0 | 180 | 1.02 | 183.6 | 5.8587e-05 | 183.8978 | 1.03 | 185.4
96 |  | 91W-100W LED | 14760 | 0 | 14760 | 1.14 | 16826.4 | 0.0053693 | 16853.6927 | 1.14 | 16826.4
97 |  | 101W-110W LED | 29868 | 0 | 29868 | 1.26 | 37633.68 | 0.012009 | 37694.7224 | 1.26 | 37633.68
98 |  | 111W-130W LED | 25092 | 0 | 25092 | 1.44 | 36132.48 | 0.01153 | 36191.0875 | 1.44 | 36132.48
99 |  | 131W-150W LED | 7968 | 0 | 7968 | 1.68 | 13386.24 | 0.0042715 | 13407.9527 | 1.68 | 13386.24
100 |  | 151W-170W LED | 13752 | 0 | 13752 | 1.92 | 26403.84 | 0.0084254 | 26446.6675 | 1.92 | 26403.84
101 |  | 171W-190W LED | 1656 | 0 | 1656 | 2.16 | 3576.96 | 0.0011414 | 3582.7619 | 2.16 | 3576.96
102 |  | 191W-210W LED | 0 | 0 | 0 | 2.4 | 0 | 0 | 0 | 2.4 | 0
103 |  | 211W-230W LED | 2304 | 0 | 2304 | 2.64 | 6082.56 | 0.0019409 | 6092.426 | 2.64 | 6082.56
104 |  | 231W-250W LED | 1932 | 0 | 1932 | 2.88 | 5564.16 | 0.0017755 | 5573.1852 | 2.88 | 5564.16
105 |  | 251W-270W LED | 15984 | 0 | 15984 | 3.12 | 49870.08 | 0.015913 | 49950.9701 | 3.13 | 50029.92
106 |  | 271W-300W LED | 0 |  | 0 | 3.42 | 0 | 0 | 0 | 3.42 | 0
107 |  | 301W-330W LED | 0 |  | 0 | 3.78 | 0 | 0 | 0 | 3.78
108 |  | 331W-360W LED | 0 |  | 0 | 4.14 | 0 | 0 | 0 | 4.14
109 |  | 361W-390W LED | 0 | 0 | 0 | 4.5 | 0 | 0 | 0 | 4.5 | 0
110 |  | 391W-420W LED | 0 | 0 | 0 | 4.86 | 0 | 0 | 0 | 4.86 | 0
111 |  | 421W-450W LED | 0 | 0 | 0 | 5.22 | 0 | 0 | 0 | 5.22 | 0
112 |  | 451W-480W LED | 0 | 0 | 0 | 5.58 | 0 | 0 | 0 | 5.58 | 0
113 |  | 481W-510W LED | 0 | 0 | 0 | 5.94 | 0 | 0 | 0 | 5.94 | 0
114 |  | 511W-540W LED | 0 | 0 | 0 | 6.3 | 0 | 0 | 0 | 6.3 | 0
115 |  | 541W-570W LED | 0 | 0 | 0 | 6.66 | 0 | 0 | 0 | 6.66 | 0
116 |  | NON CO OWNED LED ON CO OWNED POLES |  |  | 0 |  |  | 0 | 0 |  | 0
117 |  | Energy | 237958 | 0 | 237958 | 0.0337 | 8019.1846 | 0.0025589 | 8032.1918 | 0.033755 | 8032.2723
118 |  | Pole Attachment Fees | 6828 | 0 | 6828 | 1.57 | 10719.96 | 0.0034207 | 10737.3479 | 1.57 | 10719.96
119 |  | Total kWh Sales and Revenues | 36054763 | 0 | 36054763 |  | 3133827.1846 |  | 3138910.3026 |  | 3138909.4323 | 0.87035
120
121 | Rate 9 - Traffic Signal Service
122 |  | INCANDESCENT TRAFFIC SIGNALS (MONTHLY RATE PER UNIT)
123 |  | Flashing Lights
124 |  | 2 Unit School Flasher-790 Annl BH 133 Watts | 24 | 0 | 24 | 4.4 | 105.6 | 0.0010567 | 98.7815 | 4.12 | 98.88
125 |  | 30 Watt Controller - 24 Hours - 30 Watts | 564 | 0 | 564 | 0.99 | 558.36 | 0.0055871 | 522.3074 | 0.93 | 524.52
126 |  | 100 Watt Controller - 100 - 100 Watts | 7908 | 0 | 7908 | 3.31 | 26175.48 | 0.26192 | 24485.3616 | 3.1 | 24514.8
127 |  | LIGHT-EMITTING DIODE ("LED") TRAFFIC SIGNALS
128 |  | 5 Lamp Head - 24 Hours - 14 Watts | 9324 | 0 | 9324 | 0.75 | 6993 | 0.069974 | 6541.4706 | 0.71 | 6620.04
129 |  | 3 Lamp Head - 24 Hours - 14 Watts | 74028 | 0 | 74028 | 0.46 | 34052.88 | 0.34074 | 31854.1276 | 0.43 | 31832.04
130 |  | 3 Lamp Head - 18 Norm 6 Flash - 14 Watts | 0 | 0 | 0 | 0.46 | 0 | 0 | 0 | 0.43 | 0
131 |  | 4 Lamp Head - 24 Hours - 14 Watts | 2400 | 0 | 2400 | 0.75 | 1800 | 0.018011 | 1683.7762 | 0.7 | 1680
132 |  | 4 Lamp Head - 18 Norm 6 Flash - 14 Watts | 0 | 0 | 0 | 0.75 | 0 | 0 | 0 | 0.7 | 0
133 |  | 2 Unit Walk Light - 24 Hours - 9 Watts | 57984 | 0 | 57984 | 0.29 | 16815.36 | 0.16826 | 15729.613 | 0.27 | 15655.68
134 |  | 2 Unit Walk Light - 18 Norm 6 Flash-9 Watt | 0 | 0 | 0 | 0.29 | 0 | 0 | 0 | 0.27 | 0
135 |  | 1 Unit Flashing - 24 Hours - 14 Watts | 3156 | 0 | 3156 | 0.43 | 1357.08 | 0.013579 | 1269.455 | 0.4 | 1262.4
136 |  | 2 Unit Flashing - 24 Hours - 14 Watts | 96 | 0 | 96 | 0.46 | 44.16 | 0.00044188 | 41.3086 | 0.43 | 41.28
137 |  | 2 Unit School Flasher-351 Annl BH 14 Watts | 0 | 0 | 0 | 0.46 | 0 | 0 | 0 |  | 0
138 |  | 2 Unit School Flasher-790 Annl BH 14 Watts | 12252 | 0 | 12252 | 0.46 | 5635.92 | 0.056395 | 5272.0156 | 0.43 | 5268.36
139 |  | 4 Unit School Flasher-351 Annl BH 14 Watts | 0 | 0 | 0 | 0.75 | 0 | 0 | 0 | 0.71 | 0
140 |  | 4 Unit School Flasher-790 Annl BH 14 Watts | 0 | 0 | 0 | 0.75 | 0 | 0 | 0 | 0.71 | 0
141 |  | Bike Lane Signals | 0 | 0 | 0 | 0.33 | 0 | 0 | 0 | 0.33 | 0
METERED SERVICE
142 |  | Customer Charge | 312 | 0 | 312 | 12.34 | 3850.08 | 0.038525 | 3601.4851 | 11.54 | 3600.48
143 |  | Energy Charge | 68022 | 0 | 68022 | 0.03747 | 2548.7843 | 0.025504 | 2384.2125 | 0.035051 | 2384.2391
144 |  | Total kWh Sales and Revenues | 2655162 | 0 | 2655162 |  | 99936.7043 |  | 93483.9149 |  | 93482.7191 | 1.1958
145
146 | Rate 11 - Municipal Pumping Service
147 |  | Customer Charge | 0 |  | 0 | 0 | 0 | 0 | #REF!
148 |  | $ / kWh (Secondary Voltage) Summer | 0 |  | 0 | 0 | 0 | 0 | #REF!
149 |  | $ / kWh (Primary Voltage) Summer | 0 |  | 0 | 0 | 0 | 0 | #REF!
150 |  | $ / kWh (Secondary Voltage) Winter | 0 |  | 0 | 0 | 0 | 0 | #REF!
151 |  | $ / kWh (Primary Voltage) Winter | 0 |  | 0 | 0 | 0 | 0 | #REF!
152 |  | Total kWh Sales and Revenues | 0 | 0 | 0 |  | 0 |  | #REF! |  | 0 | #REF!
153
154 | Rate 11 - Municipal Pumping Service - T O U
155 |  | Customer Charge | 4824 | 0 | 4824 | 97.87 | 472124.88 | 0.045443 | 436341.9951 | 90.45 | 436330.8
156 |  | On-Peak - ($ / kWh) Secondary | 5548838.0115 | 0 | 5548838.0115 | 0.22914 | 1271460.7419 | 0.12238 | 1175095.2773 | 0.21177 | 1175094.0722
157 |  | Shoulder-Peak - ($ / kWh) Secondary | 8306156.0208 | 0 | 8306156.0208 | 0.09429 | 783187.4512 | 0.075384 | 723828.778 | 0.087148 | 723864.8849
158 |  | Off-Peak - ($ / kWh) Secondary | 123976228 | 0 | 123976228 | 0.0424 | 5256592.0672 | 0.50596 | 4858188.9389 | 0.039186 | 4858132.4704
159 |  | On-Peak - ($ / kWh) Primary | 1926608 | 0 | 1926608 | 0.22622 | 435837.2618 | 0.04195 | 402804.6569 | 0.20908 | 402805.5676
160 |  | Shoulder-Peak - ($ / kWh Primary | 2849090 | 0 | 2849090 | 0.09137 | 260321.3533 | 0.025057 | 240591.3 | 0.084452 | 240611.3487
161 |  | Off-Peak - ($ / kWh) Primary | 48374126 | 0 | 48374126 | 0.03948 | 1909810.4945 | 0.18382 | 1765063.7716 | 0.036488 | 1765075.1095
162 |  | Total kWh Sales and Revenues | 190981046.0322 |  | 190981046.0322 |  | 10389334.2499 |  | 9601914.7178 |  | 9601914.2533 | 0.46457
163
164 | Rate 15 - Electrolytic Refining Service
165 |  | Customer Charge | 12 | 0 | 12 | 22.07 | 264.84 | 0.00011618 | 250.925 | 20.91 | 250.92
166 |  | On-Peak Energy Charge ($/kWh) | 2815765 | 0 | 2815765 | 0.14961 | 421266.6016 | 0.1848 | 399132.7022 | 0.14175 | 399129.0572
167 |  | Off-Peak Energy Charge ($/kWh) | 39789009 | 0 | 39789009 | 0.0053 | 210881.7477 | 0.09251 | 199801.7442 | 0.005018 | 199661.2472
168 |  | Demand Charge ($/kW) - Summer | 30000 | 0 | 30000 | 21.34 | 640200 | 0.28084 | 606563.0528 | 20.22 | 606600
169 |  | Demand Charge ($/kW) - Non-Summer | 60000 | 0 | 60000 | 16.72 | 1003200 | 0.44008 | 950490.557 | 15.84 | 950400
170 |  | Interconnection Charge | 79134.1132 | 0 | 79134.1132 | 4.738% | 3749.7148 | 0.0016449 | 3552.6999 | 4.738% | 3749.7148
171 |  | Total kWh Sales and Revenues | 42604774 | 0 | 42604774 |  | 2279562.9042 |  | 2159791.6811 |  | 2159790.9392 | 0.74187
172
173 | Rider - Water Heating Rider (Rider to Rate Nos. 01, 02 and 24)
174 |  | Customer Charge | 38004 | 0 | 38004 | 4.84 | 183939.36 | 0.3412 | 171802.2994 | 4.52 | 171778.08
175 |  | Energy Charge - ($ / kWh) Summer | 1334123 | 0 | 1334123 | 0.08411 | 112213.0855 | 0.20815 | 104808.8137 | 0.078564 | 104814.0394
176 |  | Energy Charge - ($ / kWh) Non-Summer | 3789517 | 0 | 3789517 | 0.06411 | 242945.9349 | 0.45065 | 226915.3826 | 0.059885 | 226935.2255
177 |  | Total kWh Sales and Revenues | 5123640 | 0 | 5123640 |  | 539098.3804 |  | 503526.4957 |  | 503527.3449 | -0.84924
178
179 | Rate 22 - Irrigation Service
180 |  | Customer Charge | 1728 |  | 1728 | 22.99 | 39726.72 | 0.069785 | 38867.0771 | 22.49 | 38862.72
181 |  | Energy Charge - ($ / kWh) Summer | 1927916.8555 | 85293.7348 | 2013210.5903 | 0.15284 | 294662.8122 | 0.51761 | 288286.63 | 0.1432 | 288287.7301
182 |  | Energy Charge - ($ / kWh) Winter | 1912112.4682 | 84594.5266 | 1996706.9948 | 0.12284 | 234883.8956 | 0.4126 | 229801.264 | 0.11509 | 229805.0014
183 |  | Total kWh Sales and Revenues | 3840029.3236 | 169888.2614 | 4009917.5851 |  | 569273.4278 |  | 556954.9711 |  | 556955.4515 | -0.48048
184
185 | Rate 24 - General Service
186 |  | Secondary Voltage
187 |  | Customer Charge | 87780 |  | 87780 | 62.6 | 5495028 | 0.045 | 5384909.469 | 61.35 | 5385303
188 |  | Summer Energy Charge (0 - 200 kW hours) ($/kWh) | 320367796.7564 | 1914280.1597 | 322282076.916 | 0.10117 | 32411609.9978 | 0.26542 | 31762092.1282 | 0.098548 | 31760254.1159
189 |  | Summer Energy Charge (next 150 kW hours) ($/kWh) | 157116268.9879 | 938810.2035 | 158055079.1915 | 0.08117 | 12753127.5538 | 0.10444 | 12497559.125 | 0.079065 | 12496624.8363
190 |  | Summer Energy Charge (all addt'l kW hours) ($/kWh) | 95107736.1209 | 568293.2371 | 95676029.358 | 0.06117 | 5817740.2185 | 0.047642 | 5701154.6421 | 0.05958 | 5700377.8292
191 |  | Summer Demand Charge ($/kW) | 1686410 |  | 1686410 | 11.33 | 19107025.3 | 0.15647 | 18724126.8766 | 11.1 | 18719151
192 |  | Non-Summer Energy Charge (0 - 200 kW hours) ($/kWh) | 513673512.929 | 3069331.6379 | 516742844.5669 | 0.0503 | 25837777.7003 | 0.21159 | 25319997.2405 | 0.048993 | 25316782.1839
193 |  | Non-Summer Energy Charge (next 150 kW hours) ($/kWh) | 218727491.7023 | 1306953.1394 | 220034444.8417 | 0.0303 | 6627442.9986 | 0.054273 | 6494631.2482 | 0.02951 | 6493216.4673
194 |  | Non-Summer Energy Charge (all addt'l kW hours) ($/kWh) | 113476489.8678 | 678051.2753 | 114154541.143 | 0.0103 | 1168807.8456 | 0.0095716 | 1145385.3257 | 0.010025 | 1144399.275
195 |  | Non-Summer Demand Charge ($/kW) | 2826726 |  | 2826726 | 3.74 | 10571955.24 | 0.086576 | 10360096.778 | 3.67 | 10374084.42
196 |  | Primary Voltage | [5 empty] | 0 | 0
197 |  | Customer Charge | 432 |  | 432 | 62.6 | 27043.2 | 0.00022146 | 26501.2633 | 61.35 | 26503.2
198 |  | Summer Energy Charge (0 - 200 kW hours) ($/kWh) | 6162010 | 36819.598 | 6198829.598 | 0.09877 | 608621.7277 | 0.0049841 | 596425.151 | 0.09621 | 596389.3956
199 |  | Summer Energy Charge (next 150 kW hours) ($/kWh) | 4246548 | 25374.2188 | 4271922.2188 | 0.07877 | 334500.586 | 0.0027393 | 327797.3056 | 0.076727 | 327771.7761
200 |  | Summer Energy Charge (all addt'l kW hours) ($/kWh) | 3343679 | 19979.3439 | 3363658.3439 | 0.05877 | 196508.0148 | 0.0016092 | 192570.0597 | 0.057246 | 192555.9856
201 |  | Summer Demand Charge ($/kW) | 32919 |  | 32919 | 11.01 | 362438.19 | 0.0029681 | 355175.0494 | 10.79 | 355196.01
202 |  | Non-Summer Energy Charge (0 - 200 kW hours) ($/kWh) | 9403250 | 56186.8424 | 9459436.8424 | 0.04791 | 450509.7075 | 0.0036893 | 441481.643 | 0.046665 | 441424.6203
203 |  | Non-Summer Energy Charge (next 150 kW hours) ($/kWh) | 5774721 | 34505.4464 | 5809226.4464 | 0.02791 | 161172.4631 | 0.0013199 | 157942.6206 | 0.027182 | 157906.3933
204 |  | Non-Summer Energy Charge (all addt'l kW hours) ($/kWh) | 3402140 | 20328.6634 | 3422468.6634 | 0.00791 | 26910.9274 | 0.00022038 | 26371.6414 | 0.007701 | 26356.4312
205 |  | Non-Summer Demand Charge | 53002 |  | 53002 | 3.42 | 181266.84 | 0.0014844 | 177634.3129 | 3.35 | 177556.7
|  |  | 508962.2361 |  | 508962.2361 | -0.053025 | -26987.7226 | -0.00022101 | -26446.8976 | -0.051962 | -26446.6957
206 |  | Total kWh Sales and Revenues | 1450801644.3643 | 8668913.7657 | 1459470558.13 |  | 122112498.7886 |  | 119665404.9826 |  | 119665406.9437 | -1.9611
207
208 | Rate 25 - Large Power Service
209 |  | Secondary Voltage
210 |  | Customer Charge | 1080 |  | 1080 | 1089.05 | 1176174 | 0.030972 | 1117770.0482 | 1034.97 | 1117767.6
211 |  | On-Peak Energy Charge ($/kWh) | 34190260.6353 | 259611.1428 | 34449871.7781 | 0.11513 | 3936324.7069 | 0.10365 | 3740863.0504 | 0.10858 | 3740567.0777
212 |  | Off-Peak Energy Charge ($/kWh) | 390861721.229 | 2967864.4225 | 393829585.6515 | 0.00119 | 465125.4483 | 0.012248 | 442029.2361 | 0.001112 | 437938.4992
213 |  | Summer Demand Charge ($/kW) | 351587 |  | 351587 | 25.05 | 8807254.35 | 0.23192 | 8369922.4088 | 23.81 | 8371286.47
214 |  | Non-Summer Demand Charge ($/kW) | 651279 |  | 651279 | 20.43 | 13305629.97 | 0.35037 | 12644927.2411 | 19.42 | 12647838.18
215 |  | Primary Voltage | [5 empty] | 0 | 0
216 |  | Customer Charge | 228 |  | 228 | 1089.05 | 248303.4 | 0.0065384 | 235973.6768 | 1034.97 | 235973.16
217 |  | Summer Demand Charge ($/kW) | 125190 |  | 125190 | 23.65 | 2960743.5 | 0.077964 | 2813725.1841 | 22.48 | 2814271.2
218 |  | Summer Maximum Demand Charge ($/kW) | 11057 |  | 11057 | 11.92 | 131799.44 | 0.0034706 | 125254.8232 | 11.33 | 125275.81
219 |  | Non-Summer Demand Charge ($/kW) | 255274 |  | 255274 | 19.03 | 4857864.22 | 0.12792 | 4616642.7104 | 18.09 | 4617906.66
220 |  | On-Peak Energy Charge ($/kWh) | 11935905 | 90630.8955 | 12026535.8955 | 0.11809 | 1409567.0447 | 0.037117 | 1339573.7565 | 0.11138 | 1339467.4619
221 |  | Off-Peak Energy Charge ($/kWh) | 166419868 | 1263647.9312 | 167683515.9312 | 0.0011947 | 198820.7638 | 0.0052354 | 188948.1444 | 0.001118 | 187470.1708
222 |  | Transmission Voltage | [5 empty] | 0 | 0
223 |  | Customer Charge | 12 |  | 12 | 1089.05 | 13068.6 | 0.00034413 | 12419.6672 | 1034.97 | 12419.64
224 |  | Demand Charge - Summer | 6000 |  | 6000 | 21.36 | 128160 | 0.0033748 | 121796.1028 | 20.3 | 121800
225 |  | Demand Charge - Winter | 12000 |  | 12000 | 16.74 | 200880 | 0.0052897 | 190905.1274 | 15.91 | 190920
226 |  | On-Peak Energy Charge ($/kWh) | 516247 | 3919.9313 | 520166.9313 | 0.15771 | 81419.7375 | 0.002144 | 77376.769 | 0.14874 | 77369.1092
227 |  | Off-Peak Energy Charge ($/kWh) | 7183046 | 54541.8124 | 7237587.8124 | 0.0011947 | 8581.5396 | 0.00022597 | 8155.4157 | 0.001112 | 8048.1976
228 |  | Facilities Rental Charge | 351017.7894 |  | 351017.7894 | 1.24% | 4354.3757 | 0.00011466 | 4138.1553 | 1.179% | 4138.1487
229 |  | Delivery Service Charge | 9600 |  | 9600 | 4.36 | 41856 | 0.0011022 | 39777.6036 | 4.14 | 39744
230 |  | Total kWh Sales and Revenues | 611107047.8643 | 4640216.1357 | 615747264 |  | 37975927.0965 |  | 36090199.1209 |  | 36090201.3852 | -2.2642
231
232 | Rate 26 - Petroleum Refinery Service
233 |  | Customer Charge | 12 | 0 | 12 | 106.31 | 1275.72 | 9.6761e-05 | 1165.8277 | 97.15 | 1165.8
234 |  | Energy Charge (kWh) | 314641719 | 0 | 314641719 | 0.00998 | 3140124.3556 | 0.23817 | 2869629.7425 | 0.009121 | 2869847.119
235 |  | Demand Charge - Summer | 161600 | 0 | 161600 | 23.7 | 3829920 | 0.29049 | 3500005.4453 | 21.65 | 3498640
236 |  | Demand Charge - Winter | 323200 | 0 | 323200 | 19.08 | 6166656 | 0.46773 | 5635451.8055 | 17.44 | 5636608
237 |  | Facilities Rental Charge | 3732866.725 | 0 | 3732866.725 | 1.24% | 46306.2117 | 0.0035122 | 42317.3312 | 1.134% | 42315.7772
238 |  | Total kWh Sales and Revenues | 314641719 |  | 314641719 |  | 13184282.2873 |  | 12048570.1523 |  | 12048576.6962 | -6.5439
239
240 | Rate 28 - Area Lighting Service
241 |  | MV-OH SYSTEM CO. OWNED - WOOD POLE (WITH 35' POLE)
242 |  | 175W MV 7,000L 195 Watts | 804 | 0 | 804 | 12.74 | 10242.96 | 0.0037988 | 10148.2873 | 12.62 | 10146.48
243 |  | 250W MV 11,000L 275 Watts | 840 | 0 | 840 | 14.42 | 12112.8 | 0.0044923 | 12000.845 | 14.29 | 12003.6
244 |  | 400 MV 20,000L 460 Watts | 240 | 0 | 240 | 18.26 | 4382.4 | 0.0016253 | 4341.8948 | 18.08 | 4339.2
245 |  | HPSV OH SYSTEM CO. OWNED - 35' WOOD POLE | [5 empty] | 0 | 0
246 |  | 100W HPS 8,500L 124 Watts | 17424 | 0 | 17424 | 11.33 | 197413.92 | 0.073215 | 195589.2812 | 11.23 | 195671.52
247 |  | 150W HPS 14,400L 193 Watts | 588 | 0 | 588 | 12.77 | 7508.76 | 0.0027848 | 7439.3587 | 12.65 | 7438.2
248 |  | 250W HPS 23,200L 313 Watts | 26808 | 0 | 26808 | 15.19 | 407213.52 | 0.15102 | 403449.7653 | 15.05 | 403460.4
249 |  | 400W HPS 50,000L 485 Watts | 816 | 0 | 816 | 18.78 | 15324.48 | 0.0056834 | 15182.8403 | 18.61 | 15185.76
250 |  | HPSV FLOODLIGHT ON EXISTING WOOD POLE (DISTRIBUTION OR LIGHTING) | [5 empty] | 0 | 0
251 |  | 100W HPS 9,500L 137 Watts | 10992 | 0 | 10992 | 7.1 | 78043.2 | 0.028944 | 77321.8697 | 7.03 | 77273.76
252 |  | 250W HPS 27,500L 330 Watts | 10260 | 0 | 10260 | 10.95 | 112347 | 0.041666 | 111308.6097 | 10.85 | 111321
253 |  | 400W HPS 50,000L 490 Watts | 23160 | 0 | 23160 | 14.26 | 330261.6 | 0.12248 | 327209.0892 | 14.13 | 327250.8
254 |  | 1000W HPS 119,500L 1103 Watts | 13164 | 0 | 13164 | 27.88 | 367012.32 | 0.13611 | 363620.1331 | 27.62 | 363589.68
255 |  | METAL HALIDE FLOODLIGHT ON EXISTING WOOD POLE (DISTRIBUTION OR LIGHTING) | [5 empty] | 0 | 0
256 |  | 400W MH 38,000L 35' Pole 490 Watts | 2268 | 0 | 2268 | 15.54 | 35244.72 | 0.013071 | 34918.9634 | 15.4 | 34927.2
257 |  | 1000W MH 115,500L 35' Pole 1100 Watts | 4500 | 0 | 4500 | 27.93 | 125685 | 0.046613 | 124523.3305 | 27.67 | 124515
258 |  | HPSV FLOODLIGHT WITH NEW CO. SUPPLIED WOOD POLE | [5 empty] | 0 | 0
259 |  | 100W HPS 9,500L 35' Pole 137 Watts | 5724 | 0 | 5724 | 11.93 | 68287.32 | 0.025326 | 67656.1604 | 11.82 | 67657.68
260 |  | 250W HPS 27,500L 35' Pole 330 Watts | 3264 | 0 | 3264 | 15.86 | 51767.04 | 0.019199 | 51288.5725 | 15.71 | 51277.44
261 |  | 400W HPS 50,000L 35' Pole 490 Watts | 12504 | 0 | 12504 | 19.1 | 238826.4 | 0.088574 | 236618.9979 | 18.92 | 236575.68
262 |  | 1000W HPS 119,500L 35' Pole 1103 Watts | 2172 | 0 | 2172 | 34.62 | 75194.64 | 0.027887 | 74499.6381 | 34.3 | 74499.6
263 |  | 1000W HPS 119,500L 45' Pole 1103 Watts | 10620 | 0 | 10620 | 35.74 | 379558.8 | 0.14077 | 376050.6497 | 35.41 | 376054.2
264 |  | METAL HALIDE FLOODLIGHT WITH NEW CO. WOOD POLE | [5 empty] | 0 | 0
265 |  | 400W MH 38,000L 35' Pole 490 Watts | 1032 | 0 | 1032 | 24.38 | 25160.16 | 0.0093312 | 24927.612 | 24.14 | 24912.48
266 |  | 1000W MH 115,500L 35' Pole 1100 Watts | 1080 | 0 | 1080 | 36.02 | 38901.6 | 0.014427 | 38542.044 | 35.68 | 38534.4
267 |  | 1000W MH 115,500L 45' Pole 1100 Watts | 2592 | 0 | 2592 | 37.15 | 96292.8 | 0.035712 | 95402.794 | 36.81 | 95411.52
268 |  | LED AREA LIGHT ON EXISTING WOOD POLE (DISTRIBUTION OR LIGHTING) | [8 empty] | 0
269 |  | 31W-100W LED light equivalent to 150W HPS | 84 |  | 84 | 7.97 | 669.48 | 0.00024829 | 663.2922 | 7.9 | 663.6
270 |  | LED AREA LIGHT OH SYSTEM CO. OWNED - 35' WOOD POLE | [8 empty] | 0
271 |  | 31W-100W LED light equivalent to 150W HPS | 96 |  | 96 | 9.96 | 956.16 | 0.00035461 | 947.3225 | 9.87 | 947.52
272 |  | LED FLOODLIGHT ON EXISTING WOOD POLE (DISTRIBUTION OR LIGHTING) | [8 empty] | 0
273 |  | 31W-100W LED light equivalent to 150W HPS | 48 |  | 48 | 8.03 | 385.44 | 0.00014295 | 381.8775 | 7.96 | 382.08
274 |  | 101W-200W LED light equivalent to 400W HPS | 324 |  | 324 | 11.26 | 3648.24 | 0.001353 | 3614.5204 | 11.15 | 3612.6
275 |  | 250W-400W LED light equivalent to 1000W HPS | 96 |  | 96 | 16.38 | 1572.48 | 0.00058319 | 1557.946 | 16.22 | 1557.12
276 |  | 400W-500W LED | 0 |  | 0 | 17.12 | 0 | 0 | 0 | 17.12 | 0
277 |  | LED FLOODLIGHT WITH NEW CO. SUPPLIED 35FT WOOD POLE | [8 empty] | 0
278 |  | 31W-100W LED light equivalent to 150W HPS | 12 |  | 12 | 10.03 | 120.36 | 4.4638e-05 | 119.2475 | 9.94 | 119.28
279 |  | 101W-200W LED light equivalent to 400W HPS | 240 |  | 240 | 13.26 | 3182.4 | 0.0011803 | 3152.986 | 13.13 | 3151.2
280 |  | 250W-400W LED light equivalent to 1000W HPS | 84 |  | 84 | 18.42 | 1547.28 | 0.00057384 | 1532.9789 | 18.24 | 1532.16
281 |  | LED FLOODLIGHT WITH NEW CO. SUPPLIED 40FT WOOD POLE | [8 empty] | 0
282 |  | 250W-400W LED light equivalent to 1000W HPS | 0 |  | 0 | 18.82 | 0 | 0 | 0 | 18.82 | 0
283 |  | LED FLOODLIGHT WITH NEW CO. SUPPLIED 35FT DIRECT EMBEDDED POLE FOR UG ONLY (BORDER LIGHTING ONLY) | [8 empty] | 0
284 |  | 250W-400W LED light equivalent to 1000W HPS | 0 |  | 0 | 23.27 | 0 | 0 | 0 | 23.27 | 0
285 |  | LED FLOODLIGHT WITH NEW CO. SUPPLIED 35FT WOOD POLE FOR UG ONLY (BORDER LIGHTING ONLY) | [8 empty] | 0
286 |  | 250W-400W LED light equivalent 1000W HPS | 0 |  | 0 | 23.27 | 0 | 0 | 0 | 23.27 | 0
287 |  | LED FLOODLIGHT WITH NEW CO. SUPPLIED 35FT DIRECT EMBEDDED POLE FOR UG ONLY (BORDER LIGHTING ONLY) | [8 empty] | 0
288 |  | 2-250W-400W LED light equivalent 1000W HPS | 192 |  | 192 | 34.89 | 6698.88 | 0.0024844 | 6636.9642 | 34.57 | 6637.44
289 |  | LED FLOODLIGHT WITH NEW CO. SUPPLIED 35FT WOOD POLE FOR UG ONLY (BORDER LIGHTING ONLY) | [8 empty] | 0
290 |  | 2-250W-400W LED light equivalent 1000W HPS | 24 |  | 24 | 33.18 | 796.32 | 0.00029533 | 788.9598 | 32.87 | 788.88
291 |  | Total kWh Sales and Revenues | 26850631 | 0 | 26850631 |  | 2696358.48 |  | 2671436.8319 |  | 2671437.48 | -0.64807
292
293 | Rate 30 - Electric Furnace Rate
294 |  | Customer Charge | 12 | 0 | 12 | 19.12 | 229.44 | 0.00014945 | 231.8586 | 19.32 | 231.84
295 |  | On-Peak Rate Energy Charge ($/kWh) | 1636625.7874 | 0 | 1636625.7874 | 0.1678 | 274625.8071 | 0.17888 | 277520.7117 | 0.16959 | 277552.094
296 |  | Off-Peak Energy Charge ($/kWh) | 19932006.2126 | 0 | 19932006.2126 | 0.01205 | 240180.6749 | 0.15645 | 242712.4841 | 0.012187 | 242911.3597
297 |  | Demand Charge - Summer | 21509 | 0 | 21509 | 19.24 | 413833.16 | 0.26956 | 418195.4868 | 19.44 | 418134.96
298 |  | Demand Charge - Winter | 41474 | 0 | 41474 | 14.62 | 606349.88 | 0.39496 | 612741.5775 | 14.77 | 612570.98
299 |  | Total kWh Sales and Revenues | 21568632 | 0 | 21568632 |  | 1535218.962 |  | 1551402.1187 |  | 1551401.2337 | 0.88496
300
301 | Rate 31 - Military Reservation Service Rate
302 |  | Customer Charge | 12 | 0 | 12 | 133.48 | 1601.76 | 0.00010639 | 1513.0139 | 126.08 | 1512.96
303 |  | On-Peak Rate Energy Charge ($/kWh) | 17859386.652 | 0 | 17859386.652 | 0.13575 | 2424411.738 | 0.16103 | 2290086.3278 | 0.12823 | 2290019.8535
304 |  | Off-Peak Energy Charge ($/kWh) | 260679710.428 | 0 | 260679710.428 | 0.00665 | 1733520.0743 | 0.11514 | 1637473.7669 | 0.006281 | 1637329.2612
305 |  | Demand Charge - Summer | 184000 | 0 | 184000 | 22.82 | 4198880 | 0.27888 | 3966239.5332 | 21.56 | 3967040
306 |  | Demand Charge - Winter | 368000 | 0 | 368000 | 18.2 | 6697600 | 0.44485 | 6326517.0469 | 17.19 | 6325920
307 |  | Total kWh Sales and Revenues | 278539097.08 | 0 | 278539097.08 |  | 15056013.5724 |  | 14221829.6888 |  | 14221822.0746 | 7.6141
308
309 | Rate 34 - Cotton Gin Service
310 |  | Customer Charge | 6 |  | 6 | 1553.24 | 9319.44 | 0.051319 | 9053.0709 | 1508.85 | 9053.1
311 |  | Customer Charge - Off Season - Small General Service | 9 |  | 9 | 12.23 | 110.07 | 0.00060611 | 106.924 | 11.88 | 106.92
312 |  | Customer Charge - Off Season - General Service | 9 |  | 9 | 62.6 | 563.4 | 0.0031024 | 547.2969 | 60.81 | 547.29
313 |  | Energy Charge ($/kWh) - Summer | 0 | 0 | 0 | 0.08717 | 0 | 0 | 0 | 0.084678 | 0
314 |  | Energy Charge ($/kWh) - Non-Summer | 1534795 | 0 | 1534795 | 0.05717 | 87744.2302 | 0.48317 | 85236.3167 | 0.055521 | 85213.3532
315 |  | Energy Charge ($/kWh) - Summer, Sm Comm | 240 | 0 | 240 | 0.11502 | 27.6048 | 0.00015201 | 26.8158 | 0.11173 | 26.8157
316 |  | Energy Charge ($/kWh) - Non-Summer, Sm Comm | 240 | 0 | 240 | 0.09502 | 22.8048 | 0.00012558 | 22.153 | 0.092304 | 22.153
317 |  | Energy Charge ($/kWh) - Summer, Gen Svc, Blk 1 | 24393 | 0 | 24393 | 0.10117 | 2467.8398 | 0.013589 | 2397.3038 | 0.098278 | 2397.2953
318 |  | Energy Charge ($/kWh) - Summer, Gen Svc, Blk 2 | 0 | 0 | 0 | 0.08117 | 0 | 0 | 0 | 0.07885 | 0
319 |  | Energy Charge ($/kWh) - Non-Summer, Gen Svc, Blk 1 | 34571 | 0 | 34571 | 0.0503 | 1738.9213 | 0.0095756 | 1689.2193 | 0.048862 | 1689.2082
320 |  | Energy Charge ($/kWh) - Non-Summer, Gen Svc, Blk 2 | 2141 |  | 2141 | 0.0303 | 64.8723 | 0.00035723 | 63.0181 | 0.029434 | 63.0182
321 |  | Demand Charge ($/kW) - Non-Summer | 5505 |  | 5505 | 14.14 | 77840.7 | 0.42864 | 75615.8501 | 13.74 | 75638.7
322 |  | Demand Charge ($/kW) - Summer, General Service | 150 | 0 | 150 | 11.33 | 1699.5 | 0.0093585 | 1650.9247 | 11.01 | 1651.5
323 |  | Total kWh Sales and Revenues | 1594239 |  | 1594239 |  | 181599.3832 |  | 176408.8933 |  | 176409.3535 | -0.46019
324
325 | Rate 41 - City and County Service
326 |  | Secondary Voltage - Summer
327 |  | Customer Charge | 9996 |  | 9996 | 74.94 | 749100.24 | 0.040634 | 738947.6692 | 73.92 | 738904.32
328 |  | Summer Demand Charge | 215462 |  | 215462 | 24.6962 | 5321096.003 | 0.28864 | 5248979.0807 | 24.36 | 5248654.32
329 |  | Energy Charge - ($ / kWh) Summer | 64673685.3929 | 865162.6825 | 65538848.0755 | 0.045119 | 2918001.0959 | 0.15828 | 2878453.3677 | 0.043917 | 2878269.5909
330 |  | Non-Summer Demand Charge | 339892 |  | 339892 | 13.1561 | 4471645.0691 | 0.24256 | 4411040.7725 | 12.98 | 4411798.16
331 |  | Energy Charge - ($ / kWh) Non-Summer | 101333251.9931 | 1355570.6249 | 102688822.618 | 0.029434 | 2982617.5989 | 0.16179 | 2942194.1219 | 0.028649 | 2941932.0792
332 |  | Primary Voltage - Summer
333 |  | Customer Charge | 156 |  | 156 | 74.9396 | 11690.5722 | 0.00063415 | 11532.1297 | 73.92 | 11531.52
334 |  | Summer Demand Charge | 23889 |  | 23889 | 23.7926 | 568382.1949 | 0.030831 | 560678.8994 | 23.47 | 560674.83
335 |  | Energy Charge - ($ / kWh) Summer | 10476231 | 140144.2342 | 10616375.2342 | 0.043823 | 459103.4156 | 0.024904 | 452881.1777 | 0.042657 | 452862.7184
336 |  | Non-Summer Demand Charge | 39337 |  | 39337 | 12.2525 | 481976.3188 | 0.026144 | 475444.0839 | 12.09 | 475584.33
337 |  | Energy Charge - ($ / kWh) Non-Summer | 16757386 | 224169.4583 | 16981555.4583 | 0.028138 | 471523.6346 | 0.025577 | 465133.0652 | 0.027387 | 465073.8593
338 |  | Total kWh Sales and Revenues | 193240554.386 | 2585047 | 195825601.386 |  | 18435136.1429 |  | 18185284.3679 |  | 18185285.7278 | -1.36
339
340 | Total Firm Service kWh and Revenues |  | 5934439938.8804 | -2461729392.8371 | 3472710546.0433 |  | 572022252.0238 |  | 545583242.1298 |  | 545583340.7485 | -98.6187
341
342 | Non-Firm Service
343 | Rate 38 - Noticed Interruptible Power Service
344 |  | Primary Voltage
345 |  | Interruptible Demand Charge (kW) |  | 0 | 0 | 4.97 | 0
346 |  | Interruptible Energy Charge (kWh) |  | 0 | 0 | 0.00506 | 0
347 |  | Transmission Voltage
348 |  | Interruptible Demand Charge (kW) |  | 0 | 0 | 1.93 | 0
349 |  | Interruptible Energy Charge (kWh) |  | 0 | 0 | 0.00494 | 0
350 |  | Total Revenues | 0 | 0 | 0 |  | 0
351
352 | Rate 47 - Backup Power Service for Cogeneration and Small Power Production Facilities
353 | Large Systems Primary (Large Power Service - Primary Voltage)
354 |  | Customer Charge | 0 | 0 | 0 |  | 0
355 |  | On-Peak Energy Charge ($/kWh) |  | 0 | 0 |  | 0
356 |  | Off-Peak Energy Charge ($/kWh) |  | 0 | 0 |  | 0
357 |  | Delivery Service Charge |  | 0 | 0 |  | 0
358 |  | Total kWh Sales and Revenues | 0 | 0 | 0 |  | 0
359
360 | Total Non-Firm kWh Sales and Revenues |  | 0 | 0 | 0 |  | 0
361
362 | Total Firm and Non Firm kWh Sales and Revenues |  | 5934439938.8804 | -2461729392.8371 | 3472710546.0433 |  | 572022252.0238
363
364 | Miscellaneous Service Charges
365 |  | New Service Start - No Meter Reading Required |  | 0 | 0 |  | 0
366 |  | New Service Start - Meter Reading Required |  | 0 | 0 |  | 0
367 |  | New Service Start - No Existing Meter (Standard Rate) |  | 0 | 0 |  | 0
368 |  | New Service Start - No Existing Meter (Non-Standard Rate) |  | 0 | 0 |  | 0
369 |  | Energy Diversion Charge |  | 0 | 0 |  | 0
370 |  | Meter Seal Replacement Charge |  | 0 | 0 |  | 0
371 |  | No Access to Meter Charge |  | 0 | 0 |  | 0
372 |  | "No Light" Service Call Charge (Standard Rate) |  | 0 | 0 |  | 0
373 |  | "No Light" Service Call Charge (Non-Standard Rate) |  | 0 | 0 |  | 0
374 |  | Non-Pay Reconnect Charge @ Meter - Next Day |  | 0 | 0 |  | 0
375 |  | Non-Pay Reconnect Charge @ Meter - Same Day |  | 0 | 0 |  | 0
376 |  | Non-Pay Reconnect Charge @ Pole |  | 0 | 0 |  | 0
377 |  | Pulse Metering Equipment Installation |  | 0 | 0 |  | 0
378 |  | Pulse Metering Equipment Repair |  | 0 | 0 |  | 0
379 |  | Returned Payment Charge |  | 0 | 0 |  | 0
380 |  | *Remote Meter Register Charge (DELETED) |  | 0 | 0 |  | 0
381 |  | Requested Meter Test Charge (Single Phase) |  | 0 | 0 |  | 0
382 |  | Requested Meter Test Charge (Three Phase) |  | 0 | 0 |  | 0
383 |  | *Record Name Change Charge (DELETED) |  | 0 | 0 |  | 0
384 |  | Temporary Overhead Connection Charge |  | 0 | 0 |  | 0
385 |  | Temporary Underground Connection Charge |  | 0 | 0 |  | 0
386 |  | Unable to Connect Requested New UG/OH Service |  | 0 | 0 |  | 0
387 |  | Facilities Rental Charge |  | 0 | 0 |  | 0
388 |  | Maintenance of Customer-Dedicated Facility Charge (B) |  | 0 |  |  | 0
389 |  | Maintenance of Customer-Owned Facility Charge (B) |  | 0 |  |  | 0
390 |  | Special Billing Analysis Charge (B) |  | 0 |  |  | 0
391 |  | Special Billing History Charge (B) |  | 0 |  |  | 0
392 |  | Non-Routine Miscellaneous Service Charges (B) |  | 0 |  |  | 0
393 |  | Out of Cycle Meter Reading Charge (B) |  | 0 |  |  | 0
388 | Total Miscellaneous Service Charges | [5 empty] | 0
389
390 | Other Electric Revenues
391 |  | Rent from Property |  |  |  |  | 2193042
392 |  | Other Electric Revenues - Wheeling |  |  |  |  | 370785
393 |  | Transmission of Electricity Others |  |  |  |  | 17146845
394 |  | Other Sales Margins Retained by EPE |  |  |  |  | 36823366
395 |  | Forfeited Discounts |  |  |  |  | 1469887
396 | Total Other Electric Revenues | [5 empty] | 58003925
397
398 | Total Base, Miscellaneous, and Other Electric Revenue at Proposed Rates | [5 empty] | 630026177.0238
399 | Total Fuel Revenues, per WP/ A-3 Adjustment 2 | [5 empty] | 149384419
400 | Total Revenues | [5 empty] | 779410596.0238
Totals may not match other schedules/workpapers due to rounding.
* These charges (within the Miscellaneous Service Charges) are proposed to be DELETED in this rate case.

## Billing Det Adj
Energy Efficiency Billing Determinants Adjustment
| EPE PROPOSED | ENERGY | ADJUSTED
| KWH BILLING | EFFICIENCY | KWH BILLING
| DETERMINANTS | ADJUSTMENT | DETERMINANTS
Residential Service | 2478851325.5812 | 4535420 | 2483386745.5812
Small General Service | 272309108.83 | 1057867 | 273366975.83
Outdoor Recreational Lighting Service | 3676526 | 0 | 3676526
Government Street Lighting Service | 36054763 | 0 | 36054763
Government Signal Service | 2655162 | 0 | 2655162
Time of Use Municipal Pumping Service | 172350354 | 0 | 172350354
Electrolytic Refining Service | 42604774 | 0 | 42604774
Water Heating | 5123640 | 0 | 5123640
Irrigation Service | 3840029.3236 | 169888.2614 | 4009917.5851
General Service | 1450801644.3643 | 8668913.7657 | 1459470558.13
Large Power Service | 611107047.8643 | 4640216.1357 | 615747264
Petroleum Refinery Service | 314641719 | 0 | 314641719
Area Lighting Service | 26829319 | 0 | 26829319
Electric Furnace | 21568632 | 0 | 21568632
Military Reservation Service | 278539097.08 | 0 | 278539097.08
Cotton Gin Service | 1596380 | 0 | 1596380
City & County Service | 193240554.386 | 2585047 | 195825601.386
TOTAL | 5915790076.4294 | 21657352.1629 | 5937447428.5923

## COVID-19 Rider
|  |  |  | Small | Recreational | Street | Traffic | TOU Municipal | Electric | Water | Irrigation | General | Large | Petroleum | Private Area | Electric | Military | Cotton | City &
|  | Total | Residential | General Service | Lighting | Lighting | Signals | Pumping | Refining | Heating | Service | Service | Power | Refining | Lighting | Furnace | Reservation | Gin | County
|  |  | Rate 01 | Rate 02 | Rate 07 | Rate 08 | Rate 09 | Rate 11TOU | Rate 15 | Rate WH | Rate 22 | Rate 24 | Rate 25 | Rate 26 | Rate 28 | Rate 30 | Rate 31 | Rate 34 | Rate 41
|  | 40359902.4319 | 25353741.7537 | 2519881.8458 | 46747.8228 | 266348.2702 | 5902.4333 | 552989.6684 | 116993.831 | 94384.5166 | 38306.3048 | 6628999.367 | 2118773.1498 | 617252.4577 | 114625.6109 | 78788.6176 | 782069.9412 | 10858.6786 | 1013238.1624
|  | 100% | 62.82% | 6.244% | 0.1158% | 0.6599% | 0.01462% | 1.37% | 0.2899% | 0.2339% | 0.09491% | 16.42% | 5.25% | 1.529% | 0.284% | 0.1952% | 1.938% | 0.0269% | 2.511%
Total Company COVID Reg Asset | 8398272.96 |  |  | Small | Recreational | Street | Traffic | TOU Municipal | Electric | Water | Irrigation | General | Large | Petroleum | Private Area | Electric | Military | Cotton | City &
One Year Amortization | 2799424.32 | Total | Residential | General Service | Lighting | Lighting | Signals | Pumping | Refining | Heating | Service | Service | Power | Refining | Lighting | Furnace | Reservation | Gin | County
Texas Jurisdiction | 2209826.2388 |  | Rate 01 | Rate 02 | Rate 07 | Rate 08 | Rate 09 | Rate 11TOU | Rate 15 | Rate WH | Rate 22 | Rate 24 | Rate 25 | Rate 26 | Rate 28 | Rate 30 | Rate 31 | Rate 34 | Rate 41
|  | 2209826.2388 | 1388193.737 | 137971.122 | 2559.5841 | 14583.3701 | 323.176 | 30277.8502 | 6405.7647 | 5167.8366 | 2097.3856 | 362957.6846 | 116009.2126 | 33796.4315 | 6276.0975 | 4313.9142 | 42820.6852 | 594.5454 | 55477.8417
Total kWh |  | 5937447428.5923 | 2483386745.5812 | 273366975.83 | 3676526 | 36054763 | 2655162 | 172350354 | 42604774 | 5123640 | 4009917.5851 | 1459470558.13 | 615747264 | 314641719 | 26829319 | 21568632 | 278539097.08 | 1596380 | 195825601.386
Secondary/Primary kWh |  | 5272393913.5123 | 2483386745.5812 | 273366975.83 | 3676526 | 36054763 | 2655162 | 172350354 |  | 5123640 | 4009917.5851 | 1459470558.13 | 608047971 |  | 26829319 |  |  | 1596380 | 195825601.386
Transmission kWh |  | 665053515.08 | [6 empty] | 42604774 |  |  |  | 7699293 | 314641719 |  | 21568632 | 278539097.08
Secondary/Primary Surcharge | Total | 2121038.8662 | 1388193.737 | 137971.122 | 2559.5841 | 14583.3701 | 323.176 | 30277.8502 | 0 | 5167.8366 | 2097.3856 | 362957.6846 | 114558.6354 | 0 | 6276.0975 | 0 | 0 | 594.5454 | 55477.8417
Transmission Surcharge | Total | 88787.3727 | 0 | 0 | 0 | 0 | 0 | 0 | 6405.7647 | 0 | 0 | 0 | 1450.5772 | 33796.4315 | 0 | 4313.9142 | 42820.6852 | 0 | 0
Secondary/Primary Surcharge | $ per kWh |  | 0.000559 | 0.000505 | 0.000696 | 0.000404 | 0.000122 | 0.000176 | 0 | 0.001009 | 0.000523 | 0.000249 | 0.000188 | 0 | 0.000234 | 0 | 0 | 0.000372 | 0.000283
Transmission Surcharge | $ per bill |  | 0 | 0 | 0 | 0 | 0 | 0 | 533.81 | 0 | 0 | 0 | 120.88 | 2816.37 | 0 | 359.49 | 3568.39 | 0 | 0