## Exhibit JP-R3
EL PASO ELECTRIC COMPANY
Excerpt From EPE's Loads & Resources Table: 2021-2040
Initial 2021 IRP
Line | Description | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
1 | GENERATION RESOURCES
1.1 | RIO GRANDE | 323 | 278 | 232 | 232 | 232 | 232 | 232 | 232 | 232 | 232 | 232 | 232 | 232 | 88 | 88 | 88 | 88 | 88 | 88 | 88
1.2 | NEWMAN | 729 | 729 | 811 | 811 | 811 | 811 | 494 | 494 | 494 | 494 | 494 | 494 | 494 | 494 | 494 | 494 | 494 | 494 | 494 | 494
1.3 | COPPER | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | 63 | - | - | - | - | - | - | - | - | - | -
1.4 | MONTANA | 352 | 352 | 352 | 352 | 352 | 352 | 352 | 352 | 352 | 352 | 352 | 352 | 352 | 352 | 352 | 352 | 352 | 352 | 352 | 352
1.5 | PALO VERDE | 622 | 622 | 622 | 622 | 622 | 622 | 622 | 622 | 622 | 622 | 622 | 622 | 622 | 622 | 622 | 622 | 622 | 622 | 622 | 622
1.6 | RENEWABLES | 6 | 6 | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
1.7 | STORAGE | bar: 2021 to 2040
1.8 | POSSIBLE EMERGING TECHNOLOGY EXPANSION | - | - | - | - | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40
1.9 | INTERRUPTIBLE | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56
1.1 | LINE LOSSES FROM OTHERS | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
1 | TOTAL GENERATION RESOURCES | 2159 | 2114 | 2150 | 2149 | 2189 | 2189 | 1872 | 1872 | 1872 | 1872 | 1809 | 1809 | 1809 | 1665 | 1665 | 1665 | 1665 | 1665 | 1665 | 1665
2 | RESOURCE PURCHASES
2.1 | RENEWABLE PURCHASE | 73 | 72 | 72 | 72 | 71 | 71 | 70 | 70 | 69 | 69 | 69 | 56 | 55 | 55 | 23 | 22 | 20 | 6 | 6 | 6
2.2 | NEW RENEWABLE PURCHASE | - | 43 | 42 | 42 | 42 | 42 | 41 | 41 | 41 | 41 | 41 | 40 | 40 | 40 | 40 | 40 | 39 | 39 | 39 | 39
2.3 | NEW RENEWABLE/ BATTERY PURCHASE | - | 75 | 75 | 74 | 74 | 74 | 73 | 73 | 72 | 72 | 72 | 71 | 71 | 71 | 70 | 70 | 70 | 69 | 69 | 69
2.4 | NEW BATTERY PURCHASE | bar: 2021 to 2040
2.5 | MARKET RESOURCE PURCHASE | bar: 2021 to 2040
2 | TOTAL RESOURCE PURCHASES | 73 | 190 | 189 | 188 | 187 | 187 | 184 | 184 | 182 | 182 | 182 | 167 | 166 | 166 | 133 | 132 | 129 | 114 | 114 | 114 | 3163
3 | FUTURE RESOURCES
3.1 | RENEWABLE | bar: 2021 to 2040
3.2 | RENEWABLE/STORAGE | bar: 2021 to 2040
3.3 | GAS GENERATION | - | - | - | - | - | - | 328 | 328 | 328 | 328 | 328 | 328 | 328 | - | - | - | - | - | - | -
3 | TOTAL RESOURCE PURCHASES | 0 | 0 | 0 | 0 | 0 | 0 | 328 | 328 | 328 | 328 | 328 | 328 | 328 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | TOTAL NET RESOURCES (1.0 + 2.0 + 3.0) | 2232 | 2304 | 2339 | 2337 | 2376 | 2376 | 2384 | 2384 | 2382 | 2382 | 2319 | 2304 | 2303 | 1831 | 1798 | 1797 | 1794 | 1779 | 1779 | 1779
5 | SYSTEM DEMAND
5.1 | NATIVE SYSTEM DEMAND | 2139 | 2190 | 2228 | 2256 | 2297 | 2337 | 2380 | 2418 | 2473 | 2524 | 2576 | 2623 | 2690 | 2754 | 2825 | 2895 | 2990 | 3089 | 3204 | 3334
5.2 | DISTRIBUTED GENERATION | -9 | -19 | -22 | -22 | -22 | -22 | -22 | -22 | -22 | -22 | -22 | -22 | -22 | -22 | -22 | -22 | -22 | -22 | -22 | -22
5.3 | ENERGY EFFICIENCY | -8 | -15 | -23 | -31 | -38 | -46 | -54 | -62 | -69 | -77 | -85 | -92 | -100 | -108 | -115 | -123 | -131 | -138 | -146 | -154
6 | TOTAL SYSTEM DEMAND (5.1 + 5.2 + 5.3) | 2122 | 2156 | 2183 | 2203 | 2237 | 2269 | 2304 | 2334 | 2382 | 2425 | 2469 | 2509 | 2568 | 2624 | 2688 | 2750 | 2837 | 2929 | 3036 | 3158
7 | MARGIN OVER TOTAL DEMAND (4.0 - 6.0) | 110 | 148 | 156 | 134 | 139 | 107 | 80 | 50 | 0 | -43 | -150 | -205 | -265 | -793 | -890 | -953 | -1043 | -1150 | -1257 | -1379
8 | PLANNING RESERVE 15% OF TOTAL DEMAND | 318.3 | 323.4 | 327.45 | 330.45 | 335.55 | 340.35 | 345.6 | 350.1 | 357.3 | 363.75 | 370.35 | 376.35 | 385.2 | 393.6 | 403.2 | 412.5 | 425.55 | 439.35 | 455.4 | 473.7
9 | MARGIN OVER RESERVE (7.0 - 8.0) | -208.3 | -175.4 | -171.45 | -196.45 | -196.55 | -233.35 | -265.6 | -300.1 | -357.3 | -406.75 | -520.35 | -581.35 | -650.2 | -1186.6 | -1293.2 | -1365.5 | -1468.55 | -1589.35 | -1712.4 | -1852.7
10 | RESERVE MARGIN | 5.184% | 6.865% | 7.146% | 6.083% | 6.214% | 4.716% | 3.472% | 2.142% | 0% | -1.773% | -6.075% | -8.171% | -10.32%
11 | RESERVE MARGIN EXCLUDING INTERRUPTIBLE | 2.545% | 4.267% | 4.581% | 3.541% | 3.71% | 2.248% | 1.042% | -0.2571% | -2.351% | -4.082% | -8.343% | -10.4% | -12.5%
12 | LARGEST SINGLE HAZARD (MW) | 211.088 | 211.088 | 228 | 228 | 228 | 228 | 228 | 228 | 228 | 228 | 228 | 228 | 228
Source: | New Mexico PRC Case No. 21-00242-UT, El Paso Electric Company's Integrated Resource Plan for the Period 2021-2040 (Sept 16, 2021).
| Cumulative Retirements |  | -45 | -237 | -237 | -237 | -237 | -554 | -554 | -554 | -554 | -617 | -617 | -617
| Cumulative Additions |  | 117 | 344 | 343 | 382 | 382 | 707 | 707 | 705 | 705 | 705 | 690 | 689
| Net Additions | 0 | 72 | 107 | 106 | 145 | 145 | 153 | 153 | 151 | 151 | 88 | 73 | 72
| Demand Growth |  | 34 | 61 | 81 | 115 | 147 | 182 | 212 | 260 | 303 | 347 | 387 | 446
| 1. Generation unit retirements are consistent with the 2018 IRP | 2028: Unit Retirements
| 2.Existing EPE owned solar renewables at 70 percent contribution to peak. | 2028: Rio Grande 6 (45MW) - December 2021 (2014); 2032: -45
| 3.Emerging technologies may include customer or other distributed resources as well as additional community solar. | 2028: Rio Grande 7 (46MW) - December 2022; 2032: -46
| 4.Interruptible customer capacity shifted to the resource side of the L&R. Capacity MW contribution per 2021 Load Forecast | 2028: Newman 1 (73MW) - December 2022; 2032: -73
| 5.Line losses from others shifted to resource side of the L&R and is the typical amount of repayment of transmission wheeling losses | 2028: Newman 2 (73MW) - December 2022; 2032: -73
| from transmission customers with in-kind energy during peak hours | 2028: Newman 3 (90MW) - December 2026; 2032: -90
| 6.Existing renewable solar PPAs at 70 percent contribution to peak | 2028: Newman 4 CC (227MW) - December 2026; 2032: -227
| 7.New renewable solar PPAs at 25 percent contribution to peak. | 2028: Copper (63MW) - December 2030; 2032: -63
| 8.New solar and battery storage PPAs with solar at 25 percent contribution to peak. | 2028: Rio Grande 8 (144MW) - December 2033; 2032: -144
9.System demand is based on the 2020 Long-Term Forecast dated April 1, 2021.
| 10.Native System Demand includes EV load. | 2028: New Renewable Purchase
Line 2.2 includes system solar resource 100 MW Solar
| Renewable Purchases | 2028: (25 at Peak) and NM RPS solar resource 70 MW in 2022 (18 MW at Peak)
| Line 2.1 includes SunEdison, NRG, Macho Springs, Juwi, and Hatch solar purchases (70% availability at peak) | 2028: Company Owned Renewables
Renewable Resources shown in line item 1.6 consists
of EPE Community Solar, Holloman Solar, EPCC,
Stanton, Wrangler, Rio Grande & Newman Carports,
and Van Horn
| Check |  | 72 | 107 | 105 | 144 | 144 | 152 | 152 | 150 | 150 | 87 | 72 | 71
|  |  | 0 | 0 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1
ate
ctri
gaP
e5
9
and Hatch solar purc hases (70%
availability at Peak)

## Power Plants
El Paso Electric Company ¦ Power Plants
(MI KEY: 4056994; SPCIQ KEY: 268503)
Development Type: All
Prime Mover: All
Fuel: All
Country: USA
State/Admin Region: All
Owner: El Paso Electric Co.
Regulatory Status (US Only): All
Power Plant Name | Power Plant Key | Owner | Operator | Owned Existing Capacity (MW) | Owned Planned Capacity (MW) | Total Owned Capacity (MW) | Operating Ownership (%) | Planned Ownership (%) | Operating Status | Prime Mover | Fuel Type | Year First Unit in Service | Country | NERC Region(s) | NERC Subregion(s) | ISO or TSO | State, Province, or Admin Region | Regulatory Status | Active Phases Maximum Project Cost ($000) | Completed Phases Project Cost ($000)
Copper | 2505 | El Paso Electric Co. | El Paso Electric Co. | 65 | NA | 65 | 100 | 0 | Operating | Gas Turbine | Natural Gas | 1980 | USA | WECC | AZNMSN | NA | TX | Regulated | NA | NA
Fort Bliss Army Solar Project | 19808 | El Paso Electric Co. | El Paso Electric Co. | NA | 20 | 20 | 0 | 100 | Terminated | Photovoltaic | Solar | NA | USA | WECC | AZNMSN | NA | TX | Regulated | NA | NA
Holloman AFB Solar Project | 20855 | El Paso Electric Co. | El Paso Electric Co. | 5 | NA | 5 | 100 | 0 | Operating | Photovoltaic | Solar | 2018 | USA | WECC | AZNMSN | NA | NM | Regulated | NA | 13000
Hueco Mountain Wind Ranch | 7624 | El Paso Electric Co. | El Paso Electric Co. | 1.3 | NA | 1.3 | 100 | 0 | Retired | Wind Turbine | Wind | 2001 | USA | WECC | AZNMSN | NA | TX | Regulated | NA | NA
Las Cruces Community Solar (New Mexico Community Solar Facility) | 20856 | El Paso Electric Co. | El Paso Electric Co. | NA | 2 | 2 | 0 | 100 | Terminated | Photovoltaic | Solar | NA | USA | WECC | AZNMSN | NA | NM | Regulated | NA | NA
Montana Power Station | 16998 | El Paso Electric Co. | El Paso Electric Co. | 372 | NA | 372 | 100 | 0 | Operating | Gas Turbine | Natural Gas | 2015 | USA | WECC | AZNMSN | NA | TX | Regulated | NA | 500840
Newman | 5080 | El Paso Electric Co. | El Paso Electric Co. | 254 | NA | 254 | 100 | 0 | Operating | Steam Turbine | Natural Gas | 1960 | USA | WECC | AZNMSN | NA | TX | Regulated | NA | NA
Newman CC | 5082 | El Paso Electric Co. | El Paso Electric Co. | 532.1 | NA | 532.1 | 100 | 0 | Operating | Combined Cycle | Natural Gas | 1975 | USA | WECC | AZNMSN | NA | TX | Regulated | NA | NA
Newman East CT | 25366 | El Paso Electric Co. | El Paso Electric Co. | NA | 556 | 556 | 0 | 100 | Planned | Gas Turbine | Natural Gas | 2023 | USA | WECC | AZNMSN | NA | TX | Regulated | 528200 | NA
Palo Verde | 5380 | El Paso Electric Co. | Arizona Public Service Co. | 632.47 | NA | 632.47 | 15.8 | 0 | Operating | Nuclear | Nuclear | 1986 | USA | WECC | AZNMSN,CAMX | CAISO | AZ | Regulated | NA | NA
Rio Grande | 5882 | El Paso Electric Co. | El Paso Electric Co. | 242 | NA | 242 | 100 | 0 | Operating | Steam Turbine | Natural Gas | 1957 | USA | WECC | AZNMSN | NA | NM | Regulated | NA | NA
Rio Grande CT | 15445 | El Paso Electric Co. | El Paso Electric Co. | 93 | NA | 93 | 100 | 0 | Operating | Gas Turbine | Natural Gas | 2013 | USA | WECC | AZNMSN | NA | NM | Regulated | NA | 91000
Texas Community Solar Project (Montana) | 19809 | El Paso Electric Co. | El Paso Electric Co. | 3 | NA | 3 | 100 | 0 | Operating | Photovoltaic | Solar | 2017 | USA | WECC | AZNMSN | NA | TX | Regulated | NA | 8400
|  |  |  | 2199.87 | 578 | 2777.87
Power Plant Name | Power Plant Key | Unit Code | Owner | Operator | Owned Capacity (MW) | Ownership (%) | Operating Unit Status | Prime Mover | Fuel Type | In-Service Year | Country | NERC Region(s) | NERC Subregion(s) | ISO or TSO | State, Province, or Admin Region | Regulatory Status
Copper | 2505 | 1 | El Paso Electric Co. | El Paso Electric Co. | 65 | 100 | Operating | Gas Turbine | Natural Gas | 1980 | USA | WECC | AZNMSN | NA | TX | Regulated
Fort Bliss Army Solar Project | 19808 | 1 | El Paso Electric Co. | El Paso Electric Co. | 20 | 100 | Terminated | Photovoltaic | Solar | NA | USA | WECC | AZNMSN | NA | TX | Regulated
Holloman AFB Solar Project | 20855 | HPV1 | El Paso Electric Co. | El Paso Electric Co. | 5 | 100 | Operating | Photovoltaic | Solar | 2018 | USA | WECC | AZNMSN | NA | NM | Regulated
Hueco Mountain Wind Ranch | 7624 | EXIS | El Paso Electric Co. | El Paso Electric Co. | 1.3 | 100 | Retired | Wind Turbine | Wind | 2001 | USA | WECC | AZNMSN | NA | TX | Regulated
Las Cruces Community Solar (New Mexico Community Solar Facility) | 20856 | NMCSF | El Paso Electric Co. | El Paso Electric Co. | 2 | 100 | Terminated | Photovoltaic | Solar | NA | USA | WECC | AZNMSN | NA | NM | Regulated
Montana Power Station | 16998 | GT-1 | El Paso Electric Co. | El Paso Electric Co. | 93 | 100 | Operating | Gas Turbine | Natural Gas | 2015 | USA | WECC | AZNMSN | NA | TX | Regulated
Montana Power Station | 16998 | GT-2 | El Paso Electric Co. | El Paso Electric Co. | 93 | 100 | Operating | Gas Turbine | Natural Gas | 2015 | USA | WECC | AZNMSN | NA | TX | Regulated
Montana Power Station | 16998 | GT-3 | El Paso Electric Co. | El Paso Electric Co. | 93 | 100 | Operating | Gas Turbine | Natural Gas | 2016 | USA | WECC | AZNMSN | NA | TX | Regulated
Montana Power Station | 16998 | GT-4 | El Paso Electric Co. | El Paso Electric Co. | 93 | 100 | Operating | Gas Turbine | Natural Gas | 2016 | USA | WECC | AZNMSN | NA | TX | Regulated
Newman | 5080 | 1 | El Paso Electric Co. | El Paso Electric Co. | 78 | 100 | Operating | Steam Turbine | Natural Gas | 1960 | USA | WECC | AZNMSN | NA | TX | Regulated
Newman | 5080 | 2 | El Paso Electric Co. | El Paso Electric Co. | 78 | 100 | Operating | Steam Turbine | Natural Gas | 1963 | USA | WECC | AZNMSN | NA | TX | Regulated
Newman | 5080 | 3 | El Paso Electric Co. | El Paso Electric Co. | 98 | 100 | Operating | Steam Turbine | Natural Gas | 1966 | USA | WECC | AZNMSN | NA | TX | Regulated
Newman CC | 5082 | 4 | El Paso Electric Co. | El Paso Electric Co. | 89 | 100 | Operating | Combined Cycle | Natural Gas | 1975 | USA | WECC | AZNMSN | NA | TX | Regulated
Newman CC | 5082 | 5CA1 | El Paso Electric Co. | El Paso Electric Co. | 155.1 | 100 | Operating | Combined Cycle | Natural Gas | 2011 | USA | WECC | AZNMSN | NA | TX | Regulated
Newman CC | 5082 | 5CT1 | El Paso Electric Co. | El Paso Electric Co. | 72 | 100 | Operating | Combined Cycle | Natural Gas | 2009 | USA | WECC | AZNMSN | NA | TX | Regulated
Newman CC | 5082 | 5CT2 | El Paso Electric Co. | El Paso Electric Co. | 72 | 100 | Operating | Combined Cycle | Natural Gas | 2009 | USA | WECC | AZNMSN | NA | TX | Regulated
Newman CC | 5082 | CT1 | El Paso Electric Co. | El Paso Electric Co. | 72 | 100 | Operating | Combined Cycle | Natural Gas | 1975 | USA | WECC | AZNMSN | NA | TX | Regulated
Newman CC | 5082 | CT2 | El Paso Electric Co. | El Paso Electric Co. | 72 | 100 | Operating | Combined Cycle | Natural Gas | 1975 | USA | WECC | AZNMSN | NA | TX | Regulated
Newman East CT | 25366 | 6 | El Paso Electric Co. | El Paso Electric Co. | 228 | 100 | Under Construction | Gas Turbine | Natural Gas | 2023 | USA | WECC | AZNMSN | NA | TX | Regulated
Newman East CT | 25366 | 7 | El Paso Electric Co. | El Paso Electric Co. | 100 | 100 | Early Development | Gas Turbine | Natural Gas | 2027 | USA | WECC | AZNMSN | NA | TX | Regulated
Newman East CT | 25366 | 8 | El Paso Electric Co. | El Paso Electric Co. | 228 | 100 | Early Development | Gas Turbine | Natural Gas | 2027 | USA | WECC | AZNMSN | NA | TX | Regulated
Palo Verde | 5380 | 1 | El Paso Electric Co. | Arizona Public Service Co. | 210.614 | 15.8 | Operating | Nuclear | Nuclear | 1986 | USA | WECC | AZNMSN,CAMX | CAISO | AZ | Regulated
Palo Verde | 5380 | 2 | El Paso Electric Co. | Arizona Public Service Co. | 211.088 | 15.8 | Operating | Nuclear | Nuclear | 1986 | USA | WECC | AZNMSN,CAMX | CAISO | AZ | Regulated
Palo Verde | 5380 | 3 | El Paso Electric Co. | Arizona Public Service Co. | 210.772 | 15.8 | Operating | Nuclear | Nuclear | 1988 | USA | WECC | AZNMSN,CAMX | CAISO | AZ | Regulated
Rio Grande | 5882 | 6 | El Paso Electric Co. | El Paso Electric Co. | 47 | 100 | Operating | Steam Turbine | Natural Gas | 1957 | USA | WECC | AZNMSN | NA | NM | Regulated
Rio Grande | 5882 | 7 | El Paso Electric Co. | El Paso Electric Co. | 48 | 100 | Operating | Steam Turbine | Natural Gas | 1958 | USA | WECC | AZNMSN | NA | NM | Regulated
Rio Grande | 5882 | 8 | El Paso Electric Co. | El Paso Electric Co. | 147 | 100 | Operating | Steam Turbine | Natural Gas | 1972 | USA | WECC | AZNMSN | NA | NM | Regulated
Rio Grande CT | 15445 | 9 | El Paso Electric Co. | El Paso Electric Co. | 93 | 100 | Operating | Gas Turbine | Natural Gas | 2013 | USA | WECC | AZNMSN | NA | NM | Regulated
Rio Grande CT | 15445 | G10 | El Paso Electric Co. | El Paso Electric Co. | 87 | 100 | Terminated | Gas Turbine | Natural Gas | NA | USA | WECC | AZNMSN | NA | NM | Regulated
Texas Community Solar Project (Montana) | 19809 | IMPV1 | El Paso Electric Co. | El Paso Electric Co. | 3 | 100 | Operating | Photovoltaic | Solar | 2017 | USA | WECC | AZNMSN | NA | TX | Regulated
211.088
*Cost estimated by S&P Global Market Intelligence.
Construction costs represent the entire project, not proportioned by owner
S&P Global Market Intelligence guarantees coverage of operational power plant units that file data with the EIA or are larger than 1 MW. S&P Global Market Intelligence does not comprehensively cover operational plants below this threshold. S&P Global Market Intelligence comprehensively covers power projects (generation or environmental) with units over 1 MW and supplying more than 50% of power generated to the grid.
A regulatory status of "regulated" indicates that at least one of a power plant's owners has its rate base regulated by a state Public Utility Commission or municipal rate-setting authority. If any owned portion of the plant is regulated, the entire plant and its units are marked regulated; otherwise, the plant is marked unregulated. Regulatory status only applies for US power plants.

## Newman East CT
Newman East CT ¦ Power Plant Profile
Owner |  |  | Ultimate Parent |  |  | Operating Capacity Ownership (%) |  |  | Planned Capacity Ownership (%)
El Paso Electric Co. |  |  | JPMorgan Chase & Co. |  |  | - |  |  | 100
Operator | [6 empty] | Plant Description
El Paso Electric Co. | [6 empty] | Operating Status |  |  | Planned
[7 empty] | Planned Capacity (MW) |  |  | 556
Site Information | [6 empty] | Prime Mover |  |  | Gas Turbine
City or County |  |  |  | El Paso County |  |  | Primary Fuel |  |  | Natural Gas
State, Province, or Admin Region |  |  |  | Texas |  |  | Fuel Group(s) |  |  | Gas
Country |  |  |  | USA |  |  | Co-Fired Units? |  |  | No
NERC Region and Subregion |  |  |  | WECC/AZNMSN (100.00%) |  |  | Fuel Switching Units? |  |  | No
Planning Area |  |  |  | El Paso Electric Company (100.00%) |  |  | Cogenerator? |  |  | No
Balancing Authority |  |  |  | El Paso Electric Company (100.00%) |  |  | Offshore? |  |  | No
Interconnected Utility |  |  |  | El Paso Electric Co. |  |  | Regulatory Status |  |  | Regulated
Water Source |  |  |  | Wells/Treated Municipal Waste
Other Plants at Site |  |  |  | Newman Newman CC |  |  | Power Plant Contacts
[7 empty] | Contact Name |  | Role | Job Title
Recent News & Notes | [6 empty] | Omar Gallegos |  | Planning and Scheduling | Director of Resource Planning & Management
RRA RRA Regulatory Focus: Parties to El Paso electric rate case propose lower ROEs than sought 12 days ago
El Paso Electric teams with Mitsubishi for carbon emissions reduction strategy 10/20/2021
EXTRA El Paso Electric, Sierra Club reach settlement over new 228-MW gas-fired unit 8/19/2021
RRA RRA Regulatory Focus: Rate hike, electric vehicle programs key to El Paso Electric's Texas rate case 6/3/2021
EXTRA NM regulators deny permit for El Paso gas plant already under construction 12/17/2020
Unit Details
Unit Name | Generation Technology | Technology Detail | Unit Nameplate Capacity (MW) | Capacity (MW) |  | Primary Fuel | Operating Status | Online Date
|  |  |  | Summer Net Capacity (MW) | Winter Net Capacity (MW)
6 | Gas Turbine (GT) | NA | 228 | 228 | 228 | Natural Gas | Under Construction | May - 2023
7 | Gas Turbine (GT) | NA | 100 | 100 | 100 | Natural Gas | Early Development | May - 2027
8 | Gas Turbine (GT) | NA | 228 | 228 | 228 | Natural Gas | Early Development | May - 2027
Project Summary
Phase | Project Type | Generation Technology | Technology Breakout | Current Development Status | New Capacity (MW) | Primary Fuel | Estimated Completion Date | Estimated Project Costs ($000) | Estimated Project Cost ($/kW)
1 | Generation | Gas Turbine (GT) | 1 CT | Construction Begun | 228 | Natural Gas | May - 2023 | 216600 | 950
3 | Generation | Gas Turbine (GT) | 2 CT | Early Development | 328 | Natural Gas | May - 2027 | 311600 | 950
*Cost estimated by S&P Global Market Intelligence.
S&P Global Market Intelligence guarantees coverage of operational power plant units that file data with the EIA or are larger than 1 MW in North America, and 5 MW outside of North America. S&P Global Market Intelligence does not comprehensively cover operational plants below this threshold. S&P Global Market Intelligence comprehensively covers power projects (generation or environmental) with units over 1 MW within North America, and over 5 MW outside of North America, which supply more than 50% of power generated to the grid.
Due to the variability of sources reporting values on in-development projects, S&P Global Market Intelligence accuracy on the following fields is guaranteed to be within 10%: unit capacity (nameplate, summer and winter) and project costs (minimum and maximum). Online date is guaranteed within 6 months for operational plants.
S&P Global Market Intelligence guarantees coverage on Power Purchase Agreements for plants first tracked after Jan - 2011 and with a unit greater than 100 MW.