## CEP 19-04 Attachment 1
Line
No. | Generating Unit | Description | Qty | Total Price
Generating Plant Critical Spare Parts
1 | Newman 4 | Unbladed Compressor and Unbladed Turbine | 1 | 5560000
2 | Newman 4 | Compressor Blade (Set) - including Hardware | 2 | 2196000
3 | Newman 4 | Turbine Blade R1 | 2 | 1071360.47
4 | Newman 4 | Turbine Blade R2 | 2 | 1071466.56
5 | Newman 4 | Turbine Blade R3 | 2 | 1042334.25
6 | Newman 4 | Turbine Blade R4 | 2 | 1161006.52
7 | Newman 4 | R1 Vane Segments | 2 | 1398938.81
8 | Newman 4 | R2 Vane Segments | 2 | 1481686.89
9 | Newman 4 | R3 Vane Segments | 2 | 1602447.01
10 | Newman 4 | R4 Vane Segments | 2 | 1866623.84
11 | Newman 4 | R1 Ring Segments | 2 | 263680.33
12 | Newman 4 | R2 Ring Segments | 2 | 409358.87
13 | Newman 4 | R3 Ring Segments | 2 | 260641.91
14 | Newman 4 | R4 Ring Segments | 2 | 271059.95
15 | Newman 4 | Baskets | 2 | 517316.06
16 | Newman 4 | Transition Cylinders (Clamshells) | 2 | 473925.25
17 | Newman 4 | Transitions | 2 | 1145708.35
18 | Newman 4 | Transition Seals | 2 | 158413.59
19 | Newman 4 | Fuel Nozzle Assembly | 2 | 573649.8
20 | Newman 4 | Compr - Diaphragms | 2 | 4205895.61
21 | Newman 4 | Turbine Blade Installation Hardware | 2 | 783587.53
22 | Newman 4 | Unit 4 New HP Circ Pump Bare Element | 1 | 119449
23 | Newman 4 | HRSG 1 FW Pump Overhaul | 1 | 150170.95
24 | Newman 5 | U5 Spare Motor | 1 | 130285
25 | Newman 5 | U5 Boiler Feed Pump Overhaul | 1 | 121881
26 | Newman 5 | GT3 Torque Converter | 1 | 115276.53
27 | RG8 | Boiler Forced Draft Fan Motor. (Siemens) 2500 HP, 4160V, 1187 RPM | 1 | 175000
28 | RG9 | Boiler Forced Draft Fan Motor. (GE) 2250 HP, 4160V, 1187 RPM | 1 | 150000
29 | RG8 | Boiler Feed Pump Motor. (Reliance) 2500 HP, 4160V, 3600 RPM | 1 | 150000
30 | RG8 | Boiler Feed Pump Barrel assembly (Byron Jackson) | 1 | 450000
31 | MPS 1-4, RG9 | LMS100 Supercore Model 7LMS100-PA-NGW (878-182) | 1 | 11800000
32 | MPS 1-4, RG9 | Spare Power Turbine | 1 | 5667987
33 | MPS 1-4, RG9 | Spare Booster | 1 | 1861546
34 | MPS 1-4, RG9 | 247Ths Valve,Butterfly,Actuator,Vbv1 | 1 | 299100
35 | MPS 1-4, RG9 | 247Ths Valve,Butterfly,Actuator,Vbv2,Woodward | 1 | 299100
36 | MPS 1-4, RG9 | 263Lfp Pump,Assembly,Liquid Fuel,Model Vsr2100 Mtr175 S484 With New Seal | 2 | 279000
37 | MPS 1-4, RG9 | 241Il Valve,Butterfly,Actuator,Vbv1,Ped,Woodward | 1 | 163100
38 | MPS 1-4, RG9 | 241Il Valve,Butterfly,Actuator,Vbv2,Ped,Woodward | 1 | 163100
39 | MPS 1-4, RG9 | Ehsv,Vsv Actr | 1 | 143376
40 | MPS 1-4, RG9 | 833Gen Essential Maintenance Kit / Applies Gsns 923395 U2Mps, 925300, 922744 U1Mps & 925515 921351.010 U9 | 1 | 141500
41 | MPS 1-4, RG9 | 248Mlo Pump,Mineral Lube Oil Dc Supply Pump,500Gpm,240Vdc Motor,2100Rpm,40Hp,Nema,Csa Approved | 1 | 119600