## BAFO EPE CT ALone
El Paso Electric Company
Newman 6 - Simple Cycle Revenue Requirements
(thousands)
Summary Results
| Present Value of Revenue Requirements as of May 1, 2022 |  | 773810880.5073
| Levelized Cost of Energy $/MWh |  | 83.8609 |  | 76.0343
[7 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
[8 empty] | 226.4 | MW Simple Cycle
[5 empty] | Generation (MWh) based on: |  | 1: COD May 1, 2022; 2: 35%; 3: Capacity Factor
Mitsubishi GAC | [6 empty] | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End
|  | Year | 2018 | 2019 | 2020 | 2027-04-30 | 2028-04-30 | 2029-04-30 | 2030-04-30 | 2031-04-30 | 2032-04-30 | 2033-04-30 | 2034-04-30 | 2035-04-30 | 2036-04-30 | 2037-04-30 | 2038-04-30 | 2039-04-30 | 2040-04-30 | 2041-04-30 | 2042-04-30 | 2043-04-30 | 2044-04-30 | 2045-04-30 | 2046-04-30 | 2047-04-30 | 2048-04-30 | 2049-04-30 | 2050-04-30 | 2051-04-30 | 2052-04-30 | 2053-04-30 | 2054-04-30 | 2055-04-30 | 2056-04-30 | 2057-04-30 | 2058-04-30 | 2059-04-30 | 2060-04-30 | 2061-04-30 | 2062-04-30 | 2063-04-30 | 2064-04-30 | 2065-04-30 | 2066-04-30 | 2067-04-30 | 59656 | 59657 | 59658 | 59659 | 59660 | 59661 | 59662 | 59663 | 59664 | 59665 | 59666 | 59667 | 59668 | 59669 | 59670
|  | MWh |  |  | 0 | 0 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4
$/MWh
| 0.97432 | Proposed VOM Rate ($/MWh) |  |  |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | ---
|  | 1.8268 | 1.8268 | 1.8268 | 1.8268 | 1.8268 | 1.7811 | 1.7811 | 1.7811 | 1.7811 | 1.7811 | 1.7811 | 1.7811 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554
|  | 1.0183 | 1.0183 | 1.0183 | 1.0183 | 1.0183 | 1.0178 | 1.0178 | 1.0178 | 1.0178 | 1.0178 | 1.0178 | 1.0178 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186
|  |  | 0.99212 | 1.0102 | 1.0287 | 1.0475 | 1.0666 | 1.0856 | 1.105 | 1.1246 | 1.1447 | 1.1651 | 1.1858 | 1.2069 | 1.2293 | 1.2521 | 1.2754 | 1.299 | 1.3231 | 1.3477 | 1.3727 | 1.3981 | 1.4241 | 1.4505 | 1.4774 | 1.5048 | 1.5328 | 1.5612 | 1.5902 | 1.6197 | 1.6497 | 1.6803 | 1.7115 | 1.7432 | 1.7756 | 1.8085 | 1.8421 | 1.8763 | 1.9111 | 1.9465 | 1.9827 | 2.0194 | 2.0569 | 2.0951 | 2.1339 | 2.1735 | 2.2139 | 2.2549 | 2.2968 | 2.3394 | 2.3828 | 2.427 | 2.472 | 2.5179 | 2.5646 | 2.6122 | 2.6607 | 2.71 | 2.7603 | 2.8115 | 2.8637
|  | VOM Costs ($) | 0 | 0 | 0 | 0 | 740388.7505 | 753575.9947 | 766998.1202 | 780659.3104 | 794563.8234 | 808715.9931 | 823120.2305 | 837781.0253 | 853324.8663 | 869157.1014 | 885283.0811 | 901708.2556 | 918438.1759 | 935478.4963 | 952834.9756 | 970513.4799 | 988519.9838 | 1006860.5728 | 1025541.4456 | 1044568.9155 | 1063949.4132 | 1083689.4885 | 1103795.8131 | 1124275.182 | 1145134.5166 | 1166380.8666 | 1188021.4126 | 1210063.4683 | 1232514.4832 | 1255382.0448 | 1278673.8817 | 1302397.8656 | 1326562.0145 | 1351174.495 | 1376243.6252 | 1401777.8776 | 1427785.882 | 1454276.428 | 1481258.4687 | 1508741.1229 | 1536733.6788 | 1565245.597 | 1594286.5135 | 1623866.2431 | 1653994.7827 | 1684682.3147 | 1715939.2104 | 1747776.0336 | 1780203.544 | 1813232.7009 | 1846874.6671 | 1881140.8123 | 1916042.7174 | 1951592.1779 | 1987801.2084
|  | VOM Costs (000$) | 0 | 0 | 0 | 0 | 740.3888 | 753.576 | 766.9981 | 780.6593 | 794.5638 | 808.716 | 823.1202 | 837.781 | 853.3249 | 869.1571 | 885.2831 | 901.7083 | 918.4382 | 935.4785 | 952.835 | 970.5135 | 988.52 | 1006.8606 | 1025.5414 | 1044.5689 | 1063.9494 | 1083.6895 | 1103.7958 | 1124.2752 | 1145.1345 | 1166.3809 | 1188.0214 | 1210.0635 | 1232.5145 | 1255.382 | 1278.6739 | 1302.3979 | 1326.562 | 1351.1745 | 1376.2436 | 1401.7779 | 1427.7859 | 1454.2764 | 1481.2585 | 1508.7411 | 1536.7337 | 1565.2456 | 1594.2865 | 1623.8662 | 1653.9948 | 1684.6823 | 1715.9392 | 1747.776 | 1780.2035 | 1813.2327 | 1846.8747 | 1881.1408 | 1916.0427 | 1951.5922 | 1987.8012
$/KW-yr
| 17.9756 | Proposed FOM ($/kW-yr) | 18.304 | 18.6384 | 18.9789 | 19.3256 | 19.6786 | 20.0291 | 20.3859 | 20.7489 | 21.1185 | 21.4947 | 21.8775 | 22.2672 | 22.6803 | 23.1011 | 23.5297 | 23.9663 | 24.4109 | 24.8639 | 25.3252 | 25.795 | 26.2736 | 26.7611 | 27.2576 | 27.7633 | 28.2784 | 28.8031 | 29.3375 | 29.8818 | 30.4362 | 31.0009 | 31.5761 | 32.162 | 32.7587 | 33.3665 | 33.9856 | 34.6161 | 35.2584 | 35.9125 | 36.5788 | 37.2575 | 37.9488 | 38.6529 | 39.37 | 40.1005 | 40.8445 | 41.6023 | 42.3741 | 43.1603 | 43.9611 | 44.7768 | 45.6075 | 46.4537 | 47.3156 | 48.1935 | 49.0876 | 49.9984 | 50.926 | 51.8709 | 52.8333
|  | FOM ($) |  |  |  |  | 4455236.9529 | 4534590.2628 | 4615356.9537 | 4697562.1998 | 4781231.6236 | 4866391.3039 | 4953067.7839 | 5041288.0799 | 5134822.0444 | 5230091.3992 | 5327128.3421 | 5425965.6681 | 5526636.7807 | 5629175.7034 | 5733617.0906 | 5839996.2399 | 5948349.1038 | 6058712.3017 | 6171123.1325 | 6285619.5872 | 6402240.3615 | 6521024.8692 | 6642013.2553 | 6765246.4097 | 6890765.9808 | 7018614.3899 | 7148834.8452 | 7281471.3568 | 7416568.7511 | 7554172.6863 | 7694329.6677 | 7837087.0636 | 7982493.1209 | 8130596.9817 | 8281448.7001 | 8435099.2585 | 8591600.5856 | 8751005.5733 | 8913368.0949 | 9078743.0233 | 9247186.2493 | 9418754.7011 | 9593506.3625 | 9771500.2937 | 9952796.6504 | 10137456.7043 | 10325542.8642 | 10517118.6965 | 10712248.9472 | 10910999.5635 | 11113437.7162 | 11319631.8222 | 11529651.568 | 11743567.933 | 11961453.2133
|  | FOM (000$) |  |  | 0 | 0 | 4455.237 | 4534.5903 | 4615.357 | 4697.5622 | 4781.2316 | 4866.3913 | 4953.0678 | 5041.2881 | 5134.822 | 5230.0914 | 5327.1283 | 5425.9657 | 5526.6368 | 5629.1757 | 5733.6171 | 5839.9962 | 5948.3491 | 6058.7123 | 6171.1231 | 6285.6196 | 6402.2404 | 6521.0249 | 6642.0133 | 6765.2464 | 6890.766 | 7018.6144 | 7148.8348 | 7281.4714 | 7416.5688 | 7554.1727 | 7694.3297 | 7837.0871 | 7982.4931 | 8130.597 | 8281.4487 | 8435.0993 | 8591.6006 | 8751.0056 | 8913.3681 | 9078.743 | 9247.1862 | 9418.7547 | 9593.5064 | 9771.5003 | 9952.7967 | 10137.4567 | 10325.5429 | 10517.1187 | 10712.2489 | 10910.9996 | 11113.4377 | 11319.6318 | 11529.6516 | 11743.5679 | 11961.4532
|  | Auora FOM $/MW-Week |  |  |  |  | 377.4187 | 384.1409 | 390.983 | 397.9469 | 405.0348 | 412.249 | 419.5916 | 427.0651 | 434.9887 | 443.0593 | 451.2796 | 459.6525 | 468.1807 | 476.8671 | 485.7147 | 494.7264 | 503.9054 | 513.2546 | 522.7773 | 532.4767 | 542.3561 | 552.4187 | 562.6681 | 573.1076 | 583.7408 | 594.5713 | 605.6027 | 616.8388 | 628.2834 | 639.9403 | 651.8135 | 663.907 | 676.2248 | 688.7712 | 701.5504 | 714.5667 | 727.8244 | 741.3282 | 755.0825 | 769.092 | 783.3614 | 797.8955 | 812.6994 | 827.7778 | 843.1361 | 858.7793 | 874.7127 | 890.9418 | 907.4719 | 924.3088 | 941.458 | 958.9255 | 976.717 | 994.8386 | 1013.2964
| 1532634.6911 | Hot Gas Path Inspection 5-Year |  |  |  | 2033-04-30: 1832675.1359; 2038-04-30: 2006187.9632; 2043-04-30: 2199333.1884; 2048-04-30: 2411073.42; 2053-04-30: 2643198.8875; 2058-04-30: 2897672.174; 2063-04-30: 3176644.8101; 2064-04-30: 0 | 3482475.4644 |  |  |  |  | 3817749.8854 |  |  |  |  | 4185302.7643
| 2736847.6626 | Major Gas Turbine Inspection 10 year |  |  |  | 2038-04-30: 3518207.663; 2048-04-30: 3600605.762; 2058-04-30: 3605859.8844 | 3605859.8844 | [9 empty] | 3605859.8844
| 82105.4299 | Boroscope Annual | [5 empty] | 91484.9677 | 93114.4288 | 94772.9125 | 96460.9359 | 98179.0251 | 99927.7156 | 101707.5525 | 103594.5922 | 105516.6432 | 107474.3552 | 109468.3897 | 111499.4207 | 113568.1347 | 115675.2306 | 117821.4208 | 120007.4305 | 122233.9985 | 124501.8773 | 126811.8334 | 129164.6475 | 131561.1147 | 134002.045 | 136488.2632 | 139020.6098 | 141599.9404 | 144227.1269 | 146903.0571 | 149628.6353 | 152404.7829 | 155232.4379 | 158112.5561 | 161046.1107 | 164034.0934 | 167077.5138 | 170177.4005 | 173334.8013 | 176550.7832 | 179826.4331 | 183162.858 | 186561.1856 | 190022.5643 | 193548.164 | 197139.1762 | 200796.8146 | 204522.3153 | 208316.9374 | 212181.9633 | 216118.6993 | 220128.4758 | 224212.6481 | 228372.5964 | 232609.7267 | 236925.4709 | 241321.2877
| 218947.813 | Preventive Maintenance Annual | [5 empty] | 243959.9139 | 248305.1433 | 252727.7667 | 257229.1625 | 261810.7337 | 266473.9084 | 271220.14 | 276252.2458 | 281377.7152 | 286598.2805 | 291915.7059 | 297331.7886 | 302848.3591 | 308467.2817 | 314190.4555 | 320019.8147 | 325957.3293 | 332005.0062 | 338164.8892 | 344439.06 | 350829.6392 | 357338.7866 | 363968.702 | 370721.626 | 377599.8411 | 384605.6716 | 391741.4855 | 399009.6942 | 406412.7543 | 413953.1677 | 421633.4828 | 429456.2953 | 437424.2489 | 445540.0367 | 453806.4014 | 462226.1369 | 470802.0886 | 479537.1549 | 488434.2881 | 497496.4949 | 506726.8382 | 516128.4374 | 525704.47 | 535458.1723 | 545392.8408 | 555511.8329 | 565818.5687 | 576316.5313 | 587009.2688 | 597900.3949 | 608993.5904 | 620292.6045 | 631801.2557 | 643523.4337
|  | Total Outage Costs | 0 | 0 | 0 | 0 | 0 | 335.4449 | 341.4196 | 347.5007 | 353.6901 | 2192.6649 | 366.4016 | 372.9277 | 379.8468 | 386.8944 | 5918.4683 | 401.3841 | 408.8312 | 416.4165 | 424.1425 | 2631.3451 | 440.0272 | 448.1913 | 456.5069 | 464.9767 | 6485.2829 | 482.3908 | 491.3408 | 500.457 | 509.7422 | 3162.3987 | 528.8328 | 538.6445 | 548.6383 | 558.8175 | 7072.7177 | 579.746 | 590.5024 | 601.4583 | 612.6176 | 3800.6286 | 635.5609 | 647.3529 | 659.3636 | 671.5971 | 7772.393 | 696.7494 | 709.6766 | 722.8436 | 736.255 | 4567.665 | 763.8288 | 778.0005 | 792.4352 | 807.1377 | 8613.2757 | 837.3662 | 852.9023 | 868.7267 | 884.8447
|  | Guaranteed Heat Rate |  |  |  |  | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668
|  | Forecasted NewInter Prices (#515) | 2.5504 | 2.4104 | 2.4283 | 2.4951 | 2.9832 | 3.0761 | 3.1691 | 3.2348 | 3.3032 | 3.3732 | 3.4456 | 3.5195 | 3.5946 | 3.6712 | 3.7496 | 3.8299 | 3.9118 | 3.9955 | 4.0811 | 4.1684 | 4.2576 | 4.3487 | 4.4418 | 4.5368 | 4.6339 | 4.7331 | 4.8344 | 4.9378 | 5.0435 | 5.1514 | 5.2617 | 5.3743 | 5.4893 | 5.6067 | 5.7267 | 5.8493 | 5.9744 | 6.1023 | 6.2329 | 6.3663 | 6.5025 | 6.6417 | 6.7838 | 6.929 | 7.0772 | 7.2287 | 7.3834 | 7.5414 | 7.7028 | 7.8676 | 8.036 | 8.208 | 8.3836 | 8.563 | 8.7463 | 8.9334 | 9.1246 | 9.3199 | 9.5193
|  | Starup Fuel (2.08MMBTU/MW/Start 200 starts) |  |  |  |  | 280963.9444 | 289717.5349 | 298473.4813 | 304659.8342 | 311098.9472 | 317692.8548 | 324512.6571 | 331477.7571 | 338545.241 | 345761.8071 | 353149.4939 | 360706.8931 | 368426.0206 | 376310.3375 | 384363.3787 | 392588.755 | 400990.1543 | 409571.3437 | 418336.1704 | 427288.5645 | 436432.5397 | 445772.1961 | 455311.7211 | 465055.3919 | 475007.5773 | 485172.7394 | 495555.4361 | 506160.3224 | 516992.1533 | 528055.7854 | 539356.1792 | 550898.4014 | 562687.6272 | 574729.1424 | 587028.3461 | 599590.7527 | 612421.9948 | 625527.8255 | 638914.121 | 652586.8831 | 666552.2424 | 680816.4604 | 695385.9327 | 710267.1916 | 725466.9095 | 740991.9014 | 756849.1281 | 773045.6994 | 789588.8774 | 806486.0794 | 823744.8815 | 841373.0219 | 859378.4046 | 877769.1025 | 896553.3613
|  | Fuel Costs ($) |  |  | 0 | 0 | 20020091.2639 | 20643828.5174 | 21267733.6532 | 21708542.3414 | 22167361.4624 | 22637210.4807 | 23123155.6221 | 23619453.9578 | 24123047.6587 | 24637264.2174 | 25163673.9821 | 25702176.6053 | 26252203.1846 | 26814000.3328 | 27387819.9399 | 27973919.2866 | 28572561.1594 | 29184013.9682 | 29808551.8671 | 30446454.8771 | 31098009.0114 | 31763506.4043 | 32443245.4413 | 33137530.8938 | 33846674.0549 | 34570992.8797 | 35310812.1273 | 36066463.5068 | 36838285.8259 | 37626625.1425 | 38431834.9206 | 39254276.1879 | 40094317.6983 | 40952336.097 | 41828716.0895 | 42723850.6138 | 43638141.017 | 44571997.2347 | 45525837.9756 | 46500090.9082 | 47495192.8537 | 48511589.9807 | 49549738.0063 | 50610102.3997 | 51693158.591 | 52799392.1849 | 53929299.1776 | 55083386.18 | 56262170.6443 | 57466181.0961 | 58695957.3715 | 59952050.8593 | 61235024.7477 | 62545454.2773 | 63883926.9988
|  | Fuel Costs (000$) |  |  | 0 | 0 | 20301.0552 | 20933.5461 | 21566.2071 | 22013.2022 | 22478.4604 | 22954.9033 | 23447.6683 | 23950.9317 | 24461.5929 | 24983.026 | 25516.8235 | 26062.8835 | 26620.6292 | 27190.3107 | 27772.1833 | 28366.508 | 28973.5513 | 29593.5853 | 30226.888 | 30873.7434 | 31534.4416 | 32209.2786 | 32898.5572 | 33602.5863 | 34321.6816 | 35056.1656 | 35806.3676 | 36572.6238 | 37355.278 | 38154.6809 | 38971.1911 | 39805.1746 | 40657.0053 | 41527.0652 | 42415.7444 | 43323.4414 | 44250.563 | 45197.5251 | 46164.7521 | 47152.6778 | 48161.7451 | 49192.4064 | 50245.1239 | 51320.3696 | 52418.6255 | 53540.3841 | 54686.1483 | 55856.4319 | 57051.7595 | 58272.6672 | 59519.7023 | 60793.4239 | 62094.4032 | 63423.2234 | 64780.4804
EPNG Reservation Rate ($/Dth-day) |  | EPNG Reservation Needed (MMBTU/day) |  |  | 0 | 0 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448
|  | EPNG Reservation Cost ($) |  |  | 0 | 0 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699
0.3701 |  | EPNG Reservation Cost ($000) |  |  | 0 | 0 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701
| 141239.971 | [5 empty] | 7096.3701 | 7431.815 | 7437.7896 | 7443.8707 | 7450.0602 | 9289.035 | 7462.7717 | 7469.2978 | 7476.2169 | 7483.2644 | 13014.8383 | 7497.7542 | 7505.2013 | 7512.7866 | 7520.5126 | 9727.7151 | 7536.3973 | 7544.5614 | 7552.877 | 7561.3468 | 13581.653 | 7578.7608 | 7587.7109 | 7596.827 | 7606.1123 | 10258.7687 | 7625.2029 | 7635.0146 | 7645.0084 | 7655.1876 | 14169.0877 | 7676.1161 | 7686.8725 | 7697.8284 | 7708.9876 | 10896.9987 | 7731.931 | 7743.7229 | 7755.7337 | 7767.9672
[7 empty] | 280.9639 | 289.7175 | 298.4735 | 304.6598 | 311.0989 | 317.6929 | 324.5127 | 331.4778 | 338.5452 | 345.7618 | 353.1495 | 360.7069 | 368.426 | 376.3103 | 384.3634 | 392.5888 | 400.9902 | 409.5713 | 418.3362 | 427.2886 | 436.4325 | 445.7722 | 455.3117 | 465.0554 | 475.0076 | 485.1727 | 495.5554 | 506.1603 | 516.9922 | 528.0558 | 539.3562 | 550.8984 | 562.6876 | 574.7291 | 587.0283 | 599.5908 | 612.422 | 625.5278 | 638.9141 | 652.5869
El Paso Electric Company |  | Start Cost (assumes 200 starts/year @2.08 MMBTU/MW/Start |  |  |  |  | 7377.334 | 7721.5325 | 7736.2631 | 7748.5306 | 7761.1591 | 9606.7278 | 7787.2844 | 7800.7755 | 7814.7621 | 7829.0262 | 13367.9878 | 7858.4611 | 7873.6273 | 7889.0969 | 7904.876 | 10120.3039 | 7937.3875 | 7954.1327 | 7971.2131 | 7988.6354 | 14018.0855 | 8024.533 | 8043.0226 | 8061.8824 | 8081.1199 | 10743.9415 | 8120.7583 | 8141.1749 | 8162.0006 | 8183.2434 | 14708.4439 | 8227.0145 | 8249.5601 | 8272.5576 | 8296.016 | 11496.5894 | 8344.353 | 8369.2508 | 8394.6478 | 8420.5541
Newman-6 Simple Cycle |  | Spoke to Omar (12/1918) and decided to use the start-up fuel cost of NRG's $214k instead of the |  |  |  | NRG Startup Fuel Cost ($K) | 214.7071 | 219.8218 | 226.5168 | 233.9984 | 242.2676 | 248.798 | 256.5494 | 264.303 | 269.7811 | 275.483 | 281.322 | 287.3611 | 293.5288 | 299.7871 | 306.1775 | 312.7194 | 319.4116 | 326.247 | 333.2287 | 340.3598 | 347.6435 | 355.0831 | 362.6819 | 370.4433 | 378.3708 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(thousands) |  | $242 from above assumptions (Yasser calcs) and we are still conservative since GT6 is 226.4 MW and NRG is 323.6 MW) |  |  |  | Strategist Total FOM (K$) | 7311.0772 | 7651.6368 | 7664.3065 | 7677.8691 | 7692.3278 | 9537.833 | 7719.3211 | 7733.6007 | 7745.998 | 7758.7475 | 13296.1604 | 7785.1152 | 7798.7301 | 7812.5737 | 7826.6901 | 10040.4346 | 7855.809 | 7870.8084 | 7886.1057 | 7901.7066 | 13929.2965 | 7933.8439 | 7950.3928 | 7967.2703 | 7984.4831 | 10258.7687 | 7625.2029 | 7635.0146 | 7645.0084 | 7655.1876 | 14169.0877 | 7676.1161 | 7686.8725 | 7697.8284 | 7708.9876 | 10896.9987 | 7731.931 | 7743.7229 | 7755.7337 | 7767.9672
[7 empty] | 214707.0821 | 219821.7988 | 226516.8486 | 233998.3586 | 242267.5912 | 248798.0022 | 256549.4446 | 264302.9732 | 269781.0862 | 275483.0222 | 281322.0314 | 287361.0739 | 293528.7797 | 299787.1481 | 306177.5312 | 312719.4443 | 319411.6404 | 326247.0496 | 333228.7364 | 340359.8314 | 347643.5318 | 355083.1033 | 362681.8818 | 370443.274 | 378370.7601
[7 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
PRESENT VALUE OF REVENUE REQUIREMENTS MODEL |  |  | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067
| Project Name | EPE Newman-6 Simple Cycle With SCR. Project Stand alone. No $5.4M CC Provision , no $5M dual fuel
| Turbine | Mitsubishi GAC
| Proposal Type | Self Build
| Location | Newman
| Fuel | Dual Fuel
| Heat Rate | 9.668
| Escalation Rate | 2% | 2024: 1.642%; 2025: 18.49%; 2026: 23.31%; 2027: 53.11%; 1 2028: 3.434%
| Total Investment (cash flow): | 141839.621 | 2024: 2328.7493; 2025: 26232.1591; 2026: 33069.6868; 2027: 75337.6849; 1 2028: 4871.341
| Life | 40 | 2024: years
| Book Depreciation | Straight-line
| Tax Depreciation (Gen. Equip) | 20 | 2024: years; 2025: MACRS
| Weighted cost of equity | 4.666%
| Weighted cost of debt | 3.059%
| Cost of Capital (Post-tax) | 7.025%
| Return on Rate Base | 7.725%
| Tax Rate | 22.87%
| Capacity | 226.4
| Insurance Rate | 0.1% | 2025: 123
| First Year Generation (MWh) | 694142.4
| Annual Degradation Rate | 0.5%
| Property Tax Rate | 1.04%
| $/KW | 626.5001
| Minimum Output | 123 MW |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
| Revenue Requirement / PV Calculations |  |  |  | Fiscal Year End | 2027-04-30 | 2028-04-30 | 2029-04-30 | 2030-04-30 | 2031-04-30 | 2032-04-30 | 2033-04-30 | 2034-04-30 | 2035-04-30 | 2036-04-30 | 2037-04-30 | 2038-04-30 | 2039-04-30 | 2040-04-30 | 2041-04-30 | 2042-04-30 | 2043-04-30 | 2044-04-30 | 2045-04-30 | 2046-04-30 | 2047-04-30 | 2048-04-30 | 2049-04-30 | 2050-04-30 | 2051-04-30 | 2052-04-30 | 2053-04-30 | 2054-04-30 | 2055-04-30 | 2056-04-30 | 2057-04-30 | 2058-04-30 | 2059-04-30 | 2060-04-30 | 2061-04-30 | 2062-04-30 | 2063-04-30 | 2064-04-30 | 2065-04-30 | 2066-04-30 | 2067-04-30
| Revenue Requirements by year | [5 empty] | 55355.4402 | 55833.2039 | 55960.3998 | 55921.7373 | 55919.7806 | 57778.9616 | 56005.228 | 56089.7843 | 56200.499 | 56326.1331 | 61990.7524 | 56621.0425 | 56789.7215 | 56972.6193 | 57170.1008 | 59581.7376 | 57609.9075 | 57852.8611 | 58111.6562 | 58386.5571 | 64689.6478 | 59060.3581 | 59534.1112 | 60025.3988 | 60534.5881 | 63705.2531 | 61608.18 | 62173.3564 | 62757.9825 | 63362.466 | 70490.7549 | 64632.6779 | 65299.2651 | 65987.427 | 66697.6161 | 70606.9387 | 68185.9318 | 68965.0111 | 69768.0233 | 70595.4699
| Present Value of RR by year | [5 empty] | 51721.9717 | 48744.1023 | 45648.3516 | 42622.5775 | 39823.4862 | 38446.6331 | 34820.2523 | 32583.811 | 30505.1415 | 28566.5354 | 29375.7732 | 25070.0398 | 23494.2542 | 22022.8173 | 20648.5905 | 20107.0973 | 18165.5335 | 17044.748 | 15997.1921 | 15017.863 | 15546.9363 | 13262.3618 | 12491.2366 | 11767.6401 | 11088.4969 | 10903.3285 | 9852.2856 | 9290.0423 | 8761.8763 | 8265.6113 | 8591.9122 | 7360.7926 | 6948.5708 | 6560.896 | 6196.2229 | 6128.8482 | 5530.2024 | 5226.2457 | 4940.0597 | 4670.543
| Total Present Value |  |  |  |  | 2028-04-30: 773810.8805
| Present Value of MWhs generated |  |  |  |  | 2028-04-30: 9227309.0814
Aurora Inputs
| Demand Charge Related Revenue Requirement | [5 empty] | 20728.8733 | 20192.5391 | 19633.2889 | 19092.0622 | 18567.4624 | 18058.2922 | 17563.3547 | 17081.6188 | 16612.0538 | 16144.4841 | 15676.9476 | 15209.3778 | 14741.8413 | 14274.2715 | 13806.735 | 13339.1653 | 12871.6288 | 12404.059 | 11936.5225 | 11468.9527 | 11001.4162 | 10608.0355 | 10288.8437 | 9969.6519 | 9650.4602 | 9331.2684 | 9012.0766 | 8692.8849 | 8373.6931 | 8054.5014 | 7735.3096 | 7416.1178 | 7096.9261 | 6777.7343 | 6458.5425 | 6139.3508 | 5820.159 | 5500.9672 | 5181.7755 | 4862.5837
| $/MW week equivalent rate | [5 empty] | 1756.0151 | 1710.5804 | 1663.2043 | 1617.3551 | 1572.9145 | 1529.7809 | 1487.853 | 1447.0435 | 1407.265 | 1367.6555 | 1328.0489 | 1288.4394 | 1248.8328 | 1209.2233 | 1169.6166 | 1130.0072 | 1090.4005 | 1050.7911 | 1011.1844 | 971.575 | 931.9683 | 898.6437 | 871.6038 | 844.564 | 817.5241 | 790.4843 | 763.4444 | 736.4046 | 709.3647 | 682.3249 | 655.285 | 628.2452 | 601.2053 | 574.1655 | 547.1256 | 520.0858 | 493.046 | 466.0061 | 438.9663 | 411.9264
| Present Value of Demand Related Charges |  |  |  |  | 2028-04-30: 203458.5879
| Annualized Payment Demand Related Charges |  |  |  |  | 2028-04-30: 15305.5708
| Capital Carrying Cost ($/MW-WK) |  |  |  |  | 2028-04-30: 1296.5882
| Other Fixed Charges | [5 empty] | 13585.1229 | 13953.5427 | 13993.9056 | 14035.8136 | 14079.294 | 15957.05 | 14171.0848 | 14219.4527 | 14273.5274 | 14329.4658 | 19911.6983 | 14447.073 | 14508.8128 | 14572.5585 | 14638.3475 | 16905.5508 | 14776.2074 | 14848.3562 | 14922.7042 | 14999.2921 | 21089.8406 | 15159.3545 | 15242.9145 | 15328.8854 | 15417.3118 | 18151.4382 | 15601.7144 | 15697.7842 | 15796.4969 | 15897.9016 | 22505.5803 | 16108.9877 | 16218.7717 | 16331.453 | 16447.0855 | 19742.3687 | 16687.4239 | 16812.2424 | 16940.2372 | 17071.4673
| Minus FOM | [5 empty] | -4455.237 | -4534.5903 | -4615.357 | -4697.5622 | -4781.2316 | -4866.3913 | -4953.0678 | -5041.2881 | -5134.822 | -5230.0914 | -5327.1283 | -5425.9657 | -5526.6368 | -5629.1757 | -5733.6171 | -5839.9962 | -5948.3491 | -6058.7123 | -6171.1231 | -6285.6196 | -6402.2404 | -6521.0249 | -6642.0133 | -6765.2464 | -6890.766 | -7018.6144 | -7148.8348 | -7281.4714 | -7416.5688 | -7554.1727 | -7694.3297 | -7837.0871 | -7982.4931 | -8130.597 | -8281.4487 | -8435.0993 | -8591.6006 | -8751.0056 | -8913.3681 | -9078.743
| Net Other Fixed Charges | [5 empty] | 9129.886 | 9418.9524 | 9378.5487 | 9338.2514 | 9298.0623 | 11090.6587 | 9218.017 | 9178.1646 | 9138.7054 | 9099.3744 | 14584.5699 | 9021.1073 | 8982.176 | 8943.3828 | 8904.7304 | 11065.5546 | 8827.8583 | 8789.6439 | 8751.5811 | 8713.6725 | 14687.6002 | 8638.3296 | 8600.9013 | 8563.639 | 8526.5458 | 11132.8238 | 8452.8795 | 8416.3128 | 8379.9282 | 8343.729 | 14811.2507 | 8271.9006 | 8236.2785 | 8200.856 | 8165.6368 | 11307.2694 | 8095.8233 | 8061.2368 | 8026.8691 | 7992.7242
| $/MW week equivalent rate | [5 empty] | 773.4245 | 797.9123 | 794.4895 | 791.0758 | 787.6713 | 939.5284 | 780.8903 | 777.5143 | 774.1716 | 770.8397 | 1235.5098 | 764.2094 | 760.9114 | 757.6251 | 754.3508 | 937.4017 | 747.8386 | 744.6014 | 741.3769 | 738.1656 | 1244.2378 | 731.783 | 728.6123 | 725.4557 | 722.3134 | 943.1003 | 716.0729 | 712.9752 | 709.8929 | 706.8264 | 1254.7127 | 700.7415 | 697.7239 | 694.7231 | 691.7396 | 957.8782 | 685.8254 | 682.8955 | 679.9841 | 677.0915
| Present Value of Other Fixed Charges |  |  |  |  | 2028-04-30: 127045.9053
| Annualized Payment Other Fixed Charges |  |  |  |  | 2028-04-30: 9557.2771; 2030-04-30: IC $1.2 M; 2032-04-30: Aurora $/MW-Week
| Other Fixed Cost ($/MW-WK) |  |  |  |  | 2028-04-30: 809.6303; 2030-04-30: 1.28; 2032-04-30: 810.9103
El Paso Electric Company
Newman-6 Simple Cycle
(thousands) | [5 empty] | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End
| Total Company Rate Base |  | 2018 | 2019 | 2020 | 2027-04-30 | 2028-04-30 | 2029-04-30 | 2030-04-30 | 2031-04-30 | 2032-04-30 | 2033-04-30 | 2034-04-30 | 2035-04-30 | 2036-04-30 | 2037-04-30 | 2038-04-30 | 2039-04-30 | 2040-04-30 | 2041-04-30 | 2042-04-30 | 2043-04-30 | 2044-04-30 | 2045-04-30 | 2046-04-30 | 2047-04-30 | 2048-04-30 | 2049-04-30 | 2050-04-30 | 2051-04-30 | 2052-04-30 | 2053-04-30 | 2054-04-30 | 2055-04-30 | 2056-04-30 | 2057-04-30 | 2058-04-30 | 2059-04-30 | 2060-04-30 | 2061-04-30 | 2062-04-30 | 2063-04-30 | 2064-04-30 | 2065-04-30 | 2066-04-30 | 2067-04-30
| Electric plant in service |  |  |  |  | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889
| Accumulated depreciation |  |  |  |  | 0 | -4459.4647 | -8918.9294 | -13378.3942 | -17837.8589 | -22297.3236 | -26756.7883 | -31216.2531 | -35675.7178 | -40135.1825 | -44594.6472 | -49054.1119 | -53513.5767 | -57973.0414 | -62432.5061 | -66891.9708 | -71351.4356 | -75810.9003 | -80270.365 | -84729.8297 | -89189.2944 | -93648.7592 | -98108.2239 | -102567.6886 | -107027.1533 | -111486.6181 | -115946.0828 | -120405.5475 | -124865.0122 | -129324.4769 | -133783.9417 | -138243.4064 | -142702.8711 | -147162.3358 | -151621.8005 | -156081.2653 | -160540.73 | -165000.1947 | -169459.6594 | -173919.1242 | -178378.5889
| Net plant |  | 0 | 0 | 0 | 178378.5889 | 173919.1242 | 169459.6594 | 165000.1947 | 160540.73 | 156081.2653 | 151621.8005 | 147162.3358 | 142702.8711 | 138243.4064 | 133783.9417 | 129324.4769 | 124865.0122 | 120405.5475 | 115946.0828 | 111486.6181 | 107027.1533 | 102567.6886 | 98108.2239 | 93648.7592 | 89189.2944 | 84729.8297 | 80270.365 | 75810.9003 | 71351.4356 | 66891.9708 | 62432.5061 | 57973.0414 | 53513.5767 | 49054.1119 | 44594.6472 | 40135.1825 | 35675.7178 | 31216.2531 | 26756.7883 | 22297.3236 | 17837.8589 | 13378.3942 | 8918.9294 | 4459.4647 | 0
| Accumulated deferred income taxes |  |  |  |  | -1697.5438 | -2111.4592 | -3791.848 | -5274.3618 | -6574.334 | -7704.9076 | -8679.2256 | -9508.6056 | -10204.3652 | -10878.2198 | -11551.7092 | -12225.5638 | -12899.0533 | -13572.9079 | -14246.3974 | -14920.2519 | -15593.7414 | -16267.596 | -16941.0855 | -17614.9401 | -18288.4295 | -18147.7836 | -17192.6371 | -16237.4906 | -15282.3441 | -14327.1976 | -13372.0511 | -12416.9046 | -11461.7581 | -10506.6115 | -9551.465 | -8596.3185 | -7641.172 | -6686.0255 | -5730.879 | -4775.7325 | -3820.586 | -2865.4395 | -1910.293 | -955.1465 | -1.5916e-11
| Total rate base |  | 0 | 0 | 0 | 176681.0451 | 171807.665 | 165667.8114 | 159725.8329 | 153966.396 | 148376.3577 | 142942.5749 | 137653.7302 | 132498.5059 | 127365.1866 | 122232.2324 | 117098.9131 | 111965.9589 | 106832.6396 | 101699.6854 | 96566.3661 | 91433.4119 | 86300.0926 | 81167.1384 | 76033.8191 | 70900.8649 | 66582.0461 | 63077.7279 | 59573.4097 | 56069.0915 | 52564.7733 | 49060.455 | 45556.1368 | 42051.8186 | 38547.5004 | 35043.1822 | 31538.864 | 28034.5457 | 24530.2275 | 21025.9093 | 17521.5911 | 14017.2729 | 10512.9547 | 7008.6364 | 3504.3182 | -1.5916e-11
| Weighted cost of capital |  |  |  |  | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725%
| Return on investment |  |  |  |  | 13648.6107 | 13272.1421 | 12797.8384 | 12338.8206 | 11893.9041 | 11462.0736 | 11042.3139 | 10633.7507 | 10235.5096 | 9838.9607 | 9442.44 | 9045.891 | 8649.3703 | 8252.8214 | 7856.3007 | 7459.7518 | 7063.2311 | 6666.6822 | 6270.1614 | 5873.6125 | 5477.0918 | 5143.4631 | 4872.7545 | 4602.0459 | 4331.3373 | 4060.6287 | 3789.9202 | 3519.2116 | 3248.503 | 2977.7944 | 2707.0858 | 2436.3772 | 2165.6687 | 1894.9601 | 1624.2515 | 1353.5429 | 1082.8343 | 812.1257 | 541.4172 | 270.7086 | -1.2295e-12
Revenue Requirements
| Fuel | [5 empty] | 20301.0552 | 20933.5461 | 21566.2071 | 22013.2022 | 22478.4604 | 22954.9033 | 23447.6683 | 23950.9317 | 24461.5929 | 24983.026 | 25516.8235 | 26062.8835 | 26620.6292 | 27190.3107 | 27772.1833 | 28366.508 | 28973.5513 | 29593.5853 | 30226.888 | 30873.7434 | 31534.4416 | 32209.2786 | 32898.5572 | 33602.5863 | 34321.6816 | 35056.1656 | 35806.3676 | 36572.6238 | 37355.278 | 38154.6809 | 38971.1911 | 39805.1746 | 40657.0053 | 41527.0652 | 42415.7444 | 43323.4414 | 44250.563 | 45197.5251 | 46164.7521 | 47152.6778
Operation and maintenance expenses
| Variable | [5 empty] | 740.3888 | 753.576 | 766.9981 | 780.6593 | 794.5638 | 808.716 | 823.1202 | 837.781 | 853.3249 | 869.1571 | 885.2831 | 901.7083 | 918.4382 | 935.4785 | 952.835 | 970.5135 | 988.52 | 1006.8606 | 1025.5414 | 1044.5689 | 1063.9494 | 1083.6895 | 1103.7958 | 1124.2752 | 1145.1345 | 1166.3809 | 1188.0214 | 1210.0635 | 1232.5145 | 1255.382 | 1278.6739 | 1302.3979 | 1326.562 | 1351.1745 | 1376.2436 | 1401.7779 | 1427.7859 | 1454.2764 | 1481.2585 | 1508.7411
| Fixed | [5 empty] | 11551.607 | 11966.4052 | 12053.1466 | 12141.4329 | 12231.2918 | 14155.4263 | 12415.8395 | 12510.5858 | 12611.039 | 12713.3558 | 18341.9667 | 12923.7198 | 13031.8381 | 13141.9623 | 13254.1297 | 15567.7114 | 13484.7464 | 13603.2737 | 13724.0001 | 13846.9664 | 19983.8933 | 14099.7857 | 14229.7242 | 14362.0734 | 14496.8783 | 17277.3831 | 14774.0377 | 14916.486 | 15061.5772 | 15209.3603 | 21863.4174 | 15513.2032 | 15669.3656 | 15828.4254 | 15990.4363 | 19332.0979 | 16323.5316 | 16494.7285 | 16669.1018 | 16846.7102
| Insurance | [5 empty] | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786 | 178.3786
| Depreciation | [5 empty] | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647
Taxes Other than income taxes
Payroll taxes
| Property taxes | [5 empty] | 1855.1373 | 1808.7589 | 1762.3805 | 1716.002 | 1669.6236 | 1623.2452 | 1576.8667 | 1530.4883 | 1484.1099 | 1437.7314 | 1391.353 | 1344.9746 | 1298.5961 | 1252.2177 | 1205.8393 | 1159.4608 | 1113.0824 | 1066.704 | 1020.3255 | 973.9471 | 927.5687 | 881.1902 | 834.8118 | 788.4334 | 742.0549 | 695.6765 | 649.2981 | 602.9196 | 556.5412 | 510.1628 | 463.7843 | 417.4059 | 371.0275 | 324.649 | 278.2706 | 231.8922 | 185.5137 | 139.1353 | 92.7569 | 46.3784
Revenue taxes
| Income taxes | [5 empty] | 2620.7978 | 2460.9323 | 2375.9858 | 2293.7769 | 2214.0935 | 2136.7539 | 2061.576 | 1988.4034 | 1917.0795 | 1846.0587 | 1775.0429 | 1704.0221 | 1633.0063 | 1561.9854 | 1490.9696 | 1419.9488 | 1348.933 | 1277.9121 | 1206.8963 | 1135.8755 | 1064.8597 | 1005.1077 | 956.6245 | 908.1413 | 859.6581 | 811.1749 | 762.6918 | 714.2086 | 665.7254 | 617.2422 | 568.759 | 520.2759 | 471.7927 | 423.3095 | 374.8263 | 326.3431 | 277.86 | 229.3768 | 180.8936 | 132.4104
| Return on investment |  | 0 | 0 | 0 |  | 13648.6107 | 13272.1421 | 12797.8384 | 12338.8206 | 11893.9041 | 11462.0736 | 11042.3139 | 10633.7507 | 10235.5096 | 9838.9607 | 9442.44 | 9045.891 | 8649.3703 | 8252.8214 | 7856.3007 | 7459.7518 | 7063.2311 | 6666.6822 | 6270.1614 | 5873.6125 | 5477.0918 | 5143.4631 | 4872.7545 | 4602.0459 | 4331.3373 | 4060.6287 | 3789.9202 | 3519.2116 | 3248.503 | 2977.7944 | 2707.0858 | 2436.3772 | 2165.6687 | 1894.9601 | 1624.2515 | 1353.5429 | 1082.8343 | 812.1257 | 541.4172 | 270.7086
| Total non-fuel cost of serivce |  | 0 | 0 | 0 | 0 | 55355.4402 | 55833.2039 | 55960.3998 | 55921.7373 | 55919.7806 | 57778.9616 | 56005.228 | 56089.7843 | 56200.499 | 56326.1331 | 61990.7524 | 56621.0425 | 56789.7215 | 56972.6193 | 57170.1008 | 59581.7376 | 57609.9075 | 57852.8611 | 58111.6562 | 58386.5571 | 64689.6478 | 59060.3581 | 59534.1112 | 60025.3988 | 60534.5881 | 63705.2531 | 61608.18 | 62173.3564 | 62757.9825 | 63362.466 | 70490.7549 | 64632.6779 | 65299.2651 | 65987.427 | 66697.6161 | 70606.9387 | 68185.9318 | 68965.0111 | 69768.0233 | 70595.4699
| E3 use Revenue Requirement | [5 empty] | 34313.9962 | 34146.0818 | 33627.1946 | 33127.8758 | 32646.7563 | 34015.3422 | 31734.4395 | 31301.0716 | 30885.5812 | 30473.9499 | 35588.6458 | 29656.4508 | 29250.6541 | 28846.8301 | 28445.0826 | 30244.7161 | 27647.8362 | 27252.4152 | 26859.2267 | 26468.2448 | 32091.2568 | 25767.39 | 25531.7582 | 25298.5373 | 25067.772 | 27482.7066 | 24613.791 | 24390.6691 | 24170.1901 | 23952.403 | 30240.8899 | 23525.1055 | 23315.6977 | 23109.1873 | 22905.628 | 25881.7195 | 22507.5829 | 22313.2097 | 22122.0127 | 21934.051
| E3 $/KW-Year | [5 empty] | 151.5636 | 150.8219 | 148.53 | 146.3245 | 144.1995 | 150.2444 | 140.1698 | 138.2556 | 136.4204 | 134.6023 | 157.1937 | 130.9914 | 129.199 | 127.4153 | 125.6408 | 133.5897 | 122.1194 | 120.3729 | 118.6362 | 116.9092 | 141.7458 | 113.8136 | 112.7728 | 111.7427 | 110.7234 | 121.39 | 108.7182 | 107.7326 | 106.7588 | 105.7968 | 133.5728 | 103.9095 | 102.9845 | 102.0724 | 101.1733 | 114.3185 | 99.4151 | 98.5566 | 97.7121 | 96.8819
| Net Present Value at After-tax cost of capital |  |  |  |  | 2028-04-30: 773810.8805
Income Taxes
| Return |  | 0 | 0 | 0 | 13648.6107 | 13272.1421 | 12797.8384 | 12338.8206 | 11893.9041 | 11462.0736 | 11042.3139 | 10633.7507 | 10235.5096 | 9838.9607 | 9442.44 | 9045.891 | 8649.3703 | 8252.8214 | 7856.3007 | 7459.7518 | 7063.2311 | 6666.6822 | 6270.1614 | 5873.6125 | 5477.0918 | 5143.4631 | 4872.7545 | 4602.0459 | 4331.3373 | 4060.6287 | 3789.9202 | 3519.2116 | 3248.503 | 2977.7944 | 2707.0858 | 2436.3772 | 2165.6687 | 1894.9601 | 1624.2515 | 1353.5429 | 1082.8343 | 812.1257 | 541.4172 | 270.7086 | -1.2295e-12
| Less: Synchronized interest |  | 0 | 0 | 0 | 4809.864 | 5255.5965 | 5067.7784 | 4886.0132 | 4709.8321 | 4538.8328 | 4372.6134 | 4210.8276 | 4053.1293 | 3896.1011 | 3739.084 | 3582.0558 | 3425.0387 | 3268.0104 | 3110.9934 | 2953.9651 | 2796.9481 | 2639.9198 | 2482.9028 | 2325.8745 | 2168.8575 | 2036.7448 | 1929.5477 | 1822.3506 | 1715.1535 | 1607.9564 | 1500.7593 | 1393.5622 | 1286.3651 | 1179.168 | 1071.9709 | 964.7738 | 857.5768 | 750.3797 | 643.1826 | 535.9855 | 428.7884 | 321.5913 | 214.3942 | 107.1971 | -4.8688e-13
| Return on equity |  | 0 | 0 | 0 | 8838.7467 | 8016.5456 | 7730.0601 | 7452.8074 | 7184.072 | 6923.2408 | 6669.7005 | 6422.9231 | 6182.3803 | 5942.8596 | 5703.356 | 5463.8353 | 5224.3316 | 4984.811 | 4745.3073 | 4505.7866 | 4266.283 | 4026.7623 | 3787.2587 | 3547.738 | 3308.2344 | 3106.7183 | 2943.2068 | 2779.6953 | 2616.1838 | 2452.6723 | 2289.1608 | 2125.6493 | 1962.1379 | 1798.6264 | 1635.1149 | 1471.6034 | 1308.0919 | 1144.5804 | 981.0689 | 817.5574 | 654.046 | 490.5345 | 327.023 | 163.5115 | -7.4265e-13
Plus:
| Permanent differences |  |  |  |  | 0 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048
| Taxable component of return |  | 0 | 0 | 0 | 8838.7467 | 8299.5936 | 8013.1081 | 7735.8554 | 7467.12 | 7206.2888 | 6952.7485 | 6705.9711 | 6465.4283 | 6225.9076 | 5986.404 | 5746.8833 | 5507.3796 | 5267.859 | 5028.3553 | 4788.8346 | 4549.331 | 4309.8103 | 4070.3067 | 3830.786 | 3591.2824 | 3389.7663 | 3226.2548 | 3062.7433 | 2899.2318 | 2735.7203 | 2572.2088 | 2408.6973 | 2245.1859 | 2081.6744 | 1918.1629 | 1754.6514 | 1591.1399 | 1427.6284 | 1264.1169 | 1100.6054 | 937.094 | 773.5825 | 610.071 | 446.5595 | 283.048
| Tax factor |  |  |  |  | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651
| Income Taxes |  | 0 | 0 | 0 | 2620.7978 | 2460.9323 | 2375.9858 | 2293.7769 | 2214.0935 | 2136.7539 | 2061.576 | 1988.4034 | 1917.0795 | 1846.0587 | 1775.0429 | 1704.0221 | 1633.0063 | 1561.9854 | 1490.9696 | 1419.9488 | 1348.933 | 1277.9121 | 1206.8963 | 1135.8755 | 1064.8597 | 1005.1077 | 956.6245 | 908.1413 | 859.6581 | 811.1749 | 762.6918 | 714.2086 | 665.7254 | 617.2422 | 568.759 | 520.2759 | 471.7927 | 423.3095 | 374.8263 | 326.3431 | 277.86 | 229.3768 | 180.8936 | 132.4104 | 83.9272
Electric Plant in Service
| Beginning Balance |  | 0 | 2673.1076 | 33019.6573 | 2027-04-30: 73886.8833; 2028-04-30: 166870.8169; 2029-04-30: Cumulative
| Cash |  | 2571.1274 | 28962.4233 | 36511.6064 | 2027-04-30: 83178.8916; 2028-04-30: 5378.354; 2029-04-30: 156602.4027
| AFUDC |  | 99.4091 | 1327.3636 | 3975.7036 | 2027-04-30: 8953.4396; 2028-04-30: 4388.5831; 2029-04-30: 18744.499
| Insurance |  | 2.5711 | 28.9624 | 36.5116 | 2027-04-30: 83.1789; 2028-04-30: 5.3784; 2029-04-30: 156.6024
| Property taxes |  | 0 | 27.8003 | 343.4044 | 2027-04-30: 768.4236; 2028-04-30: 1735.4565; 2029-04-30: 2875.0848
| Total |  | 2673.1076 | 33019.6573 | 73886.8833 | 2027-04-30: 166870.8169; 2028-04-30: 178378.5889; 2029-04-30: 178378.5889; 2031-04-30: 787.8913
| AFUDC |  |  |  |  | 2029-04-30: Cumulative
| CWIP Balance |  | 1286.8493 | 17182.7006 | 51465.4185 | 2027-04-30: 115902.1303; 2028-04-30: 56810.1371
| Debt |  | 39.3647 | 525.6188 | 1574.3272 | 2027-04-30: 3545.4462; 2028-04-30: 1737.8221; 2029-04-30: 7422.5789
| Equity |  | 60.0444 | 801.7448 | 2401.3764 | 2027-04-30: 5407.9934; 2028-04-30: 2650.761; 2029-04-30: 11321.92
| Total |  | 99.4091 | 1327.3636 | 3975.7036 | 2027-04-30: 8953.4396; 2028-04-30: 4388.5831; 2029-04-30: 18744.499
Depreication Expense and Accumulated Depreciation
Electric plant in service
| Newman- CT | [5 empty] | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889 | 178378.5889
Depreciation expense
| Newman- CT | [5 empty] | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 4459.4647 | 178378.5889
Accumulated Depreciation
| Newman- CT | [5 empty] | 4459.4647 | 8918.9294 | 13378.3942 | 17837.8589 | 22297.3236 | 26756.7883 | 31216.2531 | 35675.7178 | 40135.1825 | 44594.6472 | 49054.1119 | 53513.5767 | 57973.0414 | 62432.5061 | 66891.9708 | 71351.4356 | 75810.9003 | 80270.365 | 84729.8297 | 89189.2944 | 93648.7592 | 98108.2239 | 102567.6886 | 107027.1533 | 111486.6181 | 115946.0828 | 120405.5475 | 124865.0122 | 129324.4769 | 133783.9417 | 138243.4064 | 142702.8711 | 147162.3358 | 151621.8005 | 156081.2653 | 160540.73 | 165000.1947 | 169459.6594 | 173919.1242 | 178378.5889
Deferred Income Taxes
| AFUDC - Debt |  |  |  |  | 1697.5438 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -7.6739e-13
| Liberalized depreciation |  |  |  |  | 0 | 456.354 | 1722.8274 | 1524.9524 | 1342.4108 | 1173.0122 | 1016.7566 | 871.8186 | 738.1982 | 716.2932 | 715.9281 | 716.2932 | 715.9281 | 716.2932 | 715.9281 | 716.2932 | 715.9281 | 716.2932 | 715.9281 | 716.2932 | 715.9281 | -98.2074 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | 9.3223e-12
| Deferred Income Taxes |  |  |  |  | 1697.5438 | 413.9154 | 1680.3889 | 1482.5138 | 1299.9722 | 1130.5736 | 974.318 | 829.38 | 695.7596 | 673.8546 | 673.4895 | 673.8546 | 673.4895 | 673.8546 | 673.4895 | 673.8546 | 673.4895 | 673.8546 | 673.4895 | 673.8546 | 673.4895 | -140.646 | -955.1465 | -955.1465 | -955.1465 | -955.1465 | -955.1465 | -955.1465 | -955.1465 | -955.1465 | -955.1465 | -955.1465 | -955.1465 | -955.1465 | -955.1465 | -955.1465 | -955.1465 | -955.1465 | -955.1465 | -955.1465 | -955.1465
Accumulated Deferred Income Taxes
| AFUDC - Debt |  |  |  |  | 1697.5438 | -42.4386 | -84.8772 | -127.3158 | -169.7544 | -212.193 | -254.6316 | -297.0702 | -339.5088 | -381.9474 | -424.386 | -466.8245 | -509.2631 | -551.7017 | -594.1403 | -636.5789 | -679.0175 | -721.4561 | -763.8947 | -806.3333 | -848.7719 | -891.2105 | -933.6491 | -976.0877 | -1018.5263 | -1060.9649 | -1103.4035 | -1145.8421 | -1188.2807 | -1230.7193 | -1273.1579 | -1315.5964 | -1358.035 | -1400.4736 | -1442.9122 | -1485.3508 | -1527.7894 | -1570.228 | -1612.6666 | -1655.1052 | -1697.5438
| Liberalized depreciation |  |  |  |  | 0 | 456.354 | 2179.1814 | 3704.1338 | 5046.5446 | 6219.5568 | 7236.3134 | 8108.132 | 8846.3301 | 9562.6233 | 10278.5514 | 10994.8446 | 11710.7726 | 12427.0658 | 13142.9939 | 13859.2871 | 14575.2151 | 15291.5083 | 16007.4364 | 16723.7296 | 17439.6576 | 17341.4503 | 16428.7424 | 15516.0345 | 14603.3265 | 13690.6186 | 12777.9107 | 11865.2028 | 10952.4949 | 10039.787 | 9127.0791 | 8214.3712 | 7301.6633 | 6388.9554 | 5476.2475 | 4563.5395 | 3650.8316 | 2738.1237 | 1825.4158 | 912.7079 | 9.3223e-12
| Accumulated Deferred Income Taxes |  |  |  |  | 1697.5438 | 2111.4592 | 3791.848 | 5274.3618 | 6574.334 | 7704.9076 | 8679.2256 | 9508.6056 | 10204.3652 | 10878.2198 | 11551.7092 | 12225.5638 | 12899.0533 | 13572.9079 | 14246.3974 | 14920.2519 | 15593.7414 | 16267.596 | 16941.0855 | 17614.9401 | 18288.4295 | 18147.7836 | 17192.6371 | 16237.4906 | 15282.3441 | 14327.1976 | 13372.0511 | 12416.9046 | 11461.7581 | 10506.6115 | 9551.465 | 8596.3185 | 7641.172 | 6686.0255 | 5730.879 | 4775.7325 | 3820.586 | 2865.4395 | 1910.293 | 955.1465 | 1.5916e-11
Tax Depreciation
| Depreciable balance | [5 empty] | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899 | 159634.0899
| MACRS Depreciation Rate |  |  |  |  | 2028-04-30: 3.75%; 2029-04-30: 7.219%; 2030-04-30: 6.677%; 2031-04-30: 6.177%; 2032-04-30: 5.713%; 2033-04-30: 5.285%; 2034-04-30: 4.888%; 2035-04-30: 4.522%; 2036-04-30: 4.462%; 2037-04-30: 4.461%; 2038-04-30: 4.462%; 2039-04-30: 4.461%; 2040-04-30: 4.462%; 2041-04-30: 4.461%; 2042-04-30: 4.462%; 2043-04-30: 4.461%; 2044-04-30: 4.462%; 2045-04-30: 4.461%; 2046-04-30: 4.462%; 2047-04-30: 4.461%; 2048-04-30: 2.231%
| Tax Depreciation | [5 empty] | 5986.2784 | 11523.985 | 10658.7682 | 9860.5977 | 9119.8956 | 8436.6617 | 7802.9143 | 7218.6535 | 7122.8731 | 7121.2768 | 7122.8731 | 7121.2768 | 7122.8731 | 7121.2768 | 7122.8731 | 7121.2768 | 7122.8731 | 7121.2768 | 7122.8731 | 7121.2768 | 3561.4365 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Book Depreciation | [5 empty] | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 3990.8522 | 159634.0899
| Difference | [5 empty] | 1995.4261 | 7533.1327 | 6667.9159 | 5869.7455 | 5129.0433 | 4445.8094 | 3812.0621 | 3227.8013 | 3132.0208 | 3130.4245 | 3132.0208 | 3130.4245 | 3132.0208 | 3130.4245 | 3132.0208 | 3130.4245 | 3132.0208 | 3130.4245 | 3132.0208 | 3130.4245 | -429.4157 | -3990.8522 | -3990.8522 | -3990.8522 | -3990.8522 | -3990.8522 | -3990.8522 | -3990.8522 | -3990.8522 | -3990.8522 | -3990.8522 | -3990.8522 | -3990.8522 | -3990.8522 | -3990.8522 | -3990.8522 | -3990.8522 | -3990.8522 | -3990.8522 | -3990.8522
| Tax rate | [5 empty] | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87%
| Deferred income taxes - Liberalized | [5 empty] | 456.354 | 1722.8274 | 1524.9524 | 1342.4108 | 1173.0122 | 1016.7566 | 871.8186 | 738.1982 | 716.2932 | 715.9281 | 716.2932 | 715.9281 | 716.2932 | 715.9281 | 716.2932 | 715.9281 | 716.2932 | 715.9281 | 716.2932 | 715.9281 | -98.2074 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079 | -912.7079
| ADIT | [5 empty] | 456.354 | 2179.1814 | 3704.1338 | 5046.5446 | 6219.5568 | 7236.3134 | 8108.132 | 8846.3301 | 9562.6233 | 10278.5514 | 10994.8446 | 11710.7726 | 12427.0658 | 13142.9939 | 13859.2871 | 14575.2151 | 15291.5083 | 16007.4364 | 16723.7296 | 17439.6576 | 17341.4503 | 16428.7424 | 15516.0345 | 14603.3265 | 13690.6186 | 12777.9107 | 11865.2028 | 10952.4949 | 10039.787 | 9127.0791 | 8214.3712 | 7301.6633 | 6388.9554 | 5476.2475 | 4563.5395 | 3650.8316 | 2738.1237 | 1825.4158 | 912.7079 | 9.3223e-12
| AFUDC - Debt |  |  |  |  | 2027-04-30: 7422.5789
| Less: AFUDC depreciation |  |  |  |  | 0 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 185.5645 | 7422.5789
| Difference |  |  |  |  | 7422.5789 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645 | -185.5645
| Tax rate |  |  |  |  | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87%
| Deferred income taxes - AFUDC |  |  |  |  | 1697.5438 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386 | -42.4386
| ADIT - AFUDC |  |  |  |  | 1697.5438 | 1655.1052 | 1612.6666 | 1570.228 | 1527.7894 | 1485.3508 | 1442.9122 | 1400.4736 | 1358.035 | 1315.5964 | 1273.1579 | 1230.7193 | 1188.2807 | 1145.8421 | 1103.4035 | 1060.9649 | 1018.5263 | 976.0877 | 933.6491 | 891.2105 | 848.7719 | 806.3333 | 763.8947 | 721.4561 | 679.0175 | 636.5789 | 594.1403 | 551.7017 | 509.2631 | 466.8245 | 424.386 | 381.9474 | 339.5088 | 297.0702 | 254.6316 | 212.193 | 169.7544 | 127.3158 | 84.8772 | 42.4386 | -7.6739e-13
Additional Depreciation - AFUDC Equity
| AFUDC Equity - CT |  |  |  |  | 2027-04-30: 11321.92
| Total Additional Depreciation | [5 empty] | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 283.048 | 11321.92
Note on B24: Author: Using CT O&M Costs
Note on J113: Author: From System Upgrade file.