## BAFO EPE CT ALone
El Paso Electric Company
Newman 6 - Simple Cycle Revenue Requirements
(thousands)
Summary Results
| Present Value of Revenue Requirements as of May 1, 2022 |  | 704798143.231
| Levelized Cost of Energy $/MWh |  | 76.3818
[7 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
[8 empty] | 226.4 | MW Simple Cycle
[5 empty] | Generation (MWh) based on: |  | 1: COD May 1, 2022; 2: 35%; 3: Capacity Factor
Mitsubishi GAC | [6 empty] | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End | Fiscal Year End
|  | Year | 2018 | 2019 | 2020 | 2021 | 2019-04-29 | 2020-04-29 | 2021-04-29 | 2022-04-29 | 2023-04-29 | 2024-04-29 | 2025-04-29 | 2026-04-29 | 2027-04-29 | 2028-04-29 | 2029-04-29 | 2030-04-29 | 2031-04-29 | 2032-04-29 | 2033-04-29 | 2034-04-29 | 2035-04-29 | 2036-04-29 | 2037-04-29 | 2038-04-29 | 2039-04-29 | 2040-04-29 | 2041-04-29 | 2042-04-29 | 2043-04-29 | 2044-04-29 | 2045-04-29 | 2046-04-29 | 2047-04-29 | 2048-04-29 | 2049-04-29 | 2050-04-29 | 2051-04-29 | 2052-04-29 | 2053-04-29 | 2054-04-29 | 2055-04-29 | 2056-04-29 | 2057-04-29 | 2058-04-29 | 57830 | 57831 | 57832 | 57833 | 57834 | 57835 | 57836 | 57837 | 57838 | 57839 | 57840 | 57841 | 57842 | 57843 | 57844
|  | MWh |  |  | 0 | 0 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4 | 694142.4
$/MWh
| 0.89 | Proposed VOM Rate ($/MWh) |  |  |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | ---
|  | 1.8268 | 1.8268 | 1.8268 | 1.8268 | 1.8268 | 1.7811 | 1.7811 | 1.7811 | 1.7811 | 1.7811 | 1.7811 | 1.7811 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554 | 1.8554
|  | 1.0183 | 1.0183 | 1.0183 | 1.0183 | 1.0183 | 1.0178 | 1.0178 | 1.0178 | 1.0178 | 1.0178 | 1.0178 | 1.0178 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186 | 1.0186
|  |  | 0.90626 | 0.92281 | 0.93967 | 0.95684 | 0.97432 | 0.99167 | 1.0093 | 1.0273 | 1.0456 | 1.0642 | 1.0832 | 1.1025 | 1.1229 | 1.1438 | 1.165 | 1.1866 | 1.2086 | 1.231 | 1.2539 | 1.2772 | 1.3008 | 1.325 | 1.3496 | 1.3746 | 1.4001 | 1.4261 | 1.4525 | 1.4795 | 1.5069 | 1.5349 | 1.5634 | 1.5924 | 1.6219 | 1.652 | 1.6827 | 1.7139 | 1.7457 | 1.7781 | 1.8111 | 1.8447 | 1.8789 | 1.9138 | 1.9493 | 1.9854 | 2.0223 | 2.0598 | 2.098 | 2.1369 | 2.1766 | 2.217 | 2.2581 | 2.3 | 2.3427 | 2.3861 | 2.4304 | 2.4755 | 2.5214 | 2.5682 | 2.6159
|  | VOM Costs ($) | 0 | 0 | 0 | 0 | 676315.2738 | 688361.2897 | 700621.8602 | 713100.8067 | 725802.0188 | 738729.4552 | 751887.1453 | 765279.1903 | 779477.8624 | 793939.9708 | 808670.4032 | 823674.1379 | 838956.2456 | 854521.8912 | 870376.3354 | 886524.9363 | 902973.1516 | 919726.5403 | 936790.7644 | 954171.5911 | 971874.8943 | 989906.6573 | 1008272.9742 | 1026980.052 | 1046034.2132 | 1065441.8974 | 1085209.6637 | 1105344.1929 | 1125852.2899 | 1146740.8855 | 1168017.0394 | 1189687.9423 | 1211760.9181 | 1234243.4267 | 1257143.0665 | 1280467.5766 | 1304224.84 | 1328422.8858 | 1353069.8921 | 1378174.1887 | 1403744.26 | 1429788.7478 | 1456316.4542 | 1483336.3446 | 1510857.5509 | 1538889.3742 | 1567441.2883 | 1596522.9427 | 1626144.1661 | 1656314.9693 | 1687045.5491 | 1718346.2913 | 1750227.7744 | 1782700.7734 | 1815776.2629
|  | VOM Costs (000$) | 0 | 0 | 0 | 0 | 676.3153 | 688.3613 | 700.6219 | 713.1008 | 725.802 | 738.7295 | 751.8871 | 765.2792 | 779.4779 | 793.94 | 808.6704 | 823.6741 | 838.9562 | 854.5219 | 870.3763 | 886.5249 | 902.9732 | 919.7265 | 936.7908 | 954.1716 | 971.8749 | 989.9067 | 1008.273 | 1026.9801 | 1046.0342 | 1065.4419 | 1085.2097 | 1105.3442 | 1125.8523 | 1146.7409 | 1168.017 | 1189.6879 | 1211.7609 | 1234.2434 | 1257.1431 | 1280.4676 | 1304.2248 | 1328.4229 | 1353.0699 | 1378.1742 | 1403.7443 | 1429.7887 | 1456.3165 | 1483.3363 | 1510.8576 | 1538.8894 | 1567.4413 | 1596.5229 | 1626.1442 | 1656.315 | 1687.0455 | 1718.3463 | 1750.2278 | 1782.7008 | 1815.7763
$/KW-yr
| 16.42 | Proposed FOM ($/kW-yr) | 16.72 | 17.0254 | 17.3364 | 17.6531 | 17.9756 | 18.2958 | 18.6217 | 18.9533 | 19.2909 | 19.6345 | 19.9842 | 20.3402 | 20.7175 | 21.1019 | 21.4934 | 21.8922 | 22.2984 | 22.7121 | 23.1335 | 23.5627 | 23.9999 | 24.4452 | 24.8987 | 25.3607 | 25.8312 | 26.3105 | 26.7986 | 27.2958 | 27.8023 | 28.3181 | 28.8435 | 29.3787 | 29.9237 | 30.4789 | 31.0444 | 31.6204 | 32.2071 | 32.8046 | 33.4133 | 34.0332 | 34.6647 | 35.3078 | 35.9629 | 36.6301 | 37.3098 | 38.002 | 38.7071 | 39.4252 | 40.1567 | 40.9018 | 41.6606 | 42.4336 | 43.2209 | 44.0228 | 44.8396 | 45.6715 | 46.5189 | 47.382 | 48.2611
|  | FOM ($) |  |  |  |  | 4069679.3374 | 4142165.3867 | 4215942.5027 | 4291033.6808 | 4367462.3262 | 4445252.2608 | 4524427.7308 | 4605013.4145 | 4690452.9201 | 4777477.6348 | 4866116.9699 | 4956400.8825 | 5048359.8852 | 5142025.057 | 5237428.0536 | 5334601.1177 | 5433577.0904 | 5534389.4222 | 5637072.1842 | 5741660.0794 | 5848188.455 | 5956693.3139 | 6067211.3268 | 6179779.845 | 6294436.9127 | 6411221.28 | 6530172.4159 | 6651330.5218 | 6774736.5448 | 6900432.192 | 7028459.9439 | 7158863.0696 | 7291685.6407 | 7426972.5465 | 7564769.5095 | 7705123.1 | 7848080.7527 | 7993690.7823 | 8142002.3999 | 8293065.7297 | 8446931.8257 | 8603652.6893 | 8763281.2867 | 8925871.5668 | 9091478.4794 | 9260157.9938 | 9431967.1179 | 9606963.917 | 9785207.5341 | 9966758.2092 | 10151677.3001 | 10340027.303 | 10531871.8735 | 10727275.8486 | 10926305.2678
|  | FOM (000$) |  |  | 0 | 0 | 4069.6793 | 4142.1654 | 4215.9425 | 4291.0337 | 4367.4623 | 4445.2523 | 4524.4277 | 4605.0134 | 4690.4529 | 4777.4776 | 4866.117 | 4956.4009 | 5048.3599 | 5142.0251 | 5237.4281 | 5334.6011 | 5433.5771 | 5534.3894 | 5637.0722 | 5741.6601 | 5848.1885 | 5956.6933 | 6067.2113 | 6179.7798 | 6294.4369 | 6411.2213 | 6530.1724 | 6651.3305 | 6774.7365 | 6900.4322 | 7028.4599 | 7158.8631 | 7291.6856 | 7426.9725 | 7564.7695 | 7705.1231 | 7848.0808 | 7993.6908 | 8142.0024 | 8293.0657 | 8446.9318 | 8603.6527 | 8763.2813 | 8925.8716 | 9091.4785 | 9260.158 | 9431.9671 | 9606.9639 | 9785.2075 | 9966.7582 | 10151.6773 | 10340.0273 | 10531.8719 | 10727.2758 | 10926.3053
|  | Auora FOM $/MW-Week |  |  |  |  | 344.7567 | 350.8973 | 357.1472 | 363.5084 | 369.983 | 376.5728 | 383.28 | 390.1067 | 397.3446 | 404.7168 | 412.2257 | 419.874 | 427.6642 | 435.5989 | 443.6808 | 451.9127 | 460.2973 | 468.8374 | 477.536 | 486.396 | 495.4204 | 504.6123 | 513.9746 | 523.5107 | 533.2237 | 543.1169 | 553.1937 | 563.4574 | 573.9115 | 584.5597 | 595.4053 | 606.4522 | 617.7041 | 629.1647 | 640.838 | 652.7278 | 664.8383 | 677.1734 | 689.7374 | 702.5345 | 715.569 | 728.8454 | 742.3681 | 756.1417 | 770.1708 | 784.4603 | 799.0148 | 813.8394 | 828.939 | 844.3188 | 859.984 | 875.9398 | 892.1916 | 908.7449 | 925.6054
| 1400000 | Hot Gas Path Inspection 5-Year |  |  |  |  | 2024-04-29: 1674074.8498; 2029-04-29: 1832571.8221; 2034-04-29: 2009002.1985; 2039-04-29: 2202418.3634; 2044-04-29: 2414455.6195; 2049-04-29: 2646906.7073; 2054-04-29: 2901736.9632; 2055-04-29: 0 | 3181100.9359 |  |  |  |  | 3487360.6025 |  |  |  |  | 3823105.3389
| 2500000 | Major Gas Turbine Inspection 10 year |  |  |  |  | 2029-04-29: 3213740.8587; 2039-04-29: 3289008.2002; 2049-04-29: 3293807.6292 | 3293807.6292 | [9 empty] | 3293807.6292
| 75000 | Boroscope Annual | [5 empty] | 83567.8297 | 85056.2766 | 86571.2347 | 88113.176 | 89682.5812 | 91279.9395 | 92905.7487 | 94629.4834 | 96385.1995 | 98173.4905 | 99994.9606 | 101850.2256 | 103739.9123 | 105664.6596 | 107625.1178 | 109621.9495 | 111655.8296 | 113727.4455 | 115837.4972 | 117986.698 | 120175.7742 | 122405.4656 | 124676.5258 | 126989.7222 | 129345.8368 | 131745.6657 | 134190.02 | 136679.7259 | 139215.6247 | 141798.5736 | 144429.4454 | 147109.1294 | 149838.531 | 152618.5729 | 155450.1945 | 158334.3528 | 161272.0226 | 164264.1967 | 167311.8863 | 170416.1216 | 173577.9515 | 176798.4447 | 180078.6896 | 183419.7948 | 186822.8894 | 190289.1237 | 193819.669 | 197415.7186 | 201078.4879 | 204809.2146 | 208609.1597 | 212479.6073 | 216421.8657 | 220437.2671
| 200000 | Preventive Maintenance Annual | [5 empty] | 222847.5458 | 226816.7377 | 230856.6258 | 234968.4694 | 239153.55 | 243413.1721 | 247748.6633 | 252345.2891 | 257027.1987 | 261795.9746 | 266653.2283 | 271600.6015 | 276639.7663 | 281772.4255 | 287000.3141 | 292325.1987 | 297748.8789 | 303273.1879 | 308899.9927 | 314631.1948 | 320468.7312 | 326414.5749 | 332470.7353 | 338639.2592 | 344922.2314 | 351321.7751 | 357840.0534 | 364479.2691 | 371241.666 | 378129.5296 | 385145.1878 | 392291.0116 | 399569.416 | 406982.861 | 414533.8519 | 422224.9407 | 430058.7269 | 438037.8578 | 446165.0302 | 454442.9908 | 462874.5373 | 471462.5191 | 480209.8388 | 489119.4527 | 498194.3718 | 507437.6632 | 516852.4507 | 526441.9164 | 536209.301 | 546157.9056 | 556291.0924 | 566612.2862 | 577124.9752 | 587832.7122
|  | Total Outage Costs | 0 | 0 | 0 | 0 | 0 | 306.4154 | 311.873 | 317.4279 | 323.0816 | 2002.911 | 334.6931 | 340.6544 | 346.9748 | 353.4124 | 5406.2821 | 366.6482 | 373.4508 | 380.3797 | 387.4371 | 2403.6276 | 401.9471 | 409.4047 | 417.0006 | 424.7375 | 5924.0445 | 440.6445 | 448.82 | 457.1473 | 465.629 | 2888.7237 | 483.0674 | 492.0301 | 501.159 | 510.4573 | 6460.6424 | 529.5746 | 539.4001 | 549.4079 | 559.6014 | 3471.721 | 580.5593 | 591.3307 | 602.3021 | 613.4769 | 7099.7677 | 636.4525 | 648.261 | 660.2885 | 672.5392 | 4172.3779 | 697.7268 | 710.6721 | 723.8576 | 737.2878 | 7867.8801 | 764.9003 | 779.0919 | 793.5468 | 808.27
|  | Guaranteed Heat Rate |  |  |  |  | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668 | 9.668
|  | Forecasted NewInter Prices (#515) | 2.5504 | 2.4104 | 2.4283 | 2.4951 | 2.5744 | 2.6358 | 2.716 | 2.8057 | 2.9049 | 2.9832 | 3.0761 | 3.1691 | 3.2348 | 3.3032 | 3.3732 | 3.4456 | 3.5195 | 3.5946 | 3.6712 | 3.7496 | 3.8299 | 3.9118 | 3.9955 | 4.0811 | 4.1684 | 4.2576 | 4.3487 | 4.4418 | 4.5368 | 4.6339 | 4.7331 | 4.8344 | 4.9378 | 5.0435 | 5.1514 | 5.2617 | 5.3743 | 5.4893 | 5.6067 | 5.7267 | 5.8493 | 5.9744 | 6.1023 | 6.2329 | 6.3663 | 6.5025 | 6.6417 | 6.7838 | 6.929 | 7.0772 | 7.2287 | 7.3834 | 7.5414 | 7.7028 | 7.8676 | 8.036 | 8.208 | 8.3836 | 8.563
|  | Starup Fuel (2.08MMBTU/MW/Start 200 starts) |  |  |  |  | 242465.567 | 248241.5417 | 255802.1636 | 264250.9233 | 273589.2468 | 280963.9444 | 289717.5349 | 298473.4813 | 304659.8342 | 311098.9472 | 317692.8548 | 324512.6571 | 331477.7571 | 338545.241 | 345761.8071 | 353149.4939 | 360706.8931 | 368426.0206 | 376310.3375 | 384363.3787 | 392588.755 | 400990.1543 | 409571.3437 | 418336.1704 | 427288.5645 | 436432.5397 | 445772.1961 | 455311.7211 | 465055.3919 | 475007.5773 | 485172.7394 | 495555.4361 | 506160.3224 | 516992.1533 | 528055.7854 | 539356.1792 | 550898.4014 | 562687.6272 | 574729.1424 | 587028.3461 | 599590.7527 | 612421.9948 | 625527.8255 | 638914.121 | 652586.8831 | 666552.2424 | 680816.4604 | 695385.9327 | 710267.1916 | 725466.9095 | 740991.9014 | 756849.1281 | 773045.6994 | 789588.8774 | 806486.0794
|  | Fuel Costs ($) |  |  | 0 | 0 | 17276888.6404 | 17688455.8293 | 18227188.0871 | 18829204.6235 | 19494607.0437 | 20020091.2639 | 20643828.5174 | 21267733.6532 | 21708542.3414 | 22167361.4624 | 22637210.4807 | 23123155.6221 | 23619453.9578 | 24123047.6587 | 24637264.2174 | 25163673.9821 | 25702176.6053 | 26252203.1846 | 26814000.3328 | 27387819.9399 | 27973919.2866 | 28572561.1594 | 29184013.9682 | 29808551.8671 | 30446454.8771 | 31098009.0114 | 31763506.4043 | 32443245.4413 | 33137530.8938 | 33846674.0549 | 34570992.8797 | 35310812.1273 | 36066463.5068 | 36838285.8259 | 37626625.1425 | 38431834.9206 | 39254276.1879 | 40094317.6983 | 40952336.097 | 41828716.0895 | 42723850.6138 | 43638141.017 | 44571997.2347 | 45525837.9756 | 46500090.9082 | 47495192.8537 | 48511589.9807 | 49549738.0063 | 50610102.3997 | 51693158.591 | 52799392.1849 | 53929299.1776 | 55083386.18 | 56262170.6443 | 57466181.0961
|  | Fuel Costs (000$) |  |  | 0 | 0 | 17519.3542 | 17936.6974 | 18482.9903 | 19093.4555 | 19768.1963 | 20301.0552 | 20933.5461 | 21566.2071 | 22013.2022 | 22478.4604 | 22954.9033 | 23447.6683 | 23950.9317 | 24461.5929 | 24983.026 | 25516.8235 | 26062.8835 | 26620.6292 | 27190.3107 | 27772.1833 | 28366.508 | 28973.5513 | 29593.5853 | 30226.888 | 30873.7434 | 31534.4416 | 32209.2786 | 32898.5572 | 33602.5863 | 34321.6816 | 35056.1656 | 35806.3676 | 36572.6238 | 37355.278 | 38154.6809 | 38971.1911 | 39805.1746 | 40657.0053 | 41527.0652 | 42415.7444 | 43323.4414 | 44250.563 | 45197.5251 | 46164.7521 | 47152.6778 | 48161.7451 | 49192.4064 | 50245.1239 | 51320.3696 | 52418.6255 | 53540.3841 | 54686.1483 | 55856.4319 | 57051.7595 | 58272.6672
EPNG Reservation Rate ($/Dth-day) |  | EPNG Reservation Needed (MMBTU/day) |  |  | 0 | 0 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448 | 52532.0448
|  | EPNG Reservation Cost ($) |  |  | 0 | 0 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699 | 7096370.0699
0.3701 |  | EPNG Reservation Cost ($000) |  |  | 0 | 0 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701 | 7096.3701
| 141239.971 | [5 empty] | 7096.3701 | 7402.7854 | 7408.2431 | 7413.7979 | 7419.4517 | 9099.2811 | 7431.0632 | 7437.0245 | 7443.3448 | 7449.7825 | 12502.6522 | 7463.0183 | 7469.8209 | 7476.7497 | 7483.8072 | 9499.9977 | 7498.3172 | 7505.7748 | 7513.3707 | 7521.1076 | 13020.4145 | 7537.0146 | 7545.1901 | 7553.5173 | 7561.9991 | 9985.0938 | 7579.4375 | 7588.4001 | 7597.5291 | 7606.8274 | 13557.0125 | 7625.9447 | 7635.7702 | 7645.778 | 7655.9715 | 10568.0911 | 7676.9294 | 7687.7008 | 7698.6721 | 7709.847
[7 empty] | 242.4656 | 248.2415 | 255.8022 | 264.2509 | 273.5892 | 280.9639 | 289.7175 | 298.4735 | 304.6598 | 311.0989 | 317.6929 | 324.5127 | 331.4778 | 338.5452 | 345.7618 | 353.1495 | 360.7069 | 368.426 | 376.3103 | 384.3634 | 392.5888 | 400.9902 | 409.5713 | 418.3362 | 427.2886 | 436.4325 | 445.7722 | 455.3117 | 465.0554 | 475.0076 | 485.1727 | 495.5554 | 506.1603 | 516.9922 | 528.0558 | 539.3562 | 550.8984 | 562.6876 | 574.7291 | 587.0283
El Paso Electric Company |  | Start Cost (assumes 200 starts/year @2.08 MMBTU/MW/Start |  |  |  |  | 7338.8356 | 7651.027 | 7664.0452 | 7678.0489 | 7693.041 | 9380.245 | 7720.7807 | 7735.498 | 7748.0047 | 7760.8814 | 12820.3451 | 7787.5309 | 7801.2987 | 7815.295 | 7829.569 | 9853.1472 | 7859.0241 | 7874.2008 | 7889.681 | 7905.4709 | 13413.0033 | 7938.0047 | 7954.7615 | 7971.8535 | 7989.2876 | 10421.5263 | 8025.2097 | 8043.7119 | 8062.5845 | 8081.8349 | 14042.1852 | 8121.5001 | 8141.9305 | 8162.7702 | 8184.0273 | 11107.4473 | 8227.8278 | 8250.3884 | 8273.4013 | 8296.8753
Newman-6 Simple Cycle |  | Spoke to Omar (12/1918) and decided to use the start-up fuel cost of NRG's $214k instead of the |  |  |  | NRG Startup Fuel Cost ($K) | 214.7071 | 219.8218 | 226.5168 | 233.9984 | 242.2676 | 248.798 | 256.5494 | 264.303 | 269.7811 | 275.483 | 281.322 | 287.3611 | 293.5288 | 299.7871 | 306.1775 | 312.7194 | 319.4116 | 326.247 | 333.2287 | 340.3598 | 347.6435 | 355.0831 | 362.6819 | 370.4433 | 378.3708 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(thousands) |  | $242 from above assumptions (Yasser calcs) and we are still conservative since GT6 is 226.4 MW and NRG is 323.6 MW) |  |  |  | Strategist Total FOM (K$) | 7311.0772 | 7622.6072 | 7634.7599 | 7647.7963 | 7661.7193 | 9348.0791 | 7687.6126 | 7701.3275 | 7713.1259 | 7725.2655 | 12783.9742 | 7750.3793 | 7763.3497 | 7776.5369 | 7789.9847 | 9812.7171 | 7817.7289 | 7832.0218 | 7846.5994 | 7861.4674 | 13368.0581 | 7892.0977 | 7907.872 | 7923.9606 | 7940.3698 | 9985.0938 | 7579.4375 | 7588.4001 | 7597.5291 | 7606.8274 | 13557.0125 | 7625.9447 | 7635.7702 | 7645.778 | 7655.9715 | 10568.0911 | 7676.9294 | 7687.7008 | 7698.6721 | 7709.847
[7 empty] | 214707.0821 | 219821.7988 | 226516.8486 | 233998.3586 | 242267.5912 | 248798.0022 | 256549.4446 | 264302.9732 | 269781.0862 | 275483.0222 | 281322.0314 | 287361.0739 | 293528.7797 | 299787.1481 | 306177.5312 | 312719.4443 | 319411.6404 | 326247.0496 | 333228.7364 | 340359.8314 | 347643.5318 | 355083.1033 | 362681.8818 | 370443.274 | 378370.7601
[7 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
PRESENT VALUE OF REVENUE REQUIREMENTS MODEL |  |  | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061
| Project Name | EPE Newman-6 Simple Cycle With SCR. Project Stand alone. No $5.4M CC Provision , no $5M dual fuel
| Turbine | Mitsubishi GAC
| Proposal Type | Self Build
| Location | Newman
| Fuel | Dual Fuel
| Heat Rate | 9.668
| Escalation Rate | 2% | 2018: 1.642%; 2019: 18.49%; 2020: 23.31%; 2021: 53.11%; 1 2022: 3.434%
| Total Investment (cash flow): | 141839.621 | 2018: 2328.7493; 2019: 26232.1591; 2020: 33069.6868; 2021: 75337.6849; 1 2022: 4871.341
| Life | 40 | 2018: years
| Book Depreciation | Straight-line
| Tax Depreciation (Gen. Equip) | 20 | 2018: years; 2019: MACRS
| Weighted cost of equity | 4.666%
| Weighted cost of debt | 3.059%
| Cost of Capital (Post-tax) | 7.025%
| Return on Rate Base | 7.725%
| Tax Rate | 22.87%
| Capacity | 226.4
| Insurance Rate | 0.1% | 2019: 123
| First Year Generation (MWh) | 694142.4
| Annual Degradation Rate | 0.5%
| Property Tax Rate | 1.04%
| $/KW | 626.5001
| Minimum Output | 123 MW |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
| Revenue Requirement / PV Calculations |  |  |  | Fiscal Year End | 2018-04-29 | 2019-04-29 | 2020-04-29 | 2021-04-29 | 2022-04-29 | 2023-04-29 | 2024-04-29 | 2025-04-29 | 2026-04-29 | 2027-04-29 | 2028-04-29 | 2029-04-29 | 2030-04-29 | 2031-04-29 | 2032-04-29 | 2033-04-29 | 2034-04-29 | 2035-04-29 | 2036-04-29 | 2037-04-29 | 2038-04-29 | 2039-04-29 | 2040-04-29 | 2041-04-29 | 2042-04-29 | 2043-04-29 | 2044-04-29 | 2045-04-29 | 2046-04-29 | 2047-04-29 | 2048-04-29 | 2049-04-29 | 2050-04-29 | 2051-04-29 | 2052-04-29 | 2053-04-29 | 2054-04-29 | 2055-04-29 | 2056-04-29 | 2057-04-29 | 2058-04-29
| Revenue Requirements by year | [5 empty] | 49843.8709 | 50258.8259 | 50348.0776 | 50519.4558 | 50771.8276 | 52572.0557 | 51138.3753 | 51392.6461 | 51478.2938 | 51585.9778 | 56753.1916 | 51846.1115 | 51997.9501 | 52159.2722 | 52333.5516 | 54531.3626 | 52725.6977 | 52942.968 | 53174.5238 | 53420.6033 | 59172.998 | 54024.8745 | 54450.8602 | 54892.6576 | 55350.5977 | 58239.4744 | 56316.2659 | 56824.6916 | 57350.6555 | 57894.5252 | 64397.3901 | 59037.49 | 59637.3592 | 60256.6824 | 60895.8672 | 64457.0669 | 62235.4954 | 62936.7974 | 63659.6791 | 64404.5926
| Present Value of RR by year | [5 empty] | 46572.1755 | 43877.4991 | 41070.2346 | 38505.0523 | 36157.3517 | 34981.9118 | 31794.3734 | 29855.1383 | 27941.9696 | 26162.5036 | 26893.832 | 22955.8486 | 21511.8692 | 20162.2136 | 18901.7346 | 18402.7432 | 16625.4464 | 15598.1836 | 14638.08 | 13740.5481 | 14221.1136 | 12131.6134 | 11424.6869 | 10761.3952 | 10138.9131 | 9967.8455 | 9006.0108 | 8490.8362 | 8006.9391 | 7552.3203 | 7849.2098 | 6723.576 | 6346.0808 | 5991.1084 | 5657.2392 | 5595.0249 | 5047.5938 | 4769.4209 | 4507.5466 | 4260.9592
| Total Present Value |  |  |  |  | 2019-04-29: 704798.1432
| Present Value of MWhs generated |  |  |  |  | 2019-04-29: 9227309.0814
Aurora Inputs
| Demand Charge Related Revenue Requirement | [5 empty] | 18640.334 | 18289.0048 | 17782.4747 | 17292.269 | 16817.1227 | 16355.9516 | 15907.6714 | 15471.3485 | 15046.049 | 14622.5566 | 14199.0944 | 13775.6021 | 13352.1399 | 12928.6475 | 12505.1853 | 12081.693 | 11658.2307 | 11234.7384 | 10811.2762 | 10387.7838 | 9964.3216 | 9608.0245 | 9318.9227 | 9029.8209 | 8740.7191 | 8451.6173 | 8162.5155 | 7873.4137 | 7584.3118 | 7295.21 | 7006.1082 | 6717.0064 | 6427.9046 | 6138.8028 | 5849.701 | 5560.5991 | 5271.4973 | 4982.3955 | 4693.2937 | 4404.1919
| $/MW week equivalent rate | [5 empty] | 1579.0877 | 1549.3253 | 1506.4154 | 1464.8884 | 1424.6371 | 1385.5697 | 1347.5943 | 1310.6319 | 1274.6033 | 1238.7277 | 1202.8548 | 1166.9793 | 1131.1063 | 1095.2308 | 1059.3578 | 1023.4823 | 987.6094 | 951.7338 | 915.8609 | 879.9854 | 844.1124 | 813.9292 | 789.4384 | 764.9476 | 740.4568 | 715.966 | 691.4751 | 666.9843 | 642.4935 | 618.0027 | 593.5118 | 569.021 | 544.5302 | 520.0394 | 495.5486 | 471.0577 | 446.5669 | 422.0761 | 397.5853 | 373.0944
| Present Value of Demand Related Charges |  |  |  |  | 2019-04-29: 184153.0911
| Annualized Payment Demand Related Charges |  |  |  |  | 2019-04-29: 13853.277
| Capital Carrying Cost ($/MW-WK) |  |  |  |  | 2019-04-29: 1173.5594
| Other Fixed Charges | [5 empty] | 13007.8674 | 13344.7625 | 13381.9909 | 13420.6305 | 13460.7066 | 15176.3194 | 13545.2707 | 13589.8113 | 13639.5648 | 13691.0207 | 18790.5234 | 13799.167 | 13855.9223 | 13914.5099 | 13974.964 | 16046.3212 | 14101.6103 | 14167.8738 | 14236.1461 | 14306.4645 | 19870.2935 | 14453.392 | 14530.0792 | 14608.9685 | 14690.101 | 17187.9737 | 14859.2622 | 14947.3765 | 15037.9051 | 15130.8927 | 21167.0992 | 15324.4281 | 15425.0698 | 15528.3582 | 15634.3423 | 18644.809 | 15854.5986 | 15968.9737 | 16086.2503 | 16206.4821
| Minus FOM | [5 empty] | -4069.6793 | -4142.1654 | -4215.9425 | -4291.0337 | -4367.4623 | -4445.2523 | -4524.4277 | -4605.0134 | -4690.4529 | -4777.4776 | -4866.117 | -4956.4009 | -5048.3599 | -5142.0251 | -5237.4281 | -5334.6011 | -5433.5771 | -5534.3894 | -5637.0722 | -5741.6601 | -5848.1885 | -5956.6933 | -6067.2113 | -6179.7798 | -6294.4369 | -6411.2213 | -6530.1724 | -6651.3305 | -6774.7365 | -6900.4322 | -7028.4599 | -7158.8631 | -7291.6856 | -7426.9725 | -7564.7695 | -7705.1231 | -7848.0808 | -7993.6908 | -8142.0024 | -8293.0657
| Net Other Fixed Charges | [5 empty] | 8938.1881 | 9202.5971 | 9166.0483 | 9129.5968 | 9093.2442 | 10731.0672 | 9020.8429 | 8984.7979 | 8949.1119 | 8913.5431 | 13924.4065 | 8842.7661 | 8807.5624 | 8772.4849 | 8737.5359 | 10711.7201 | 8668.0332 | 8633.4844 | 8599.074 | 8564.8044 | 14022.105 | 8496.6987 | 8462.8679 | 8429.1887 | 8395.664 | 10776.7524 | 8329.0898 | 8296.046 | 8263.1686 | 8230.4605 | 14138.6393 | 8165.5651 | 8133.3842 | 8101.3856 | 8069.5727 | 10939.6859 | 8006.5179 | 7975.2829 | 7944.2479 | 7913.4163
| $/MW week equivalent rate | [5 empty] | 757.1851 | 779.5841 | 776.4879 | 773.4 | 770.3204 | 909.0661 | 764.187 | 761.1335 | 758.1105 | 755.0973 | 1179.585 | 749.1015 | 746.1193 | 743.1478 | 740.1871 | 907.4271 | 734.2993 | 731.3726 | 728.4575 | 725.5544 | 1187.8614 | 719.785 | 716.919 | 714.066 | 711.226 | 912.9363 | 705.5862 | 702.787 | 700.0018 | 697.231 | 1197.7334 | 691.7335 | 689.0073 | 686.2966 | 683.6016 | 926.7389 | 678.26 | 675.614 | 672.9849 | 670.3731
| Present Value of Other Fixed Charges |  |  |  |  | 2019-04-29: 124060.3037
| Annualized Payment Other Fixed Charges |  |  |  |  | 2019-04-29: 9332.6794; 2021-04-29: IC $1.2 M; 2023-04-29: Aurora $/MW-Week
| Other Fixed Cost ($/MW-WK) |  |  |  |  | 2019-04-29: 790.6038; 2021-04-29: 1.28; 2023-04-29: 791.8838
El Paso Electric Company
Newman-6 Simple Cycle
(thousands) | [5 empty] | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End | Fiscal Yr End
| Total Company Rate Base |  | 2018 | 2019 | 2020 | 2018-04-29 | 2019-04-29 | 2020-04-29 | 2021-04-29 | 2022-04-29 | 2023-04-29 | 2024-04-29 | 2025-04-29 | 2026-04-29 | 2027-04-29 | 2028-04-29 | 2029-04-29 | 2030-04-29 | 2031-04-29 | 2032-04-29 | 2033-04-29 | 2034-04-29 | 2035-04-29 | 2036-04-29 | 2037-04-29 | 2038-04-29 | 2039-04-29 | 2040-04-29 | 2041-04-29 | 2042-04-29 | 2043-04-29 | 2044-04-29 | 2045-04-29 | 2046-04-29 | 2047-04-29 | 2048-04-29 | 2049-04-29 | 2050-04-29 | 2051-04-29 | 2052-04-29 | 2053-04-29 | 2054-04-29 | 2055-04-29 | 2056-04-29 | 2057-04-29 | 2058-04-29
| Electric plant in service |  |  |  |  | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838
| Accumulated depreciation |  |  |  |  | 0 | -4039.0746 | -8078.1492 | -12117.2238 | -16156.2984 | -20195.373 | -24234.4476 | -28273.5222 | -32312.5968 | -36351.6713 | -40390.7459 | -44429.8205 | -48468.8951 | -52507.9697 | -56547.0443 | -60586.1189 | -64625.1935 | -68664.2681 | -72703.3427 | -76742.4173 | -80781.4919 | -84820.5665 | -88859.6411 | -92898.7157 | -96937.7903 | -100976.8649 | -105015.9394 | -109055.014 | -113094.0886 | -117133.1632 | -121172.2378 | -125211.3124 | -129250.387 | -133289.4616 | -137328.5362 | -141367.6108 | -145406.6854 | -149445.76 | -153484.8346 | -157523.9092 | -161562.9838
| Net plant |  | 0 | 0 | 0 | 161562.9838 | 157523.9092 | 153484.8346 | 149445.76 | 145406.6854 | 141367.6108 | 137328.5362 | 133289.4616 | 129250.387 | 125211.3124 | 121172.2378 | 117133.1632 | 113094.0886 | 109055.014 | 105015.9394 | 100976.8649 | 96937.7903 | 92898.7157 | 88859.6411 | 84820.5665 | 80781.4919 | 76742.4173 | 72703.3427 | 68664.2681 | 64625.1935 | 60586.1189 | 56547.0443 | 52507.9697 | 48468.8951 | 44429.8205 | 40390.7459 | 36351.6713 | 32312.5968 | 28273.5222 | 24234.4476 | 20195.373 | 16156.2984 | 12117.2238 | 8078.1492 | 4039.0746 | 0
| Accumulated deferred income taxes |  |  |  |  | -1537.5177 | -1912.4136 | -3434.3936 | -4777.152 | -5954.5769 | -6978.5722 | -7861.042 | -8612.2371 | -9242.4079 | -9852.7388 | -10462.739 | -11073.0698 | -11683.07 | -12293.4008 | -12903.401 | -13513.7319 | -14123.732 | -14734.0629 | -15344.0631 | -15954.3939 | -16564.3941 | -16437.0067 | -15571.9011 | -14706.7955 | -13841.6899 | -12976.5843 | -12111.4786 | -11246.373 | -10381.2674 | -9516.1618 | -8651.0562 | -7785.9506 | -6920.8449 | -6055.7393 | -5190.6337 | -4325.5281 | -3460.4225 | -2595.3169 | -1730.2112 | -865.1056 | 2.2055e-11
| Total rate base |  | 0 | 0 | 0 | 160025.466 | 155611.4956 | 150050.441 | 144668.608 | 139452.1085 | 134389.0386 | 129467.4941 | 124677.2245 | 120007.9791 | 115358.5736 | 110709.4989 | 106060.0934 | 101411.0186 | 96761.6132 | 92112.5384 | 87463.133 | 82814.0582 | 78164.6528 | 73515.578 | 68866.1726 | 64217.0978 | 60305.4106 | 57131.4416 | 53957.4726 | 50783.5036 | 47609.5347 | 44435.5657 | 41261.5967 | 38087.6277 | 34913.6588 | 31739.6898 | 28565.7208 | 25391.7518 | 22217.7828 | 19043.8139 | 15869.8449 | 12695.8759 | 9521.9069 | 6347.938 | 3173.969 | 2.2055e-11
| Weighted cost of capital |  |  |  |  | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725% | 7.725%
| Return on investment |  |  |  |  | 12361.9673 | 12020.988 | 11591.3966 | 11175.65 | 10772.6754 | 10381.5532 | 10001.3639 | 9631.3156 | 9270.6164 | 8911.4498 | 8552.3088 | 8193.1422 | 7834.0012 | 7474.8346 | 7115.6936 | 6756.527 | 6397.386 | 6038.2194 | 5679.0784 | 5319.9118 | 4960.7708 | 4658.593 | 4413.4039 | 4168.2148 | 3923.0257 | 3677.8366 | 3432.6474 | 3187.4583 | 2942.2692 | 2697.0801 | 2451.891 | 2206.7019 | 1961.5128 | 1716.3237 | 1471.1346 | 1225.9455 | 980.7564 | 735.5673 | 490.3782 | 245.1891 | 1.7038e-12
Revenue Requirements
| Fuel | [5 empty] | 17519.3542 | 17936.6974 | 18482.9903 | 19093.4555 | 19768.1963 | 20301.0552 | 20933.5461 | 21566.2071 | 22013.2022 | 22478.4604 | 22954.9033 | 23447.6683 | 23950.9317 | 24461.5929 | 24983.026 | 25516.8235 | 26062.8835 | 26620.6292 | 27190.3107 | 27772.1833 | 28366.508 | 28973.5513 | 29593.5853 | 30226.888 | 30873.7434 | 31534.4416 | 32209.2786 | 32898.5572 | 33602.5863 | 34321.6816 | 35056.1656 | 35806.3676 | 36572.6238 | 37355.278 | 38154.6809 | 38971.1911 | 39805.1746 | 40657.0053 | 41527.0652 | 42415.7444
Operation and maintenance expenses
| Variable | [5 empty] | 676.3153 | 688.3613 | 700.6219 | 713.1008 | 725.802 | 738.7295 | 751.8871 | 765.2792 | 779.4779 | 793.94 | 808.6704 | 823.6741 | 838.9562 | 854.5219 | 870.3763 | 886.5249 | 902.9732 | 919.7265 | 936.7908 | 954.1716 | 971.8749 | 989.9067 | 1008.273 | 1026.9801 | 1046.0342 | 1065.4419 | 1085.2097 | 1105.3442 | 1125.8523 | 1146.7409 | 1168.017 | 1189.6879 | 1211.7609 | 1234.2434 | 1257.1431 | 1280.4676 | 1304.2248 | 1328.4229 | 1353.0699 | 1378.1742
| Fixed | [5 empty] | 11166.0494 | 11544.9508 | 11624.1856 | 11704.8316 | 11786.914 | 13544.5333 | 11955.4909 | 12042.0379 | 12133.7978 | 12227.2601 | 17368.7692 | 12419.4191 | 12518.1808 | 12618.7748 | 12721.2352 | 14834.5988 | 12931.8943 | 13040.1642 | 13150.4429 | 13262.7676 | 18868.603 | 13493.7079 | 13612.4014 | 13733.2972 | 13856.436 | 16396.315 | 14109.6099 | 14239.7307 | 14372.2656 | 14507.2596 | 20585.4725 | 14784.8078 | 14927.4559 | 15072.7506 | 15220.741 | 18273.2142 | 15525.0101 | 15681.3916 | 15840.6745 | 16002.9127
| Insurance | [5 empty] | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563 | 161.563
| Depreciation | [5 empty] | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746
Taxes Other than income taxes
Payroll taxes
| Property taxes | [5 empty] | 1680.255 | 1638.2487 | 1596.2423 | 1554.2359 | 1512.2295 | 1470.2232 | 1428.2168 | 1386.2104 | 1344.204 | 1302.1976 | 1260.1913 | 1218.1849 | 1176.1785 | 1134.1721 | 1092.1658 | 1050.1594 | 1008.153 | 966.1466 | 924.1403 | 882.1339 | 840.1275 | 798.1211 | 756.1148 | 714.1084 | 672.102 | 630.0956 | 588.0893 | 546.0829 | 504.0765 | 462.0701 | 420.0638 | 378.0574 | 336.051 | 294.0446 | 252.0383 | 210.0319 | 168.0255 | 126.0191 | 84.0128 | 42.0064
Revenue taxes
| Income taxes | [5 empty] | 2239.2921 | 2228.9422 | 2152.0035 | 2077.5444 | 2005.3727 | 1935.3238 | 1867.2329 | 1800.9583 | 1736.358 | 1672.0322 | 1607.711 | 1543.3853 | 1479.0641 | 1414.7383 | 1350.4171 | 1286.0913 | 1221.7702 | 1157.4444 | 1093.1232 | 1028.7974 | 964.4762 | 910.357 | 866.4443 | 822.5316 | 778.6189 | 734.7061 | 690.7934 | 646.8807 | 602.968 | 559.0553 | 515.1426 | 471.2299 | 427.3172 | 383.4045 | 339.4917 | 295.579 | 251.6663 | 207.7536 | 163.8409 | 119.9282
| Return on investment |  | 0 | 0 | 0 |  | 12361.9673 | 12020.988 | 11591.3966 | 11175.65 | 10772.6754 | 10381.5532 | 10001.3639 | 9631.3156 | 9270.6164 | 8911.4498 | 8552.3088 | 8193.1422 | 7834.0012 | 7474.8346 | 7115.6936 | 6756.527 | 6397.386 | 6038.2194 | 5679.0784 | 5319.9118 | 4960.7708 | 4658.593 | 4413.4039 | 4168.2148 | 3923.0257 | 3677.8366 | 3432.6474 | 3187.4583 | 2942.2692 | 2697.0801 | 2451.891 | 2206.7019 | 1961.5128 | 1716.3237 | 1471.1346 | 1225.9455 | 980.7564 | 735.5673 | 490.3782 | 245.1891
| Total non-fuel cost of serivce |  | 0 | 0 | 0 | 0 | 49843.8709 | 50258.8259 | 50348.0776 | 50519.4558 | 50771.8276 | 52572.0557 | 51138.3753 | 51392.6461 | 51478.2938 | 51585.9778 | 56753.1916 | 51846.1115 | 51997.9501 | 52159.2722 | 52333.5516 | 54531.3626 | 52725.6977 | 52942.968 | 53174.5238 | 53420.6033 | 59172.998 | 54024.8745 | 54450.8602 | 54892.6576 | 55350.5977 | 58239.4744 | 56316.2659 | 56824.6916 | 57350.6555 | 57894.5252 | 64397.3901 | 59037.49 | 59637.3592 | 60256.6824 | 60895.8672 | 64457.0669 | 62235.4954 | 62936.7974 | 63659.6791 | 64404.5926
| E3 use Revenue Requirement | [5 empty] | 31648.2014 | 31633.7673 | 31164.4655 | 30712.8995 | 30277.8293 | 31532.2711 | 29452.9421 | 29061.1597 | 28685.6138 | 28313.5774 | 32989.6179 | 27574.7691 | 27208.0621 | 26843.1575 | 26480.1493 | 28128.0142 | 25759.8411 | 25402.6122 | 25047.4223 | 24694.2484 | 29834.6151 | 24061.4166 | 23849.0019 | 23638.7895 | 23430.8201 | 25639.5909 | 23021.7776 | 22820.7902 | 22622.2169 | 22426.1027 | 28173.2074 | 22041.4345 | 21852.9744 | 21667.161 | 21484.0432 | 24205.4082 | 21126.0959 | 20951.3692 | 20779.544 | 20610.674
| E3 $/KW-Year | [5 empty] | 139.7889 | 139.7251 | 137.6522 | 135.6577 | 133.736 | 139.2768 | 130.0925 | 128.362 | 126.7032 | 125.06 | 145.7139 | 121.7967 | 120.177 | 118.5652 | 116.9618 | 124.2403 | 113.7802 | 112.2024 | 110.6335 | 109.0735 | 131.7783 | 106.2783 | 105.3401 | 104.4116 | 103.493 | 113.2491 | 101.6863 | 100.7985 | 99.9215 | 99.0552 | 124.44 | 97.3562 | 96.5237 | 95.703 | 94.8942 | 106.9143 | 93.3131 | 92.5414 | 91.7824 | 91.0365
| Net Present Value at After-tax cost of capital |  |  |  |  | 2019-04-29: 704798.1432
Income Taxes
| Return |  | 0 | 0 | 0 | 12361.9673 | 12020.988 | 11591.3966 | 11175.65 | 10772.6754 | 10381.5532 | 10001.3639 | 9631.3156 | 9270.6164 | 8911.4498 | 8552.3088 | 8193.1422 | 7834.0012 | 7474.8346 | 7115.6936 | 6756.527 | 6397.386 | 6038.2194 | 5679.0784 | 5319.9118 | 4960.7708 | 4658.593 | 4413.4039 | 4168.2148 | 3923.0257 | 3677.8366 | 3432.6474 | 3187.4583 | 2942.2692 | 2697.0801 | 2451.891 | 2206.7019 | 1961.5128 | 1716.3237 | 1471.1346 | 1225.9455 | 980.7564 | 735.5673 | 490.3782 | 245.1891 | 1.7038e-12
| Less: Synchronized interest |  | 0 | 0 | 0 | 4809.864 | 4760.1556 | 4590.043 | 4425.4127 | 4265.84 | 4110.9607 | 3960.4106 | 3813.8763 | 3671.0441 | 3528.8188 | 3386.6036 | 3244.3783 | 3102.1631 | 2959.9377 | 2817.7226 | 2675.4972 | 2533.282 | 2391.0567 | 2248.8415 | 2106.6162 | 1964.401 | 1844.7425 | 1747.6508 | 1650.5591 | 1553.4674 | 1456.3757 | 1359.284 | 1262.1922 | 1165.1005 | 1068.0088 | 970.9171 | 873.8254 | 776.7337 | 679.642 | 582.5503 | 485.4586 | 388.3668 | 291.2751 | 194.1834 | 97.0917 | 6.7467e-13
| Return on equity |  | 0 | 0 | 0 | 7552.1032 | 7260.8324 | 7001.3536 | 6750.2372 | 6506.8354 | 6270.5925 | 6040.9533 | 5817.4393 | 5599.5723 | 5382.631 | 5165.7052 | 4948.764 | 4731.8381 | 4514.8969 | 4297.971 | 4081.0298 | 3864.104 | 3647.1627 | 3430.2369 | 3213.2956 | 2996.3698 | 2813.8505 | 2665.7531 | 2517.6557 | 2369.5583 | 2221.4609 | 2073.3635 | 1925.2661 | 1777.1687 | 1629.0713 | 1480.9739 | 1332.8765 | 1184.7791 | 1036.6817 | 888.5844 | 740.487 | 592.3896 | 444.2922 | 296.1948 | 148.0974 | 1.0291e-12
Plus:
| Permanent differences |  |  |  |  | 0 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653
| Taxable component of return |  | 0 | 0 | 0 | 7552.1032 | 7517.1977 | 7257.7189 | 7006.6025 | 6763.2007 | 6526.9578 | 6297.3186 | 6073.8046 | 5855.9376 | 5638.9963 | 5422.0705 | 5205.1293 | 4988.2034 | 4771.2622 | 4554.3363 | 4337.3951 | 4120.4693 | 3903.528 | 3686.6022 | 3469.6609 | 3252.7351 | 3070.2158 | 2922.1184 | 2774.021 | 2625.9236 | 2477.8262 | 2329.7288 | 2181.6314 | 2033.534 | 1885.4366 | 1737.3392 | 1589.2418 | 1441.1444 | 1293.047 | 1144.9496 | 996.8523 | 848.7549 | 700.6575 | 552.5601 | 404.4627 | 256.3653
| Tax factor |  |  |  |  | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651 | 0.29651
| Income Taxes |  | 0 | 0 | 0 | 2239.2921 | 2228.9422 | 2152.0035 | 2077.5444 | 2005.3727 | 1935.3238 | 1867.2329 | 1800.9583 | 1736.358 | 1672.0322 | 1607.711 | 1543.3853 | 1479.0641 | 1414.7383 | 1350.4171 | 1286.0913 | 1221.7702 | 1157.4444 | 1093.1232 | 1028.7974 | 964.4762 | 910.357 | 866.4443 | 822.5316 | 778.6189 | 734.7061 | 690.7934 | 646.8807 | 602.968 | 559.0553 | 515.1426 | 471.2299 | 427.3172 | 383.4045 | 339.4917 | 295.579 | 251.6663 | 207.7536 | 163.8409 | 119.9282 | 76.0155
Electric Plant in Service
| Beginning Balance |  | 0 | 2421.1159 | 29906.9209 | 2018-04-29: 66921.6266; 2019-04-29: 151140.0401; 2020-04-29: Cumulative
| Cash |  | 2328.7493 | 26232.1591 | 33069.6868 | 2018-04-29: 75337.6849; 2019-04-29: 4871.341; 2020-04-29: 141839.621
| AFUDC |  | 90.0379 | 1202.2341 | 3600.9172 | 2018-04-29: 8109.4061; 2019-04-29: 3974.8749; 2020-04-29: 16977.4702
| Insurance |  | 2.3287 | 26.2322 | 33.0697 | 2018-04-29: 75.3377; 2019-04-29: 4.8713; 2020-04-29: 141.8396
| Property taxes |  | 0 | 25.1796 | 311.032 | 2018-04-29: 695.9849; 2019-04-29: 1571.8564; 2020-04-29: 2604.0529
| Total |  | 2421.1159 | 29906.9209 | 66921.6266 | 2018-04-29: 151140.0401; 2019-04-29: 161562.9838; 2020-04-29: 161562.9838; 2022-04-29: 713.6174
| AFUDC |  |  |  |  | 2020-04-29: Cumulative
| CWIP Balance |  | 1165.539 | 15562.9014 | 46613.8152 | 2018-04-29: 104976.1303; 2019-04-29: 51454.6915
| Debt |  | 35.6538 | 476.0692 | 1425.9166 | 2018-04-29: 3211.2198; 2019-04-29: 1573.999; 2020-04-29: 6722.8584
| Equity |  | 54.3841 | 726.165 | 2175.0006 | 2018-04-29: 4898.1862; 2019-04-29: 2400.8759; 2020-04-29: 10254.6118
| Total |  | 90.0379 | 1202.2341 | 3600.9172 | 2018-04-29: 8109.4061; 2019-04-29: 3974.8749; 2020-04-29: 16977.4702
Depreication Expense and Accumulated Depreciation
Electric plant in service
| Newman- CT | [5 empty] | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838 | 161562.9838
Depreciation expense
| Newman- CT | [5 empty] | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 4039.0746 | 161562.9838
Accumulated Depreciation
| Newman- CT | [5 empty] | 4039.0746 | 8078.1492 | 12117.2238 | 16156.2984 | 20195.373 | 24234.4476 | 28273.5222 | 32312.5968 | 36351.6713 | 40390.7459 | 44429.8205 | 48468.8951 | 52507.9697 | 56547.0443 | 60586.1189 | 64625.1935 | 68664.2681 | 72703.3427 | 76742.4173 | 80781.4919 | 84820.5665 | 88859.6411 | 92898.7157 | 96937.7903 | 100976.8649 | 105015.9394 | 109055.014 | 113094.0886 | 117133.1632 | 121172.2378 | 125211.3124 | 129250.387 | 133289.4616 | 137328.5362 | 141367.6108 | 145406.6854 | 149445.76 | 153484.8346 | 157523.9092 | 161562.9838
Deferred Income Taxes
| AFUDC - Debt |  |  |  |  | 1537.5177 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -8.5265e-13
| Liberalized depreciation |  |  |  |  | 0 | 413.3338 | 1560.4179 | 1381.1963 | 1215.8628 | 1062.4333 | 920.9078 | 789.633 | 668.6088 | 648.7688 | 648.4381 | 648.7688 | 648.4381 | 648.7688 | 648.4381 | 648.7688 | 648.4381 | 648.7688 | 648.4381 | 648.7688 | 648.4381 | -88.9494 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -1.4325e-11
| Deferred Income Taxes |  |  |  |  | 1537.5177 | 374.8959 | 1521.98 | 1342.7584 | 1177.4249 | 1023.9954 | 882.4698 | 751.195 | 630.1709 | 610.3308 | 610.0002 | 610.3308 | 610.0002 | 610.3308 | 610.0002 | 610.3308 | 610.0002 | 610.3308 | 610.0002 | 610.3308 | 610.0002 | -127.3874 | -865.1056 | -865.1056 | -865.1056 | -865.1056 | -865.1056 | -865.1056 | -865.1056 | -865.1056 | -865.1056 | -865.1056 | -865.1056 | -865.1056 | -865.1056 | -865.1056 | -865.1056 | -865.1056 | -865.1056 | -865.1056 | -865.1056
Accumulated Deferred Income Taxes
| AFUDC - Debt |  |  |  |  | 1537.5177 | -38.4379 | -76.8759 | -115.3138 | -153.7518 | -192.1897 | -230.6277 | -269.0656 | -307.5035 | -345.9415 | -384.3794 | -422.8174 | -461.2553 | -499.6933 | -538.1312 | -576.5691 | -615.0071 | -653.445 | -691.883 | -730.3209 | -768.7589 | -807.1968 | -845.6347 | -884.0727 | -922.5106 | -960.9486 | -999.3865 | -1037.8245 | -1076.2624 | -1114.7004 | -1153.1383 | -1191.5762 | -1230.0142 | -1268.4521 | -1306.8901 | -1345.328 | -1383.766 | -1422.2039 | -1460.6418 | -1499.0798 | -1537.5177
| Liberalized depreciation |  |  |  |  | 0 | 413.3338 | 1973.7517 | 3354.9481 | 4570.8109 | 5633.2442 | 6554.152 | 7343.7849 | 8012.3938 | 8661.1626 | 9309.6007 | 9958.3695 | 10606.8076 | 11255.5764 | 11904.0145 | 12552.7833 | 13201.2214 | 13849.9902 | 14498.4283 | 15147.1971 | 15795.6352 | 15706.6858 | 14880.0181 | 14053.3505 | 13226.6828 | 12400.0151 | 11573.3474 | 10746.6798 | 9920.0121 | 9093.3444 | 8266.6767 | 7440.0091 | 6613.3414 | 5786.6737 | 4960.006 | 4133.3384 | 3306.6707 | 2480.003 | 1653.3353 | 826.6677 | -1.4325e-11
| Accumulated Deferred Income Taxes |  |  |  |  | 1537.5177 | 1912.4136 | 3434.3936 | 4777.152 | 5954.5769 | 6978.5722 | 7861.042 | 8612.2371 | 9242.4079 | 9852.7388 | 10462.739 | 11073.0698 | 11683.07 | 12293.4008 | 12903.401 | 13513.7319 | 14123.732 | 14734.0629 | 15344.0631 | 15954.3939 | 16564.3941 | 16437.0067 | 15571.9011 | 14706.7955 | 13841.6899 | 12976.5843 | 12111.4786 | 11246.373 | 10381.2674 | 9516.1618 | 8651.0562 | 7785.9506 | 6920.8449 | 6055.7393 | 5190.6337 | 4325.5281 | 3460.4225 | 2595.3169 | 1730.2112 | 865.1056 | -2.2055e-11
Tax Depreciation
| Depreciable balance | [5 empty] | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135 | 144585.5135
| MACRS Depreciation Rate |  |  |  |  | 2019-04-29: 3.75%; 2020-04-29: 7.219%; 2021-04-29: 6.677%; 2022-04-29: 6.177%; 2023-04-29: 5.713%; 2024-04-29: 5.285%; 2025-04-29: 4.888%; 2026-04-29: 4.522%; 2027-04-29: 4.462%; 2028-04-29: 4.461%; 2029-04-29: 4.462%; 2030-04-29: 4.461%; 2031-04-29: 4.462%; 2032-04-29: 4.461%; 2033-04-29: 4.462%; 2034-04-29: 4.461%; 2035-04-29: 4.462%; 2036-04-29: 4.461%; 2037-04-29: 4.462%; 2038-04-29: 4.461%; 2039-04-29: 2.231%
| Tax Depreciation | [5 empty] | 5421.9568 | 10437.6282 | 9653.9747 | 8931.0472 | 8260.1704 | 7641.3444 | 7067.3399 | 6538.1569 | 6451.4056 | 6449.9598 | 6451.4056 | 6449.9598 | 6451.4056 | 6449.9598 | 6451.4056 | 6449.9598 | 6451.4056 | 6449.9598 | 6451.4056 | 6449.9598 | 3225.7028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Book Depreciation | [5 empty] | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 3614.6378 | 144585.5135
| Difference | [5 empty] | 1807.3189 | 6822.9904 | 6039.3369 | 5316.4093 | 4645.5325 | 4026.7066 | 3452.7021 | 2923.5191 | 2836.7678 | 2835.3219 | 2836.7678 | 2835.3219 | 2836.7678 | 2835.3219 | 2836.7678 | 2835.3219 | 2836.7678 | 2835.3219 | 2836.7678 | 2835.3219 | -388.935 | -3614.6378 | -3614.6378 | -3614.6378 | -3614.6378 | -3614.6378 | -3614.6378 | -3614.6378 | -3614.6378 | -3614.6378 | -3614.6378 | -3614.6378 | -3614.6378 | -3614.6378 | -3614.6378 | -3614.6378 | -3614.6378 | -3614.6378 | -3614.6378 | -3614.6378
| Tax rate | [5 empty] | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87%
| Deferred income taxes - Liberalized | [5 empty] | 413.3338 | 1560.4179 | 1381.1963 | 1215.8628 | 1062.4333 | 920.9078 | 789.633 | 668.6088 | 648.7688 | 648.4381 | 648.7688 | 648.4381 | 648.7688 | 648.4381 | 648.7688 | 648.4381 | 648.7688 | 648.4381 | 648.7688 | 648.4381 | -88.9494 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677 | -826.6677
| ADIT | [5 empty] | 413.3338 | 1973.7517 | 3354.9481 | 4570.8109 | 5633.2442 | 6554.152 | 7343.7849 | 8012.3938 | 8661.1626 | 9309.6007 | 9958.3695 | 10606.8076 | 11255.5764 | 11904.0145 | 12552.7833 | 13201.2214 | 13849.9902 | 14498.4283 | 15147.1971 | 15795.6352 | 15706.6858 | 14880.0181 | 14053.3505 | 13226.6828 | 12400.0151 | 11573.3474 | 10746.6798 | 9920.0121 | 9093.3444 | 8266.6767 | 7440.0091 | 6613.3414 | 5786.6737 | 4960.006 | 4133.3384 | 3306.6707 | 2480.003 | 1653.3353 | 826.6677 | -1.4325e-11
| AFUDC - Debt |  |  |  |  | 2018-04-29: 6722.8584
| Less: AFUDC depreciation |  |  |  |  | 0 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 168.0715 | 6722.8584
| Difference |  |  |  |  | 6722.8584 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715 | -168.0715
| Tax rate |  |  |  |  | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87% | 22.87%
| Deferred income taxes - AFUDC |  |  |  |  | 1537.5177 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379 | -38.4379
| ADIT - AFUDC |  |  |  |  | 1537.5177 | 1499.0798 | 1460.6418 | 1422.2039 | 1383.766 | 1345.328 | 1306.8901 | 1268.4521 | 1230.0142 | 1191.5762 | 1153.1383 | 1114.7004 | 1076.2624 | 1037.8245 | 999.3865 | 960.9486 | 922.5106 | 884.0727 | 845.6347 | 807.1968 | 768.7589 | 730.3209 | 691.883 | 653.445 | 615.0071 | 576.5691 | 538.1312 | 499.6933 | 461.2553 | 422.8174 | 384.3794 | 345.9415 | 307.5035 | 269.0656 | 230.6277 | 192.1897 | 153.7518 | 115.3138 | 76.8759 | 38.4379 | -8.5265e-13
Additional Depreciation - AFUDC Equity
| AFUDC Equity - CT |  |  |  |  | 2018-04-29: 10254.6118
| Total Additional Depreciation | [5 empty] | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 256.3653 | 10254.6118
Note on B24: Author: Using CT O&M Costs
Note on C65: Yasser: Page 10 BAFO
Note on C67: Author: Per Mora Email $$146.8M minus $5M dual fuel capability
Note on H83: Author: First full year of operation for CT. Fiscal years are used to match annual cash flows, full year generation output and discount rates
Note on J113: Author: From System Upgrade file.