TO:		Kourtnee Jinks, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:	September 30, 2021

RE:	Docket No. 52201 – Application of Utilities Investment Company, Inc. and UIC 13 LLC and Monarch Utilities I, L.P. for Sale, Transfer, or Merger of Facilities and Certificate Rights in Harris, Liberty, and Chambers Counties

1.	Application

On June 1, 2021, Monarch Utilities I L.P. (Monarch Utilities) and Utilities Investment Company, Inc. (UIC) and UIC 13 LLC (UIC 13) (collectively Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Harris, Liberty, and Chambers Counties, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, Monarch Utilities, water certificate of convenience and necessity (CCN) No. 12983 and sewer CCN No. 20899, seeks approval to acquire facilities and to transfer a portion of the water and sewer certificated service areas from UIC under water CCN No. 12671 and sewer CCN No. 20765 and to acquire facilities and to transfer all of the of the water and sewer certificated service areas from UIC 13 under water CCN No. 13242 and sewer CCN No. 21091.

Total Requested Area from UIC:

- The requested area for water includes 678 total customer connections and approximately 1,246 total acres of transferred area from UIC CCN No. 12671. The application proposes the subtraction of approximately 1,246 total acres from UIC from CCN No. 12671 and the addition of approximately 1,246 total acres to Monarch Utilities’ CCN No. 12983.

- The requested area for sewer includes 219 total customer connections and approximately 289 total acres of transferred area from UIC CCN No. 20765. The application proposes the subtraction of approximately 289 total acres from UIC’s CCN No. 20765 and the addition of approximately 289 total acres to Monarch Utilities’ CCN No. 20899.

Total Requested Area from UIC 13:

- The requested area for water includes 439 total customer connections and approximately 248 total acres of transferred area from UIC 13’s CCN No. 13242. The application proposes the subtraction of approximately 248 total acres from UIC 13’s CCN No. 13242 and the addition of approximately 248 total acres to Monarch Utilities’ CCN No. 12983.

- The requested area for sewer includes 318 total customer connections and approximately 110 total acres of transferred area from UIC 13’s CCN No. 21091. The application proposes the subtraction of approximately 110 total acres from UIC 13’s CCN No. 21091 and the addition of approximately 110 total acres to Monarch Utilities’ CCN No. 20899.

2.	Notice

Monarch provided notice consistent with 16 TAC § 24.239(c).  The deadline to intervene was August 25, 2021.  The Cypress Hill Homeowners Association submitted a motion to intervene.  There were no protests or opt-out requests received.

3.	Factors Considered

Under TWC §§ 13.241 and 13.246 and 16 TAC §§ 24.11(e), 24.227 and 24.239, the Commission must consider certain factors when granting or amending a water or sewer CCN. These factors are addressed below.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1), 13.301(e)(3)(A); 16 TAC §§ 24.227(a) and (e)(1), 24.239(h)(3)(A), (h)(5)(A), and (h)(5)(I))).

UIC’s water CCN No. 12671 has several Texas Commission on Environmental Quality (TCEQ) approved public water systems (PWS).  The application proposes the transfer of the public water systems listed below from UIC’s water CCN to Monarch Utilities.

| System Name | ID No. |
| --- | --- |
| Greenbriar Estates | 0360111 |
| Orchard Crossing | 1012450 |
| Fairview Acres MHP | 1010706 |
| Glenwood Mobile Home Subdivision | 1011492 |
| Rollan Heights | 1010640 |
| Cedar Oaks | 1011556 |
| Homestead Oaks | 1011734 |
| Cedar Bayou Estates | 1012174 |
| Cedar Bayou Park | 1010112 |
| McGee Place | 1012995 |
| Spring Cypress Center | 1013172 |
| Target Center Water Plant | 1013316 |
| Peterson Place | 1460086 |

Of these public water systems, Glenwood Mobile Home Subdivision has active violations with the TCEQ.  The Applicants provided proof that plans have been submitted to the TCEQ to install a new water plant to serve the Glenwood Mobile Home Subdivision to address the violations.  The plans for the new water plant were approved by the TCEQ on January 20, 2020.  The water plant is currently being built by UIC and will be completed before the sale is complete.

UIC, sewer CCN No. 20765 has several wastewater treatment plants (WWTP).  The application proposes the transfer of Orchard Crossing WWTP, Texas Pollutant Discharge Elimination System (TPDES) Permit No. WQ0012863001, and Spring Cypress Shopping Center WWTP, TPDES Permit No. WQ0014172001 from UIC’s sewer CCN to Monarch Utilities.  UIC does not have any violations listed in the TCEQ database for these WWTPs.  No additional construction is necessary for Monarch Utilities to serve the requested sewer CCN service areas.

The Commission’s complaint records for both the water CCN No. 12671 and sewer CCN No. 20765, which go back to 2014, show 9 complaints investigated against UIC.

UIC 13’s water CCN No. 13242 has three TCEQ approved public water systems proposed to be transferred from UIC 13’s water CCN to Monarch Utilities.  The public water systems are Azalea Estates, PWS ID No. 1011253, Cottonwood Park, PWS ID No. 1010283, and Cypress Hill, PWS ID No. 1011792.

UIC 13’s sewer CCN No. 21091 has one WWTP proposed to be transferred from UIC 13 to Monarch Utilities.  The WWTP proposed to be transferred in this application is registered as Aldine Village WWTP, TPDES Permit No. WQ0012863001.

UIC 13 does not have any violations listed in the TCEQ database for their water and sewer systems.  No additional construction is necessary for Monarch Utilities to serve the requested water and sewer service area.

The Commission’s complaint records for both the water CCN No. 13242 and sewer CCN No. 21091, which go back to 2014, show no complaints investigated against UIC 13.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC §§ 24.227(e)(2) and 24.239(h)(5)(B)).

The purpose of the transaction is to transfer the public water systems and wastewater treatment plants from two providers transferring a water and sewer utility, each.  The customers are currently receiving water and sewer service from each of the utilities’ public water systems and wastewater treatment plants.

The public water systems and subdivisions listed below are proposed to be transferred from UIC’s water CCN to Monarch Utilities.

| System Name | PWS ID No. | Subdivisions |
| --- | --- | --- |
| Greenbriar Estates | 0360111 | Greenbriar Estates |
| Orchard Crossing | 1012450 | Orchard Crossing |
| Fairview Acres MHP | 1010706 | Fairacres Section 1 |
| Glenwood Mobile Home Subdivision | 1011492 | Fairacres Section 2 |
| Rollan Heights | 1010640 | Rollan Heights |
| Cedar Oaks | 1011556 | Cedar Oaks |
| Homestead Oaks | 1011734 | Homestead Oaks |
| Cedar Bayou Estates | 1012174 | Cedar Bayou Estates |
| Cedar Bayou Park | 1010112 | Cedar Bayou Park West |
| McGee Place | 1012995 | McGee Place |
| Spring Cypress Center | 1013172 | Spring Cypress Shopping Center |
| Target Center Water Plant | 1013316 | Spring Cypress Shopping Center |
| Peterson Place | 1460086 | Stilson-Hill |

The WWTP and subdivisions listed below are proposed to be transferred from UIC’s sewer CCN to Monarch Utilities.

| System Name | TPDES ID No. | Subdivisions |
| --- | --- | --- |
| Orchard Crossing WWTP | WQ0012863001 | Orchard Crossing |
| Spring Cypress Shopping Center WWTP | WQ0014172001 | Spring Cypress Shopping Center |

The public water systems and subdivisions listed below are proposed to be transferred from UIC 13’s water CCN to Monarch Utilities.

| System Name | PWS ID No. | Subdivisions |
| --- | --- | --- |
| Aldine Village Subdivsion | 1010931 | Aldine Village |
| Azalea Estates | 1011253 | Azalea Estates |
| Cottonwood Park | 1010283 | Airline Link Addition |
| Cypress Hill | 1011792 | Cypress Hill |

The WWTP and subdivision proposed to be transferred from UIC 13’s sewer CCN to Monarch Utilities is the Aldine Village WWTP, TPDES Permit No. WQ0012863001, in the Aldine Village subdivision.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC § 13.246(c)(3), 16 TAC §§ 24.227(e)(3), 24.239(h)(5)(c)).

Monarch Utilities will be the certificated entity for the requested areas and be required to provide adequate and continuous service to the requested areas.

There will be no effect on landowners as the area is currently certificated.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC §§ 13.241(a) and (b), 13.246(c)(4); and 13.301(b) and (e)(2); 16 TAC §§ 24.227(a) and (e)(4), and 24.239(f) and (h)(5)(D)).

Monarch Utilities has the ability to provide adequate service in the requested area.  Monarch Utilities has 117 TCEQ approved public water systems and wastewater treatment plants with 11 approved TPDES permits serving approximately 29,733 connections.  The Commission’s complaint records, which go back to 2014, show 459 complaints against Monarch.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The construction of a physically separate system is not necessary for Monarch Utilities to serve the requested area. Therefore, concerns of regionalization or consolidation do not apply.

3.6	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC §§ 24.227(e)(5) and 24.239(h)(5)(E)).

The UIC and UIC 13 are currently serving customers in all of their water and sewer systems.  Obtaining service from an adjacent retail public utility would likely increase costs to customers because new facilities will need to be constructed.  At the minimum, an interconnect would need to be installed in order to connect to a neighboring retail public utility.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC §§ 13.246(c)(6) and 13.301(b); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e), and 24.239(f) and (h)(5)(F)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d), 13.301(c); 16 TAC §§ 24.227(f), 24.239(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC §§ 24.227(e)(7) and (9) and 24.239(h)(5)(G)).

The environmental integrity of the land will not be affected as Monarch will not need to construct additional plant to provide service to the requested areas.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC §§ 24.227(e)(8), 24.239(h)(5)(H)).

Monarch Utilities will continue to provide water and sewer service to the existing customers in the requested areas. There will be no change in the quality or cost of service to customers.

The Applicants meet the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations. Approving this application to transfer water facilities in the requested areas and a portion of the water service areas of the water CCN No. 12671, transfer sewer facilities in the requested areas and a portion of the sewer service areas of the sewer CCN No. 20765, transfer water facilities in the requested areas and all of the water service areas of the water CCN No. 13242, and to transfer sewer facilities in the requested areas and all of the sewer service areas of the sewer CCN No. 21091 to Monarch Utilities and amending water CCN No. 12983 and sewer CCN No. 20899 of Monarch Utilities is necessary for the service, accommodation, convenience and safety of the public.

4. 	Recommendation

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction. There are deposits held by UIC and UIC 13 for some of the customers. I further recommend that a public hearing is not necessary.