TO:		Arnett Caviel, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		November 12, 2021

RE:	Docket No. 52270 – Application of Aqua Water Supply Corporation and Polonia Water Supply Corporation for Sale, Transfer, or Merger of Facilities and Certificate Rights in Bastrop and Caldwell Counties

1.	Application

On June 24, 2021, Aqua Water Supply Corporation (Aqua WSC) and Polonia Water Supply Corporation (Polonia WSC) (collectively, the Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Bastrop and Caldwell Counties under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Aqua WSC, water certificate of convenience and necessity (CCN) No. 10294, seeks approval to acquire facilities and to transfer all of the water service area from Polonia WSC under water CCN No. 10420.

The total requested area includes 3,189 customer connections and approximately 38,892 acres.

The application proposes the subtraction of approximately 38,892 acres from Polonia WSC (CCN No. 10420) and the addition of approximately 38,892 acres to Aqua WSC (CCN No. 10294).

The application indicates that the total acreage being requested is approximately 37,920 acres.  Based on the mapping review by Tracy Montes, of the Infrastructure Division, it was determined the requested area is approximately 38,892 acres.

2.	Notice

Aqua WSC provided notice consistent with 16 TAC § 24.239(c).  The deadline to intervene was October 13, 2021; there were no motions to intervene, protests, or opt-out requests received.

3.	Factors Considered

Under TWC §§ 13.241 and 13.246 and 16 TAC §§ 24.11(e), 24.227 and 24.239, the Commission must consider certain factors when granting or amending a water or sewer CCN. These factors are addressed below.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1), 13.301(e)(3)(A); 16 TAC §§ 24.227(a) and (e)(1), 24.239(h)(3)(A), (h)(5)(A), and (h)(5)(I))).

Polonia WSC has several Texas Commission on Environmental Quality (TCEQ) approved public water systems (PWS) registered as Polonia WSC, PWS ID No. 0280005, Polonia WSC North, PWS ID No. 0280007, and Polonia WSC South, PWS ID No. 0280020.  The last TCEQ compliance investigation of the Polonia WSC system was on April 29, 2020.  No violations or concerns were noted as a result of that investigation.  In addition, the Commission’s complaint records, which date back to 2018, show one complaint against Polonia WSC.

No additional construction is necessary for the Aqua WSC to serve the requested area.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC §§ 24.227(e)(2) and 24.239(h)(5)(B)).

There are currently 3,189 existing customers in the requested area, therefore, there is a need for service.  No additional service is needed at this time.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC § 13.246(c)(3), 16 TAC §§ 24.227(e)(3), 24.239(h)(5)(c)).

Aqua WSC will be the certificated entity for the requested area and be required to provide adequate and continuous service to the requested area.

There will be no effect on landowners as the area is currently certificated.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC §§ 13.241(a) and (b), 13.246(c)(4); and 13.301(b) and (e)(2); 16 TAC §§ 24.227(a) and (e)(4), and 24.239(f) and (h)(5)(D)).

Aqua WSC has the ability to provide adequate service in the requested area.  Aqua WSC has a Texas Commission on Environmental Quality (TCEQ) approved public water systems (PWS) registered as Aqua WSC, PWS ID No. 0110013.  Aqua WSC has 5 violations listed in the TCEQ database that have all been resolved. In addition, the Commission’s complaint records, which date back to 2017, show 11 complaints against Aqua WSC.  No additional construction is necessary for Aqua WSC to serve the requested area.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The construction of a physically separate system is not necessary for Aqua WSC to serve the requested area. Therefore, concerns of regionalization or consolidation do not apply.

3.6	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC §§ 24.227(e)(5) and 24.239(h)(5)(E)).

Polonia WSC is currently serving customers and has sufficient capacity.  Obtaining service from an adjacent retail public utility would likely increase costs to customers because new facilities will need to be constructed.  At the minimum, an interconnect would need to be installed in order to connect to a neighboring retail public utility.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC §§ 13.246(c)(6) and 13.301(b); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e), and 24.239(f) and (h)(5)(F)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d), 13.301(c); 16 TAC §§ 24.227(f), 24.239(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC §§ 24.227(e)(7) and (9) and 24.239(h)(5)(G)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC §§ 24.227(e)(8), 24.239(h)(5)(H)).

Aqua WSC will continue to provide water service to the existing customers in the area. There will be no change in the quality or cost of service to customers.

4. 	Recommendation

The Applicants meet all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations. Approving this application to transfer water facilities in the requested area, and all of the water service area of water CCN No. 10420 to Aqua WSC and amending water CCN No. 10294 of Aqua WSC is necessary for the service, accommodation, convenience and safety of the public.

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction. There are no deposits held by Polonia WSC for the customers being served by Polonia WSC System. I further recommend that a public hearing is not necessary.