TO:		Scott Miles, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		November 1, 2021

RE:	Docket No. 52281 - Applications of Kendall West Utility, LLC, Bandera East Utility Company, LP and SJWTX, Inc. for Sale, Transfer, or Merger of Facilities and Certificate Rights in Kendall, Bandera and Medina Counties

Recommendation for Bandera East Utility, LP Application on Approval of Sale

- Application

SJWTX, Inc. (SJWTX) and Bandera East Utility, LP (BEU) (collectively, the Applicants) filed an application for the sale, transfer, or merger (STM) of facilities and certificate rights in Bandera and Medina Counties, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.  Additionally, a separate STM application was filed between SJWTX and Kendall West Utility, LLC (KWU), the analysis of which is considered in a separate memorandum, except to the extent that this memorandum is required to consider both applications in a cumulative manner.

SJWTX, Certificate of Convenience and Necessity (CCN) No. 10692, seeks approval to acquire facilities and to transfer all of the water service area from BEU under water CCN No. 13118.

The requested area includes 279 customer connections and is approximately 3,634 acres, comprised of 3,634 acres of transferred area (from CCN No. 13118).

The application proposes the transfer of approximately 3,634 acres from CCN No. 13118 to CCN No. 10692.

*The application indicates that the total acreage being requested is approximately 3,650 acres.  Based on the mapping review by Gary Horton, Infrastructure Division, it was determined the requested area is approximately 3,634 acres.

2.	Notice

SJWTX provided notice consistent with 16 TAC § 24.239(c).  The deadline to intervene was September 23, 2021 and there were no motions to intervene, protests, or opt-out requests received.

3.	Factors Considered

Under TWC §§ 13.241 and 13.246 and 16 TAC §§ 24.11(e), 24.227 and 24.239, the Commission must consider certain factors when granting or amending a water or sewer CCN. These factors are addressed below.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1), 13.301(e)(3)(A); 16 TAC §§ 24.227(a) and (e)(1), 24.239(h)(3)(A), (h)(5)(A), and (h)(5)(I))).

BEU has several Texas Commission on Environmental Quality (TCEQ) approved public water systems (PWS) registered as Bridlegate Subdivision, PWS ID No. 0100092, Latigo Ranch Subdivision, PWS ID No. 0100096, and Summit Ridge, PWS ID No. 1630048.  The last TCEQ compliance investigation of the BEU systems was on October 22, 2020.  No violations or concerns were noted as a result of that investigation.  In addition, the Commission’s complaint records, which date back 5 years, show no complaints against BEU.

No additional construction is necessary for SJWTX to serve the requested area.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC §§ 24.227(e)(2) and 24.239(h)(5)(B)).

There are currently 279 existing customers in the requested area, therefore, there is a need for service.  No additional service is needed at this time.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC § 13.246(c)(3), 16 TAC §§ 24.227(e)(3), 24.239(h)(5)(c)).

SJWTX will be the certificated entity for the requested area and be required to provide adequate and continuous service to the requested area.

There will be no effect on landowners as the area is currently certificated.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC §§ 13.241(a) and (b), 13.246(c)(4); and 13.301(b) and (e)(2); 16 TAC §§ 24.227(a) and (e)(4), and 24.239(f) and (h)(5)(D)).

Based on a cumulative analysis of the water and sewer systems that SJWTX currently owns in combination with the water and sewer systems that SJWTX seeks to acquire from KWU in this application as well as the water and sewer systems that SJWTX seeks to acquire from BEU in the separate STM application, SJWTX has the ability to provide adequate service.

SJWTX has several TCEQ approved PWS’s registered as Rust Ranch Water Supply, PWS ID No. 0160019, CLWSC Canyon Lake Shores, PWS ID No. 0460019, Clear Water Estates, PWS ID No. 0460153, SJWTX Triple Peak Plant, PWS ID No. 0460172, SJWTX North Point Subdivision, PWS ID No. 0460235, SJWTX Glenwood Subdivision, PWS ID No. 0460246, and Deer Creek Water, PWS ID No. 2270049.  SJWTX does not have any violations listed in the TCEQ database. In addition, the Commission’s complaint records, which date back 4 years, show 160 complaints against SJWTX.  113 of those complaints were due to the Winter Storm of 2021.  The remaining complaints were due to billing and quality of service issues.

BEU has several TCEQ approved public water systems (PWS) registered as Bridlegate Subdivision, PWS ID No. 0100092, Latigo Ranch Subdivision, PWS ID No. 0100096, and Summit Ridge, PWS ID No. 1630048.  The last TCEQ compliance investigation of the BEU systems was on October 22, 2020.  No violations or concerns were noted as a result of that investigation.  In addition, the Commission’s complaint records, which date back 5 years, show no complaints against BEU.

KWU has a TCEQ approved PWS registered as Kendall West Utility, PWS ID No. 1300033, and wastewater treatment plant (WWTP) registered as Tapatio Springs, Wastewater Discharge Permit No. WQ 12404-001.  The last TCEQ compliance investigation of the Kendall West Utility system was on November 28, 2017.  No violations or concerns were noted as a result of that investigation.  The last TCEQ compliance investigation of the Tapatio Springs WWTP system was on September 1, 2020.  A violation of seepage control was noted and resolved as a result of that investigation.  In addition, the Commission’s complaint records, which date back to 2019, show 5 complaints against KWU.

No additional construction is necessary for SJWTX to serve its existing service area or the requested areas it seeks to acquire in both STM applications.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The construction of a physically separate system is not necessary for SJWTX to serve the requested area. Therefore, concerns of regionalization or consolidation do not apply.

3.6	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC §§ 24.227(e)(5) and 24.239(h)(5)(E)).

SJWTX is currently serving customers and has sufficient capacity.  Obtaining service from an adjacent retail public utility would likely increase costs to customers because new facilities will need to be constructed.  At the minimum, an interconnect would need to be installed in order to connect to a neighboring retail public utility.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC §§ 13.246(c)(6) and 13.301(b); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e), and 24.239(f) and (h)(5)(F)).

The Rate Regulation Division will be addressing this criterion in a separate memorandum.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d), 13.301(c); 16 TAC §§ 24.227(f), 24.239(f)).

The Rate Regulation Division will be addressing this criterion in a separate memorandum.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC §§ 24.227(e)(7) and (9) and 24.239(h)(5)(G)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC §§ 24.227(e)(8), 24.239(h)(5)(H)).

SJWTX will continue to provide water service to the existing customers in the area. There will be no change in the quality or cost of service to customers.

The Applicants meet all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations. Approving this application to transfer water facilities and all of the water service area under BEU’s water CCN No. 13118 to SJWTX, to cancel BEU’s water CCN No. 13118, and to amend SJWTX’s water CCN No. 10692 is necessary for the service, accommodation, convenience and safety of the public.

4. 	Recommendation

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction. There are no deposits held by BEU for the customers being served by BEU. I further recommend that a public hearing is not necessary.