TO:		John Harrison, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:	November 1, 2021

RE:	Docket No. 52290 – Application of Evan Staton for Sale, Transfer, or Merger of Exempt Utility Registration

On June 30, 2021, Garth Duncan and Rhonda Hardin and Evan Staton (Mr. Staton) (collectively, Applicants) filed an application for sale, transfer, or merger (STM) of facilities of an exempt utility in Erath County, Texas, under 16 Texas Administrative Code (TAC) § 24.229. Under 16 TAC § 24.229(e), a utility is exempt from the requirement to possess a certificate of convenience and necessity (CCN) in order to provide retail water service if it has less than 15 potential service connections.

Specifically, Mr. Staton seeks approval to acquire facilities and to transfer all of the water service area from Lone Oak Water under exempt utility registration number N0059.

Based on the mapping review by Tracy Montes, Infrastructure Division, the maps submitted on October 14, 2021 are sufficient. Based on my technical and managerial review of the information filed by Mr. Staton, I recommend that the application be deemed administratively incomplete and not accepted for filing.  As of October 29, 2021, Mr. Staton has not filed the exempt utility registration form and required attachments.  A blank exempt utility registration application can be found at:

https://puc.texas.gov/industry/water/Forms/Exempt_Utility_Form.pdf

Additionally, the Applicants must confirm whether Lone Oak Water is the name of a subdivision or the name of a public or non-public water system registered with the Texas Commission on Environmental Quality (TCEQ). If it is a public water system, then Applicants must provide the TCEQ identification number.