The City of Goliad

Emergency Contact personal:

Public works director:	Operation Supervisor:

Earl Henning: Cell# 361-405-9041,		Timothy Williams

Personal Cell 361-237-0895	                                                       Cell# 361-405-9058

City Hall 361-645-3454		City Hall # 361 645 3454

Earl.henning@goliadtx.net                                                           timothy.williams@goliadtx

City of Goliad Electrical provider is TXU    Contact Phone # 866-898-3465

City of Goliad Electrical transmission company is AEP contact Phone :361-574-2236

City of Goliad utilities Systems

Public Water System TCEQ ID number is TX0880001

- Chilton Plant: 434 N Chilton St

Scada central Control panel for all system, Well pump # 6, variable speed control for Well motor, Two booster pumps, Chlorine treatment system,

Capacity: Elevated storage tank of 100,000 Gallon, Ground storage tank of 200,000 Gallon

Emergency Warning siren system

Auxiliary power with a 200 KW Kohler generator

- San Patricio plant: 509 W. Franklin St

Scada control, Well pump # 7, Two booster pumps, Chlorine treatment system

Capacity: Ground storage tank 200,000

Auxiliary Power with a 200 KW Kohler Generator

- Ward Plant: 305 E Ward St

Scada Control system, Well pump # 8, Two Booster pumps, Chlorine treatment system

Capacity: Elevated Storage tank of 150,000 Gallon, Ground Storage Tank of 200,000 Gallons; Auxiliary Power with a 230 KW Kohler Generator

City of Goliad Wastewater treatment System

TPDES Permit # WQ0010458001

- Wastewater plant: 510 Mt Auburn St

Main lift Station #6, Three Submersible grinder pumps

Oxidation ditch (racetrack), With Three aerators on timers.

Clarifier with a rack system, Scummer pump, two return pumps

Chlorine treatment system with Auto valve

Wasting Dry box with polymer pump for wasting sludge. With Auxiliary Power Generator

City of Goliad wastewater collection system Lift stations

- Lift station #1: E Pearl St (HWY 59)

Control Panel, Two Submersible grinder trash pump

- Lift station#2: 100 S Burke St

Control panel, Two Submersible grinder trash pump

- Lift station #3: E Fannin St

Control panel, Two Submersible grinder trash pump

4.Lift Station #4: Hord St

Control panel, Two Submersible grinder trash pump

5.Lift station#5:650 DeLeon St

Control panel, Two Submersible grinder trash pump

6. Main Lift Station :510 Mt Auburn St

Control panel, Three Submersible grinder trash pump, At WWTP

7.Lift station #7:721 Margil St

Control panel, Two Submersible grinder trash pump

8.Lift Station #9 :414 W Ward St

Control panel, Two Submersible grinder trash pump

City of Goliad Command centers

- City hall :152 W End St, PO BOX 939 Goliad, TX 77963

- City shop: 617 S Burke St

Attached is a PDF map file with the location Circled in RED, to show where the locations are on our system Map,

Also there is a attached Excel Sheet show the Meter numbers address and GPS locations for each location

City of Goliad

PO Box 939

Goliad Texas 77963

152 W End St

Phone :361 645 3454

If there any other questions, please contact

Public Works Director

Earl Henning

361-405-9041

Earl.henning@goliadtx.net

Or leave a message at City Hall 361-645-3454