## Sheet1
Alternate Contact (Mobile Phone) | Alternate Contact (Email) | ESI ID (17 Digits) | Service Street Address | Service City | Service Zip Code | Latitude/Longitude (if known) | Mailing Address | Mailing City | Mailing Zip Code | Facility Type | Texas Dept. of Health License Number | Details to support a Critical Load Designation | Backup Equipment (Yes or No) | Battery Backup (Yes or No) | Backup Generation (Yes or No) | Utility Dual Feed Capability (Yes or No) | Owner of Transfer Switch | Battery Backup Capacity (kW) | Generation Backup Capacity (kW) | Length of Time facility can operate without power | Start-up time needed following a power outage
972-384-6640 | robrien@rowlett.com | 10443720003192073 | 7716 ROWLETT RD | ROWLETT | 75089-2713 | 32.928357, -96.582487 | 4310 Industrial St. | Rowlett | 75088 | Pump Station |  | Critical Water Infrastructure | Yes | No | Yes | No | Customer | NA | 600 kw - 480/277V | 24-hrs | 2-Min
972-384-6640 | robrien@rowlett.com | 10443720007299697 | 5701 LAKEVIEW PKWY | ROWLETT | 75088-4157 | 32.90839081, -96.54682184 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | No | No | No | No | Customer | NA | 0 | 2-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720007431478 | 10802 E YEAGER RD | ROWLETT | 75088-0000 | 32.952127, -96.538516 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | No | No | No | No | Customer | NA | 0 | 2-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720007702387 | 9606 MERRITT RD | ROWLETT | 75089-9061 | 32.943958, -96.570348 | 4310 Industrial St. | Rowlett | 75088 | Pump Station |  | Critical Water Infrastructure | Yes | No | Yes | No | Customer | NA | 600 kw - 480/277V | 24-hrs | 2-Min
972-384-6640 | robrien@rowlett.com | 10443720003117952 | 5400 GORDON SMITH | ROWLETT | 75088-0000 | 32.909201, -96.579745 | 4310 Industrial St. | Rowlett | 75088 | Water Tower |  | Critical Water Infrastructure | No | No | No | No | Customer | NA | 0 | 24-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720007670959 | 2901 CHIESA RD | ROWLETT | 75088-0000 | 32.889033, -96.532165 | 4310 Industrial St. | Rowlett | 75088 | Water Tower |  | Critical Water Infrastructure | No | No | No | No | Customer | NA | 0 | 24-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720009648040 | 3901 KIRBY RD | ROWLETT | 75088-0000 | 32.897199, -96.558679 | 4310 Industrial St. | Rowlett | 75088 | Water Tower |  | Critical Water Infrastructure | No | No | No | No | Customer | NA | 0 | 24-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720000171958 | 3110 MAIN ST TWR | ROWLETT | 75088-0000 | 32.901926, -96.573030 | 4310 Industrial St. | Rowlett | 75088 | Water Tower |  | Critical Water Infrastructure | No | No | No | No | Customer | NA | 0 | 24-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720003055456 | 1400 ROWLETT RD, PUMP | ROWLETT | 75088-9204 | 32.92853, -96.58232 | 4310 Industrial St. | Rowlett | 75088 | Pump Station |  | Critical Water Infrastructure | Yes | No | Yes | No | Customer | NA | 600 kw - 480/277V | 24-hrs | 2-Min
972-384-6640 | robrien@rowlett.com | 10443720008574888 | 10217 LIBERTY GROVE RD | ROWLETT | 75089-2391 | 32.948475, -96.523754 | 4310 Industrial St. | Rowlett | 75088 | Pump Station |  | Critical Water Infrastructure | Yes | No | Yes | No | Customer | NA | 600 kw - 480/277V | 24-hrs | 2-Min
972-384-6640 | robrien@rowlett.com | 10443720003054495 | 2108 INDIAN TRL | ROWLETT | 75088-1541 | 32.88672916, -96.57999703 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | No | No | No | No | Customer | NA | 0 | 2-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720003109737 | 6300 DEXHAM RD, SEWR LIFT | ROWLETT | 75089-0000 | 32.916904, -96.588327 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | No | No | No | No | Customer | NA | 0 | 2-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720008825836 | 3102 MAIN ST | ROWLETT | 75088-4980 | 32.902177, -96.572932 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | Yes | No | Yes | No | Customer | NA | 50 kw - 480/277V | 24-hrs | 2-Min
972-384-6640 | robrien@rowlett.com | 10443720003138753 | 7813 GARNER RD | ROWLETT | 75088-6303 | 32.886846, -96.526897 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | No | No | No | No | Customer | NA | 0 | 2-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720008443039 | 6900 LA COSTA DR | ROWLETT | 75088-0000 | 32.881587, -96.535291 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | Yes | No | Yes | No | Customer | NA | 600 kw - 480/277V | 24-hrs | 2-Min
972-384-6640 | robrien@rowlett.com | 10443720009636570 | 7200 SCENIC DR, SEWR LIFT | ROWLETT | 75089-8689 | 32.92358839, -96.50885387 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | No | No | No | No | Customer | NA | 600 kw - 480/277V | 2-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720008748429 | 3700 ROWLETT RD REAR | ROWLETT | 75088-8109 | 32.89547, -96.56870 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | Yes | No | Yes | No | Customer | NA | 150 kw - 480/277V | 24-hrs | 2-Min
972-384-6640 | robrien@rowlett.com | 10443720003080163 | 4203 SCOTT DR | ROWLETT | 75088-6462 | 32.88539052, -96.56230576 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | No | No | No | No | Customer | NA | 0 | 2-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720003047892 | 3202 FAULKNER DR | ROWLETT | 75088-5903 | 32.87719946, -96.57168216 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | No | No | No | No | Customer | NA | 0 | 2-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720003043087 | 10 VICTORIA DR, SEWR LIFT | ROWLETT | 75088-6060 | 32.875014, -96.566549 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | No | No | No | No | Customer | NA | 0 | 2-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720003055456 | 1400 ROWLETT RD, PUMP | ROWLETT | 75088-9204 | 32.927887, -96.582813 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | No | No | No | No | Customer | NA | 0 | 2-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720003131096 | 6828 LAKEVIEW PKWY STE A | ROWLETT | 75088-4243 | 32.908542, -96.537742 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | No | No | No | No | Customer | NA | 0 | 2-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720003140458 | 2014 DALROCK RD | ROWLETT | 75088-5524 | 32.881675, -96.518037 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | No | No | No | No | Customer | NA | 0 | 2-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720003143031 | 4118 LAKESIDE DR | ROWLETT | 75088-5553 | 32.89946550, -96.51329334 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | No | No | No | No | Customer | NA | 0 | 2-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720008052600 | 3003 WHISPERING BRK | ROWLETT | 75088-6498 | 32.88769584, -96.56209656 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | No | No | No | No | Customer | NA | 0 | 2-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720007090571 | 10800 E YEAGER RD | ROWLETT | 75088-0000 | 32.951065, -96.543624 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | No | No | No | No | Customer | NA | 0 | 2-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720007525656 | 2417 SCARLET OAK DR | ROWLETT | 75089-2775 | 32.92787198, -96.58281580 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | No | No | No | No | Customer | NA | 0 | 2-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720007826480 | 4209 SHADYBROOK LN | ROWLETT | 75088-9261 | 32.876982, -96.560555 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | No | No | No | No | Customer | NA | 0 | 2-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720007741912 | 2400 KIRBY RD | ROWLETT | 75088-6108 | 32.88429246, -96.55950200 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | No | No | No | No | Customer | NA | 0 | 2-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720007647703 | 5402 MILLER RD | ROWLETT | 75088-6123 | 32.89146020, -96.54961480 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | No | No | No | No | Customer | NA | 0 | 2-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720008683900 | 4734 INDUSTRIAL ST PUMP | ROWLETT | 75088-0000 | 32.906032, -96.557139 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | Yes | No | Yes | No | Customer | NA | 50 kw - 480/277V | 24-hrs | 2-Min
972-384-6640 | robrien@rowlett.com | 10443720009446137 | 1806 SKIPAWAY DR | ROWLETT | 75088-5987 | 32.88028699, -96.57750809 | 4310 Industrial St. | Rowlett | 75088 | Major Lift Station |  | Critical Sewer/Wastewater Infrastructure | No | No | No | No | Customer | NA | 0 | 2-hrs | 5-Min
972-384-6640 | robrien@rowlett.com | 10443720000801331 | 1904 CASTLE DR, PUMP | ROWLETT | 75089-2719 | 32.928357, -96.582487 | 4310 Industrial St. | Rowlett | 75088 | Pump Station |  | Critical Water Infrastructure | Yes | No | Yes | No | Customer | NA | 600 kw - 480/277V | 24-hrs | 2-Min