## CRITICAL LOAD APPLICATION
Area Manager | Application Type | Customer/Business Name | Emergency Contact (Name) | Emergency Contact (Title) | Emergency Contact (Phone) | Emergency Contact (Mobile Phone) | Emergency Contact (Email) | Alternate Contact (Name) | Alternate Contact (Phone) | Alternate Contact (Mobile Phone) | Alternate Contact (Email) | ESI ID (17 Digits) | Service Street Address | Service City | Service Zip Code | Latitude/Longitude (if known) | Mailing Address | Mailing City | Mailing Zip Code | Facility Type | Texas Dept. of Health License Number | Details to support a Critical Load Designation | Backup Equipment (Yes or No) | Battery Backup (Yes or No) | Backup Generation (Yes or No) | Utility Dual Feed Capability (Yes or No) | Owner of Transfer Switch | Battery Backup Capacity (kW) | Generation Backup Capacity (kW) | Length of Time facility can operate without power | Start-up time needed following a power outage | Information Regarding Production Rate (Gas Facilities)
Terri Shatter | New Critical Load Application | TOWN OF SUNNYVALE | Bryan Creed | Public Works Director | 972-203-4181 | 903-804-7445 | bryan.creed@townfsunnyvale.org | Joel Eubanks | 972-205-4183 | 972-800-9373 | joel.eubanks@townofsunnyvale.org | 10443720009670118 | 551 Larkin Rd. | SUNNYVALE | 75182 |  | 127 N. Collins Rd | Sunnyvale | 75182 | Major Lift Station |  | Wastewater lift station | Yes | No | Yes | No | Customer | none | 34 | 12 hours | none
Terri Shatter | New Critical Load Application | TOWN OF SUNNYVALE | Bryan Creed | Public Works Director | 972-203-4181 | 903-804-7445 | bryan.creed@townfsunnyvale.org | Joel Eubanks | 972-205-4183 | 972-800-9373 | joel.eubanks@townofsunnyvale.org | 10443720008028786 | 320 Parkview Dr. | SUNNYVALE | 75182 |  | 127 N. Collins Rd | Sunnyvale | 75182 | Minor Lift Station |  | Wastewater lift station | No | No | No | No | Customer | none | none | none | none
Terri Shatter | New Critical Load Application | TOWN OF SUNNYVALE | Bryan Creed | Public Works Director | 972-203-4181 | 903-804-7445 | bryan.creed@townfsunnyvale.org | Joel Eubanks | 972-205-4183 | 972-800-9373 | joel.eubanks@townofsunnyvale.org | 10443720008926422 | 121 Planters Rd. | SUNNYVALE | 75182 |  | 127 N. Collins Rd | Sunnyvale | 75182 | Pump Station |  | Town water supply | Yes | No | Yes | No | Customer | none | 200 | 12 hours | none
Terri Shatter | New Critical Load Application | TOWN OF SUNNYVALE | Bobby Jacobs | Pump Mait. And Ops. manager | 972-205-3218 | 214-276-4468 | bjacobs@garlandtx.gov | Water Control Room | 972-205-3222 | 214-276-4468 | waterops@garlandtx.gov | 10443720006641381 | 240 East Fork Rd. | SUNNYVALE | 75182 |  | 127 N. Collins Rd | Sunnyvale | 75182 | Minor Lift Station |  | Wastewater lift station | No | No | No | No | Customer | None | none | none | none

## FACILITY TYPE (hidden)
Facility Type | Backup Capacity | Production Rate | Backup Equipment | Transfer Switch | Application Type
911 Center | None | <250 mcf/d | Yes | Customer | Annual Renewal
Emergency Alert System Primary or Secondary Transmitter | Battery Backup | <1,000 mcf/d and > 250 mcf/d | No | Oncor | New Critical Load Application
Fire | Backup Generation | >1,000 mcf/d |  |  | Remove from Critical Load List
Flood Control | Utility Dual Feed Capability
Ground Storage
Major Lift Station
Minor Lift Station
Police
Pump Station
Water Tower
Water/Wastewater Treatment Plants
Water/Wastewater - Other (provide details)