Fruitvale Water Supply Corporation

P.O. Box 75

Fruitvale, Tx 75127

903-896-1224

Tx 2340010

Project 52299

Judy Woodrum, Manager

903-896-1224

903-539-4567

Joel McCraw, Operations Supervisor

903-896-1224

903-571-0159

Plant A

1073 VZCR 1129

Fruitvale, Tx 75127

1 5K gallon pressure tank

2 30K gallon storage tanks

2 300 gpm service pumps

1 150 # cylinder chlorine gas

Plant B

450 VZCR 1914

Fruitvale, Tx

2 4K gallon pressure tanks

2 40K gallon storage tanks

2 200 gpm service pumps

75Kw Generac generator

1 150 # cylinder chlorine gas

Plant C

110 VZCR 1118

Grand Saline, Tx

Well C1 & 2

2 8K gallon pressure tanks

1 40K gallon storage tank

1 50K gallon storage tank

2 300 gpm service pumps

80Kw Generac generator

1 150# cylinder chlorine gas

Well C3

1995 VZCR 1818

Grand Saline, Tx

Well C4

898 VCR 1820

Grand Saline, Tx

Well C5

647 VZCR 1226

Grand Saline, Tx

Plant D

111 VZCR 1903

Fruitvale,Tx

1 4K gallon pressure tank

1 75K gallon storage tank

2 300 gpm service pumps

1 150# cylinder chlorine gas