## CRITICAL LOAD APPLICATION-ONCOR
Customer/Business Name | Emergency Contact (Name) | Emergency Contact (Title) | Emergency Contact (Phone) | Emergency Contact (Mobile Phone) | Emergency Contact (Email) | Alternate Contact (Name) | Alternate Contact (Phone) | Alternate Contact (Mobile Phone) | Alternate Contact (Email) | Meter # | Acct # | Service Street Address | Service City | Service Zip Code | Latitude/Longitude (if known) | Mailing Address | Mailing City | Mailing Zip Code | Facility Type | Texas Dept. of Health License Number | Details to support a Critical Load Designation | Backup Equipment (Yes or No) | Battery Backup (Yes or No) | Backup Generation (Yes or No) | Utility Dual Feed Capability (Yes or No) | Owner of Transfer Switch | Battery Backup Capacity (kW) | Generation Backup Capacity (kW) | Length of Time facility can operate without power | Start-up time needed following a power outage | Information Regarding Production Rate (Gas Facilities)
MANVILLE WATER SUPPLY CORPORATION | Erik Prinz | Director of Operations | 512-856-2488 | 512-844-0762 | eprinz@manvillewsc.org | Rexanne Pilkenton | 512-856-2488 | 512-924-5200 | rexannep@manvillewsc.org | 12008702 | 5000010784 | 17724 BLAKE MANOR RD. | MANOR | 78653 | 30°18'46.55"N 97°32'14.40"W | PO BOX 248 | Coupland | 78615 | Water Tower |  | Elevated Storage no future Generator or Docking Station. | No | No | No | No | Customer | NA | NA | NA | NA |  | BRIAR CREEK
MANVILLE WATER SUPPLY CORPORATION | Erik Prinz | Director of Operations | 512-856-2488 | 512-844-0762 | eprinz@manvillewsc.org | Rexanne Pilkenton | 512-856-2488 | 512-924-5200 | rexannep@manvillewsc.org | 91018637 | 5000010784 | 9002 TAYLOR LN | MANOR | 78653 | 30°16'56.38"N 97°32'22.67"W | PO BOX 248 | Coupland | 78615 | Ground Storage |  | Standpipe no future Generator or Docking Station. | No | No | No | No | Customer | NA | NA | NA | NA |  | TAYLOR LANE
MANVILLE WATER SUPPLY CORPORATION | Erik Prinz | Director of Operations | 512-856-2488 | 512-844-0762 | eprinz@manvillewsc.org | Rexanne Pilkenton | 512-856-2488 | 512-924-5200 | rexannep@manvillewsc.org | 69879344 | 5000010784 | 4922 CR 309 | LEXINGTON | 78947 | 30°24'28.15"N 97° 8'58.63"W | PO BOX 248 | Coupland | 78615 | Water/Wastewater Treatment Plants |  | Booster Pump Station that has a Permanenet Generator. | Yes | No | Yes | No | Customer | NA | 450 | 24 Hrs | 5 Sec |  | BLUE WELLS PRE-T
MANVILLE WATER SUPPLY CORPORATION | Erik Prinz | Director of Operations | 512-856-2488 | 512-844-0762 | eprinz@manvillewsc.org | Rexanne Pilkenton | 512-856-2488 | 512-924-5200 | rexannep@manvillewsc.org | 69976261 | 5000010784 | 4830 CR 466 | COUPLAND | 78621 | 30°27'25.33"N 97°16'35.52"W | PO BOX 248 | Coupland | 78615 | Ground Storage |  | Booster Pump Station that has a Permanenet Generator. | Yes | No | Yes | No | Customer | NA | 750 | 24 Hrs | 5 Sec |  | STRUCTURE
MANVILLE WATER SUPPLY CORPORATION | Erik Prinz | Director of Operations | 512-856-2488 | 512-844-0762 | eprinz@manvillewsc.org | Rexanne Pilkenton | 512-856-2488 | 512-924-5200 | rexannep@manvillewsc.org | 77539085 | 5000010784 | 19115 LOCKWOOD RD | MANOR | 78653 | 30°18'26.26"N 97°30'55.03"W | PO BOX 248 | Coupland | 78615 | Ground Storage |  | Service not in use. | No | No | No | No | Customer | NA | NA | NA | NA |  | LOCKWOOD POLICE
MANVILLE WATER SUPPLY CORPORATION | Erik Prinz | Director of Operations | 512-856-2488 | 512-844-0762 | eprinz@manvillewsc.org | Rexanne Pilkenton | 512-856-2488 | 512-924-5200 | rexannep@manvillewsc.org | 87533674 | 5000010784 | 19116 LOCKWOOD RD | MANOR | 78653 | 30°18'26.26"N 97°30'55.03"W | PO BOX 248 | Coupland | 78615 | Ground Storage |  | Booster Pump Station that will have a Permanenet Generator. | No | No | No | No | Customer | NA | NA | NA | NA |  | LOCKWOOD MANVILLE
MANVILLE WATER SUPPLY CORPORATION | Erik Prinz | Director of Operations | 512-856-2488 | 512-844-0762 | eprinz@manvillewsc.org | Rexanne Pilkenton | 512-856-2488 | 512-924-5200 | rexannep@manvillewsc.org | 62802805 | 5000010784 | 1805 CR 313 | LEXINGTON | 78947 | 30°27'03.03"N 97°10'05.73"W | PO BOX 248 | Coupland | 78615 | Water/Wastewater Treatment Plants |  | Treatment Plant that has a Permanent Generator. | Yes | No | Yes | No | Customer | NA | 600 | 24 Hrs | 5 Sec |  | TONKA PLANT
MANVILLE WATER SUPPLY CORPORATION | Erik Prinz | Director of Operations | 512-856-2488 | 512-844-0762 | eprinz@manvillewsc.org | Rexanne Pilkenton | 512-856-2488 | 512-924-5200 | rexannep@manvillewsc.org | 62802822 | 5000010784 | 1648 FM 619 | LEXINGTON | 78621 | 30°23'11.09"N 97°14'36.59"W | PO BOX 248 | Coupland | 78615 | Ground Storage |  | Well site & Ground Storage that will have a Portable Generator Dock. | No | No | No | No | Customer | NA | NA | NA | NA |  | WELL 7 (BEAUKISS)
MANVILLE WATER SUPPLY CORPORATION | Erik Prinz | Director of Operations | 512-856-2488 | 512-844-0762 | eprinz@manvillewsc.org | Rexanne Pilkenton | 512-856-2488 | 512-924-5200 | rexannep@manvillewsc.org | 93373479 | 5000010784 | 1741 FM 619 | LEXINGTON | 78621 | 30°23'20.14"N 97°14'41.52"W | PO BOX 248 | Coupland | 78615 | Ground Storage |  | Well site that will have a Portable Generator Dock. | No | No | No | No | Customer | NA | NA | NA | NA |  | WELL 7A
MANVILLE WATER SUPPLY CORPORATION | Erik Prinz | Director of Operations | 512-856-2488 | 512-844-0762 | eprinz@manvillewsc.org | Rexanne Pilkenton | 512-856-2488 | 512-924-5200 | rexannep@manvillewsc.org | 73884138 | 5000010784 | 18409 1/2 FM 969 | MANOR | 78653 | 30°14'12.54"N 97°32'13.25"W | PO BOX 248 | Coupland | 78615 | Pump Station |  | Ground Storage Tank that will have a Permanenet Generator. | No | No | No | No | Customer | NA | NA | NA | NA |  | LAWRENCE
MANVILLE WATER SUPPLY CORPORATION | Erik Prinz | Director of Operations | 512-856-2488 | 512-844-0762 | eprinz@manvillewsc.org | Rexanne Pilkenton | 512-856-2488 | 512-924-5200 | rexannep@manvillewsc.org | 84263878 | 5000010784 | 440 CR 468 | COUPLAND | 78615 | 30°25'29.00"N 97°18'50.14"W | PO BOX 248 | Coupland | 78615 | Ground Storage |  | Standpipe & Ground storage that will have a Portable Generator Dock. | No | No | No | No | Customer | NA | NA | NA | NA |  | TYPE
MANVILLE WATER SUPPLY CORPORATION | Erik Prinz | Director of Operations | 512-856-2488 | 512-844-0762 | eprinz@manvillewsc.org | Rexanne Pilkenton | 512-856-2488 | 512-924-5200 | rexannep@manvillewsc.org | 98893412 | 5000010784 | 4922 CR 309 | LEXINGTON | 78947 | 30°24'20.51"N 97° 8'42.01"W | PO BOX 248 | Coupland | 78615 | Pump Station |  | Wells that have a Permanenet Generator. | Yes | No | Yes | No | Customer | NA | 350 | 24 Hrs | 5 Sec |  | BLUE WELLS 3&4
MANVILLE WATER SUPPLY CORPORATION | Erik Prinz | Director of Operations | 512-856-2488 | 512-844-0762 | eprinz@manvillewsc.org | Rexanne Pilkenton | 512-856-2488 | 512-924-5200 | rexannep@manvillewsc.org | 69879469 | 5000010784 | 4923 CR 309 | LEXINGTON | 78947 | 30°24'22.06"N 97° 8'39.17"W | PO BOX 248 | Coupland | 78615 | Pump Station |  | Wells that have a Permanenet Generator. | Yes | No | Yes | No | Customer | NA | 350 | 24 Hrs | 5 Sec |  | BLUE WELLS 5&6
MANVILLE WATER SUPPLY CORPORATION | Erik Prinz | Director of Operations | 512-856-2488 | 512-844-0762 | eprinz@manvillewsc.org | Rexanne Pilkenton | 512-856-2488 | 512-924-5200 | rexannep@manvillewsc.org | 69879513 | 5000010784 | FM 112 | LEXINGTON | 78947 | 30°27'24.62"N 97° 7'48.70"W | PO BOX 248 | Coupland | 78615 | Pump Station |  | Wells that have a Permanenet Generator. | Yes | No | Yes | No | Customer | NA | 150 | 24 Hrs | 5 Sec |  | ALCOA

## FACILITY TYPE (hidden)
Facility Type | Backup Capacity | Production Rate | Backup Equipment | Transfer Switch | Application Type
911 Center | None | <250 mcf/d | Yes | Oncor | Annual Renewal
Emergency Alert System Primary or Secondary Transmitter | Battery Backup | <1,000 mcf/d and > 250 mcf/d | No | Customer | New Critical Load Application
Fire | Backup Generation | >1,000 mcf/d |  |  | Remove from Critical Load List
Flood Control | Utility Dual Feed Capability
Ground Storage
Major Lift Station
Minor Lift Station
Police
Pump Station
Water Tower
Water/Wastewater Treatment Plants
Water/Wastewater - Other (provide details)