## CRITICAL LOAD APPLICATION-ONCOR
Customer/Business Name | Emergency Contact (Name) | Emergency Contact (Title) | Emergency Contact (Phone) | Emergency Contact (Mobile Phone) | Emergency Contact (Email) | Alternate Contact (Name) | Alternate Contact (Phone) | Alternate Contact (Mobile Phone) | Alternate Contact (Email) | Meter # | Acct # | Service Street Address | Service City | Service Zip Code | Latitude/Longitude (if known) | Mailing Address | Mailing City | Mailing Zip Code | Facility Type | Texas Dept. of Health License Number | Details to support a Critical Load Designation | Backup Equipment (Yes or No) | Battery Backup (Yes or No) | Backup Generation (Yes or No) | Utility Dual Feed Capability (Yes or No) | Owner of Transfer Switch | Battery Backup Capacity (kW) | Generation Backup Capacity (kW) | Length of Time facility can operate without power | Start-up time needed following a power outage | Information Regarding Production Rate (Gas Facilities)
MANVILLE WATER SUPPLY CORPORATION | Erik Prinz | Director of Operations | 512-856-2488 | 512-844-0762 | eprinz@manvillewsc.org | Rexanne Pilkenton | 512-856-2488 | 512-924-5200 | rexannep@manvillewsc.org | 5504611 | 9006900000 | 7809 BURLESON | MANOR | 78653 | 30°15'58.27"N 97°31'23.07"W | PO BOX 248 | Coupland | 78615 | Ground Storage |  | Standpipe no future Generator or Docking Station. | No | No | No | No | Customer | NA | NA | NA | NA |  | FM 685
MANVILLE WATER SUPPLY CORPORATION | Erik Prinz | Director of Operations | 512-856-2488 | 512-844-0762 | eprinz@manvillewsc.org | Rexanne Pilkenton | 512-856-2488 | 512-924-5200 | rexannep@manvillewsc.org | 6194125 | 0038171714 | 2200 1/2 CRYSTAL BEND | PFLUGERVILLE | 78660 | 30°24'19.69"N 97°37'39.96"W | PO BOX 248 | Coupland | 78615 | Ground Storage |  | Booster Pump Station that will have a Portable Generator Dock. | No | No | No | No | Customer | NA | NA | NA | NA |  | Coupland
MANVILLE WATER SUPPLY CORPORATION | Erik Prinz | Director of Operations | 512-856-2488 | 512-844-0762 | eprinz@manvillewsc.org | Rexanne Pilkenton | 512-856-2488 | 512-924-5200 | rexannep@manvillewsc.org | 6104922 | 4146100000 | 13103 FM 969 | MANOR | 78621 | 30°14'59.62"N 97°35'51.98"W | PO BOX 248 | Coupland | 78615 | Pump Station |  | Well site & Ground Storage that will have a Portable Generator Dock. | No | No | No | No | Customer | NA | NA | NA | NA |  | Springbrook
MANVILLE WATER SUPPLY CORPORATION | Erik Prinz | Director of Operations | 512-856-2488 | 512-844-0762 | eprinz@manvillewsc.org | Rexanne Pilkenton | 512-856-2488 | 512-924-5200 | rexannep@manvillewsc.org | 6135179 | 3361620000 | 7715 1/2 GILBERT RD | MANOR | 78653 | 30° 16' 58.93"N 97°34'37.30"W | PO BOX 248 | Coupland | 78615 | Water Tower |  | Elevated Storage no future Generator or Docking Station. | No | No | No | No | Customer | NA | NA | NA | NA |  | Schultz
MANVILLE WATER SUPPLY CORPORATION | Erik Prinz | Director of Operations | 512-856-2488 | 512-844-0762 | eprinz@manvillewsc.org | Rexanne Pilkenton | 512-856-2488 | 512-924-5200 | rexannep@manvillewsc.org | 6158951 | 6075230000 | 6714 1/2 TAYLOR LN | MANOR | 78653 | 30°15' 30.04 "N 97°33'18.60"W | PO BOX 248 | Coupland | 78615 | Ground Storage |  | Ground Storage Tank that will have a Permanenet Generator. | No | No | No | No | Customer | NA | NA | NA | NA |  | HEB
Cele
Well No. 5
CR 138
Greenridge
Gregg Lane
Lookout
FM 170
South Taylor
Tacon
Well No.2 (Dell Well)
Well No. 4
Well No. 4B
FM 1466 Standpipe
FM 112& FM 619 Standpipe
CR 432 Standpipe

## FACILITY TYPE (hidden)
Facility Type | Backup Capacity | Production Rate | Backup Equipment | Transfer Switch | Application Type
911 Center | None | <250 mcf/d | Yes | Oncor | Annual Renewal
Emergency Alert System Primary or Secondary Transmitter | Battery Backup | <1,000 mcf/d and > 250 mcf/d | No | Customer | New Critical Load Application
Fire | Backup Generation | >1,000 mcf/d |  |  | Remove from Critical Load List
Flood Control | Utility Dual Feed Capability
Ground Storage
Major Lift Station
Minor Lift Station
Police
Pump Station
Water Tower
Water/Wastewater Treatment Plants
Water/Wastewater - Other (provide details)