## CRITICAL LOAD APPLICATION
Area Manager | Application Type | Customer/Business Name | Emergency Contact (Name) | Emergency Contact (Title) | Emergency Contact (Phone) | Emergency Contact (Mobile Phone) | Emergency Contact (Email) | Alternate Contact (Name) | Alternate Contact (Phone) | Alternate Contact (Mobile Phone) | Alternate Contact (Email) | ESI ID (17 Digits) | Service Street Address | Service City | Service Zip Code | Latitude/Longitude (if known) | Mailing Address | Mailing City | Mailing Zip Code | Facility Type | Texas Dept. of Health License Number | Details to support a Critical Load Designation | Backup Equipment (Yes or No) | Battery Backup (Yes or No) | Backup Generation (Yes or No) | Utility Dual Feed Capability (Yes or No) | Owner of Transfer Switch | Battery Backup Capacity (kW) | Generation Backup Capacity (kW) | Length of Time facility can operate without power | Start-up time needed following a power outage | Information Regarding Production Rate (Gas Facilities)
Casey Simpson | New Critical Load Application | Armstrong Water Supply Corporation | Robert Brummett, Jr. | Field Tech | 254-721-1310 | 254-721-1310 | billysmithawsc@yahoo.com | NA | NA | NA | NA | 10443720007301585 | 378 Quailridge Rd. | Salado | 76571 |  | PO Box 155 | Holland | 76534 | Ground Storage |  | Supply water to 126 customers | NO | NO | NO | NO | Oncor | NO | NO | Can't operate at all | Approximately 2 hours
| New Critical Load Application | Armstrong Water Supply Corporation | Billy J. Smith | Manager | 254-721-6505 | 254-721-6505 | billysmithawsc@yahoo.com | NA | NA | NA | NA | 10443720000276658 | 7754 Armstrong Rd. | Belton | 76513 |  | PO Box 155 | Holland | 76534 | Ground Storage |  | Supply water to 465 customers | NO | NO | NO | NO | Oncor | NO | NO | Can't operate at all | Approximately 2 hours
| New Critical Load Application | Armstrong Water Supply Corporation | Scout Odom | Field Tech | 254-721-6079 | 254-721-6079 | billysmithawsc@yahoo.com | NA | NA | NA | NA | 10443720006934281 | 9174 Armstrong Rd. | Belton | 76513 |  | PO Box 155 | Holland | 76534 | Ground Storage |  | Supply water to 291 customers | NO | NO | NO | NO | Oncor | NO | NO | Can't operate at all | Approximately 2 hours
| New Critical Load Application | Armstrong Water Supply Corporation | Robert Brummett, Jr. | Field Tech | 254-721-1310 | 254-721-1310 | billysmithawsc@yahoo.com | NA | NA | NA | NA | 10443720000276689 | 2915 Capital Way | Belton | 76513 |  | PO Box 155 | Holland | 76534 | Ground Storage |  | Supply water to 225 customers | NO | NO | NO | NO | Oncor | NO | NO | Can't operate at all | Approximately 2 hours
| New Critical Load Application | Armstrong Water Supply Corporation | Billy J. Smith | Manager | 254-721-6505 | 254-721-6505 | billysmithawsc@yahoo.com | NA | NA | NA | NA | 104437200040411904 | 8108 W FM 436 | Belton | 76513 |  | PO Box 155 | Holland | 76534 | Ground Storage |  | Supply water to 621 customers | NO | NO | NO | NO | Oncor | NO | NO | Can't operate at all | Approximately 2 hours
| New Critical Load Application | Armstrong Water Supply Corporation | Scout Odom | Field Tech | 254-721-6079 | 254-721-3079 | billysmithawsc@yahoo.com | NA | NA | NA | NA | 10443720007188038 | 12901 FM 1123 | Holland | 76534 |  | PO Box 155 | Holland | 76534 | Ground Storage |  | Supply water to 1248 customers | NO | NO | NO | NO | Oncor | NO | NO | Can't operate at all | Approximately 2 hours
| New Critical Load Application | Armstrong Water Supply Corporation | Robert Brummett, Jr. | Field Tech | 254-721-1310 | 254-721-1310 | billysmithawsc@yahoo.com | NA | NA | NA | NA | 10443720000353755 | 4977 Wilson Valley Rd. | Little River | 76554 |  | PO Box 155 | Holland | 76534 | Ground Storage |  | Supply water to 105 customeers | NO | NO | NO | NO | Oncor | NO | NO | Can't operate at all | Approximately 2 hours

## FACILITY TYPE (hidden)
Facility Type | Backup Capacity | Production Rate | Backup Equipment | Transfer Switch | Application Type
911 Center | None | <250 mcf/d | Yes | Customer | Annual Renewal
Emergency Alert System Primary or Secondary Transmitter | Battery Backup | <1,000 mcf/d and > 250 mcf/d | No | Oncor | New Critical Load Application
Fire | Backup Generation | >1,000 mcf/d |  |  | Remove from Critical Load List
Flood Control | Utility Dual Feed Capability
Ground Storage
Major Lift Station
Minor Lift Station
Police
Pump Station
Water Tower
Water/Wastewater Treatment Plants
Water/Wastewater - Other (provide details)