## CRITICAL LOAD APPLICATION
Application Type | Customer/Business Name | Emergency Contact (Name) | Emergency Contact (Title) | Emergency Contact (Phone) | Emergency Contact (Mobile Phone) | Emergency Contact (Email) | Alternate Contact (Name) | Alternate Contact (Phone) | Alternate Contact (Mobile Phone) | Alternate Contact (Email) | ESI ID (17 Digits) | Service Street Address | Service City | Service Zip Code | Latitude/Longitude (if known) | Mailing Address | Mailing City | Mailing Zip Code | Facility Type | Texas Dept. of Health License Number | Details to support a Critical Load Designation | Backup Equipment (Yes or No) | Battery Backup (Yes or No) | Backup Generation (Yes or No) | Utility Dual Feed Capability (Yes or No) | Owner of Transfer Switch | Battery Backup Capacity (kW) | Generation Backup Capacity (kW) | Length of Time facility can operate without power | Start-up time needed following a power outage | Information Regarding Production Rate (Gas Facilities)
New Critical Load Application | MEN WATER SUPPLY CORPORATION | Dennis Donoho | Manager | 903-872-1899 | 903-654-0256 | dddonoho@hotmail.com | Amanda Donoho | 903-872-1899 | 903-602-9039 | menwater.amanda@gmail.com | ESI 10443720001671743 | 2004 SE County Road 0050 | Corsicana | 75109 | 32°03'42"N 96°24'02"W | P.O. Box3019 | Corsicana | 75151 | Pump Station |  | 2-40 hp | No | No | No | no |  | no | no | 4 hr | 1 hr
New Critical Load Application | MEN WATER SUPPLY CORPORATION | Dennis Donoho | Manager | 903-872-1899 | 903-654-0256 | dddonoho@hotmail.com | Amanda Donoho | 903-872-1899 | 903-602-9039 | menwater.amanda@gmail.com | ESI 10443720001708509 | 101 James Lane | Navrro | 75109 | 31°59'58"N 96°22'53"W | P.O. Box3019 | Corsicana | 75151 | Pump Station |  | SCADA | No | No | No | no |  | no | no | 1 hr | 1 hr
New Critical Load Application | MEN WATER SUPPLY CORPORATION | Dennis Donoho | Manager | 903-872-1899 | 903-654-0256 | dddonoho@hotmail.com | Amanda Donoho | 903-872-1899 | 903-602-9039 | menwater.amanda@gmail.com | ESI 10443720001681260 | 8542 S Hwy 287 | Eureka | 75109 | 32°00'57"N 96°18'24"W | P.O. Box3019 | Corsicana | 75151 | Water tower |  | SCADA | No | No | No | no |  | no | no | 12 hr | 1 hr
New Critical Load Application | MEN WATER SUPPLY CORPORATION | Dennis Donoho | Manager | 903-872-1899 | 903-654-0256 | dddonoho@hotmail.com | Amanda Donoho | 903-872-1899 | 903-602-9039 | menwater.amanda@gmail.com | ESI 10443720006985427 | 215 FM 637 | Corsicana | 75109 | 32°01'13"N 96°18'37"W | P.O. Box3019 | Corsicana | 75151 | Pump Station |  | 2-30hp | No | No | No | no |  | no | no | 4 hr | 1 hr
New Critical Load Application | MEN WATER SUPPLY CORPORATION | Dennis Donoho | Manager | 903-872-1899 | 903-654-0256 | dddonoho@hotmail.com | Amanda Donoho | 903-872-1899 | 903-602-9039 | menwater.amanda@gmail.com | ESI 10443720001683089 | 8501 S Hwy 287 | Corsicana | 75109 | 32°01'03"N 96°18'34"W | P.O. Box3019 | Corsicana | 75151 | Pump Station |  | 2-40 hp | No | No | No | no |  | no | no | 4 hr | 1 hr
New Critical Load Application | MEN WATER SUPPLY CORPORATION | Dennis Donoho | Manager | 903-872-1899 | 903-654-0256 | dddonoho@hotmail.com | Amanda Donoho | 903-872-1899 | 903-602-9039 | menwater.amanda@gmail.com | ESI 10443720001677695 | 05701 S Hwy 287 | Corsicana | 75109 | 32°02'03"N 96°22'22"W | P.O. Box3019 | Corsicana | 75151 | Pump Station |  | 2-30hp | No | No | No | no |  | no | no | 4 hr | 1 hr
New Critical Load Application | MEN WATER SUPPLY CORPORATION | Dennis Donoho | Manager | 903-872-1899 | 903-654-0256 | dddonoho@hotmail.com | Amanda Donoho | 903-872-1899 | 903-602-9039 | menwater.amanda@gmail.com | ESI 10443720007464966 | 568 FM 739 | Corsicana | 75109 | 32°02'05"N 96°24'09"W | P.O. Box3019 | Corsicana | 75151 | Pump Station |  | SCADA | No | No | No | no |  | no | no | 12 hr | 1 hr

## FACILITY TYPE (hidden)
Facility Type | Backup Capacity | Production Rate | Backup Equipment | Transfer Switch | Application Type
911 Center | None | <250 mcf/d | Yes | Customer | Annual Renewal
Emergency Alert System Primary or Secondary Transmitter | Battery Backup | <1,000 mcf/d and > 250 mcf/d | No | Oncor | New Critical Load Application
Fire | Backup Generation | >1,000 mcf/d |  |  | Remove from Critical Load List
Flood Control | Utility Dual Feed Capability
Ground Storage
Major Lift Station
Minor Lift Station
Police
Pump Station
Water Tower
Water/Wastewater Treatment Plants
Water/Wastewater - Other (provide details)