## CRITICAL LOAD APPLICATION
Area Manager | Application Type | Customer/Business Name | Emergency Contact (Name) | Emergency Contact (Title) | Emergency Contact (Phone) | Emergency Contact (Mobile Phone) | Emergency Contact (Email) | Alternate Contact (Name) | Alternate Contact (Phone) | Alternate Contact (Mobile Phone) | Alternate Contact (Email) | ESI ID (17 Digits) | Service Street Address | Service City | Service Zip Code | Latitude/Longitude (if known) | Mailing Address | Mailing City | Mailing Zip Code | Facility Type | Texas Dept. of Health License Number | Details to support a Critical Load Designation | Backup Equipment (Yes or No) | Battery Backup (Yes or No) | Backup Generation (Yes or No) | Utility Dual Feed Capability (Yes or No) | Owner of Transfer Switch | Battery Backup Capacity (kW) | Generation Backup Capacity (kW) | Length of Time facility can operate without power | Start-up time needed following a power outage | Information Regarding Production Rate (Gas Facilities)
Steve Elk | New Critical Load Application | CITY OF MELISSA | Jeff Cartwright | Director of Public Works | 4698539788 |  | jcartwright@cityofmelissa.com | Tim Howell | 2148769429 |  |  | 10443720001018443 | 6 SURREY CIR | MELISSA | 75454-8902 | 33.294815/-96.578959 | 3411 Barker Ave | Melissa | 75454 | Pump Station |  |  | No | Yes | No | No | Customer |  |  | 20 minutes | 5 seconds
Steve Elk | New Critical Load Application | CITY OF MELISSA | Duane Smith | Chief of Police | 4698539789 |  | dsmith@cityofmelissa.com | Dispatch | 9725475350 |  |  | 10443720009135281 | 3411 BARKER AVE DEPT POLIC | MELISSA | 75454-9569 | 33.293372/-96.572871 | 3411 Barker Ave | Melissa | 75454 | Police |  |  | Yes | Yes | Yes | No | Customer |  | 300 | 24 hours | 5 seconds
Steve Elk | New Critical Load Application | CITY OF MELISSA | Jeff Cartwright | Director of Public Works | 4698539788 |  | jcartwright@cityofmelissa.com | Tim Howell | 2148769429 |  |  | 10443720000118200 | 1521 E Melissa Rd | MELISSA | 75454 | 33.283481/-96.573563 | 3411 Barker Ave | Melissa | 75454 | Pump Station |  |  | Yes | No | Yes | No | Customer |  | 250 | 24 hours | 5 seconds
Steve Elk | New Critical Load Application | CITY OF MELISSA | Carl Nix | Fire Chief | 2144258443 | 911 | cnix@cityofmelissa.com | Dispatch | 9725475350 |  |  | 10443720008054200 | 1933 E Melissa Rd | MELISSA | 75454 | 33.282603/-96.567974 | 3411 Barker Ave | Melissa | 75454 | Fire |  |  | Yes | No | Yes | No | Customer |  | 50 | 24 hours | 5 seconds
Steve Elk | New Critical Load Application | CITY OF MELISSA | Jeff Cartwright | Director of Public Works | 4698539788 |  | jcartwright@cityofmelissa.com | Tim Howell | 2148769429 |  |  | 10443720001011400 | 1716 Cooper St. | MELISSA | 75454 | 33.285600/-96.572083 | 3411 Barker Ave | Melissa | 75454 | Emergency Alert System Primary or Secondary Transmitter |  |  | No | No | No | No | Customer |  |  |  | 5 seconds
Steve Elk |  | CITY OF MELISSA
Note on N4: Harvey, Nolan: Pump Station
Note on N5: Harvey, Nolan: FS
Note on N6: Harvey, Nolan: PW
Note on N10: Harvey, Nolan: Fitzugh Branch Metering Station - NTMWD meter

## FACILITY TYPE (hidden)
Facility Type | Backup Capacity | Production Rate | Backup Equipment | Transfer Switch | Application Type
911 Center | None | <250 mcf/d | Yes | Customer | Annual Renewal
Emergency Alert System Primary or Secondary Transmitter | Battery Backup | <1,000 mcf/d and > 250 mcf/d | No | Oncor | New Critical Load Application
Fire | Backup Generation | >1,000 mcf/d |  |  | Remove from Critical Load List
Flood Control | Utility Dual Feed Capability
Ground Storage
Major Lift Station
Minor Lift Station
Police
Pump Station
Water Tower
Water/Wastewater Treatment Plants
Water/Wastewater - Other (provide details)