MATAGORDA WASTE DISPOSAL AND WATER SUPPLY CORP.

362 PEACH STREET

P.O. BOX 196

MATAGORDA TEXAS  77457-0196

In accordance with Public Utility Commission of Texas (PUCT) Project 52299 (affected utilities)

The Matagorda Waste Disposal and Water Supply Corp. provides Water and Wastewater services to approximately 461 residential and commercial connections.

Facilities are located as noted below:

- Raw/potable water well and ground storage:  Water office facility located at 362  Peach Street has (1) 52,000 gallon ground storage tank, (2) 250 GPM booster pumps, (1) water well (#2) which feed all potable water connections on an alternate bases with water well #1.

- Raw/potable water well and ground storage: Well #1 located at 800 Louis Street has (1) 50,000 gallon storage tank, (2) 250 GPM booster pumps, (1) water well (#1) which feed all potable water connections on an alternate bases with water well #2.

- Wastewater Treatment Plant (WWTP):  The WWTP located at 30 Matagorda Street is a 175,000 GPD Treatment Plant with aeration tank, clarifier tank, digester tank, and a chlorination unit that operates on a 24/7 bases.

- River Run South Lift Station located at 48 Mimosa Lane has (2) pumps which move raw sewage from the area to the WWTP on a 24/7 bases.

- River Run North Lift Station located at 6 Mimosa Lane has (2) pumps which move raw sewage from the area to the WWTP on a 24/7 bases.

- Austin Street Lift Station located at 6 Austin Street has (2) pumps which move raw sewage from the area to the WWTP on a 24/7 bases.

- Bay Harbor West Lift Station located at 1 Caney Street has (2) pumps which move raw sewage from the area to the WWTP on a 24/7 bases.

- Bay Harbor East Lift Station located at 1 Catalapa Street has (2) pumps which move raw sewage from the area to the WWTP on a 24/7 bases.

- Magnolia Heights Lift Station located at 1 Mobile Street has (2) pumps which move raw sewage from the area to the WWTP on a 24/7 bases.

- Boat Slip Lift Station located at 1 Boat Slip Road has (2) pumps which move raw sewage from the area to the WWTP on a 24/7 bases.

- Caney Street Lift Station located at 1001 Caney Street has (2) pumps which move raw sewage from the area to the WWTP on a 24/7 bases.

- Wastewater Treatment Plant Lift Station located at 30 Matagorda Street has (2) pumps which move raw sewage from the area to the WWTP on a 24/7 bases.

- Harbor Side Road Station located at 40 Matagorda Street has (2) pumps which move raw sewage from the area to the WWTP on a 24/7 bases.

- Magnolia Street Lift Station located at 203 Magnolia Street has (2) pumps which move raw sewage from the area to the WWTP on a 24/7 bases.

- Cedar Street Lift Station located at 6 Cedar Street has (2) pumps which move raw sewage from the area to the WWTP on a 24/7 bases.

Emergency Contact Information:

- Primary: Matagorda Wastewater Disposal and Water Supply Corp. Office	(979) 863-7261

- Alternate: Joe Zamora, Facilities Manager (mobile)				(979) 240-3604

- Alternate: Rebecca Sanders Office Manager (mobile)			(979) 476-5775

Mailing Address:

Matagorda Wastewater Disposal and Water Supply Corp.

P.O. Box 196

Matagorda Texas  77457

Physical Address:

Matagorda Wastewater Disposal and Water Supply Corp.

362 Peach Street

Matagorda Texas  77457